BEFORE THE

PENNSYLVANIA PUBLIC UTILITY COMMISSION

Robert Barone						:

:

- :		C-2014-2458887

:

PECO Energy Company		 		:

INITIAL DECISION

Before

Katrina L. Dunderdale

Administrative Law Judge

INTRODUCTION

This decision denies the complaint and denies Complainant’s request for additional fixes.

# HISTORY OF THE PROCEEDING

On December 13, 2014, Robert Barone (Mr. Barone or Complainant) filed a formal complaint with the Pennsylvania Public Utility Commission (Commission) against PECO Energy Company (Respondent or PECO) alleging a reliability, safety or quality problem with his electric service due to faulty facilities in an underground vault.  Complainant alleged there had been numerous power surges and outages.  Complainant requested the Commission order Respondent to make necessary repairs.  On January 8, 2015, Respondent filed an Answer in response to Complainant’s formal complaint, in which Respondent generally denied the averments and asserted PECO had provided reasonable and adequate service in how it maintained its facilities.

On April 6, 2015, the Office of Administrative Law Judge issued a Telephone Hearing Notice, which scheduled a call-in telephone initial hearing to be conducted on Wednesday, May 20, 2015.  On April 16, 2015, the presiding officer issued a Prehearing Order.

On May 11, 2015, PECO filed a Motion for Continuance of Hearing Date and alleged both parties agreed PECO should dig up the area in question and inspect the electric cables.  PECO requested additional time in which to perform the inspection, and PECO indicated Complainant agreed to the continuance.

On May 12, 2015, the presiding officer issued the First Interim Order which continued the telephonic hearing and provided the parties with 45 days in which either to withdraw or satisfy the complaint, or request a hearing.  On July 29, 2015, the Office of Administrative Law Judge issued a Hearing Cancellation/Reschedule Notice, which scheduled an initial call-in telephonic hearing to be conducted on Friday, September 25, 2015.

On September 2, 2015, PECO filed a Motion for Continuance of Hearing Date and alleged two of its witnesses were unavailable on the day of the scheduled hearing.  PECO also averred Complainant indicated he did not object to the continuance because Complainant was scheduled to be away on vacation on September 25, 2015.

Thereafter, on September 4, 2015, the presiding officer issued the Second Interim Order which continued the telephonic hearing on September 25, 2015 and ordered that the initial call-in telephonic hearing should be conducted on Monday, October 19, 2015.  Also on September 4, 2015, the Office of Administrative Law Judge issued a Call-In Telephone Cancellation/Reschedule Hearing Notice, which scheduled an initial call-in telephonic hearing to be conducted on Monday, October 19, 2015.

The presiding officer convened the initial hearing as scheduled on October 19, 2015.  Complainant appeared pro se and testified on his own behalf.  Complainant offered no exhibits.  Respondent was represented by Shawane L. Lee, Esquire.  Attorney Lee presented the testimony of three witnesses and offered seven (7) exhibits, which were marked PECO Exhibits 1 through 7 and were admitted into evidence.  The transcript of the hearing, containing 68 pages, was received in the Commission’s offices on November 5, 2015 and was received in the presiding officer’s office on November 13, 2015.  Complainant and Respondent issued final statements on the hearing record in lieu of filing briefs.

On November 18, 2015, the presiding officer closed the hearing with the issuance of the Third Interim Order Closing the Hearing Record.

FINDINGS OF FACT

1.	Complainant, Robert Barone, resides at 520 Tara Court, Warrington, Pennsylvania (service address), where he has resided for over 15 years.  (Tr. 6).

2.	Respondent, PECO Energy Company, has provided electric services to Complainant at the service address since 2000.  (Tr. 6).

3. 	For approximately four months every winter, Complainant resides in Florida.  (Tr. 8).

4.	In order to prevent frozen pipes and winter damage due to cold temperatures, Complainant installed a standby generator which operates on natural gas and which turns on if there is an interruption to the electric service.  (Tr. 7).

5. 	In 2010 or 2011, a power failure of unknown duration occurred at the service address while Complainant was out of town, and no damage was sustained at the service address as a result.  (Tr. 7, 11, 41).

6.	On September 23, 2012, a power failure lasting 12 to 18 hours occurred at the service address which caused considerable damage to the generator and filled the basement with smoke.  (Tr. 7, 9, 10, 41).

7. 	As a result of the power failure on September 23, 2012, the control panel, coils for all the relays, and contactors were burned out and destroyed.  (Tr. 21, 47-49; PECO Exhibit 4).

8.  	Complainant incurred $2,200 in costs to repair and replace property damaged in the power failure, for which damage PECO paid $500 to reimburse him.  (Tr. 7, 60; PECO Exhibit 5).

9.	  On December 5, 2014, a third power failure occurred at the service address, lasting 14 hours, and no damage was sustained at the service address as a result.  (Tr. 8, 10, 41, 49-51; PECO Exhibit 6).

10.	All three power failures occurred at the same underground location which was two residences down the street from the service address and involved three electric cables: two polarities (L1 and L2) and a neutral.  (Tr. 8, 11, 12, 26, 34, 40, 41).

11. 	After each power failure in 2012 and 2014, PECO’s contractor dug a hole three feet in diameter and four feet deep in the same location in order to effectuate repairs.  (Tr. 11, 12, 41, 47; PECO Exhibit 4).

12. 	 After each power failure in September 2012 and December 2014, Complainant contacted PECO and questioned the cause of the failure, how the failure can be avoided in the future, and why did the one power failure damage the generator.  (Tr. 13, 52-54; PECO Exhibit 2).

13. 	 On May 27, 2015, PECO’s personnel visited the service address to explain how the faults occurred and to dig up the underground lines in order to show Complainant the condition of the three splices PECO had done previously to the three wires in order to repair the three faults which occurred since 2010.  (Tr. 22, 34, 44, 45, 57).

14.	 Since December 2014, the service address has not experienced another power failure or fault.  (Tr. 21, 22, 28, 44).

15.	The service address receives electric service from the Hartman 351 circuit which has been fairly reliable, has not produced a lot of interruptions and has not required much corrective action by PECO.  (Tr. 39, 40).

DISCUSSION

Complainant alleges a reliability, safety or quality problem with his electric service provided by PECO because three power failures at the same underground location have occurred over a three or four year period, resulting in extensive damage on one of those occasions.  Complainant asserts Respondent should be responsible for the failure of its own equipment and should be required to permanently fix the problem, instead of responding ad hoc.  Complainant is not requesting payment for the damages but he does seek a permanent fix to the problem of power failures occurring in the same location.  Complainant’s concern is that either the power failure will occur when he is out of town, resulting in extensive fire damage, or a power failure will occur while he is present at the service address, resulting in a fire which traps him and/or his wife inside.

Respondent contends it provided reasonable and adequate service in how it maintained its facilities.  Respondent argues its equipment was not defective and it was not negligent in how it maintained its equipment.  Respondent referred to its Tariff as a limitation of how much money Complainant could receive for damage caused when the service interruptions occur.  Respondent also referred to its Tariff as authority for PECO’s assertion Mr. Barone is not guaranteed perfect electric service.  PECO avers it cannot determine exactly what causes a service interruption or when a fault might occur in the future.  PECO asserts it performed permanent fixes each time the three service interruptions occurred and went beyond the Commission’s requirements by visiting the service address, speaking with Mr. Barone at length, and digging up the underground service vault in order to show the permanent fixes to Complainant.  Finally, PECO insists it provided reasonable customer service to Complainant.

Burden of Proof

As the party seeking affirmative relief from the Commission, Complainant bears the burden of proving by substantial evidence he is entitled to the requested relief.  66 Pa.C.S.A. § 332(a).  To satisfy this burden, Complainant must show Respondent utility is responsible or accountable for the problem described.  Complainant must show this fact to be true by a preponderance of the evidence, that is, by presenting evidence more convincing, by even the smallest amount, than that evidence presented by the other party.  Additionally, any finding of fact necessary to support the Commission’s adjudication must be based upon substantial evidence.  Furthermore, more evidence is required than a mere trace of evidence or a suspicion of the existence of a fact sought to be established.  As the party seeking affirmative relief from the Commission, Complainant bears the burden of proof by substantial evidence.  66 Pa.C.S.A. § 332(a).

Responsibility of Public Utility Companies

“Every public utility shall furnish and maintain adequate, efficient, safe, and reasonable service and facilities, and shall make all such repairs, changes, alterations, substitutions, extensions, and improvements in or to such service and facilities as shall be necessary or proper for the accommodation, convenience, and safety of its patrons, employees, and the public.  Such service also shall be reasonably continuous and without unreasonable interruptions or delay.  Such service and facilities shall be in conformity with the regulations and orders of the Commission.  Subject to the provisions of this part and the regulations or orders of the Commission, every public utility may have reasonable rules and regulations governing the conditions under which it shall be required to render service….”  66 Pa.C.S.A. § 1501.

The Commission has the authority and responsibility to define reasonable service.  66 Pa.C.S.A. § 1501 and § 1502.  The Commission approves the cost of providing a utility system that is designed to provide reasonable service at reasonable rates – not perfect service without regard to cost.  Since reasonable service may result in occasional loss of service or property damage, the Commission is permitted to limit liability.

Analysis

Complainant did not meet his burden of proving PECO failed to provide him with reasonable and adequate customer service.  The service interruptions involve three times during a five-year period when the underground vault near the service address experienced faults that produced the interruptions.  After the faults occurred, PECO made necessary repairs within a reasonable time frame and those repairs were permanent fixes.  The faults that occurred involved faults occurring in the same location but involved different lines (either the primaries or neutral lines).  PECO made the repairs and no additional faults have occurred since December 2014.  The repairs were performed in a reasonably timely manner and PECO was able to resume electric service to Complainant within a reasonably adequate time.  Complainant’s concern that a service interruption might produce smoke and/or fire damage while the service address is vacant is a valid concern.  However, PECO cannot give him a guarantee that the mishap will never happen again.  Accordingly, Complainant failed to prove PECO violated the Commission’s requirement to provide reasonable and adequate customer service.

CONCLUSIONS OF LAW

- The Commission has jurisdiction over the parties and the subject matter of this proceeding.  66 Pa.C.S.A § 701.

2.	Complainant carries the burden of proving Respondent did not provide reasonable and adequate service.  66 Pa.C.S.A. § 332(a).

3.	Respondent provided Complainant with reasonable and adequate customer service in its provision of electrical services, and its attempt to prevent future service interruptions.  66 Pa.C.S.A. § 1501.

4.	Complainant failed to meet the burden of proving Respondent did not provide reasonable and adequate service.

5.	The Commission is without jurisdiction to consider negligence issues.  Poorbaugh v. Pa. Pub. Util. Comm’n, 666 A.2d 744 (Pa.Cmwlth. 1995).

ORDER

THEREFORE,

IT IS ORDERED:

- That the complaint of Robert Barone versus PECO Energy Company at Docket No. C-2014-2458887 is hereby denied because Complainant failed to prove Respondent did not provide reasonable and adequate service in its provision of electrical services.

- That this docket be marked closed and discontinued.

Date:  January 20, 2016						/s/

Katrina L. Dunderdale

Administrative Law Judge

Respondent Exhibit 7 contains Section 12.1 of Tariff Electric Pa. P.U.C. No. 4, which states, in part, that PECO “does not guarantee continuous, regular and uninterrupted supply of service….  In all other circumstances, the liability of the Company to customers or other persons for damages, direct or consequential, including damage to computers and other electronic equipment and appliances, … shall in no event, unless caused by the willful and/or wanton misconduct of the Company, exceed an amount in liquidated damages equivalent to the greater of $500 or two times the charges to the customer for the service affected….”

Patterson v. Bell Telephone Co. of Pa., 72 Pa. PUC 196 (1990); Feinstein v. Philadelphia Suburban Water Co., 50 Pa. PUC 300 (1976).

Samuel J. Lansberry, Inc. v. Pa. Pub. Util. Comm’n, 578 A.2d 600 (Pa.Cmwlth. 1990), alloc. den., 602 A.2d 863 (Pa. 1992); Se-Ling Hosiery v. Margulies, 70 A.2d 854 (Pa. 1950).

Mill v. Pa. Pub. Util. Comm’n, 447 A.2d 1100 (Pa.Cmwlth. 1982); Edan Transportation Corp. v. Pa. Pub. Util. Comm’n, 623 A.2d 6 (Pa.Cmwlth. 1993); 2 Pa.C.S.A. § 704.

Norfolk and Western Ry. v. Pa. Pub. Util. Comm’n, 413 A.2d 1037 (Pa. 1980); Erie Resistor Corp. v. Unemployment Compensation Bd. of Review, 166 A.2d 96 (Pa.Super. 1960); Murphy v. Dep’t. of Public Welfare, White Haven Center, 480 A.2d 382 (Pa.Cmwlth. 1984).

See DeFranscesco v. West Penn Power Company, 329 Pa. Superior Ct. 508, 478 A.2d 1295 (1984).