|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION P.O. BOX 3265, HARRISBURG, PA 17105-3265 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

April 26, 2016

Docket No. A-2015-2507969

Utility Code: 230073

VIA CERTIFIED MAIL

ANDREW L SWOPE ESQUIRE

SUSAN SIMMS MARSH ESQUIRE

PENNSYLVANIA AMERICAN WATER COMPANY

800 WEST HERSHEYPARK DRIVE

HERSHEY PA 17033

RE:	Pennsylvania-American Water Company - Wastewater Division West Caln Township, Chester County Additional Territory Application at Docket No. A-2015-2507969

Dear Attorney Marsh:

On October 12, 2015, the Pennsylvania-American Water Company - Wastewater Division (Company) filed an additional territory application for approval of the Company’s right to offer, render, furnish or supply wastewater service in an additional portion of West Caln Township, Chester County.  Based upon the Commission’s initial review of the filing, the application is deemed to be incomplete.  In order for us to complete our analysis of your application, the Water/Wastewater Division requires responses to the attached data requests.

Please be advised that you are directed to forward the requested information to the Commission within 10 working days of receipt of this letter.  Failure to respond may result in the application being denied.  As well, if the Company decides to withdraw its application, please send a reply notifying the Commission of such a decision.  Please send all responses to the Secretary of the Commission at either of the following addresses:

| Rosemary Chiavetta, Secretary |  | Rosemary Chiavetta, Secretary |
| --- | --- | --- |
| Pennsylvania Public Utility Commission | or | Pennsylvania Public Utility Commission |
| P.O. Box 3265 |  | 400 North Street |
| Harrisburg, PA 17105-3265 |  | Harrisburg, PA 17120 |

When submitting documents, all documents requiring notary stamps must have original signatures.  Please note that some responses may be e-filed to your case at http://www.puc.pa.gov/efiling/default.aspx.   A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Please note that your answers must be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa. C.S. § 4904 (relating to unsworn falsification to authorities).

The blank space in the preceding statement should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.  Please contact the above staff person if any problems should arise that prevents a full response within ten working days or if any clarification of these data requests is needed.  Please mark the materials “CONFIDENTIAL” in a bold or highlighted manner if any of the requested information is deemed to be of a confidential nature.

In addition, to expedite completion of the application, please send a copy of the information to Spencer Nahf via e-mail at snahf@pa.gov or fax at (717) 787-4750.  Please also direct any questions to Spencer Nahf, in the Bureau of Technical Utility Services, Water/Wastewater Division at telephone number (717) 787-5164.  Thank you in advance for your cooperation.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

cc:  Spencer Nahf (w/enclosure)

Bureau of Technical Utility Services

Water/Wastewater Division

Data Request 2

Pennsylvania-American Water Company - Wastewater Division (PWAC-WD) West Caln Township, Chester County Additional Territory Application at Docket No. A-2015-2507969

Note:  Restate the data request prior to providing a response.  In addition, provide the name and title of the person(s) providing the response and/or information for each data request.

- The response to Data Request A-1 did not state that the additional territory request complies with the DEP approved Act 537 Official Sewage Facilities Plan (Act 537 Plan) for West Caln Township, Chester County.  Instead, the response only contained a copy of a letter that was already provided in the subject application filing and does not address the subject request.  Please state whether the proposed additional territory request complies with the DEP approved Act 537 Plan for West Caln Township, Chester County.

- The response to Data Request A-2 did not provide a copy of DEP approved Act 537 Plan for West Caln Township, Chester County.  Instead, the response provided a web link to West Caln Township’s Act 537 Plan (Draft) dated January 25, 2011.  According to DEP’s website, the DEP approved Act 537 Plan for West Caln Township, Chester County is dated October 21, 2009.  Please provide a copy of the DEP approved Act 537 Plan for West Caln Township, Chester County in order to verify the proposed additional territory request is in an area approved to be served by public sewers.

- Please explain why West Caln Township’s Act 537 Plan (Draft) dated January 25, 2011 has not been approved by DEP.

- It is the Commission’s understanding that sewage from PAWC-WD’s sanitary sewer collection and conveyance system in West Caln Township flows through a municipal-owned sanitary sewer collection and conveyance system before the waste is discharged to PAWC-WD’s Coatesville Wastewater Treatment Plant (WWTP).  Please identify the name of the municipality which owns the sanitary sewer collection and conveyance system that will receive sewer flow from PAWC-WD’s proposed additional territory in West Caln Township.

- Please provide a copy of any agreements PAWC-WD has with the municipality for receiving and conveying sewer flows from PAWC-WD’s proposed additional territory in West Caln Township.

- Please provide proof of service of the subject application to the municipality that will receive and convey sewer flows from PAWC-WD’s proposed additional territory in West Caln Township.

- The response to Data Request A-4 does not provide a detailed description of materials, material unit costs, quantities and extended costs.  Instead it only provides a generally identifies the labor, equipment and materials portions of the $6,000.  Please provide a detailed cost breakdown that includes the description of material, material unit costs, quantities, and extended costs.