	[image: image2.png]



	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

P.O. BOX 3265, HARRISBURG, PA 17105-3265
	IN REPLY PLEASE REFER TO OUR FILE


April 28, 2016
                              A-2011-2228595


                                                       





Utility Code:  110500
Christopher T Wright

PPL Electric Utilities Corporation

17 North Second Street 12th Floor

Harrisburg PA 17101

Re: Letter of Notification of PPL Electric Utilities Corporation with Respect to the Reconstruction of the Pennsylvania portion of the Otter Creek-Conastone 230 kV transmission line in Chanceford, East Hopewell and Hopewell Townships in York County, Pennsylvania
Dear Mr. Wright:


On February 28, 2011, PPL Electric Utilities Corporation (PPL Electric) filed a Letter of Notification (LON) requesting Commission approval of the reconstruction of the Pennsylvania Portion of the Otter Creek – Conastone 230 kV Transmission Line in Chanceford Township, East Hopewell and Hopewell Townships in York County, Pennsylvania.  PPL Electric stated that the reconstruction would include replacing the structures currently in use with new structures capable of supporting two circuits. 



On October 17, 2011, the Commission entered an Order (October 17 Order) approving the above-captioned LON approving the LON finding that the size, character, design and configuration of the reconstructed line will not substantially alter the right-of-way.   In a letter dated April 4, 2016, PPL Electric informed the Commission “a slight shift in the location of a single monopole structure” will be required for the above project.  PPL Electric explains the need to shift the location of a single structure from its current location is to address constructability concerns and to reduce potential environmental impacts.  PPL Electric maintains that no additional rights of way are needed.  No other changes to the proposed project are required for the Commission-approved reconstruction of the Otter Creek-Conastone 230 kV Transmission Line.


Upon review, it appears that the installation of the new structure will not significantly modify the original application and the right-of-way.  Therefore, a new LON is not necessary.  However, since the October 17 Order approved the project without the above changes, PPL Electric is directed to file a Petition at this docket, to amend the prior October 17 LON Order, to approve the LON as modified.
[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION










Sincerely,









Rosemary Chiavetta










Secretary
