	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17105-3265
	


	
	Public Meeting held May 19, 2016

	Commissioners Present:
	


	Gladys M. Brown, Chairman
	

	Andrew G. Place, Vice Chairman
	

	John F. Coleman, Jr.
	

	Robert F. Powelson
	

	
	

	Letter of Notification of PPL Electric Utilities Corporation, filed pursuant to 52 Pa. Code §57.72 57 Subchapter G for Approval to Relocate and Replace Approximately 800 Feet of a 230 kV Transmission Line in Freemansburg Borough,  Northampton County, Pennsylvania 
	Docket Number:

A-2016-2541247


ORDER

BY THE COMMISSION:

On April 15, 2016, PPL Electric Utilities Corporation (PPL Electric or the Company), Utility Code 110500, filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(vi) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated “Letter of Notification” (LON) siting application process in lieu of an application for the following:

(i)
An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 
right-of-way.

(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing
transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
   (vi) An HV line having a proposed route of 2 miles or less.

Copies of the Letter of Notification were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code §57.74(b)(c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Northampton County Commissioners, City of Bethlehem  Planning Commission, Freemansburg Borough,  and others.  No protests were filed.  No hearings were held.

PPL Electric requests approval to relocate and replace approximately 800 feet of a 230 kV Transmission Line in Freemansburg Borough, Northampton County, Pennsylvania. According to PPL Electric, the proposed project is needed to upgrade and expand the existing Quarry 230-69kV Substation to a more reliable electrical configuration, comply with PJM Interconnection, LLC (PJM) Protection Standards and maintain reliable electric service to at least 33,688 customers in parts of Northampton County, Pennsylvania.  The existing Quarry Substation is approximately 50 years old. 
PPL Electric provides that the proposed project consists of expanding the Quarry Substation to add one additional 230 kV bay position and additional circuit breakers to reconfigure the Substation in a more reliable configuration.  PPL Electric states that the existing circuit breakers, protection systems, and battery systems that have reached the end of their useful lives will be replaced with modern equivalents.  Three of the existing transformers at the Quarry Substation will be upgraded and two will be rearranged to avoid directly tapping a Bulk Electric Systems transmission line – a violation of PJM Protection Standards.   To allow for the new configuration of the Substation, approximately 800 feet of the Martins Creek – Quarry #2 230 kV Transmission Line will be relocated and replaced to interconnect with the new 230 kV bay position.  
PPL Electric states that the proposed project has been reviewed and approved through the PJM Regional Transmission Expansion Plan in 2015 and was assigned supplemental project number s0957.1.   
PPL Electric explains that the relocation and replacement of 800 feet of the Martins Creek-Quarry #2 230 kV Transmission Line will require the installation of two new steel monopole structures located at the Quarry Substation site.  All new poles for the proposed project will have an average height of approximately 110 feet and will be self-supporting structures on reinforced concrete foundations.  PPL Electric avers that approximately 720 feet of the relocated and replaced Martins Creek-Quarry #2 230 kV Transmission Line will be located on the PPL Electric owned property for the Quarry Substation.  The remaining 80 feet of the Martins Creek-Quarry #2 230 kV Transmission Line will be located entirely within PPL Electric existing right-of-way. 
PPL maintains the project will be designed to comply with, and generally exceed, current National Electrical Safety Code (NESC) standards.  Design specifications and safety rules practiced by PPL Electric are set forth in PPL Electric’s Design Criteria and Safety Practices.  PPL Electric provides that its transmission lines are designed to operate safely and reliably during inclement weather even more severe than assumed by the NESC.  In addition, PPL Electric transmission lines are designed with more clearance to the ground than required by the NESC.  
PPL Electric states that the total estimated cost for the proposed project is approximately $945,000, and will be owned and operated by PPL Electric.  Construction of the project is proposed to commence in September 2016 with a proposed in-service date of June 2017.    
The formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(vi) because the 800 foot long segment of the Martins Creek-Quarry #2 230 kV Transmission Line being relocated and replaced in order to interconnect the Martins Creek-Quarry #2 230 kV Transmission Line with the new, upgraded Quarry 230-69 kV Substation is less than two miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  
We also note that our approval of the Letter of Notification does not reach the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the PPL Electric Utilities Corporation, for Approval to Relocate and Replace Approximately 800 Feet of a 230 kV Transmission Line in Freemansburg Borough, Northampton County, Pennsylvania,  is hereby approved.  
2. That this proceeding at Docket No. A-2015-2541247 be closed. 
[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary

ORDER ADOPTED: May 19, 2016
ORDER ENTERED: May 19, 2016
5

