	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17105-3265
	


	
	Public Meeting held June 30, 2016

	Commissioners Present:
	


	Gladys M. Brown, Chairman
	

	Andrew G. Place, Vice Chairman
	

	John F. Coleman, Jr.
	

	Robert F. Powelson
	

	David W. Sweet
	

	
	

	
	

	Letter of Notification of PPL Electric Utilities Corporation, filed pursuant to 52 Pa. Code §57.72 57 Subchapter G for Approval to Construct Approximately 1.32 Miles of New 230 kV Transmission Lines to Interconnect the Summit 230-69 kV Substation with the 230 kV System 
	Docket Number:

A-2016-2544903


ORDER

BY THE COMMISSION:

On May 5, 2016, PPL Electric Utilities Corporation (PPL Electric or the Company), Utility Code 110500, filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(vi) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated “Letter of Notification” (LON) siting application process in lieu of an application for the following:

(i)
An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 
right-of-way.
(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing
transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
   (vi) An HV line having a proposed route of 2 miles or less.

Copies of the Letter of Notification were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code §57.74(b)(c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Lackawanna County Commissioners, City of Scranton, Newton Township, Ransom Township, and others.  No protests were filed.  No hearings were held.

PPL Electric requests approval to construct approximately 1.32 miles of new 230 kV transmission lines that will traverse the City of Scranton, Ransom Township and Newton Township in Lackawanna County.  PPL Electric states that the new 230 kV transmission lines are needed to interconnect the proposed new Summit 230-69 kV Substation to the 230 kV system and to avoid multiple reliability issues, and to reinforce the 230 kV and 69 kV systems serving Lackawanna County.
PPL Electric provides that the proposed project consists of constructing two new double-circuit 230 kV transmission lines what will extend from the existing Stanton Lackawanna #3 and #4 230 kV Transmission Lines to the new Summit 230-69 kV Substation.  PPL Electric indicates that the project is required to provide a source of supply to the new Summit Substation.  PPL Electric submits that the new Summit Substation will improve reliability, reduce the potential for and duration of outages, and increase system operability in Lackawanna County.  
PPL Electric states that the proposed project has been reviewed and approved through the PJM Regional Transmission Expansion Plan in 2015 and was assigned supplemental project numbers 0974.3.   
PPL Electric explains that the new 230 kV lines will consist of thirty-two self-weathering steel monopoles self-supported on concrete caisson foundations.  The new structures are proposed to range between 120 and 200 feet in height, with an average height of approximately 150 feet.  

PPL Electric indicates that of the total 1.32 miles of new 230 kV transmission lines to be constructed, 0.24 miles will be located on the Summit Substation property and 1.08 miles will be located within a new 225-foot right-of-way.  PPL Electric states that the new right-of-way will traverse four private properties, for which PPL Electric avers it has negotiated and obtained all the necessary easement rights.  
PPL maintains the project will be designed, constructed, operated and maintained in a manner that meets or surpasses all applicable National Electrical Safety Code (NESC) standards and all applicable legal requirements.  PPL Electric asserts that it has developed design specifications and safety rules which meet or surpass all requirements specified by the NESC.  
PPL Electric states that the total estimated cost for the proposed project is approximately $12.3 million, and will be owned and operated by PPL Electric.  Construction of the project is proposed to commence in September 2016 with a proposed in-service date of November 2017.    
The formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(vi) because the 1.32 miles of new double-circuit 230 kV transmission lines to interconnect the Summit 230-69 kV Substation to the 230 kV system will be less than two miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  
We also note that our approval of the Letter of Notification does not reach the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the PPL Electric Utilities Corporation, for Approval to construct approximately 1.32 miles of new 230 kV transmission lines to interconnect the Summit 230-69 kV Substation with the 230 kV system in the City of Scranton, Newton Township and Ransom Township, Lackawanna County, Pennsylvania,  is hereby approved.  
2. That this proceeding at Docket No. A-2016-2544903 be closed. 
[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary

ORDER ADOPTED: June 30, 2016
ORDER ENTERED:  June 30, 2016
5

