	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17105-3265
	


	
	Public Meeting held July 21, 2016

	Commissioners Present:
	


	Gladys M. Brown, Chairman
	

	Andrew G. Place, Vice Chairman
	

	John F. Coleman, Jr.
	

	Robert F. Powelson

David W. Sweet, Absent
	

	
	

	Letter of Notification of PPL Electric Utilities Corporation, filed pursuant to 52 Pa. Code §57.72 57 Subchapter G for Approval to Install  Approximately 0.20 Miles of New 230 kV Transmission Line in Exeter Township, Luzerne County, Pennsylvania 
	Docket Number:

A-2016-2550917


ORDER

BY THE COMMISSION:

On June 8, 2016, PPL Electric Utilities Corporation (PPL Electric or the Company), Utility Code 110500, filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(vi) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated “Letter of Notification” (LON) siting application process in lieu of an application for the following:

(i)
An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 
right-of-way.
(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing
transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
   (vi) An HV line having a proposed route of 2 miles or less.

Copies of the Letter of Notification were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code §57.74(b)(c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Luzerne County Commissioners, Exeter Township,  and others.  No protests were filed.  No hearings were held.

PPL Electric requests approval to install approximately 0.20 miles of new 230 kV transmission lines in Exeter Township, Luzerne County, Pennsylvania. According to PPL Electric, the proposed project is needed to ensure system reliability during the 12-month outage required to rebuild the existing Susquehanna-Jenkins 230 kV Transmission Line.  PPL Electric provides that it is rebuilding the existing single circuit Susquehanna –Jenkins 230 kV Transmission Line as a double-circuit line to resolve thermal violations identified by PJM Interconnection, LLC in the 2013 Regional Transmission Expansion Plan.  The rebuild project was approved by the Commission on April 7, 2016, at Docket No. A-2016-2526304.  
PPL Electric states that the required outage of the Susquehanna-Jenkins 230 kV Transmission Line will cause the Jenkins 230-69 kV Substation to lose its direct connection to the source of power at Susquehanna Substation.  PPL Electric avers that this will put a significant amount of load at risk of being without power for contingencies at the Stanton Substation, and could lead to cascading outages in the area.  

PPL Electric proposes to reconfigure the Susquehanna T-10-Mountain-Lackawanna 230 kV Transmission Line and Susquehanna-Mountain-Stanton 230 kV Transmission Line to provide the Jenkins Substation with a second source of supply during the required outage of the Susquehanna-Jenkins 230 kV Transmission Line.  In order to interconnect the Susquehanna-Mountain- Stanton 230 kV Transmission Line with the Jenkins-Stanton #2 230 kV Transmission Line, PPL Electric proposes to construct a new 230 kV single circuit that will extend approximately 500 feet between the two existing lines.  PPL Electric also proposes to interconnect the Susquehanna T-10-Mountain-Lackawanna 230 kV Transmission Line with the Jenkins-Stanton #2 230 kV Transmission Line with a new 230 kV single circuit that will extend approximately 540 feet between the existing lines.  PPL Electric provides that installation of these two new circuits will require three new monopole structures with an average height of approximately 125 feet.  

PPL Electric indicates that it also proposes to install approximately 40 feet of new 230 kV conductor (known as a jumper wire) near the Stanton Substation to connect the Susquehanna-Mountain-Stanton 230 kV Transmission Line and the Susquehanna T-10-Mountain-Lackawanna 230 kV Transmission Line.  PPL Electric states that this jumper wire will be located on one existing pole near the Stanton Substation and will not require new tower structures or other changes to the right-of-way (ROW).  

PPL Electric asserts that the existing ROWs are sufficient to accommodate the construction, operation, and maintenance of the new proposed 230 kV transmission lines and no additional ROWs are required for the construction and operation of these new transmission lines.  

PPL maintains that the project will be designed, constructed, operated, and maintained in a manner that meets or surpasses all applicable National Electrical Safety Code (NESC) standards and all applicable legal requirements.   Design specifications and safety rules practiced by PPL Electric are set forth in PPL Electric’s Design Criteria and Safety Practices.  PPL Electric maintains that the proposed project will not create any unreasonable risk of danger to the public health or safety.     
PPL Electric states that the total estimated cost for the proposed project is approximately $2.5 million, and will be owned and operated by PPL Electric.  Construction of the project is proposed to commence in November 2016 with a proposed in-service date of March 2017.    
The formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(vi) because the 0.20 miles of new 230 kV transmission lines are less than two miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  
We also note that our approval of the Letter of Notification does not reach the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the PPL Electric Utilities Corporation, for Approval to Install Approximately 0.20 Miles of New 230 kV Transmission Lines in Exeter Township, Luzerne County, Pennsylvania, is hereby approved.  
2. That this proceeding at Docket No. A-2016-2550917 be closed. 
[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary

ORDER ADOPTED: July 21, 2016
ORDER ENTERED: July 21, 2016
5

