PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265

|  | Public Meeting held December 8, 2016 |
| --- | --- |
| Commissioners Present: Gladys M. Brown, Chairman Andrew G. Place, Vice Chairman John F. Coleman, Jr. Robert F. Powelson David W. Sweet |  |
| David Hatchigian | C-2015-2477321 |
| v. |  |
| PECO Energy Company |  |

OPINION AND ORDER

BY THE COMMISSION:

Before the Pennsylvania Public Utility Commission (Commission) for consideration and disposition are the Exceptions filed by David Hatchigian (Complainant) on February 10, 2016, in response to the Initial Decision (I.D.) of Administrative Law Judge (ALJ) Cynthia Williams Fordham issued on January 21, 2016.  PECO Energy Company (PECO or the Company) filed Replies to Exceptions on February 24, 2016.  For the reasons stated below, we will deny the Complainant’s Exceptions and adopt the ALJ’s Initial Decision.

History of the Proceeding

On April 10, 2015, David Hatchigian filed a Formal Complaint (Complaint) against PECO with the Commission alleging that he incurred expenses of $75.00 for an underwriter’s certificate, lost $300.00 of rent and lost time due to PECO’s requirement that an electrical underwriter inspect the electrical wiring of the service address prior to reconnecting service.  As relief, the Complainant requested that the Commission order the Respondent to award him $500.00 compensation for the lost rent, the loss of time, and the cost of an underwriter’s certificate.  Complaint at 1.

On May 1, 2015, PECO filed an Answer and New Matter with Notice to Plead to the Complaint.  In its Answer, PECO stated that it denies all material allegations within the Complaint.  PECO further stated that it is Company policy to require an Underwriter Certificate of Inspection to protect the safety of the customer and their property before service is energized if service has been off for six months or longer.  Answer at 2-3. In its New Matter, PECO averred that the Complainant’s request for relief is not within the jurisdiction of the Commission to the extent that the Complainant is seeking monetary damages against the Company for his out of pocket expenses, rent, underwriter’s fee, or any other loss.  New Matter at 5, ¶4.

On May 18, 2015, the Complainant amended his request for relief when he filed his response to New Matter.  The Complainant requested that the Commission impose sanctions against the Company for refusing to reconnect service to his apartment without an underwriter’s certificate.  Replies to New Matter ¶ 2 at 2.

On May 21, 2015, PECO filed a Motion for Judgment on the Pleadings seeking to dismiss the portion of the Complainant’s present Complaint that seeks compensation for his out of pocket expenses because the Commission lacks jurisdiction to award monetary damages.  Motion at ¶¶ 15, 16.  In its Motion, the Company averred that twenty days had passed since it had filed its New Matter, and it had not been served with a response to its New Matter.  Motion at ¶¶ 7, 8.

On June 17, 2015, the Complainant sent correspondence to the Commission indicating that PECO had acted in a fraudulent manner when it filed its Motion knowing that the Complainant would be out of the country from May 15, 2015, until June 10, 2015.  The Complainant’s correspondence did not contain responses to the Respondent’s Motion but claimed that he in fact served PECO with his response to PECO’s New Matter.

By letter, dated July 9, 2015, and addressed to ALJ Fordham, the Complainant stated that he had three complaints with the same “defendant” and requested that all three be consolidated and heard at the same time to save the Commonwealth time and money.

On July 16, 2015, ALJ Eranda Vero issued an Order on Respondent’s Motion for Judgment on the Pleadings wherein she denied PECO’s request in light of the Complainant’s amendment of the relief requested.  The ALJ stated that the revised relief rendered the Company’s Motion moot and she set the matter for a hearing.

On September 3, 2015, ALJ Fordham issued Prehearing Order #2 denying the Complainant’s request to consolidate this case with his other two complaint cases against PECO.  The ALJ noted that the Commission’s Regulation at 52 Pa. Code § 5.81(a) authorizes a presiding officer to consolidate proceedings involving a common question of law or fact.  However, the ALJ determined that since there was no evidence in the record to show that the cases at Docket Nos. C-2015-2477331 and C-2015-2487879 involve a common question of law or fact with the instant case and the complaints involve a different property and different issues, the Complaint at Docket No. C-2015-2477321 was not consolidated with the complaints at Docket Nos. C-2015-2477331 and C-2015-2487879.

An Initial Hearing was held in this matter on September 29, 2015.  The Complainant appeared pro se and sponsored eleven exhibits.  PECO was represented by counsel who presented one witness and sponsored nine exhibits.

The hearing produced a transcript of seventy-seven pages and the record closed on October 26, 2015.

In her Initial Decision issued on January 21, 2016, ALJ Fordham dismissed the Complaint.  As previously indicated, the Complainant filed Exceptions to the Initial Decision on February 10, 2016, and PECO filed Replies to Exceptions on February 24, 2016.

Discussion

Legal Standards

As the proponent of a rule or order, the Complainant in this proceeding bears the burden of proof pursuant to Section 332(a) of the Public Utility Code (Code).  66 Pa. C.S. § 332(a).  To establish a sufficient case and satisfy the burden of proof, the Complainant must show that the Respondent is responsible or accountable for the problem described in the Complaint.  Patterson v. The Bell Telephone Company of Pennsylvania, 72 Pa. P.U.C. 196 (1990).  Such a showing must be by a preponderance of the evidence.  Samuel J. Lansberry, Inc. v. Pa. PUC, 578 A.2d 600 (Pa. Cmwlth. 1990), alloc. denied, 529 Pa. 654, 602 A.2d 863 (1992).  That is, the Complainant’s evidence must be more convincing, by even the smallest amount, than that presented by the Respondent.  Se-Ling Hosiery, Inc. v. Margulies, 364 Pa. 45, 70 A.2d 854 (1950).  Additionally, this Commission’s decision must be supported by substantial evidence in the record.  More is required than a mere trace of evidence or a suspicion of the existence of a fact sought to be established.  Norfolk & Western Ry. Co. v. Pa. PUC, 489 Pa. 109, 413 A.2d 1037 (1980).

Upon the presentation by a complainant of evidence sufficient to initially satisfy the burden of proof, the burden of going forward with the evidence to rebut the evidence of the complainant shifts to the respondent.  If the evidence presented by the respondent is of co-equal value or “weight,” the burden of proof has not been satisfied. The complainant now has to provide some additional evidence to rebut that of the respondent.  Burleson v. Pa. PUC, 443 A.2d 1373 (Pa. Cmwlth. 1982), aff’d, 501 Pa. 433, 461 A.2d 1234 (1983).

While the burden of going forward with the evidence may shift back and forth during a proceeding, the burden of proof never shifts. The burden of proof always remains on the party seeking affirmative relief from the Commission.  Milkie v. Pa. PUC, 768 A.2d 1217 (Pa. Cmwlth. 2001).

Any issue or Exception that we do not specifically address has been duly considered and will be denied without further discussion.  It is well settled that we are not required to consider, expressly or at length, each contention or argument raised by the parties.  Consolidated Rail Corporation v. Pa. PUC, 625 A.2d 741 (Pa. Cmwlth. 1993); see also, generally, University of Pennsylvania v. Pa. PUC, 485 A.2d 1217 (Pa. Cmwlth. 1984).

Positions of the Parties

The Complainant argued that it was not reasonable for PECO to require him to obtain and pay for an underwriter’s certificate unless a safety concern had been identified.  Tr. at 11-13.  The Complainant also testified that his prospective tenant could not move into the apartment on time because the Company would not provide electric service before the underwriter’s certificate was submitted.  Tr. at 13.  The Complainant claimed that the other apartment in the duplex had electricity and that the electric service for the second floor apartment had only been off a short time.  Tr. at 10.  The Complainant further asserted that PECO failed to cite a law or tariff that required him to submit the underwriter’s certificate.  Tr. at 15, 64; Complainant Exhs. 7 and 8; PECO Exh. 8.

PECO stated that the Company had requested an underwriter’s certificate from the Complainant because the service at his vacant apartment within the duplex had been off longer than six months.  Tr. at 33; PECO Exhs. 1 and 4.  PECO asserted that its request for an underwriter certificate was based on a Company policy and it’s Tariff. Tr. at 30, 31; PECO Exhs. 4 and 5.  PECO claimed that its policy requires an underwriter’s certificate when a hazardous condition exists, when the service has been off for more than six months, or when one of the employees deems it unsafe to energize the service Tr. at 27, 32; PECO Ex. 4.  Also, PECO explained that the Respondent’s tariff permits it to request an underwriter’s certificate.  PECO noted that its Tariff Rule 9 provides as follows:

9.	INTRODUCTION OF SERVICE

9.2 INSPECTION.  The Company reserves the right to refuse the introduction of service unless a written certificate of approval satisfactory to the Company has been received from a competent inspection agency authorized to perform this service in the specific locality in which service is to be provided.

ALJ’s Initial Decision

In her Initial Decision, ALJ Fordham made thirty Findings of Fact and reached seven Conclusions of Law.  I.D. at 5-8, 12.  The Findings of Fact and Conclusions of Law are incorporated herein by reference and are adopted without comment unless they are either expressly or by necessary implication rejected or modified by this Opinion and Order.

The ALJ stated that utility tariffs are service rules and regulations adopted by public utilities relating to rates.  According to the ALJ, tariffs filed with state regulatory agencies such as the public utility commission are not mere contracts but have the force of law and are binding on the consumer and the utility.  I.D. at 11 (citing Stiteler v. Bell Telephone Company, 379 A.2d 339 (Pa. Cmwlth. 1977); Brockway Glass Company v. Pa. Pub. Util. Comm’n, 437 A.2d 1067 (Pa. Cmwlth. 1981) (Brockway Glass); Pennsylvania Electric Company v. Pa. Pub. Util. Comm’n, 663 A.2d 281 (Pa. Cmwlth. 1995)).

The ALJ noted that tariff provisions that have been approved by the Commission, as PECO’s tariff provisions here, are prima facie reasonable.  I.D. at 11 (citing Lynch v. Pa. Pub. Util. Comm’n, 594 A.2d 816 (Pa. Cmwlth. 1991), app. denied 529 Pa. 670, 605 A.2d 335 (1992)).  Also, the ALJ pointed out that Section 1501 of the Public Utility Code, 66 Pa. C.S. § 1501 requires public utilities to “furnish and maintain adequate, efficient, safe, and reasonable service and facilities and make all such repairs, changes, alterations, substitutions, extensions, and improvements in or to such service and facilities as shall be necessary or proper for the safety of its patrons, employees, and the public.”  I.D. at 11.

As such, the ALJ found that it is reasonable for PECO to be concerned about the safety of the electrical service, the customer’s property and the public.  The ALJ also found that PECO presented evidence to demonstrate that the request for an underwriter’s certificate was reasonable and based on safety.  According to the ALJ, the Company presented evidence to show that it was following its tariff and Company policy when it requested the underwriter’s certificate before turning the electric on in the vacant apartment.  I.D. at 11.

The ALJ determined that the Complainant failed to provide evidence that PECO’s tariff, manual, and policy were unreasonable and were not warranted.  According to the ALJ, the Complainant did not present evidence to show that he could certify that the wiring at the property was safe without the underwriter’s certificate.  The ALJ noted that PECO is required to provide safe service.  The ALJ concluded that the Complainant failed to sustain his burden of proving that the Company’s rules and policies violated the Code or the Commission’s Regulations.  Therefore, since the Complainant failed to sustain his burden of proof, the ALJ dismissed the Complaint.  I.D. at 11-12.

Exceptions and Replies

In his Exceptions, the Complainant asserts that the “or” terminology within Section 9.2 of PECO’s Tariff, which designates the three-part criteria for underwriter certification, creates a double meaning that warrants consideration of extrinsic evidence.  The Complainant states that while the record shows that electric service was discontinued at his apartment for more than six months, there was no evidence presented that the apartment could not be certified safe without an underwriter.  To the contrary, the Complainant maintains that the record indicates safe service was determined without the need for an underwriter’s certificate.  Also, the Complainant avers that whereas tariff provisions that have been approved by the Commission are prima facie reasonable, the Commission could not have intended to give PECO unlimited discretion to punish owners and tenants in the manner mandated by looking to the tariff’s plain language alone.  The Complainant opines that notwithstanding the “or” language in the Commission-approved Section 9.2, utilities do not have unlimited discretion to formulate tariffs just as long as they are driven by public policy.  Exc. at 1-2.

The Complainant avers that based on the evidence, there was no hazardous condition at the property in question.  Exc. at 2 (citing Tr. at 41).  Furthermore, the Complainant notes that the inspection confirmed there was no realistic likelihood of structural decay or deteriorated wiring so as to risk an unsafe condition developing during that time.  As such, the Complainant opines that in this case, the Commission can refrain from revisiting the undisputed facts or its factual determination with respect to the policy’s “hazardous condition” criteria.  The Complainant further opines that the decision to enforce the tariff with no exception despite the absence of any unsafe condition was reached by overriding the facts and through a mistake of law.  According to the Complainant, the lack of exemption or waiver provision in the tariff is unreasonable.  Exc. at 2-3.

The Complainant asserts that he testified that comparable service to an adjoining apartment with the identical wiring was safe after a period of discontinuity.  The Complainant opines that if he had been permitted to do so at the hearing, it would have been a simple matter to establish with reasonable certainty the maintenance measures taken to render the service in a safe condition for the preceding six month period.  Exc. at 3 (citing Tr. at 13).  The Complainant avers that the ALJ’s decision disregards that the owner is required to pay the identical premium for certification even after it is clear that there is no unsafe condition at his property.  Without the possibility of exemption, the Complainant maintains that as applied, the tariff mandates that the property owner contact a third party electrical inspection agency, pay a separate fee to confirm there is no violation of the electrical code, and verify the absence of a hazard for the Company’s employees.  According to the Complainant, the plain language relied upon by the Company overrides the simple fact that having a test meter in place will indicate full functioning of the wiring and that an inspector’s finding of “no hazardous condition” renders the discontinuity parameter entirely redundant.  Exc. at 3-4.

In conclusion, the Complainant requests that the ALJ’s decision should be reversed and the record remitted with directions to reconsider whether a reasonable exception is implied by the tariff.  Exc. at 8.

In its replies to the Complainant’s Exceptions, PECO claims that its policy requires an Underwriter Certificate of Inspection to protect the safety of the customer and their property before service is energized under the following situations:  hazardous conditions, unsafe conditions, meter removed, service off for six months or longer, or in the judgment of the Company, citing to Section 9.2 of the Company’s Tariff.  PECO maintains that in this instance, the Company is operating under the basis of a Commission-approved tariff.  PECO points out that the Complainant has admitted in his Complaint and in his Exceptions that service was off at the property in question for six months.  As such, PECO opines that it is right to require an underwriter’s certificate if the service is off for six months or longer is contained within Section 9.2 of the Company’s tariff as approved and on file with the Commission.  PECO maintains that tariff provisions approved by the Commission are prima facie reasonable.  R. Exc. at 2 (citing 66 Pa. C.S. § 316).  Moreover, PECO claims that tariffs that have been approved by the Commission have the full force and effect of law and are binding on both the utility and its customers.  R. Exc. at 1-2 (citing Brockway Glass).

Additionally, PECO points out that in addition to the tariff, the requirement to obtain an underwriter’s certificate for safety is in the Company’s Electric Services Requirement manual (the “Blue Book”) which is a standard upheld by the National Electric Code and the Pennsylvania Uniform Construction Code.  According to PECO, this national standard sets a basis for safety for PECO’s requirements, tariff and Company policy.  Therefore, PECO avers that there is a reasonable basis for the Company to require the underwriter’s certificate for the safety of both the customer and property based upon these national standards.  R. Exc. at 2.

PECO asserts that the Complainant provided no proof at the hearing that his rental property was safe after the service had been off for six months.  Further, PECO maintains that the Complainant could not show and did not present evidence that his property was consistent with the national Electric Code or that energizing service would not cause a hazard or safety issue.  PECO explains that the underwriter’s certificate requirement is in place to protect such individuals as the Complainant’s tenant who could have moved into the property, and once service was energized without inspection, a fire could start or life threatening hazard could arise.  Therefore, PECO opines that as this tariff provision and policy is in place to ensure safety and protect PECO’s customers, it is reasonable.  R. Exc. at 2-3.

Lastly, PECO asserts that the Complainant cannot demonstrate that PECO’s Tariff Section 9.2 requirement for an underwriter’s certificate is unreasonable.  PECO claims that it has a reasonable basis for this tariff requirement and that it is entirely justified.  Accordingly, PECO avers that the ALJ’s decision dismissing this Complaint was proper and that nothing within the Complainant’s Exceptions warrants a reversal of the ALJ’s decision.  Therefore, PECO requests that the Complainant’s Exceptions be denied and his Complaint dismissed.  R. Exc. at 3.

Disposition

Based upon our review of the evidence of record, as well as the Exceptions and the Replies thereto, we shall deny the Complainant’s Exceptions.  We find that the ALJ properly dismissed the Complaint as he has failed to sustain his burden of proof that PECO acted unreasonably when requiring him to obtain an underwriter’s certification before reconnecting electric service to an apartment that had been unoccupied for over six months.  We find that the evidence presented by PECO determined that its request was reasonable, permitted by its Commission approved tariff and is based upon currently existing Company policy.  Specifically, Section 9.2 of PECO’s Commission approved tariff allows the Company to refuse to connect service unless an underwriter’s certificate is submitted by an authorized inspection agency.

Furthermore, we find that PECO’s policy that requires the submission of said underwriter’s certificate when the electric service has been off for six months or more when there is no electric meter at the property, or when there is a hazardous condition, is reasonable and appropriate to ensure the safety of the Company’s customers, their property and the Company’s employees.  It is important to note that the safety of the electric distribution system in Pennsylvania is of paramount importance to this Commission and we do not condone compromising PECO’s responsibility to provide safe electric service based upon the facts of this Complaint proceeding.

Accordingly, we shall deny the Exceptions of the Complainant and adopt the ALJ’s Initial Decision dismissing the Complaint.

## Conclusion

In light of the above discussion, we shall deny the Complainant’s Exceptions and adopt the ALJ’s Initial Decision that dismisses the Complaint consistent with this Opinion and Order; THEREFORE,

IT IS ORDERED:

1.	That the Exceptions filed by David Hatchigian on February 10, 2016, to the Initial Decision of Administrative Law Judge Cynthia Williams Fordham, are denied.

2.	That the Initial Decision of Administrative Law Judge Cynthia Williams Fordham, issued on January 21, 2016, is adopted.

3.	That the Formal Complaint filed on April 10, 2015, at Docket No. C-2015-2477321 by David Hatchigian against PECO Energy Company is dismissed.

4.	That the proceeding at Docket Nos. C-2015-2477321 be marked closed.

BY THE COMMISSION,

Rosemary Chiavetta

Secretary

(SEAL)

ORDER ADOPTED:  December 8, 2016

ORDER ENTERED:  December 8, 2016

On February 16, 2016, the Commission’s Secretary’s Bureau issued a Secretarial Letter granting Mr. Hatchigian’s request for an Extension of Time to file Exceptions.  The Secretarial Letter granted an extension until February 12, 2016, to file Exceptions and stated that any Replies to Exceptions must be filed by February 26, 2016.

The Complainant owns a duplex with two apartments at the service address and was attempting to rent the second floor apartment that had been vacant for over seven months.  Findings of Fact Nos. 1, 3, 7 and 8.

By Hearing Notice of July 15, 2015, the ALJ assigned to this case was changed from ALJ Eranda Vero to ALJ Cynthia W. Fordham.

However, ALJ Fordham did grant the Complainant’s request to consolidate his electric and gas complaints at Docket Nos. C-2015-2477331 and C-2015-2487879, respectively.