	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17105-3265
	


	
	Public Meeting held December 8, 2016

	Commissioners Present:
	


	Gladys M. Brown, Chairman
	

	Andrew G. Place, Vice Chairman
	

	John F. Coleman, Jr.
	

	Robert F. Powelson

David W. Sweet
	

	
	

	Letter of Notification of PPL Electric Utilities Corporation, filed pursuant to 52 Pa. Code §57.72 57 Subchapter G for Approval to Construct Approximately 0.4 Miles of New 500 kV Transmission Lines to Interconnect a New Independent Power Producer to the Electric Grid 
	Docket Number:

A-2016-2572293


ORDER

BY THE COMMISSION:

On October 20, 2016, PPL Electric Utilities Corporation (PPL Electric or the Company), Utility Code 110500, filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(vi) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated “Letter of Notification” (LON) siting application process in lieu of an application for the following:

(i)
An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 
right-of-way.
(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing
transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
   (vi) An HV line having a proposed route of 2 miles or less.

Copies of the Letter of Notification were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code §57.74(b)(c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Lackawanna County Planning Commission, Salem Township,  and others.  No protests were filed.  No hearings were held.

PPL Electric requests approval to construct three new single-circuit 500 kV transmission lines to interconnect the proposed Freedom Gas-Fired Power Plant (Freedom Power Plant) with the electric grid.  PPL Electric provides that the proposed plant will be interconnected to the PPL Electric transmission system by (i) constructing two 0.1 mile single-circuit 500 kV lines to re-terminate the existing Susquehanna-Lackawanna 500 kV transmission line into the newly constructed Shickshinny 500 kV Switchyard, and (ii) constructing a 0.3 mile single-circuit 500 kV transmission line from the Shickshinny 500 kV Switchyard to the plant.  

PPL Electric indicates that the project to connect the power plant to the electric grid has been reviewed and approved through the PJM Interconnection LLC (PJM) generation interconnection process.  Moxie Freedom LLC (Moxie Freedom) is proposing to construct and operate a new 1,050 MW natural gas-fired plant.  The plant will be located near PPL Electric’s existing Susquehanna-Lackawanna 500 kV Transmission Line.  Through the PJM interconnection process, PJM and PPL Electric determined that the plant should be interconnected with the Susquehanna-Lackawanna 500 kV Transmission Line.  The point of interconnection will occur at a dead-end structure located at the Freedom Plant switchyard.  The project is referenced in the PJM Generation Interconnection Queue as Z2-046.  
PPL Electric avers that the two 0.1 mile single-circuit transmission lines will be located entirely on right-of-way (ROW) granted by Moxie Freedom.  This segment of the project will be built, owned, and operated by PPL Electric.  The 0.3 mile single-circuit transmission line that will connect the Shickshinny 500 kV Switchyard with the Freedom Plant will be referred to as the Shickshinny-Freedom 500 kV Transmission Line.  This new line will be located entirely on ROW granted by Moxie Freedom.  This segment will be constructed by Moxie Freedom, but will be owned and operated by PPL Electric.  PPL Electric states that no additional ROW is needed for the project.  
PPL Electric explains that the each of the new 500 kV lines will require four new tower structures, for a total of twelve new steel monopoles.  All new tower structures will be self-supported and either direct embedded or installed on concrete caisson foundations.  The new structures are proposed to range between 130 and 195 feet in height, with an average height of approximately 165 feet.  

PPL maintains the project will be designed, constructed, operated and maintained in a manner that meets or surpasses all applicable National Electrical Safety Code (NESC) standards and all applicable legal requirements.  PPL Electric asserts that it has developed design specifications and safety rules which meet or surpass all requirements specified by the NESC.  
PPL Electric states that the total estimated cost for the proposed project is approximately $10 million, and will be paid for by Moxie Freedom.  The Freedom Plant is scheduled to begin commercial operation on May 1, 2018.  In order to re-terminate the existing Susquehanna-Lackawanna 500 kV transmission Line into the newly constructed Shickshinny 500 kV Switchyard, PPL Electric must coordinate with the outages scheduled for the Susquehanna - Lackawanna 500 kV Transmission Line and Unit 2 reactor at the Susquehanna nuclear plant.  PPL Electric indicates that construction of the project is proposed to commence in December 2016 during the December 2016 outage of the Susquehanna-Lackawanna 500 kV Transmission Line.  PPL Electric notes that it then plans to install and complete the proposed transmission lines during the February 2017 through March 2017 outage of the Unit 2 reactor at the Susquehanna nuclear plant.      
The formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(vi) because the 0.4 miles of new single-circuit 500 kV transmission lines to interconnect the Freedom Plant to the electrical grid will be less than two miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  
We also note that our approval of the Letter of Notification does not reach the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the PPL Electric Utilities Corporation, for Approval to construct approximately 0.4 miles of new 500 kV transmission lines to interconnect a new independent power producer to the electrical grid in Salem Township, Luzerne County, Pennsylvania,  is hereby approved.  
2. That this proceeding at Docket No. A-2016-2572293 be closed. 
[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary

ORDER ADOPTED: December 8, 2016
ORDER ENTERED: December 8, 2016
5

