	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17120
	


	
	Public Meeting held January 26, 2017

	Commissioners Present:
	


	Gladys M. Brown, Chairman
	

	Andrew G. Place, Vice Chairman
	

	John F. Coleman, Jr.
	

	Robert F. Powelson

David W. Sweet
	

	
	

	Letter of Notification of PPL Electric Utilities Corporation, filed pursuant to 52 Pa. Code §57.72 57 Subchapter G for Approval to Reconductor  Approximately 1.12 Miles of the Manor-Graceton 230 kV Transmission Line in Lancaster and York Counties, Pennsylvania
	Docket Number:

A-2016-2571165


ORDER

BY THE COMMISSION:

On October 12, 2016, PPL Electric Utilities Corporation (PPL Electric or the Company), Utility Code 110500, filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(vi) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated “Letter of Notification” (LON) siting application process in lieu of an application for the following:

(i)
An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 
right-of-way.
(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing
transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
   (vi) An HV line having a proposed route of 2 miles or less.

Copies of the Letter of Notification were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code §57.74(b)(c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Lancaster County Commissioners, York County Commissioners, and others.  No protests were filed.  No hearings were held.

PPL Electric requests approval to reconductor approximately 1.12 miles of the existing Manor-Graceton 230 kV Transmission Line in Lancaster and York Counties, Pennsylvania.   The existing double-circuit Manor-Graceton 230 kV Transmission Line is a 15.85-mile tie line connecting PPL Electric’s Manor Substation to the Baltimore Gas & Electric Company owned Graceton Substation in Graceton, Maryland.  The line crosses the Susquehanna River near the Manor Substation.  The river crossing starts in Lancaster County at the Manor Substation using a 3-pole steel structure and continues south approximately 2,990 feet to a steel lattice tower on Else Island, and then continues south approximately 2,897 feet to a 3-pole structure located on the opposite side of the river in York County.  PPL Electric rebuilt the Pennsylvania portion of the Manor – Graceton 230 kV Transmission Line, except for the river crossing section, in 2012 with high capacity conductors.  The river crossing currently utilizes lower capacity conductors, limiting the rating of the entire line.  
PPL Electric states that the reconductored river crossing is needed to resolve transmission line congestion as identified by PJM Interconnection, LLC (PJM) in the 2014 Regional Transmission Expansion Plant (RTEP) Market Efficiency Analysis.  PJM found that the constraint caused by the lower capacity of the river crossing produces congestion costs of approximately $7.9 million and $5.2 million using the 2019 and 2022 forecasts respectively. The proposed project is baseline project b2690 approved in the PJM 2015 RTEP.  
PPL Electric explains that the reconductored 1.12 mile river crossing will use the existing tower structures.  No new structures will be installed.  The existing overhead ground wire, shield wires, and marker balls along the river crossing spans will remain in place and continue to be used.  PPL Electric proposes to reconductor the river crossing segment within the existing right-of-way (ROW) for the Manor-Graceton 230 kV Transmission Line and a Submerged Lands License Agreement for the aerial river crossing.  No additional ROW is required.  


PPL Electric states that it has been coordinating with state and federal agencies to obtain information regarding threatened and endangered species.  PPL Electric will confirm total anticipated impacts, obtain permits and other authorizations from the County Conservation District, Pennsylvania Department of Environmental Protection and the United States Army Corps of Engineers as needed and will comply with all of the terms and conditions placed on those permits or authorizations.  PPL Electric provides that a Pennsylvania Natural Diversity Inventory (PNDI) review has shown that the project may have impacts on some threatened and endangered species and/or special concern species and resources.  PPL Electric states that any such impacts will be avoided by observing time of year restrictions on construction.  All construction activities for the project will take place between August 16 and February 14.  No other impacts are anticipated.  
PPL maintains the project will be designed, constructed, operated and maintained in a manner that meets or surpasses all applicable National Electrical Safety Code (NESC) standards and all applicable legal requirements.  PPL Electric asserts that it has developed design specifications and safety rules which meet or surpass all requirements specified by the NESC.  
PPL Electric states that the total estimated cost for the proposed project is approximately $2.2 million, and will be paid for and owned and operated by PPL Electric.  Construction of the project is proposed to commence in October 2017 with a proposed in-service date of November 2017.    
The formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(vi) because the 1.12 miles of reconductored double-circuit 230 kV transmission line will be less than two miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  
We also note that our approval of the Letter of Notification does not reach the issues of accounting treatment, and cost recovery; THEREFORE,
IT IS ORDERED:

1. That the Letter of Notification filed by the PPL Electric Utilities Corporation, for Approval to reconductor approximately 1.12 miles of the Manor – Graceton 230 kV Transmission Line in Lancaster and York Counties, Pennsylvania, is hereby approved.  
2. That this proceeding at Docket No. A-2016-2571165 be closed. 
[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary

ORDER ADOPTED: January 26, 2017
ORDER ENTERED: January 26, 2017
5

