	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17105-3265
	


	
	Public Meeting held February 9, 2017

	Commissioners Present:
	


	Gladys M. Brown, Chairman
Andrew G. Place, Vice Chairman
	

	John F. Coleman, Jr.
	

	Robert F. Powelson
	

	David W. Sweet
	

	
	


	Letter of Notification of Duquesne Light Company, filed pursuant to 52 Pa. Code §57.72 57 Subchapter G for the Approval to Reconductor a Segment of an Existing 138 kV Transmission Line Located in the Municipalities of Collier Township, Scott Township, Upper Saint Clair Township and Bethel Park in  Allegheny County,  Pennsylvania 
	Docket Number:

A-2017-2584539


ORDER

BY THE COMMISSION:

On January 17, 2017, Duquesne Light Company (Duquesne Light), Utility Code 110150, filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(1)(i) and (v) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated “Letter of Notification” (LON) siting application process in lieu of an application for the following:

(i)
An HV line which is proposed to be located entirely on an existing 

transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 
right-of-way.

(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing
transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
   (vi) An HV line having a proposed route of 2 miles or less.

Copies of the Letter of Notification were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code §57.74(b) and (c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Collier Township, Scott Township, Upper St. Clair Township, the Municipality of Bethel Park, Allegheny County Commissioners, and others.  No protests were filed.  No hearings were held.

Duquesne Light proposes to reconductor 6.96 miles of the existing 138 kV Woodville-Peters (Z-117) circuit as part of the South Hills Capacity Project.  The work being done as the subject of this LON is part of a larger baseline reliability project identified in PJM Interconnection, LLC’s 2015 Regional Transmission Expansion Plan (RTEP) as baseline project ID Nos. b2698.1 and b2698.2, which resolve potential congestion on Duquesne Light’s Z-117 circuit.  
Duquesne Light provides that the existing Z-117 circuit begins at the Woodville Substation and travels south for 1.36 miles to loop structures 3376-1 and 3376-2.  The existing circuit loops through the Universal Stainless and Alloy Products plant for a distance of 0.40 miles and returns back to tower 3376-1.  From tower 3376-1, the line continues south and then east towards West Penn Power pole 27A for a distance of 5.20 miles.  Duquesne Light indicates that the portion of the line owned and operated by West Penn Power is not proposed to be modified as part of this project.  The total distance for reconductoring the line is 6.96 miles.  Duquesne Light states that minor structural reinforcements such as bolt replacements and structural bracing will be required to meet the latest National Electric Safety Code (NESC) loading criteria and Duquesne Light design criteria.  
Duquesne Light states that it obtained right-of-way for the existing Z-117 circuit in 1950.  Duquesne Light avers that the existing right-of-way and the structure configuration will not change as a result of the reconductoring.  No new structures will be installed as part of the project.  
Duquesne Light avers that the project will not create any unreasonable risk of danger to the public health or safety.  Duquesne Light states that the project will be designed, constructed, operated, and maintained in a manner that meets or surpasses all applicable NESC minimum standards.  Further, Duquesne Light explains, the project will conform to Duquesne Light’s design criteria, construction standards, and safety practices.  

Duquesne Light provides that the total estimated cost for the proposed project is approximately $11.2 million.  Duquesne Light will pay for the project and own the project after construction is complete.  Construction of the project is proposed to start in September 2017 in order to meet an in-service date of June 1, 2018. 
The formal Duquesne Light Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(1)(i) and (v) because the proposed reconductoring of the existing 138 kV transmission line occurs within an existing right-of-way and does not significantly alter the right-of-way.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  
We also note that our approval of the Letter of Notification does not reach the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the Duquesne Light Company for the approval to reconductor a segment of an existing 138 kV transmission line located in the municipalities of Collier Township, Scott Township, Upper Saint Clair Township and Bethel Park in Allegheny County, Pennsylvania, is hereby approved.  
2. That this proceeding at Docket No. A-2017-2584539 be closed. 
[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary
ORDER ADOPTED: February 9, 2017
ORDER ENTERED:  February 9, 2017
4

