BEFORE THE

PENNSYLVANIA PUBLIC UTILITY COMMISSION

Ross E. Schell						:		C-2016-2565671

:		C-2016-2565235

v.						:		C-2016-2565236

:

PPL Electric Utilities Corporation			:

INITIAL DECISION

Before

Jeffrey A. Watson

Administrative Law Judge

INTRODUCTION

Ross E. Schell (Complainant or Mr. Schell) filed three formal complaints against PPL Electric Utilities Corporation (PPL, Company or Respondent) alleging reliability, safety or quality problems with his electric service and that he was not notified that his power was going to be interrupted.  This decision denies the formal complaints for failure of Complainant to meet his burden of proof.

HISTORY OF THE PROCEEDING

On September 8, 2016, Complainant filed a formal complaint (first complaint) at Docket No. C-2016-2565671.  The first complaint alleges reliability, safety or quality problems with his electric service.  As relief, Complainant requests a penalty paid to him in the sum of $150,000 and to restart his billing two months after the complaint is settled or completed.  Complainant filed another formal complaint (second complaint) on September 6, 2016 at Docket No. C-2016-2565235.  The second complaint alleges reliability, safety or quality problems.  As relief, Complainant requests a penalty paid to him in the sum of $150,000 and forgiveness by Respondent of his current bill.

Complainant filed another formal complaint (third complaint) on September 6, 2016 at Docket No. C-2016-2565236.  The third complaint alleges reliability, safety or quality problems.  As relief, Complainant requests forgiveness by Respondent of his outstanding balance.

Respondent filed its answer to the first complaint on September 26, 2016, an answer to the second complaint on September 26, 2016, and to the third complaint on September 26, 2016.  In each answer, Respondent essentially admitted that it provides electric service to Complainant.  Respondent denied the material averments set forth in the complaints.

On September 29, 2016, Complainant filed an “answer to answer” to the answers filed by Respondent to the second and third complaints.  Complainant  filed an “answer to answer” on October 4, 2016 to the answer filed by Respondent to the first complaint.  In these pleadings, Complainant essentially reiterated the averments set forth in the complaints and cited various provisions of the Pennsylvania Code.

On October 14, 2016, a hearing notice was issued which scheduled the initial telephonic hearing on all three complaints for November 16, 2016, at 10:00 a.m.  On October 25, 2016, the undersigned presiding officer issued a prehearing order, which set forth the procedural requirements for formal hearings before the Commission.

On November 16, 2016, the undersigned presiding officer convened the initial telephonic hearing as scheduled.  At the start of the hearing, the parties agreed to consolidate the three proceedings.  Complainant appeared pro se and testified on his own behalf.  He offered no exhibits.  Respondent was represented by Kimberly G. Krupka, Esquire, who presented testimony from one witness and offered no exhibits.

A transcript of the hearing was generated, consisting of 56 pages.  The record closed upon receipt of the transcript on December 16, 2016.

For the reasons set forth below, the formal complaints will be denied.

FINDINGS OF FACT

1.	The Complainant in this case is Ross E. Schell who resides at 203 Knollwood Drive in Harrisburg, Pennsylvania (service address or service location).  (Tr. 9)

2.	The Respondent in this case is PPL Electric Utilities Corporation.

3.	Complainant filed three formal complaints, which were consolidated and which are the subject of this initial decision.  (Tr. 4-5)

4.	Complainant has not called Respondent to report any issues with reliability since 2013.  (Tr. 24-25)

5.	Complainant has not made a payment on his bill from Respondent for at least one year.  (Tr. 26)

6.	The basis for the filing of the first complaint was an interruption of electric service for approximately ten seconds on September 7, 2016 at approximately 4:04 p.m.   (Tr. 8-10, 34)

7.	The momentary interruption on September 7, 2016 was caused by the failure of a 25 KVA transformer.  (Tr. 34-36)

8.	There is no way for Respondent to test all of its transformers in the field in order to prevent a transformer from failing.  (Tr. 35-36)

9.	The basis for the filing of the second and third complaints was an interruption of electric service for approximately ten seconds on September 4, 2016 at approximately 6:43 a.m.  (Tr. 14-16, 22, 34)

10.	The momentary outage on September 4, 2016 occurred during a period of time when Respondent was performing tree trimming operations.  (Tr. 35-37)

11.	The momentary outage on September 4, 2016 was likely caused from a tree branch dropping on a line or an animal coming in contact with a line.  (Tr. 36-37, 45)

12.	Respondent places animal guards on all transformers in all new installations and places animal guards on existing transformers based upon Company inspections.  (Tr. 37-38)

13.	Animals can damage a guard by chewing the device over time.  (Tr. 39)

14.	Respondent also takes protective measures to protect its entire system from damage when an animal comes in contact with any part of the system.  (Tr. 45-46)

15.	Since the beginning of 2016, Respondent has installed animal guards and has implemented tree trimming measures on the feeder system servicing the service location.  (Tr. 47-48)

16.	The tree trimming operations have been completed in the area of the service location and Respondent plans to begin inspecting all of the distribution transformers on the feeder system servicing the service location and replacing any animal guards found to be damaged.  (Tr. 47-48).

DISCUSSION

History

The first complaint was filed on September 8, 2016 at Docket No. C-2016-2565671, alleging reliability, safety or quality problem with Complainant’s electric service.  The basis for the filing of the first complaint was an alleged interruption of electric service on September 7, 2016, at approximately 4:04 p.m.  The momentary interruption on September 7, 2016 consisted of an interruption of electric service to Complainant of a duration of no more than ten seconds.

Complainant testified that his power goes off and on and that he has called Respondent a couple of times to determine the cause of the outages.  He stated that Respondent is now “hacking all the trees down” but his electricity still goes off and on.  Complainant testified that the outages occurred for a duration of “about a minute.”  Complainant testified that he did not call the Company regarding the outages and that the last time he contacted Respondent was in 2013.

Mr. Schell further complained that Respondent failed to provide him with advance notice of the interruption, but he provided no evidence that the interruption was a planned outage.

Respondent presented testimony of Michael Hadginske (Mr. Hadginske), a senior electrical engineer employed by Respondent as a reliability engineer.  Mr. Hadginske credibly testified that Complainant incurred a momentary interruption of service with a duration of no more than ten seconds, on September 7, 2016, and a ten second interruption on September 4, 2016.

The cause of the interruption on September 7, 2016 was the failure of a 25 kVa transformer.  No evidence was presented establishing any specific outages affecting the service location after September 7, 2016.

The second complaint was filed on September 6, 2016 at Docket No. C-2016-2565235, and the third complaint was filed on September 6, 2016 at Docket No. C-2016-2565236.  Both complaints allege reliability, safety or quality problems with his electric service.

The momentary outage on September 4, 2016 occurred when Respondent was performing tree trimming operations, and was likely caused from a tree branch dropping on a line or an animal coming in contact with a line.  Respondent places animal guards on all transformers in all new installations and places animal guards on existing transformers based upon Company inspections.

Animals can damage a guard by chewing the device over time.  Respondent also takes protective measures to protect its entire system from damage when an animal comes in contact with any part of the system.

Since the beginning of 2016, Respondent has installed animal guards and has implemented tree trimming measures on the feeder system servicing the service location.  Since tree trimming operations have been completed in the area of the service location, Respondent plans to inspect all of the distribution transformers on the feeder system servicing the service location and replace any animal guards found to be damaged.

Section 1501 of the Public Utility Code (Code), 66 Pa.C.S. § 1501, requires all public utilities to furnish and maintain adequate, efficient, safe, and reasonable service and facilities, and to make all repairs, changes, improvements, etc., to its service and facilities as shall be necessary or proper for the accommodation, convenience and safety of its patrons,

employees, and the public.  As defined, in pertinent part, in Section 102 of the Code, 66 Pa.C.S. § 102:

“Service.”  Used in its broadest and most inclusive sense, includes any and all acts done, rendered, or performed, and any and all things furnished or supplied, and any and all facilities used, furnished, or supplied by public utilities…in the performance of their duties under this part to their patrons, employees, other public utilities, and the public….

Complainant argues that Respondent violated the provisions of 66 Pa.C.S. § 1501 by failing to provide adequate and reasonable utility service.  Absent proof by a preponderance of the evidence that Respondent violated the provisions of 66 Pa.C.S. § 1501, the Commission

has no authority to require any action by Respondent.  West Penn Power Co. v. Pa. Pub. Util. Comm’n, 478 A.2d 947 (Pa.Cmwlth. 1984).

In determining whether Respondent has violated the provisions of 66 Pa.C.S. § 1501, it must be understood that what is required is adequate, efficient, safe, and reasonable service and facilities, not “perfect service.”  Manuel A. Biason v. Metropolitan Edison Company, PUC Docket No. C-00004450 (Opinion and Order entered December 19, 2001).  Likewise, service must only be reasonably continuous and without unreasonable interruptions or delay.  The Code does not mandate perfect service nor must a public utility provide the best possible service.  Most certainly, a public utility is not a guarantor of either perfect service or the best possible service.  Re Metropolitan Edison Company, 80 Pa. PUC 662 (November 19, 1993).

Mr. Schell experienced two momentary outages in a period of three days which lasted several seconds each.  Upon becoming aware of the outages occurring in the area of Complainant’s residence, Respondent investigated the likely cause of the outages and implemented tree trimming procedures and further inspections to identify and replace line guards to prevent future interruptions.

Although the evidence presented by Respondent establishes that Complainant experienced two brief momentary outages, no evidence was presented establishing that the momentary outages could have been prevented by Respondent or that Respondent failed to adequately and timely address the outages.  The evidence presented by Complainant is not sufficient to support a finding that Respondent provided inadequate, inefficient, unsafe, or unreasonable service and facilities.  Mr. Schell failed to establish a prima facie case.

Complainant presented no credible evidence or authority to establish, under the circumstances, that the number of outages experienced by Complainant or the customer service provided in addressing the outages constituted inadequate, inefficient, unsafe, or unreasonable service.

In Elkin v. Bell Telephone Company, 372 A.2d 1203 (Pa.Super. 1977), the Pennsylvania Superior Court defined “reasonable and adequate” service and explained:

“Every public utility shall furnish and maintain adequate, efficient, safe, and reasonable service and facilities, and shall make all such repairs, changes, alterations, substitutions, extensions, and improvements in or to such service and facilities as shall be necessary or proper for the accommodation, convenience, and safety of its patrons . . . and the public.  Such service also shall be reasonably continuous and without unreasonable interruptions or delay.  Such service and facilities shall be in conformity with the regulations and orders of the commission . . . .”  Id. 372 A.2d at 1205-06.

As the Court further explained in Elkin, the duty is upon the Commission to determine, on the basis of the facts and circumstances indicated by the substantial evidence, whether the service provided was reasonable and adequate.  Therefore, a case-by-case analysis must be made with regard to the length of time required by the Company to respond to the concerns raised by the customer.

Complainant also alleged that he was not notified that his power was going to be interrupted prior to the outages on September 4 or 7, 2016.  As discussed above, the outages were not planned by Respondent and no advance notice of the outages could be provided by the Company.

Mr. Schell has not established that Respondent failed to provide him with adequate, safe, efficient and reasonable utility service in violation of 66 Pa.C.S. § 1501.  Mr. Schell failed to establish a prima facie case.  He has failed to meet his burden of proof.  Accordingly, this claim will be denied.

CONCLUSIONS OF LAW

- The Commission has jurisdiction over the parties and the subject matter of this proceeding.  66 Pa.C.S. § 701.

- Complainant has the burden of proof.  66 Pa.C.S. § 332(a).

- Complainant failed to meet his burden of proving that Respondent violated the Public Utility Code, a Commission regulation or a Commission order.  66 Pa.C.S. § 332(a).

ORDER

THEREFORE,

# IT IS ORDERED:

- That the Formal Complaints filed by Ross E. Schell against PPL Electric Utilities Corporation at Docket Nos. C-2016-2565671, C-2016-2565235, and C-2016-2565236 are denied.

- That the Secretary’s Bureau shall mark Docket Nos. C-2016-2565671, C-2016-2565235, and C-2016-2565236 closed.

Date:  February 3, 2017						/s/

Jeffrey A. Watson

Administrative Law Judge

(..

1	Essentially, Complainant is seeking an award of monetary damages.  However, the Commission lacks authority to award monetary damages.  See In Re: Melograne, 812 A. 2d 1164 (Pa. 2002); Feingold v. Bell of Pennsylvania, 477 Pa. 1, 383 A.2d 791 (1977).  DeFrancesco v. Western Pennsylvania Water Company, 453 A.2d 595 (Pa. 1982); Elkin v. Bell of Pa., 420 A.2d 371 (Pa. 1980).  Therefore, this issue is not addressed further in this decision.

Tr. 9.

Tr. 11.