	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17120
	


	
	Public Meeting held April 6, 2017

	Commissioners Present:
	


	Gladys M. Brown, Chairman
	

	Andrew G. Place, Vice Chairman
	

	John F. Coleman, Jr.

Robert F. Powelson
	

	David W. Sweet
	

	
	


	Letter of Notification of PPL Electric Utilities Corporation, filed pursuant to 52 Pa. Code §57.72 57 Subchapter G for Approval to Reconductor  Approximately 0.64 Miles of the Brunner Island – Yorkana 230 kV Line in York County, Pennsylvania 
	Docket Number:

A-2017-2587651


ORDER

BY THE COMMISSION:

On February 3, 2017, PPL Electric Utilities Corporation (PPL Electric), Utility Code 110500, filed a Letter of Notification pursuant to 52 Pa. Code §57.72(d)(1)(vi) of the Commission’s transmission line siting regulations.  
Section 57.72 authorizes the abbreviated “Letter of Notification” (LON) siting application process in lieu of an application for the following:

(i)
An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 
right-of-way.
(ii) An HV line which is proposed to be located entirely within a public road.
(iii) An HV line which is proposed to be located entirely within applicant’s existing
transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
   (vi) An HV line having a proposed route of 2 miles or less.

Copies of the Letter of Notification were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code §57.74(b)(c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, York County Commissioners, York Haven Borough, East Manchester Township,  and others.  No protests were filed.  No hearings were held.

PPL Electric requests approval to reconductor approximately 0.64 miles of 230 kV transmission lines in the Borough of York Haven, East Manchester Township in York County.   According to PPL Electric, the existing Brunner Island – Yorkana 230 kV Transmission Line extends between the Brunner Island Power Plant and the Yorkana Substation, which supplies approximately 7,150 customers.  PPL Electric indicates that it owns and operates an approximately 0.64 mile segment of the Brunner Island – Yorkana Transmission Line from the Brunner Island Power Plant to a tap point with Metropolitan Edison Company (Met-Ed) at a transmission tower owned by Met-Ed.  

PPL Electric provides that PJM Interconnection LLC (PJM), in its 2014 Market Efficiency Analysis, identified the Brunner Island -Yorkana 230 kV Transmission Line as being congested along the 0.64-mile segment between the Brunner Island Power Plant and the Met-Ed tap point.  PJM found that this constraint produces congestion costs of approximately $22.6 million and $34.5 million using the 2019 and 2022 forecasts, respectively.  PPL Electric explains that these congestion costs increase the amounts paid by ratepayers for delivery of electric service.  The proposed project was presented at a PJM Transmission Expansion Advisory Committee meeting on October 14, 2015, and was approved as baseline project b2691 in the PJM 2015 Regional Transmission Expansion Plan.  

PPL Electric plans to reconductor the approximately 0.64-mile segment of the Brunner Island – Yorkana 230 kV Transmission Line with high capacity conductors.  The existing conductors will be removed and replaced with new high capacity conductors using the existing tower structures.  No new structures will be installed.  

PPL Electric contends that the entire project will be located within the existing right-of-way.  No additional right-of-way is required for the construction and operation of the reconductored segment of the Brunner Island – Yorkana 230 kV Transmission Line.    
PPL Electric maintains the project will not create any unreasonable risk of danger to public health or safety.  PPL Electric provides that the project will be designed, constructed, operated, and maintained in a manner that meets or surpasses all applicable National Electrical Safety Code (NESC) minimum standards and all applicable legal requirements.   
PPL Electric states that the total estimated cost for the proposed project is approximately $954,000, and will be owned and operated by PPL Electric.  Construction of the project is proposed to commence in April 2017 with a proposed in-service date of June 2019.    
The formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d) because the 0.64-mile segment of reconductored transmission line appears to conform with § 57.72(d)(1)(vi)  which allows an LON to be filed when the reconductored line will be less than 2 miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  
We also note that our approval of the Letter of Notification does not reach the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the PPL Electric Utilities Corporation, for Approval to Reconductor Approximately 0.64 Miles of the Brunner Island – Yorkana 230 kV Transmission Line in York County, Pennsylvania, is hereby approved.  
2. That this proceeding at Docket No. A-2017-2587651 be closed. 
[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary

ORDER ADOPTED: April 6, 2017
ORDER ENTERED:  April 6, 2017
5

