|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

November 28, 2017

Docket No. A-2017-2634162

Utility Code: 110500

CERTIFIED

CHRISTOPHER T WRIGHT

POST & SCHELL P C

17 NORTH SECOND STREET

HARRISBURG PA 17101-1601

Re:  	Letter of Notification of PPL Electric Utilities Corporation for Approval to Construct Temporary and Permanent Transmission Lines in Lower Allen and Upper Allen Townships, Cumberland County, Pennsylvania.

Dear Mr. Wright:

On November 14, 2017, PPL Electric Utilities Corporation (PPL Electric) filed a Letter of Notification (LON) for approval to Construct approximately 0.7 miles of new 230 kV transmission lines and 0.8 miles of temporary 230 kV transmission lines in Lower Allen and Upper Allen Townships, Cumberland County, Pennsylvania.  In order for us to complete our analysis of the subject application, the Bureau of Technical Utility Services requires answers to the enclosed data requests.  This information is necessary for completion of our review of the filing.

Please be advised that you are directed to forward the requested information to the Commission within ten (10) days of receipt of this letter.  Failure to respond may result in the LON being denied.  As well, if PPL Electric has decided to withdraw its filing, please reply notifying the Commission of such a decision.

Please forward the information to the Secretary of the Commission at the address listed below.  When submitting documents, all documents requiring notary stamps must have original signatures.  Please note that some responses may be e-filed to your case, http://www.puc.pa.gov/efiling/default.aspx.   A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Rosemary Chiavetta, Secretary

Pennsylvania Public Utility Commission

400 North Street

Harrisburg, PA 17120

Your answers should be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa.C.S. § 4904 (relating to unsworn falsification to authorities).

The blank should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.

In addition, to expedite analysis of the LON, please also e-mail the information to

Jordan Van Order at jvanorder@pa.gov.  Please direct any questions to Jordan Van Order, Bureau of Technical Utility Services, at jvanorder@pa.gov (preferred) or 717-787-8763.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

Bureau of Technical Utility Services

Data Requests

Docket No. A-2017-2634162

A-l 	Reference the LON, Paragraph 10 generally stating that the 230 kV and 69 kV switchyards and transformers at the West Shore Substation do not meet modern design standards and have reached an age and condition such that they must be replaced in order to continue providing safe and reliable service.  Please provide a detailed description of the conditions which require these facilities to be replaced and any analysis performed to determine project prioritization.

A-2	Reference the LON, Paragraph 20 stating that the project will be located entirely on existing PPL Electric owned property and within existing rights-of-way.  Please state the width of the existing ROW and explain how the rerouted Williams Grove – West Shore 230 kV Transmission Line (Williams Grove – West Shore) will be designed to fit within. Specifically, the section of new transmission line between the existing Williams Grove – West Shore and PPL Electric owned property.

A-3	Reference the LON, Paragraph 28 stating that the cost to site, design, and construct the

230 kV transmission lines is approximately $3 million and the overall project cost is $32 million.  Please state the name of the individual or entity who will pay these costs.  In addition, please state the name of the individual or entity that will own, operate and maintain the new and temporary transmission lines.

A-4	Reference the LON, Attachment 1, Figure 1-4 showing the proposed configuration of temporary transmission lines.  Please explain how the temporary 230 kV transmission line connecting the West Shore – Steelton 230 kV Transmission Line to the West Shore Substation will meet NESC required horizontal clearances while maintaining the ROW on PPL Electric owned property.

A-5	Please provide a certificate of service for the U.S. Army Corps of Engineers and Norfolk Southern.