	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17105-3265
	


	
	Public Meeting held February 8, 2018

	Commissioners Present:
	


	Gladys M. Brown, Chairman
	

	Andrew G. Place, Vice Chairman
Norman J. Kennard
	

	David W. Sweet
	

	John F. Coleman, Jr.
	

	
	

	Letter of Notification of PPL Electric Utilities, for Approval to Site and Construct Approximately 0.4 Miles of New 230 kV Transmission Lines in Bear Creek Township, Luzerne County, Pennsylvania 
	Docket Number:

A-2017-2638232


ORDER
BY THE COMMISSION:

On December 12, 2017, PPL Electric Utilities Corporation (PPL Electric), Utility Code 110500, filed a Letter of Notification (LON) pursuant to 52 Pa. Code § 57.72(d)(1)(vi) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated LON siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing 

transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 

right-of-way.
(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing
transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
   (vi) An HV line having a proposed route of 2 miles or less.


Copies of the LON were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code § 57.74(b)(c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Luzerne County Commissioners, Bear Creek Township, et al.  No protests were filed.  No hearings were held.
PPL Electric requests approval to build approximately 0.4 miles of new 230 kV transmission lines in Bear Creek Township, Luzerne County, Pennsylvania.  PPL Electric states that the lines are needed to reinforce the 69 kV system serving Luzerne County.  The new transmission lines will consist of two new double-circuit 230 kV transmission lines, each approximately 1,100 feet in length.
PPL Electric states that the proposed project (Proposed Project) installs two sections of double-circuit 230 kV transmission line to connect a new Palooka 230-69 kV Substation to the electric grid.  The new circuits will be designated as the Susquehanna-Palooka #1 & #2 230 kV Transmission Lines and the Palooka-Jenkins and Palooka-Acahela 230 kV Transmission Lines.
PPL Electric states that the existing single circuit Susquehanna-Jenkins 230 kV Transmission Line (Susquehanna-Jenkins) and the existing single circuit Susquehanna-Acahela 230kV Transmission Line (Susquehanna-Acahela) currently extend from the Susquehanna 230-69 kV Substation (Susquehanna Substation) to the Jenkins 230-69 kV Substation (Jenkins Substation) and the Acahela 230-69 kV Substation (Acahela Substation) respectively.  
Upon completion of the Proposed Project, Susquehanna-Jenkins will extend from the Susquehanna Substation to the new Palooka Substation and from the new Palooka Substation to the Jenkins Substation becoming the Susquehanna-Palooka #1 230 kV and the Palooka-Jenkins 230 kV transmission lines, respectively.  
Similarly, Susquehanna-Acahela will extend from the Susquehanna Substation to the new Palooka Substation and from the new Palooka Substation to the Acahela Substation becoming the Susquehanna-Palooka #2 230 kV and the Palooka-Acahela 230 kV transmission lines, respectively.
PPL Electric states that the Proposed Project includes four new steel monopole structures, two for each new double-circuit line.  The new structures will average 160 feet in height and will be self-supported, either directly embedded or on concrete caisson foundations.  PPL Electric further states that the Proposed Project has been designed and will be built entirely on property owned by PPL Electric.
As previously mentioned, PPL Electric states that the Proposed Project and the new Palooka Substation are needed to reinforce the 69 kV system serving Luzerne County.  In particular, the Palooka Substation will provide a new 230 kV backbone source for the south/west portion of the Scranton/Wilkes-Barre metropolitan area and improve the reliability of the 69 kV network in the Wilkes-Barre area, and parts of the Hazleton area.  The Proposed Project was presented to the PJM Mid-Atlantic Sub-Regional Transmission Expansion Plan committee in December 2014 and assigned supplemental project number s0860.
PPL Electric uses an Asset Optimization Strategy to systematically identify and modernize its aging facilities.  The measures used to identify equipment and lines that qualify for this work include age, condition, criticality of the equipment or line, and circuit performance.
PPL Electric maintains the Proposed Project will be designed, constructed, operated and maintained in a manner that meets or surpasses all applicable PPL Electric and National Electrical Safety Code minimum standards and all applicable legal requirements.

PPL Electric states that the total estimated cost for the Proposed Project is approximately $2.5 million.  The entire cost of the Proposed Project will be paid for by PPL Electric.  Construction of the Proposed Project is anticipated to commence in March 2018 with a proposed in-service date of May 2019.
The formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(1)(vi) because the Proposed Project constructs 230 kV transmission lines which are less than 2 miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  

We also note that our approval of the Letter of Notification does not address the issues of accounting treatment, and cost recovery; THEREFORE,
IT IS ORDERED:
1. That the Letter of Notification filed by the PPL Electric, for approval to construct approximately 0.4 miles of new 230 kV transmission lines in Bear Creek Township, Luzerne County, Pennsylvania, is hereby approved.  

2. That this proceeding at Docket No. A-2017-2638232 be closed. 
[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta
Secretary

ORDER ADOPTED: February 8, 2018
ORDER ENTERED: February 8, 2018
5

