	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA.  17105-3265
	


	
	Public Meeting held April 19, 2018

	Commissioners Present:
	


	Gladys M. Brown, Chairman
	

	Andrew G. Place, Vice Chairman
Norman J. Kennard
	

	David W. Sweet
	

	John F. Coleman, Jr.
	

	
	

	Letter of Notification of PPL Electric Utilities Corporation for Approval to Re-Terminate Approximately 600 feet of the Lackawanna-Shickshinny 500 kV Transmission Line in Blakey Borough, Lackawanna County, Pennsylvania 


	Docket Number:

A-2018-2647063




ORDER

BY THE COMMISSION:

On February 8, 2018, PPL Electric Utilities Corporation (PPL Electric), Utility Code 110500, filed a Letter of Notification (LON) pursuant to 52 Pa. Code § 57.72(d)(1)(v) of the Commission’s transmission line siting regulation.  Section 57.72 authorizes the abbreviated LON siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 

right-of-way.
(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing
transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v) An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
   (vi) An HV line having a proposed route of 2 miles or less.


Copies of the LON were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code § 57.74(b)(c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Lackawanna County Commissioners, and Blakey Borough, et al.  No protests were filed.  No hearings were held.

PPL Electric requests approval to re-terminate approximately 600 feet of the Lackawanna-Shickshinny 500 kV Transmission Line (Lackawanna-Shickshinny) located in Blakey Township, Lackawanna County, Pennsylvania.  The subject section of transmission line will extend from an existing transmission structure to a new location at the 
Lackawanna 500-230-69 kV Substation (Lackawanna Substation).   The Lackawanna Substation is supplied by two 500 kV transmission lines.  The 33-mile long, single-circuit Lackawanna-Shickshinny and the 78-mile long Lackawanna-Hopatcong 500 kV Transmission Line which are currently terminated into the Lackawanna Substation’s Bay 1 and Bay 2 respectively.
   
PPL Electric states that the proposed project (Proposed Project) consists of the realignment of two spans of existing transmission line, approximately 350 feet in length, construction of approximately 250 feet of new transmission line, and the construction of one new steel monopole dead-end transmission line structure.  The new structure will be approximately 198 feet in height and will be located entirely on PPL Electric owned property.  PPL Electric further states that existing nearby structures range from 174 feet to 195 feet in height.

PPL Electric avers that the Proposed Project is needed to resolve transformer overloading concerns.  PPL Electric states that in the 2016 Regional Transmission Expansion Plan (RTEP) Reliability Analysis, PJM identified that one of the two 500-230 kV transformers at the Lackawanna Substation becomes overloaded beyond its emergency rating during a contingency event involving a fault on one of the substation’s 500 kV supply lines and a failure of a switchyard circuit breaker.  The Proposed Project was presented at a PJM Transmission Expansion Advisory Committee meeting as a solution and was approved as baseline project B2824 in the 2016 RTEP. 
PPL Electric states that the Proposed Project will correct the contingency event by relocating the existing Lackawanna 500-230 kV Transformer 3 (Lackawanna Transformer 3) from the Lackawanna Substation’s west bus to the Bay 1 position.  PPL Electric states that to facilitate the transformer relocation, the Lackawanna-Shickshinny transmission line will be removed from its current termination point in Bay 1 and re-terminated into a newly created Bay 3.  As noted above, PPL will realign two spans of the existing transmission line and construct approximately 250 feet of new transmission line to accomplish the re-termination.   
PPL Electric maintains the Proposed Project will be designed, constructed, operated and maintained in a manner that meets or exceeds the requirements specified in the National Electrical Safety Code and all applicable legal requirements.  PPL Electric further states that the entire project will be constructed within PPL Electric’s property and that no additional right-of-way is needed.
PPL Electric states that the total estimated cost for the Proposed Project is approximately $1,024,000 and will be paid for by PPL Electric.  Construction of the Proposed Project is anticipated to commence in May 2018 with a proposed in-service date of January 2019.

The formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(1)(v) because the Proposed Project reconstructs a portion of the existing Lackawanna-Shickshinny 500 kV Transmission Line in such a manner that the ROW is not substantially altered.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  

We also note that our approval of the Letter of Notification does not address the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the PPL Electric Utilities Corporation, for approval to re-terminate approximately 600 feet of the Lackawanna-Shickshinny 500 kV Transmission Line in Blakey Borough, Lackawanna County, Pennsylvania, is hereby approved.  
2. That this proceeding at Docket No. A-2018-2647063 be closed. 

[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta

Secretary

ORDER ADOPTED: April 19, 2018

ORDER ENTERED: April 19, 2018
5

