	[image: image2.png]



	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

400 NORTH STREET, HARRISBURG, PA 17120
	IN REPLY PLEASE REFER TO OUR FILE


June 15, 2018
M-2018-3002612
RICHARD WEBSTER
PECO VICE PRESIDENT, REGULATORY POLICY AND STRATEGY
2301 MARKET STREET

S15

PHILADELPHIA, PA 19103
Re:
Request to the Pennsylvania Public Utility Commission for Exclusion of Major                  
Outage for Reliability Reporting Purposes.
Dear Mr. Webster:


On April 12, PECO Energy Company (PECO) filed two combined reports consisting of a service outage report and a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M-00991220.  On April 17, 2018, via Secretarial Letter, PECO was notified that the service outage report and the request for exclusion must each be filed under separate cover.  On Jun 8, 2018, PECO refiled its request for exclusion of major outage for reliability reporting purposes, which was docketed at the number referenced, above.  The instant request for exclusion is considered timely filed as the original filing was submitted before the May 1, 2018 deadline for consideration of major events occurring in the first quarter of 2018.
  

This request relates to service interruptions associated with a high winds and heavy snow, which affected the PECO territory beginning on March 7, 2018.  PECO averred significant damage was caused to their electric distribution system.  This caused sustained service interruptions to 191,272 customers out of a total of 1,635,159 customers.  The sustained interruptions occurred in all of PECO’s service territory, which includes Bucks, Delaware, Chester, Montgomery, Philadelphia, and York Counties.  PECO stated that the event caused service interruptions from March 7, 2018, at 04:48 hours until March 11, 2018, at 09:45 hours.

Upon review of the company’s filing, it appears that the service interruptions described by PECO qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.  However, the Commission’s approval is contingent upon the possibility that subsequent audits, reviews, and inquiry, in any Commission proceeding, may be conducted, pursuant to 52 Pa. Code §57.197 (relating to Reliability investigations and enforcement).

In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.

[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION















Sincerely,








Rosemary Chiavetta







Secretary

Cc
Daniel Searfoorce, TUS


John Van Zant, TUS


Kelly Monaghan, Audits


Kathleen Aunkst, Secretary’s Bureau

� See Amended Reliability Benchmarks and Standards for the Electric Distribution Companies, page 33, Order entered May 11, 2004, at Docket No. M-00991220.





