|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

June 20, 2018

Docket No. A-2018-3002418

Utility Code: 110150

CERTIFIED

MICHAEL W ZIMMERMAN

DUQUESNE LIGHT COMPANY

411 SEVENTH AVENUE

PITTSBURGH PA 15219

Re:  	Letter of Notification of Duquesne Light Company for Approval to Relocate and Construct 138 kV Transmission Lines in Beaver County, Pennsylvania.

Dear Mr. Zimmerman:

On May 31, 2018, Duquesne Light Company (Duquesne) filed a Letter of Notification (LON) for approval to relocate and construct 138 kV transmission lines in Potter, Brighton, and Vanport Townships, Beaver County, Pennsylvania.  In order for us to complete our analysis of the subject application, the Bureau of Technical Utility Services requires answers to the enclosed data requests.  This information is necessary for completion of our review of the filing.

Please be advised that you are directed to forward the requested information to the Commission within ten (10) days of receipt of this letter.  Failure to respond may result in the LON being denied.  As well, if MAIT has decided to withdraw its filing, please reply notifying the Commission of such a decision.

Please forward the information to the Secretary of the Commission at the address listed below.  When submitting documents, all documents requiring notary stamps must have original signatures.  Please note that some responses may be e-filed to your case, http://www.puc.pa.gov/efiling/default.aspx.  A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Rosemary Chiavetta, Secretary

Pennsylvania Public Utility Commission

400 North Street

Harrisburg, PA 17120

Your answers should be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa.C.S. § 4904 (relating to unsworn falsification to authorities).

The blank should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.

In addition, to expedite analysis of the LON, please also e-mail the information to

Jordan Van Order at jvanorder@pa.gov.  Please direct any questions to Jordan Van Order, Bureau of Technical Utility Services, at jvanorder@pa.gov (preferred) or 717-787-8763.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

Bureau of Technical Utility Services

Data Requests

Docket No. A-2018-3002418

A-1	Reference the Letter of Notification, Paragraph 10.  Please state the PJM project identification number for the subject project.

A-2	Reference the Letter of Notification, Paragraph 24.  Please explain whether the reliability concerns are the result of a new criteria which must be considered.

A-3	Reference the Letter of Notification, Paragraph 25.  Please describe the physical condition of Towers 4065-1, 4066-1, 4067, and 4068.

A-4	Reference the Letter of Notification, Section II(A)(2) and Paragraph 27.  Please explain whether any of the facilities to be removed or relocated were installed as part of the letter of notification at Docket No. A-2014-2451433.  If so, please describe these facilities.

A-5	Reference the Letter of Notification, Paragraph 30.  Please state the height of the existing structures to be removed.

A-6	Reference the Letter of Notification, Paragraph 31.  Please provide the minimum designed conductor to ground vertical clearance where the proposed transmission line will cross the Ohio River.

A-7	Reference the Letter of Notification, Paragraph 34.  Please state the cost of the 138 kV portion of the subject project.

A-8	Reference the Letter of Notification, Paragraph 34.  Please state the name of the individual or entity that will pay for the subject project.

A-9	Reference the Letter of Notification, Paragraph 42.  Please state the names of the property owners from whom right-of-way will be obtained for the new and relocated 138 kV transmission line.

A-10	Reference the Letter of Notification, Attachment 1.  Please provide a copy of Attachment 1 which clearly shows the facilities that were installed as part of the letter of notification at Docket No. A-2014-2451433 and the facilities which will be removed or relocated as part of the subject project.

A-11	Please state the number of streams and wetlands which will be crossed.

A-12	Please state whether any endangered or threatened species will be affected.