|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

July 2, 2018

Docket No. A-2018-3002896

Utility Code: 110150

CERTIFIED

EMILY M FARAH

DUQUESNE LIGHT COMPANY

411 SEVENTH AVENUE

PITTSBURGH PA 15219

Re:  	Letter of Notification of Duquesne Light Company for Approval to Reconfigure Existing and Construct New 138 kV Transmission Lines in Allegheny County, Pennsylvania.

Dear Ms. Farah:

On June 19, 2018, Duquesne Light Company (Duquesne) filed a Letter of Notification (LON) for approval to reconfigure existing and construct new 138 kV transmission lines in Robinson Township, Allegheny County, Pennsylvania.  In order for us to complete our analysis of the subject application, the Bureau of Technical Utility Services requires answers to the enclosed data requests.  This information is necessary for completion of our review of the filing.

Please be advised that you are directed to forward the requested information to the Commission within ten (10) days of receipt of this letter.  Failure to respond may result in the LON being denied.  As well, if Duquesne has decided to withdraw its filing, please reply notifying the Commission of such a decision.

Please forward the information to the Secretary of the Commission at the address listed below.  When submitting documents, all documents requiring notary stamps must have original signatures.  Please note that some responses may be e-filed to your case, http://www.puc.pa.gov/efiling/default.aspx.  A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Rosemary Chiavetta, Secretary

Pennsylvania Public Utility Commission

400 North Street

Harrisburg, PA 17120

Your answers should be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa.C.S. § 4904 (relating to unsworn falsification to authorities).

The blank should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.

In addition, to expedite analysis of the LON, please also e-mail the information to

Jordan Van Order at jvanorder@pa.gov.  Please direct any questions to Jordan Van Order, Bureau of Technical Utility Services, at jvanorder@pa.gov (preferred) or 717-787-8763.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

Bureau of Technical Utility Services

Data Requests

Docket No. A-2018-3002896

A-1	Reference the Letter of Notification, Section I, Page 2.  Please state the anticipated in-service date for the proposed project.

A-2	Reference the Letter of Notification, Paragraph 6.  Please explain whether there is a PJM project identification number for the proposed project.  If so, please provide the project number.

A-3	Reference the Letter of Notification, Paragraph 10.  Please explain whether any existing transmission line structures will be removed as part of the proposed project.  If so, please state the approximate height of these structures.

A-4	Reference the Letter of Notification, Paragraph 17.  Please state the name of the individual or entity that will pay for the proposed project.

A-5 	Reference the Letter of Notification, Paragraph 17.  Please provide a breakdown of the project costs showing separately the cost for transmission line reconfiguration and substation work.

A-6	Reference the Letter of Notification, Section III(B).  Please state the height of the new temporary and permanent transmission line structures to be installed.

A-7	Reference the Letter of Notification, Section (III)(B).  Please state the number of circuits on each of the affected transmission lines.

A-8	Reference the Letter of Notification, Section III(B).  Please state the age of the transmission lines to be reconfigured under the proposed project.

A-9	Reference the Letter of Notification, Paragraph 19 and Attachment 1.  Please state the number outages which have occurred in the past 5 years on the three distribution lines fed by the existing ring-bus.  Additionally, please state the number of outages which would have mitigated by the proposed breaker and a half configuration.

A-10	Reference the Letter of Notification, Paragraph 20.  Please state whether the transmission line capacity will be increased with the new protective relays.  If so, please state the existing line rating and the new rating.

A-11	Reference the Letter of Notification, Paragraph 29.  Please state the number of streams and wetlands which will be crossed by the proposed project.

A-12	Reference the Letter of Notification, Paragraph 36.  Please state the width of the existing right-of-way.

A-13	Reference the Letter of Notification, Section H.  Please provide a revised section which includes the statement required by 52 Pa. Code § 57.72(d)(4)(iv).