|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

August 7, 2018

Docket No. A-2018-3001477

Utility Code: 110500

CERTIFIED

LINDSAY A BERKSTRESSER

POST & SCHELL P C

17 NORTH SECOND STREET 12TH FLOOR

HARRISBURG PA 17101-1601

Re:  	Letter of Notification of PPL Electric Utilities Corporation for Approval to Site and Construct the Siegfried-East Palmerton #1 & #2 138/69 kV Transmission Line in Lehigh and Carbon Counties, Pennsylvania.

Dear Ms. Berkstresser:

On April 20, 2018, PPL Electric Utilities Corporation (PPL Electric) filed a Letter of Notification (LON) for approval to site and construct the Siegfried – East Palmerton 138 kV Transmission Line in Washington Township, Lehigh County and the Borough of Palmerton and Lower Towamensing and East Penn Townships, Carbon County, Pennsylvania.  In order for us to complete our analysis of the subject application, the Bureau of Technical Utility Services requires answers to the enclosed data requests.  This information is necessary for completion of our review of the filing.

Please be advised that you are directed to forward the requested information to the Commission within three (3) days of receipt of this letter.  Failure to respond may result in the LON being denied.  As well, if PPL Electric has decided to withdraw its filing, please reply notifying the Commission of such a decision.

Please forward the information to the Secretary of the Commission at the address listed below.  When submitting documents, all documents requiring notary stamps must have original signatures.  Please note that some responses may be e-filed to your case, http://www.puc.pa.gov/efiling/default.aspx.  A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Rosemary Chiavetta, Secretary

Pennsylvania Public Utility Commission

400 North Street

Harrisburg, PA 17120

Your answers should be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa.C.S. § 4904 (relating to unsworn falsification to authorities).

The blank should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.

In addition, to expedite analysis of the LON, please also e-mail the information to

Jordan Van Order at jvanorder@pa.gov.  Please direct any questions to Jordan Van Order, Bureau of Technical Utility Services, at jvanorder@pa.gov (preferred) or 717-787-8763.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

Bureau of Technical Utility Services

Data Requests

Docket No. A-2018-3001477

A-13	Reference Discovery, Response to A-1.  Please provide additional evidence detailing the physical condition of the facilities proposed to be replaced including a description of the condition of the conductors, photographs of the steel and wooden transmission structures, and a description of the physical condition and photographs of the transmission structure foundations.

A-14	Reference Discovery, Response to A-1.  Please explain the concerns associated with the reduction in insulator insulating properties.  If there are any efficiency concerns associated with the degradation, please quantify the reduction in losses associated with the replacement of the insulators.

A-15	Reference Discovery, Response to A-12.  Please provide a list and description of the critical and non-critical deficiencies identified in 2016.

A-16	Reference the Letter of Notification, Attachment 1, Page 1-8.  Please provide a detailed description of the methodology used to determine that the subject transmission lines have reached the end of their useful service life.  Additionally, provide any service life or survival curves used in this determination.

A-17	Reference the Letter of Notification, Attachment 1, Page 1-8.  Please state the approximate cost to rehabilitate the transmission lines.

A-18	Reference the Letter of Notification, Paragraph 18.  Please provide a copy of the engineering assessment conducted by DiGioia Gray and Associates.

A-19	Reference Discovery, Response to A-12.  Please provide a graph of the annual maintenance expenses on the subject transmission line and state the anticipated annual maintenance expenses on the line following completion of the proposed project.

A-20	Reference Discovery, Responses to A-10 and A-11.  Please explain whether a loss of the subject section of transmission line results in the loss of service to customers.