|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION P.O. BOX 3265, HARRISBURG, PA 17105-3265 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

November 13, 2018

A-2018-3004959

# TO ALL PARTIES

Application of Duquesne Light Company for approval to alter the public at-grade crossing (DOT 510 934 T) where 48th Street crosses at grade the tracks of Allegheny Valley Railroad located in the City of Pittsburgh, Allegheny County, by reason of the replacement of existing steel lattice structures with new utility poles.

To Whom It May Concern:

By application filed with the Commission on September 26, 2018, Duquesne Light Company seeks Commission approval to alter the crossing by the replacement of two (2) existing steel lattice structures with two (2) new wood utility poles, where 48th Street crosses, at grade, two tracks of Allegheny Valley Railroad, located in the City of Pittsburgh, Allegheny County.

In replacing the existing steel lattice structures with new utility poles, one of the new poles will be an in-place replacement of the corresponding steel lattice structure; the second pole will be relocated approximately 50 feet southeast of the steel lattice structure it replaces.  Both of the new poles will be located within the right-of-way of 48th Street, a City of Pittsburgh roadway.  As is the present condition, four (4) aerial electric lines will span between the new utility poles and over the right-of-way of Allegheny Valley Railroad.  Duquesne Light Company anticipates utilizing the existing conductors presently spanning the two steel lattice structures to span between the new poles.  There will be no change to conductor configuration or ground-to-conductor clearances for this span.  The minimum vertical clearance of 41.4 feet (which presently exists) will be provided above the rails.

The Commission hereby establishes its jurisdictional limits at the subject crossing as the area within the confines of the railroad right-of-way and the highway right-of-way.

In its application, Duquesne Light Company states that the proposed installation is required to accommodate a new truck weigh station.  Additionally, the existing steel lattice structures were constructed approximately 100 years ago and are approaching the end of their service lives.  Duquesne Light Company agrees to perform the necessary installation, provide for maintenance and protection of highway and pedestrian traffic during installation and accept future maintenance responsibility for the new utility poles and associated aerial electric lines, at its sole cost and expense.  The estimated cost of this project is $167,048.

All work is to be performed in accordance with the plan entitled: “DUQUESNE LIGHT COMPANY 23KV CROSSING OVER A.V.RR @ VAL STA 149+67± 48TH STREET, 9TH WARD, CITY OF PGH. ALLEGHENY COUNTY, PA,” attached to the subject application.

Duquesne Light Company has served a copy of the application and installation plan on City of Pittsburgh; Allegheny County; Allegheny Valley Railroad; McConway & Torley and Pennsylvania Department of Transportation.  All parties in interest were queried by letter dated October 15, 2018 as to any objection to the subject application.  None of the parties have responded with any objection to the subject application.

Upon full consideration of the matters involved, we find that a hearing is not necessary and that a Secretarial Letter may be issued approving the application.

The Commission issues this Secretarial Letter in accordance with Section 2702 of the Public Utility Code and finds that the alteration of the crossing is necessary and proper for the service, accommodation, convenience or safety of the public.

The application of Duquesne Light Company is approved as herein directed:

1.	The caption of the subject proceeding is hereby revised as shown herein.

2.	The crossing where 48th Street crosses, at grade, the two (2) tracks of Allegheny Valley Railroad (DOT 510 934 T) located in the City of Pittsburgh, Allegheny County be altered generally in accordance with the installation plan entitled: “DUQUESNE LIGHT COMPANY 23KV CROSSING OVER A.V.RR @ VAL STA 149+67± 48TH STREET, 9TH WARD, CITY OF PGH. ALLEGHENY COUNTY, PA,” consisting of two (2) sheets filed with the Commission on September 26, 2018; which plan is made part hereof and is hereby approved except insofar as it may relate to the division of work, deletion of work, or the allocation of costs and expenses incident to the installation of the project.

3.	Duquesne Light Company, at its sole cost and expense, furnish all material and perform all work necessary to alter the crossing by the replacement of two (2) existing steel lattice structures with two (2) new utility poles and reinstallation of the associated aerial electric lines within the right-of-way of the highway where 48th Street crosses, at grade, the two (2) tracks of Allegheny Valley Railroad, all in accordance with the approved plan and this Secretarial Letter.

4.	Duquesne Light Company, at its sole cost and expense, furnish all material and perform all work necessary to establish and maintain any detours or traffic controls that may be required to properly and safely accommodate highway and pedestrian traffic during the time the crossing is being altered.

5.	Any relocation of, changes in and/or removal of any adjacent structures, equipment or other facilities of any non-carrier public utility, other than Duquesne Light Company, which may be required as incidental to the alteration of the crossing, be made by said public utility at its initial cost, and in such a manner as will not interfere with the alteration of the crossing; and such relocated or altered facilities thereafter be maintained by said public utility, at its sole cost and expense.

6.	Allegheny Valley Railroad, at the sole cost and expense of Duquesne Light Company furnish all material and perform all work relating to its facilities which may be required as incidental to the performance of the proposed work and furnish any watchmen, flagmen, inspectors and/or engineering services that may be deemed necessary to protect the railroad’s operations or facilities during the time the facilities are being installed.

7.	Duquesne Light Company, at its sole cost and expense, furnish all material and perform all work necessary to complete the remainder of the project, and any other ancillary features of the project, generally in accordance with the approved plan and this Secretarial Letter.

8.	The alteration of the crossing be completed on or before November 30, 2019, and that on or before said date, Duquesne Light Company, report in writing the date of actual completion of the work to this Commission.

9.	Duquesne Light Company, at its sole cost and expense, pay all compensation for damages, if any, due to owners of property taken, injured or destroyed by reason of the alteration of the crossing in accordance with this Secretarial Letter.

10.	All parties involved herein cooperate fully with each other so that during the time the work is being performed, vehicular, pedestrian and railroad traffic will not be endangered or unnecessarily inconvenienced, and so that the requirements of each of the parties will be provided for and accommodated insofar as possible.

11.	Duquesne Light Company cooperate with the non-carrier public utilities involved, so that during the alteration of the involved crossing, the facilities of the non-carrier utilities will not be endangered or unnecessarily interrupted.

12.	Duquesne Light Company, at least seven (7) days prior to the start of work, notify all parties in interest of the actual date on which work will begin.

13.	Upon completion of the alteration of the crossing, Duquesne Light Company, at its sole cost and expense, furnish all material and perform all work necessary thereafter to maintain the new utility poles and associated aerial electric lines and any ancillary facilities installed in accordance with the approved plan and this Secretarial Letter.

14.	Upon completion of the alteration of the crossing, Allegheny Valley Railroad, at its sole cost and expense, furnish all material and perform all work necessary to maintain its railroad facilities at the subject crossing, including the warning devices and all appurtenant equipment and to maintain at all times in a smooth and satisfactory condition,  the railroad crossing surface located between the rails and for a distance of twenty-four (24) inches beyond the outermost rails, including the area between the two tracks, all in accordance with Part 8 of the Manual on Uniform Traffic Control Devices and this Secretarial Letter.

15.	Upon completion of the alteration of the crossing, City of Pittsburgh, at its sole cost and expense, furnish all material and perform all work necessary to maintain the highway approach roadways to the subject crossing to points twenty-four (24) inches beyond each outside rail, and in addition, maintain the grade crossing advance warning signs, pavement markings and stop lines, as required, on the approaches thereto, all in accordance with Part 8 of the Manual on Uniform Traffic Control Devices and this Secretarial Letter.

16.	Upon completion of the work herein directed, and upon written request from any party of record, this proceeding be scheduled for a hearing at a time and place to be determined by the Commission, for the purpose of taking testimony upon the final allocation of any costs incurred by the non-carrier utility companies and other matters relevant to this proceeding.

The Parties are reminded that failure to comply with this or any Order or Secretarial Letter in this proceeding may result in an enforcement action seeking civil penalties and/or other sanctions pursuant to 66 Pa. C.S. § 3301.

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §§ 1.31 and 5.44, file a Petition for Reconsideration from Staff Action (Petition) with the Commission within twenty (20) days of the date of this letter.  The Petition shall be sent to: Secretary, PA Public Utility Commission, P.O. Box 3265, Harrisburg, PA 17105-3265, and must be filed within twenty (20) days, or if no timely request is made, the action will be deemed to be a final action of the Commission.

The Petition MUST include: (1) a written statement (divided into numbered paragraphs) outlining the reasons for the request; (2) the case docket number (it is provided for you at the top right hand corner of this letter); (3) the party on whose behalf the petition is made; (4) a Certificate of Service on the other parties of record; and (5) a Verification with original signature in accordance with 52 Pa. Code § 1.36

Very truly yours,

# Rosemary Chiavetta

Secretary