|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION P.O. BOX 3265, HARRISBURG, PA 17105-3265 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

January 9, 2019

A-2018-3006112

TO ALL PARTIES

Application of PPL Electric Utilities Corporation for approval of the alteration of the crossing (DOT 249 700 Y) by the installation of three (3) 15KV Phases where Conyngham Avenue cross, at grade, the track of the Redevelopment Authority of the County of Luzerne in the City of Wilkes-Barre in Luzerne County, and of the alteration of the crossing (DOT 361 575 S) by the installation of three (3) 15KV Phases in Conyngham Avenue the track of the Redevelopment Authority of the County of Luzerne in the City of Wilkes-Barre in Luzerne County.

To Whom It May Concern:

By application filed with the Commission on November 15, 2018, PPL Electric Utilities Corporation seeks Commission approval to alter the subject crossings by the installation of power line facilities, where the track of the Luzerne County Redevelopment Authority, operated thereon by Luzerne & Susquehanna Railway Company, crosses public highways in the City of Wilkes-Barre, Luzerne County.

The proposed alterations will affect the following crossings:

DOT No.  		Highway Name	           Municipality_____________

249 700 Y		Conyngham Avenue	            City of Wilkes-Barre

361 575 S		Conyngham Avenue   		City of Wilkes-Barre

The proposed construction will be three (3) 477 KCM AL 15KV phases and one (1) 4/0 AL 600V triplex secondary conductor along Conyngham Avenue and through the subject crossings.  A minimum vertical clearance of forty (40) feet will be maintained above the rails at crossing (DOT 249 700 Y) and thirty-nine (39) feet above the rails at crossing (DOT 361 575 S).

The Commission hereby establishes its jurisdictional limits at the subject crossing as the area within the confines of the railroad right-of-way and the highway right-of-way.

In its application, PPL Electric Utilities Corporation states that the proposed installation is necessary to install PPL Electric Utilities Corporation’s overhead electrical system. PPL Electric Utilities Corporation agrees to perform the necessary installation, provide for maintenance and protection of highway and pedestrian traffic during installation and accept future maintenance responsibility for the new utility facilities, at its sole cost and expense. The estimated cost of this project is $40,000.

All work is to be performed in accordance with the details entitled: “EXHIBIT B” consisting of four (4) sheets attached to the subject application.

PPL Electric Utilities Corporation has served a copy of the application and installation plans on Verizon – Pennsylvania, City of Wilkes-Barre, Luzerne County Redevelopment Authority, Level 3 Communications/Century Link, Service Electric Cable TV Inc., HMI Technical Solutions LLC, Luzerne County and Pennsylvania Department of Transportation. All parties of interest were queried by letter dated December 13, 2018 as to any objection to the subject application.  None of the parties have responded with any objection to the subject application.

Upon full consideration of the matters involved, we find that a hearing is not necessary and that a Secretarial Letter may be issued approving the application.

The Commission issues this Secretarial Letter in accordance with Section 2702 of the Public Utility Code and finds that the alteration of the crossing is necessary and proper for the service, accommodation, convenience or safety of the public.

The application of PPL Electric Utilities Corporation is approved as herein directed:

1.	The caption of the subject proceeding is hereby revised as shown herein.

2.	The crossings where Conyngham Avenue cross, at grade, the track of Luzerne County Redevelopment Authority, operated thereon by Luzerne & Susquehanna Railway Company, located in the City of Wilkes-Barre in Luzerne County, be altered generally in accordance with the installation sketches entitled: “EXHIBIT B” consisting of four (4) sheets filed with the Commission on November 15, 2018; which sketches are made part hereof and are hereby approved except insofar as they may relate to the division of work, deletion of work, or the allocation of costs and expenses incident to the installation of the project.

3.	PPL Electric Utilities Corporation, at its sole cost and expense, furnish all material and perform all work necessary to alter the crossings by the installation three (3) 477 KCM AL 15KV phases and one (1) 4/0 AL 600V triplex secondary conductor where Conyngham Avenue crosses, at grade, the track of Luzerne County Redevelopment Authority, operated thereon by Luzerne & Susquehanna Railway Company, at the two (2) subject locations, located in the City of Wilkes-Barre, Luzerne County, all in accordance with the approved sketches and this Secretarial Letter.

4.	PPL Electric Utilities Corporation, at its sole cost and expense, furnish all material and perform all work necessary to establish and maintain any detours or traffic controls that may be required to properly and safely accommodate highway and pedestrian traffic during the time the crossings are being altered.

5.	Any relocation of, changes in and/or removal of any adjacent structures, equipment or other facilities of any non-carrier public utility, other than PPL Electric Utilities Corporation, which may be required as incidental to the alteration of the crossing, be made by said public utility at its initial cost, and in such a manner as will not interfere with the alteration of the crossing; and such relocated or altered facilities thereafter be maintained by said public utility, at its sole cost and expense.

6.	Luzerne & Susquehanna Railway Company, at the sole cost and expense of PPL Electric Utilities Corporation, furnish all material and perform all work relating to its facilities which may be required as incidental to the performance of the proposed work and furnish any watchmen, flagmen, inspectors and/or engineering services that may be deemed necessary to protect the railroad’s operations or facilities during the time the facilities are being installed.

7.	PPL Electric Utilities Corporation, at its sole cost and expense, furnish all material and perform all work necessary to complete the remainder of the project, and any other ancillary features of the project, generally in accordance with the approved plans and this Secretarial Letter.

8.	The alteration of the crossing be completed on or before January 31, 2020, and that on or before said date, PPL Electric Utilities Corporation, report in writing the date of actual completion of the work to this Commission and certify to the parties of record and this Commission that the work has been satisfactorily completed in accordance with the approved plans and this Secretarial Letter.

9.	PPL Electric Utilities Corporation, at its sole cost and expense, pay all compensation for damages, if any, due to owners of property taken, injured or destroyed by reason of the alteration of the crossing in accordance with this Secretarial Letter.

10.	All parties involved herein cooperate fully with each other so that during the time the work is being performed, vehicular, pedestrian and railroad traffic will not be endangered or unnecessarily inconvenienced, and so that the requirements of each of the parties will be provided for and accommodated insofar as possible.

11.	PPL Electric Utilities Corporation, cooperate with other non-carrier public utilities involved, so that during the alteration of the involved crossing, the facilities of the other non-carrier utilities will not be endangered or unnecessarily interrupted.

12.	PPL Electric Utilities Corporation, at least seven (7) days prior to the start of work, notify all parties in interest of the actual date on which work will begin.

13.	Upon completion of the alteration of the crossing, PPL Electric Utilities Corporation, at its sole cost and expense, furnish all material and perform all work necessary thereafter to maintain the power lines and any ancillary facilities installed in accordance with the approved plans and this Secretarial Letter.

14.	Upon completion of the alteration of the crossing, Luzerne & Susquehanna Railway Company, at its sole cost and expense, furnish all material and perform all work necessary to maintain its railroad facilities at the subject crossings, including the warning devices and all appurtenant equipment and maintain at all times in a smooth and satisfactory condition, the crossing surface, all in accordance with Part 8 of the Manual on Uniform Traffic Control Devices and this Secretarial Letter.

15.	Upon completion of the alteration of the crossing, City of Wilkes-Barre, at its sole cost and expense, furnish all material and do all work necessary thereafter to maintain its highway approach roadways to the subject crossings in a safe and satisfactory condition, and in addition, maintain the grade crossing advance warning signs, stop lines and pavement markings, if required, all in accordance with Part 8 of the Manual on Uniform Traffic Control Devices and this Secretarial Letter.

16.	Upon completion of the work herein directed, and upon written request from any party of record, this proceeding be scheduled for a hearing at a time and place to be determined by the Commission, for the purpose of taking testimony upon the final allocation of any costs incurred by the non-carrier utility companies and other matters relevant to this proceeding.

The Parties are reminded that failure to comply with this or any Order or Secretarial Letter in this proceeding may result in an enforcement action seeking civil penalties and/or other sanctions pursuant to 66 Pa. C.S. § 3301.

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §§ 1.31 and 5.44, file a Petition for Reconsideration from Staff Action (Petition) with the Commission within twenty (20) days of the date of this letter. The Petition shall be sent to: Secretary, PA Public Utility Commission, P.O. Box 3265, Harrisburg, PA 17105-3265, and must be filed within twenty (20) days, or if no timely request is made, the action will be deemed to be a final action of the Commission.

The Petition MUST include: (1) a written statement (divided into numbered paragraphs) outlining the reasons for the request; (2) the case docket number (it is provided for you at the top right hand corner of this letter); (3) the party on whose behalf the petition is made; (4) a Certificate of Service on the other parties of record; and (5) a Verification with original signature in accordance with 52 Pa. Code § 1.36.

Very truly yours,

# Rosemary Chiavetta

Secretary