PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA 17105-3265

|  | Public Meeting held January 17, 2019 |
| --- | --- |
| Commissioners Present: Gladys M. Brown, Chairman David W. Sweet, Vice Chairman Norman J. Kennard Andrew G. Place John F. Coleman, Jr. |  |
| Pennsylvania Public Utility Commission, Bureau of Investigation & Enforcement | C-2014-2411284 |
| v. |  |
| Burgly Gas & Oil Company: and/or in the alternative, Burgly Gas & Oil, Inc.; and/or in the alternative Burgly Drilling, Inc. |  |

OPINION AND ORDER

BY THE COMMISSION:

Before the Pennsylvania Public Utility Commission (Commission) for consideration and disposition is the Joint Petition for Settlement (Joint Petition) filed on October 30, 2018, by the Commission’s Bureau of Investigation & Enforcement (I&E) and Burgly Gas & Oil Company, and/or Burgly Gas & Oil, Inc and/or in the alternative Burgly Drilling Inc. (Burgly Gas & Oil or Burgly) (together, Joint Petitioners).  The terms and conditions of the Joint Petition represent a comprehensive settlement (Settlement) of all issues presently pending in this proceeding.  The Joint Petition also includes attached Statements in support from I&E and Burgly.  The Parties submit that the proposed Settlement is in the public interest and is consistent with the Commission’s Policy Statement at 52 Pa. Code § 69.1201, Factors and standards for evaluating litigated and settled proceedings involving violations of the Public Utility Code and Commission regulations—statement of policy (Policy Statement).  Joint Statement in Support at 2.  We will issue the Settlement for comment.

History of the Proceeding

On March 17, 2014, I&E filed a Formal Complaint (Complaint) with the Commission against Burgly for its failure to obtain a certificate of public convenience to offer, render, furnish or supply natural gas service and for its failure to properly register its pipeline, which is located in McKeesport, Pennsylvania, with the Commission.  In addition, I&E further alleged that Burgly failed to properly register with Pennsylvania One Call (PA One Call).  I&E sought the following relief in its Complaint: (1) to impose a civil penalty of two million dollars against Burgly; and (2) to order Burgly to comply with all Commonwealth law and regulations as well as federal regulations as adopted by the Commonwealth.

On April 24, 2014, Burgly filed Preliminary Objections to the complaint in which it asserted that it is not a public utility because it serves only a single end-user.

On May 5, 2014, I&E filed an Amended Complaint in which it alleged that on May 21, 2013, a McKeesport Public Works excavation crew struck a buried natural gas pipeline in the City of McKeesport resulting in the release of natural gas.  As a result of the incident, Walnut Street in the city was closed between 15th and 26th Streets.  Five adults, three children and an infant were evacuated from the scene and a forty-year-old male was transported from a business to UPMC McKeesport after reporting feeling ill.

I&E further alleged that all relevant times at least one of the Respondents was the owner and operator of the natural gas utility pipeline and each of the Respondents is subject to the minimum safety standards for all natural gas pipelines in the Commonwealth.  The subject pipeline starts at a gas well that is located behind a dealership at 637 Eden Park Boulevard, McKeesport and has been supplying natural gas for compensation through a meter to Christy Park Industries since it was constructed in approximately 1970.  In addition, I&E alleged that at the time of the incident, the Burgly companies were not members of the PA One Call system and the pipeline’s location was not marked prior to excavation.  Additionally, none of the Burgly entities have ever filed for a certificate of public convenience to provide natural gas utility service through the pipeline.  Furthermore, none of these three entities reported the incident to the Commission or warned the public of the existence of the pipeline by placing and maintaining pipeline markers as close as practical over the pipeline.  The failure to mark the pipeline caused additional problems and delays during the incident because no one was aware of the exact location of the pipeline.  Burgly also never registered the pipeline with the Commission pursuant to the Pennsylvania Gas and Hazardous Liquids Pipelines Act (Act 127) and never paid the annual assessment pursuant to Act 127.

I&E noted that as of the date of the Amended Complaint, Burgley Gas & Oil still had not applied to the Commission to become a certified public utility; had not registered to become a member of the PA One Call system; had not registered, as pipeline operators, the pipeline with the Commission; and had not paid the annual assessment pursuant to Act 127.

As a result of Burgly’s conduct, I&E alleged that Burgly Gas & Oil: (1) violated Section 1101 of the Code, 66 Pa.C.S. § 1101, from the date it began furnishing service until the time it files an application for certificate of public convenience or cease furnishing service; (2) violated Section 192.797 of the federal regulations, 49 CFR § 192.707, by and through 52 Pa. Code § 59.33 from the date the natural gas pipeline was completed until the time Burgly properly marks the pipeline as close as practical over its buried natural gas pipeline; (3) violated Section 192.614(a) of the federal regulations, 49 CFR § 192.614(a), and Section 59.33 of the Code, 66 Pa. C.S. § 59.33, from the date the pipeline was completed until Burgly properly maintains a written damage prevention program regarding the pipeline; (4) violated Section 192.614(b), 49 CFR § 192.614(b) and Section 59.33 of the Code, 66 Pa. C.S. § 59.33, from the date the pipeline was completed until such time Burgly registers with and participates in the Pa One Call system; (5) violated Section 59.11 of the Code, 52 Pa. Code § 59.11, when it failed to submit a report to the Commission of a reportable accident of the May 21, 2013 incident; and (6) violated 58 P.S. §§ 801.301 and 801.503 by failing to register the pipeline with the Commission and pay Act 127 annual assessments to the Commission.

I&E requested the following relief in its Complaint: (1) that Burgly be ordered to pay the maximum allowable civil penalty in the amount of $2,000,000; (2) that Burgly not be permitted to recover any portion of the civil penalty through rates; (3) that Burgly be ordered to cease and desist from committing any further violations of gas safety regulations; and (4) that Burgly be ordered to take the actions necessary to comply with all Commonwealth laws and regulations as well as all federal regulations and to implement the programs and procedure to correct all violations of gas pipeline safety regulations.

On May 23, 2014, Burgly Gas & Oil filed Preliminary Objections to the Amended Complaint.  Burgly Gas & Oil raised five grounds for its Preliminary Objections.  Those grounds include: (1) lack of Commission jurisdiction; (2) insufficient specificity of pleading as it is not a public utility since there is a single well and single pipeline that supplies natural gas for compensation to Christy Park Industries; (3) insufficient specificity of pleading as it is fails to state how the Federal Regulations apply to the pipeline as the Commission does not have authority over violations of Federal Regulations; (4) insufficient specificity of pleading as it is fails to state facts to sustain a claim that Burgly is a public utility; and (5) insufficient specificity of pleading as it is fails to state facts sufficient for sustaining a cause of action pursuant to the federal violations alleged since the pipeline is a production line used in the production of natural gas and not regulated under the Federal Regulations.

During the investigation, the Parties entered into negotiations and agreed to resolve this informal investigation in accordance with the Commission’s policy to promote settlements at 52 Pa. Code § 5.231.  The Parties filed the instant Settlement on October 30, 2018.

Background

Pursuant to 58 P.S. § 801.501(a), the Commission is authorized and obligated to supervise and regulate pipeline operators within the Commonwealth consistent with Federal Pipeline Safety Laws.  Burgly owns and/or operates conventional and unconventional gas production and gathering pipeline facilities in Pennsylvania.  Consequently, Burgly is a “pipeline operator” as defined in 58 P.S. § 801.102 since it “owns or operates equipment or facilities in this Commonwealth for the transportation of gas or hazardous liquids by pipeline or pipeline facility regulated under Federal pipeline safety laws.”  58 P.S. § 801.102.  Section 502(a), 58 P.S. § 802.502(a), authorizes the Commission to impose civil penalties on pipeline operators for violations.  A pipeline may be subject to the civil penalty provided under Federal Pipeline Safety Laws or Section 3301(c) of the Code, 66 Pa. C. S. § 3301(c), whichever is greater.

Had the matter been litigated, I&E would have alleged that Burgly violated certain provisions of the Code, the Commission’s regulations, Act 127 and the Code of Federal Regulations in that:

- Burgly did not properly place and maintain markers as close as practical over its buried natural gas pipeline.  If proven, this is a violation of 49 C.F.R. 66 Pa. C.S. § 192.707 and 52 Pa. Code § 59.33.

- Burgly did not register with and participate in the PA One Call damage prevention program regarding its pipeline.  If proven, this is a violation of 49 C.F.R. § 192.614(b) and 66 Pa.C.S. § 59.33.

- Burgly failed to register its pipeline with the Commission and failed to pay associated annual assessment(s) to the Commission.  If proven, this is a violation of 58 P.S. § 801.301 and 58 P.S. § 801.503.

There has been no evidentiary hearing before any tribunal and no sworn testimony taken.  Burgly would have contended that it did not violate the provisions of the Code, the Commission’s regulations, Act 127 or the Code of Federal Regulations.  Settlement at 4.

In advance of the settlement, Burgly began to take corrective actions.  Specifically, on or about November 2014, Burgly registered its pipeline with PA One Call, as required by 49 C.F.R. § 192.614(b).  In addition, on January 9, 2017, Burgly registered as an Act 127 Pennsylvania Pipeline Operator. See Docket No. A-2017-2584015.  Furthermore, Burgly has complied with the requirements of Act 127, as set forth in 58 P.S. §§ 801.101, et seq, including, but not limited to, timely paying Act 127 annual assessments, placing markers over the pipeline as required by Act 127 and preparing and maintaining a Damage Prevention Plan.  Burgly was still compliant with Act 127 at the time the Settlement was filed.  Settlement at 5.

Terms of the Settlement

Pursuant to the proposed Settlement Agreement, Burgly agreed, inter alia, to do the following:

- Shall continue to comply with the requirements of Act 127 going forward, as specified in 58 P.S. §§ 801.101, et seq., including, but not limited to, timely paying Act 127 annual assessments.

- Shall continue to properly place markers as close as practical over its buried natural gas pipeline(s), both existing and future, as required by 49 C.F.R. § 192.707.

- Shall continue to conduct leakage surveys in accordance with 49 C.F.R. § 192.706 using leak detection equipment and promptly repair hazardous leaks that are discovered in accordance with § 192.703(c).

- Has prepared and shall maintain a written damage prevention program, as required by 49 C.F.R. § 192.614.  This damage prevention program shall be submitted to the Commission’s Pipeline Safety Division for review.

Settlement at 6.

In addition, Burgly shall complete the above actions within sixty days after the date of entry of a final Commission Order approving the Settlement in its entirety without modification or amendment.  Id.  Furthermore, Burgly shall pay a civil penalty in the amount of eighty thousand dollars, $80,000, pursuant to 66 Pa. C.S. § 3301, to resolve the alleged violations included herein.  Id.  The payment shall be made within sixty days after the date of entry of a final Commission Order approving the Settlement in its entirety without modification or amendment.  Id.  Finally, this payment shall not be claimed or included for recovery in future ratemaking proceedings, nor shall it be considered tax deductible.  Id.

I&E submits that the Settlement is in the public interest and fully satisfies I&E’s significant safety concerns in this matter.  Also, as of the date the Commission approves the Joint Petition and Settlement, I&E agrees to hold harmless, release and forever forbear from further prosecuting any formal complaint relating to Burgly’s conduct that is the subject of this Complaint and as described in the Joint Petition up to the Effective Date.  Settlement at 8.

Discussion

Pursuant to our Regulations at 52 Pa. Code § 5.231, it is the Commission’s policy to promote settlements.  The Commission must, however, review proposed settlements to determine whether the terms are in the public interest.  Pa. PUC v. Philadelphia Gas Works, Docket No. M-00031768 (Order entered January 7, 2004).

Conclusion

Before issuing a decision on the merits of the proposed Settlement, and consistent with the requirement of 52 Pa. Code § 3.113(b)(3), we are providing an opportunity for interested parties to file comments regarding the proposed Settlement; THEREFORE,

IT IS ORDERED:

1.	That this Opinion and Order, together with the attached Settlement Agreement and Statements in Support, shall be issued for comments by any interested party.

2.	That a copy of this Opinion and Order, together with the attached Settlement Agreement and the Statements in Support thereof, shall be served on the Office of Consumer Advocate and the Office of Small Business Advocate.

3.	That within twenty (20) days from the date of entry of this Opinion and Order, interested parties may file comments concerning the proposed Settlement Agreement.  Comments to the proposed Settlement Agreement may be filed either through eFiling for those parties who have an eFiling user account with the Pennsylvania Public Utility Commission or by paper copy.  Paper copies shall be filed with the Secretary’s Bureau at the following address:

Rosemary Chiavetta, Secretary

Pennsylvania Public Utility Commission

Commonwealth Keystone Building

400 North Street

Harrisburg, PA, 17120

4.	That, subsequent to the Commission’s review of the comments filed in this proceeding, a final Opinion and Order will be issued.

BY THE COMMISSION,

Rosemary Chiavetta

Secretary

(SEAL)

ORDER ADOPTED:  January 17, 2019

ORDER ENTERED:   January 17, 2019

ATTACHMENT