|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

January 25, 2019

Docket No. A-2019-3007090

Utility Code: 110150

CERTIFIED

MICHAEL W ZIMMERMAN

DUQUESNE LIGHT COMPANY

411 SEVENTH AVENUE

PITTSBURGH PA 15219

Re:  	Letter of Notification of Duquesne Light Company for Approval to Construct New 138 kV Transmission Lines in Beaver County, Pennsylvania.

Dear Mr. Zimmerman:

On January 11, 2019, Duquesne Light Company (Duquesne) filed a Letter of Notification (LON) for approval to construct new 138 kV transmission lines in Potter Township, Beaver County, Pennsylvania.  In order for us to complete our analysis of the subject application, the Bureau of Technical Utility Services requires answers to the enclosed data requests.  This information is necessary for completion of our review of the filing.

Please be advised that you are directed to forward the requested information to the Commission within ten (10) days of receipt of this letter.  Failure to respond may result in the LON being denied.  As well, if Duquesne has decided to withdraw its filing, please reply notifying the Commission of such a decision.

Please forward the information to the Secretary of the Commission at the address listed below.  When submitting documents, all documents requiring notary stamps must have original signatures.  Please note that some responses may be e-filed to your case, http://www.puc.pa.gov/efiling/default.aspx.  A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Rosemary Chiavetta, Secretary

Pennsylvania Public Utility Commission

400 North Street

Harrisburg, PA 17120

Your answers should be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa.C.S. § 4904 (relating to unsworn falsification to authorities).

The blank should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.

In addition, to expedite analysis of the LON, please also e-mail the information to

Jordan Van Order at jvanorder@pa.gov.  Please direct any questions to Jordan Van Order, Bureau of Technical Utility Services, at jvanorder@pa.gov (preferred) or 717-787-8763.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

Bureau of Technical Utility Services

Data Requests

Docket No. A-2019-3007090

Note:  If any responses contain Confidential Security Information (CSI),

please inform TUS staff via phone call or email.

A-1	Reference the Letter of Notification, Section I.  Please provide a detailed description of the electrical reliability needs of NOVA Chemical and explain whether the existing 69 kV Kobuta Tap meets those needs.

A-2	Reference the Letter of Notification, Section I.  Please explain whether Duquesne Light would replace the 69 kV Kubota Tap if it wasn’t needed to meet the reliability needs of NOVA Chemical, Inc.

A-3	Reference the Letter of Notification, Section I.  Please state whether NOVA Chemical, Inc. requested that Duquesne Light replace the 69 kV Kubota Tap with a 138 kV source.

A-4	Reference the Letter of Notification, Paragraph 5.  Attachment 2 does not appear to be included in the filing.  Please provide a copy of the referenced attachment.

A-5	Reference the Letter of Notification, Paragraph 5.  Please provide an aerial map depicting property parcels to be crossed and existing transmission facilities, proposed facilities, and new and existing right-of-way.

A-6	Reference the Letter of Notification, Paragraph 10.  Please provide a cost benefit analysis for replacing the infrastructure versus continued maintenance.

A-7	Reference the Letter of Notification, Paragraph 10.  Please provide a five-year history of maintenance expenses for transmission facilities to be replaced as part of the proposed project.

A-8	Reference the Letter of Notification, Paragraph 10.  Please provide a detailed description of

the methodology used to determine that the subject transmission facilities have reached the end of their useful service life.  Additionally, provide any survival curves or utility specific data used in this determination.

A-9	Reference the Letter of Notification, Paragraph 13.  Please quantify the anticipated increase in reliability.

A-10	Reference the Letter of Notification, Paragraph 14.  Please state the approximate duration of the plant outage and explain what duration is acceptable to meet NOVA Chemical, Inc.’s reliability requirements.

A-11	Reference the Letter of Notification, Paragraph 14.  Please explain how the use of a second 138 kV source will allow NOVA Chemical, Inc. to eliminate the key interlock scheme.

A-12	Reference the Letter of Notification, Paragraph 15.  Please state the number of customers served by the Kobuta Tap and explain whether any of the loads are considered to be critical customers.

A-13	Reference the Letter of Notification, Section III (B).  Please explain whether alternative solutions were considered.  If so, provide a brief description of the alternative(s) and provide a detailed explanation of why the chosen solution was selected.

A-14	Reference the Letter of Notification, Paragraph 20.  Please explain whether any new transmission line structures will be placed on parcels that did not previously have a transmission structure.

A-15	Reference the Letter of Notification, Paragraph 20.  Please explain whether the existing steel monopoles will be used for the new 138 kV line.

A-16	Reference the Letter of Notification, Paragraph 22.  Please provide the names and addresses of the property owners whose land the right-of-way for the new 138 kV transmission tap will cross and ensure that the certificate of service includes these individuals/entities.

A-17	Reference the Letter of Notification, Section F.  Please provide a revised section which includes the statement required by 52 Pa. Code § 57.72(d)(4)(iv).