|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

March 26, 2019

Docket No. M-2018-3006032

KIMBERLY KLOCK, SENIOR COUNSEL

PPL CORPORATION

TWO NORTH NINTH STREET

ALLENTOWN, PA 18101-1179

RE: PPL Electric Utilities Corporation Nunc Pro Tunc Request for Exclusion of Major Outage for Reliability Reporting Purposes

Dear Ms. Klock:

Background

On November 14, 2018, PPL Electric Utilities Corporation (PPL) filed a Nunc Pro Tunc Request for Exclusion of Major Outage for reliability reporting purposes pursuant to the Commission’s Order entered May 11, 2004, at Docket No. M-00991220.  The request was for the interruptions due to the impacts of winter storms Riley and Quinn that began on March 2, 2018.  PPL indicated in its filing that it “inadvertently neglected to file” the request timely.

On November 11, 2018, via email, Commission staff informed PPL that further supporting information was required in order to review the request.   On December 3, 2018, PPL filed supplemental information to the above Docket No.  On December 4, 2018, via Secretarial Letter, the consideration period for the request for exclusion was extended until December 14, 2018.

On December18, 2018, the Commission issued a Secretarial Letter approving the major event request and accepted PPL’s corrective action plan, contingent upon PPL providing to the Commission within 60 days documented objective evidence of completion of the corrective actions.  Additionally, it was recommended that PPL establish a controlled document of PUC Regulations as compared to PPL internal documents that provides a side-by-side/clause-by-clause comparison to ensure PPL’s internal quality management system procedures and programs address Commission regulatory commitments and requirements.

Evaluation of PPL’s response

On February 15, 2019, PPL filed a confidential response providing the Commission objective evidence of corrective action completion.  Commission staff in the Bureau of Technical Utility Services (TUS) reviewed PPL’s response in regard to the corrective action completion and has found it to be acceptable.  However, PPL did not provide a written response to the Commission recommendation that PPL establish a controlled document of PUC Regulations as compared to PPL internal documents that provides a side-by-side/clause-by-clause comparison to ensure PPL’s internal quality management system procedures and programs address Commission regulatory commitments and requirements.

Therefore, before this matter can be considered closed, PPL is directed to provide a response as to the issue of TUS’ recommendation as outlined, above.  To provide more clarity to this directive, and as an alternative to the above recommendation, PPL may instead provide the Commission a response that outlines how PPL will ensure its internal quality management system program and procedures are periodically reviewed to ensure applicable PUC regulations and commitments are referenced and properly incorporated into applicable PPL quality management system documents to ensure institutional regulatory commitment knowledge continuity.

Please provide a written response to the Docket No. above within 30 days from the date of this letter.

If you have any questions on this matter, please contact David Washko, Bureau of Technical Utility Services, at dawashko@pa.gov, or (717) 425-7401.  If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 20 days of the date of this letter.

Sincerely,

Rosemary Chiavetta

Secretary

Ccs:  Kelly Monaghan PUC Audits

Paul Diskin, PUC TUS

Dan Searfoorce, PUC TUS

John Van Zant, PUC TUS

David Washko, PUC TUS

Pursuant to our Order entered May 11, 2004, at Docket No. M-00991220, requests for major event exclusions must be filed prior to the quarterly report in which the exclusion is proposed to be claimed.  In this instance, the exclusion should have been filed on or before May 1, 2018.  52 Pa. Code § 57.195(d).