## Sheet1
Exeter Township - Capital Projects
|  | 2016 |  | 2017 | 2018 | 2019 | 2020 | 2021
CAPITAL EXPENSES
| Engineering (All Projects) | 66000 |  |  | 110000 | 0 | 0 | 0
| Replace Water Pumps and Controls |  |  |  | 115024
| Replace Collector Chains and Cross Collectors | 9190.5 |  | 9190.5 | 9190.5 | 9190.5 | 9190.5 | 9190.5
| Gas Unit for Equipment on Digester Roof | 4417 |  |  | 4600 |  | 4600
| Odor Control -Dryer Room |  |  |  | 127090
| Dewatering Power Feed to MDP-2 |  |  |  | 31628
| Replace Portable Water System |  |  |  | 23296
| Other Capital Purchases | 24000
| d/er Misc | 5000
| Replace Roof on Garage | 99500
| Rotary Swivel Dryer | 21000
| Replace 3 Raw Wastewater Pumps |  |  |  | 695289
| Manhole Rehab | 10000
| Pipe Line & Service Line lining |  |  | 100000 | 236100 | 100000 | 100000 | 100000
| Replace Truck 24 |  |  |  | 35000
| Centrifugal Scum pump - Primary PS |  |  |  | 3500
| Upgrade Scada System |  |  |  | 50720
| Heating/AC Unit for Control Building |  |  |  | 30000
| Loader Bucket for 5075M Tractor |  |  |  | 5800
| Install New Body/with Liftgate |  |  |  | 14619
| Replece Recirculation Pump #2 Digester |  |  |  | 10640
| Smartshore Trenching |  |  |  | 8300
| Replace Air Compressor |  |  |  | 25000
| Schuylkill River Trunk Engineering |  |  |  | 491315
| Antietam Engineering |  |  |  | 19661
| Inspection Schuylkill Trunk | [5 empty] | 168684
| Inspections Antietam Trunk | [5 empty] | 6750
| Recirculation Pump (Centrifugal) |  |  |  | 7000
| Replace Rooftop Heating Units Garage & Headwork's Building |  |  |  | 50000
| Replace Roof on Headworks Building & Generator Gargage Building |  |  |  | 180000
| Replace Schuylkill Trunk Line |  |  |  |  | 4498265
| Antietam Trunk Line Replacement |  |  |  |  | 180015
| Replace Carbon in Dryer Scrubber |  |  |  |  | 5000
| Replace Bearing in One Centrifuge |  |  |  |  | 5000 | 5000
| Replace 2 Industrial Compressor's (Primary Pumping) |  |  |  |  | 38560
| Pave WTP Streets |  |  |  |  | 50000
| Slip Line Project |  |  |  | 100000 | 100000
| Replace Crane Truck | [5 empty] | 60000
| Heister's Creek Trunk Engineering | [5 empty] | 141238
| Centrifugal Scum pump - Primary PS | [5 empty] | 4000
| Drive Mechanism for Pista Grit System | [5 empty] | 60861
| Vacuum Primer System for Pista | [5 empty] | 43473
| Thickener Drive | [5 empty] | 8694
| Replace Pumps in all Pump Stations | [5 empty] | 131000
| Replace Econoline Van | [6 empty] | 25000
| Heister's Creek Trunk Inspection | [6 empty] | 48492
| Purchase One Rotary Lobe Pump for Digester | [6 empty] | 8000
| Replace Digester Roof |  |  |  | 20000
| Dilute Pumps (3) | [6 empty] | 12000
| Replace Bearing in 3 Blowers | [6 empty] | 8000
| Replace 3 Sludge Pumps in Pump Stations 2 | [6 empty] | 45000
| Heister's Creek Trunk Replacement | [6 empty] | 1293111
| Unknown Repairs or Equipment |  |  | 30000 | 50000 | 50000 | 50000 | 50000
Total Capital Expenses |  | 239107.5 |  | 139190.5 | 2453772.5 | 5036030.5 | 793490.5 | 1598793.5
Note on G8: Paul Herb: 16K of this is in fund 08, not Fund 17