| Public Meeting held April 25, 2019 |  |
| --- | --- |
| Commissioners Present: |  |
| Gladys Brown Dutrieuille, Chairman David W. Sweet, Vice Chairman Norman J. Kennard Andrew G. Place John F. Coleman, Jr. |  |
| Application of Pennsylvania-American Water Company – Wastewater Division for approval of the right to offer, render, furnish or supply wastewater service to the public in an additional portion of Highland Township, Chester County, Pennsylvania | A-2019-3008055 |

ORDER

BY THE COMMISSION:

By the application (Application) filed on February 22, 2019, Pennsylvania-American Water Company - Wastewater Division (PAWC-WD), Utility Code 230073, 852 Wesley Drive, Mechanicsburg, Pennsylvania 17055, seeks a certificate of public convenience pursuant to Section 1102(a)(1)(i) of the Public Utility Code, 66 Pa. C.S. § 1102(a)(1)(i), evidencing Commission approval of PAWC-WD’s right to offer, render, furnish or supply wastewater service to the public in an additional portion of Highland Township, Chester County.

- BACKGROUND AND AFFECTED ENTITIES

PAWC-WD submitted proof of publication and service to the appropriate entities.  Notice of the Application was published in the Pennsylvania Bulletin, 49 Pa.B. 1109, on March 9, 2019.  The protest period ended March 25, 2019.  No protests were filed, and no hearings were held.

PAWC-WD is a regulated public utility company, duly organized and existing under the laws of the Commonwealth.  As of January 31, 2019, PAWC-WD provides wastewater service to approximately 65,053 customers throughout Pennsylvania, including portions of Highland Township, Chester County.  Additionally, PAWC-WD provides water service to approximately 660,492 customers throughout Pennsylvania as Pennsylvania-American Water Company, Utility Code 212285.

PAWC-WD contends there is a need to make reliable and safe wastewater service available for a residential property located at 34 Boro Line Road, Parkesburg, Pennsylvania 19365.  To support its claim, the Application’s Exhibit I included a copy of a letter from the subject property owner in the requested territory expressing interest in receiving wastewater service.  PAWC-WD indicated the subject property has a malfunctioning on-lot septic system and receives water from an on-lot well.  PAWC-WD averred the property owner will be responsible for compliance with applicable regulations concerning the abandonment of their septic system.

- LOCATION AND DESCRIPTION OF PROPOSED TERRITORY

The Application included a map of the requested wastewater service territory marked as Exhibit B-1 but did not include a written description of the requested territory by metes and bounds.  Subsequently, PAWC-WD amended its Application by revising its Exhibit B-2 to include a written description of the requested territory by metes and bounds.  The requested territory encompasses Chester County Tax Parcel UPI No. 45-1-8, a single residential lot with an area of approximately 0.38 acres situated along the south side of Boro Line Road.  The requested territory is not contiguous with PAWC-WD’s certificated service territory.  However, PAWC-WD is certificated to serve two nearby customers at 30 and 40 Boro Line Road.  PAWC-WD anticipates the customer in the requested territory will connect to PAWC-WD’s wastewater system within six months of Application approval.

- FACILITIES FOR FURNISHING SERVICE

In supplemental information filed with the Commission, PAWC-WD indicated that it will extend a 6-inch diameter polyvinyl chloride (PVC) gravity lateral approximately 25 feet to connect the requested territory to the existing 8-inch diameter PVC wastewater main located on the north side of Boro Line Road.  In supplemental information filed with the Commission, PAWC-WD clarified its Coatesville Wastewater Treatment Plant will serve the proposed customer and averred it has adequate collection, conveyance and treatment facilities to serve to the requested territory.

- ADDITIONAL CAPITAL REQUIREMENTS

PAWC-WD provided a breakdown of the cost of the wastewater lateral installation project that indicated the project will cost approximately $7,000.  PAWC-WD indicated it will be responsible for these costs.

- PROPOSED RATES

PAWC-WD stated it will charge its existing Rate Zone 1 rates for wastewater service as set forth in its effective wastewater tariff.  In supplemental information filed with the Commission, PAWC-WD revised the Application’s Exhibit G that provided an estimate of the additional annual revenues and expenses from providing service for the requested territory.  In its revised Exhibit G, PAWC-WD estimated additional revenue of approximately $719, additional expenses of approximately $129 and a net annual operating income of approximately $590.

- REQUIRED EASEMENTS, RIGHTS-OF-WAY AND PERMITS

PAWC-WD indicated no easements are required.  In supplemental information filed with the Commission, PAWC-WD averred it will be responsible for obtaining a road opening permit from Highland Township to install the wastewater lateral at an estimated cost of approximately $50 to $150.

- ACT 537 OFFICIAL SEWAGE FACILITIES PLAN AND LAND USE PLANNING COMPLIANCE

PAWC-WD provided a copy of a letter from the Pennsylvania Department of Environmental Protection (DEP) dated October 11, 2018, in the Application’s Exhibit J that indicated no planning modules are required to serve the requested territory.  The Application’s Exhibit K contained copies of letters sent to the Highland Township and Chester County Planning Commissions.  Additionally, Exhibit K included a copy of a response from the Chester County Planning Commission dated January 18, 2019, that indicated the project is consistent with the Chester County Comprehensive Plan.  PAWC-WD also provided a copy of a letter from the Highland Township Board of Supervisors dated November 20, 2018, as the Application’s Exhibit H.  This letter indicated Highland Township supports PAWC-WD’s request to serve the requested territory and notes properties along Boro Line Road have had issues with malfunctioning on-lot systems for years.

- OTHER CONSIDERATIONS

PAWC-WD averred service for the requested territory will have no adverse effect on existing customers.  In supplemental information filed with the Commission, PAWC-WD also indicated approval of the application is in the public interest because approval would facilitate the removal of an old septic system, thereby decreasing the potential for contamination of neighboring wells.

PAWC-WD averred that, to the best of its knowledge, no corporation or entity is currently furnishing wastewater service in the requested territory and no competitive condition will be created.  PAWC-WD is current with Commission reporting requirements, and through Commission correspondence with DEP’s Southeast Regional Office, it was determined that DEP does not have any pending actions or outstanding complaints against PAWC-WD’s wastewater system.

- CONCLUSION

Based upon the facts that there is a need to make public wastewater service available within the requested territory; that PAWC-WD will expand its service territory to a new customer in compliance with Commission regulations; that PAWC-WD will be meeting the needs of a new customer without any detriment to its existing customers; and that PAWC-WD is fit to provide service; the Commission finds that granting PAWC-WD’s Application for an extension of service territory is necessary or proper for the service, accommodation, convenience or safety of the public and is in the public interest; THEREFORE,

IT IS ORDERED:

    - That the Application of Pennsylvania-American Water Company – Wastewater Division at Docket No. A-2019-3008055, as amended, is hereby approved.

    - That a Certificate of Public Convenience shall be issued pursuant to Section 1102(a)(1)(i) of the Public Utility Code, 66 Pa. C.S. § 1102(a)(1)(i), authorizing Pennsylvania-American Water Company – Wastewater Division to begin to offer, render, furnish, or supply wastewater service to the public in an additional portion of Highland Township, Chester County, consistent with the Application’s Exhibit B-1 and Exhibit B-2, as amended.

    - That nothing herein shall be construed as an approval or determination of costs or expenses for the purposes of just or reasonable rates or to exempt Pennsylvania-American Water Company – Wastewater Division from obtaining all necessary permits, licenses, and approvals from other federal, state, and local government agencies having jurisdiction.

    - That a copy of this Order be served upon Pennsylvania-American Water Company – Wastewater Division, the Commission’s Bureau of Investigation and Enforcement, the Office of Consumer Advocate, the Office of Small Business Advocate, the Highland Township Board of Supervisors, the Highland Township Planning Commission, the Chester County Commissioners, the Chester County Planning Commission and the Department of Environmental Protection – Southeast Regional Office and its Bureau of Regulatory Counsel.

    - That the proceeding at Docket No. A-2019-3008055 be closed upon the Commission’s issuance of a Certificate of Public Convenience in accordance with Ordering Paragraph 2.

BY THE COMMISSION,

Rosemary Chiavetta

Secretary

(SEAL)

ORDER ADOPTED:  April 25, 2019

ORDER ENTERED:  April 25, 2019

See Applications of PAWC-WD for approval of the right to offer, render, furnish or supply wastewater service to the public in portions of Highland Township, Chester County at Docket Nos. A-230073F0011 and A-2008-2032091.