	[image: image2.png]



	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

400 NORTH STREET, HARRISBURG, PA 17120
	IN REPLY PLEASE REFER TO OUR FILE


April 25, 2019
M-2019-3008771
DIANE HOLDER
DIRECTOR,OPERATIONS CENTER 

DUQUESNE LIGHT COMPANY

2839 NEW BEAVER AVENUE

PITTSBURGH, PA 15233

Re:  
Request to the Pennsylvania Public Utility Commission for Exclusion of Major Outage for Reliability Reporting Purposes 
Dear Ms. Holder:


On March 21, 2019, Duquesne Light Company (Duquesne) filed a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M‑00991220.

This request relates to service interruptions associated with a high wind event in the Duquesne service territory.  Duquesne noted that the highest wind speed was 38 mph and the highest wind gust of 61 mph, which caused substantial number of outages through-out Duquesne’s service territory as trees fell onto power lines and equipment causing extensive damage to the electrical distribution system. 
This event caused sustained service interruptions to 140,183 customers out of a total of 600,248 customers served.  Duquesne stated the event caused service interruptions from February 24, 2019, at 07:00 hours until March 1, 2019, at 00:45 hours.

Upon review of the company’s filing, which included Duquesne providing a supplemental restoration diagram that showed a distinct point when the Duquesne electrical distribution system began to stress and showed a distinctive spike and increasing ramp-up rate of customers out-of-service, it appears that the service interruptions described by Duquesne qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.  However, the Commission’s approval is contingent upon the possibility that subsequent audits, reviews, and inquiry, in any Commission proceeding, may be conducted, pursuant to 52 Pa. Code §57.197 (relating to Reliability investigations and enforcement).

In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.

[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION










Sincerely,







Rosemary Chiavetta







Secretary

Cc
Daniel Searfoorce, TUS


John Van Zant, TUS 


Kelly Monaghan, Audits


Kathleen Aunkst, Secretary’s Bureau 

David Washko, TUS
