|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

May 3, 2019

Docket No. A-2019-3009112

Utility Code: 110500

CERTIFIED

JESSICA R ROGERS

POST & SCHELL P C

17 NORTH SECOND STREET 12TH FLOOR

HARRISBURG PA 17101-1601

Re:  	Letter of Notification of PPL Electric Utilities Corporation for Approval to Site and Construct the Siegfried-East Palmerton #1 & #2 and Hauto-Siegfried #1 & #4 138/69 kV Transmission Lines in Lehigh and Carbon Counties, Pennsylvania.

Dear Ms. Rogers:

On April 10, 2019, PPL Electric Utilities Corporation (PPL Electric) filed a Letter of Notification (LON) for approval to site and construct the Siegfried – East Palmerton and Hauto-Siegfried 138/69 kV Transmission Lines and associated taps in Washington Township, Lehigh County and the Boroughs of Palmerton, Nesquehoning, and Summit Hills, and Lower Towamensing, East Penn, and Mahoning Townships, Carbon County, Pennsylvania.  In order for us to complete our analysis of the subject application, the Bureau of Technical Utility Services requires answers to the enclosed data requests.  This information is necessary for completion of our review of the filing.

Please be advised that you are directed to forward the requested information to the Commission within ten (10) days of receipt of this letter.  Failure to respond may result in the LON being denied.  As well, if PPL Electric has decided to withdraw its filing, please reply notifying the Commission of such a decision.

Please forward the information to the Secretary of the Commission at the address listed below.  When submitting documents, all documents requiring notary stamps must have original signatures.  Please note that some responses may be e-filed to your case, http://www.puc.pa.gov/efiling/default.aspx.  A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Rosemary Chiavetta, Secretary

Pennsylvania Public Utility Commission

400 North Street

Harrisburg, PA 17120

Your answers should be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa.C.S. § 4904 (relating to unsworn falsification to authorities).

The blank should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.

In addition, to expedite analysis of the LON, please also e-mail the information to

Jordan Van Order at jvanorder@pa.gov.  Please direct any questions to Jordan Van Order, Bureau of Technical Utility Services, at jvanorder@pa.gov (preferred) or 717-787-8763.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

Bureau of Technical Utility Services

Data Requests

Docket No. A-2019-3009112

Note:  If any responses contain Confidential Security Information (CSI),

please inform TUS staff via phone call or email.

A-1	Reference the Letter of Notification, Paragraph 13.  Please provide a copy of the two assessments completed by DiGioia Gray and Associates.

A-2	Reference the Letter of Notification, Paragraph 39.  Please quantify the potential impacts on PPL Electric’s SAIFI, SAIDI, and CAIDI levels.

A-3	Reference the Letter of Notification, Section II(A)(2)(a), Existing System.  Please explain whether any of the loads served by the facilities proposed to be replaced are considered to be critical customers.

A-4	Reference the Letter of Notification, Attachment 1, Page 4.  Please provide the approximate date construction will begin on the proposed project.

A-5	Reference the Letter of Notification, Attachment 1, Section 4.3.  Please explain whether conditions exist which may have accelerated aging or led to the premature failure of the facilities proposed to be replaced.

A-6	Reference the Letter of Notification, Attachment 1, Section 5.2.  Please provide a five-year history of maintenance expenses for the transmission facilities to be replaced as part of the proposed project.