|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

June 13, 2019

Docket No. A-2019-3007945

Utility Code: 110500

CERTIFIED

DAVID B MACGREGOR

POST & SCHELL P C

17 NORTH SECOND STREET 12TH FLOOR

HARRISBURG PA 17101-1601

Re:  	Application of PPL Electric Utilities Corporation for Approval to Rebuild the Existing Breinigsville-Alburtis 500 kV Transmission Line in Lehigh County, Pennsylvania.

Dear Mr. MacGregor:

On February 15, 2019, PPL Electric Utilities Corporation (PPL Electric) filed an Application for approval to rebuild approximately 6 miles of the existing 500 kV Breinigsville-Alburtis 500 kV Transmission Line in Lower Macungie and Upper Macungie Townships, Lehigh County, Pennsylvania.  In order for us to complete our analysis of the subject application, the Bureau of Technical Utility Services requires answers to the enclosed second set of data requests.  This information is necessary for completion of our review of the filing.

Please be advised that you are directed to forward the requested information to the Commission no later than ten (10) days of receipt of this letter.  Failure to respond may result in the application being denied.  As well, if PPL Electric has decided to withdraw its filing, please reply notifying the Commission of such a decision.

Please forward the information to the Secretary of the Commission at the address listed below.  When submitting documents, all documents requiring notary stamps must have original signatures.  Please note that some responses may be e-filed to your case, http://www.puc.pa.gov/efiling/default.aspx.  A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Rosemary Chiavetta, Secretary

Pennsylvania Public Utility Commission

400 North Street

Harrisburg, PA 17120

Your answers should be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa.C.S. § 4904 (relating to unsworn falsification to authorities).

The blank should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.

In addition, to expedite analysis of the application, please also e-mail the information to

Jordan Van Order at jvanorder@pa.gov.  Please direct any questions to Jordan Van Order, Bureau of Technical Utility Services, at jvanorder@pa.gov (preferred) or 717-787-8763.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

Bureau of Technical Utility Services

Data Requests Set 2

Docket No. A-2019-3007945

Note:  If any responses contain Confidential Security Information (CSI),

please inform TUS staff via phone call or email.

A-8	Reference the Application. If project S0864 is not built, has it been definitely determined, on the record, by PJM, that there will be a BES reliability violation?

A-9	Reference the Application. If it has been determined that there is or will be a reliability violation, is there a reliability violation based on the PPL FERC Form 715 TO criteria?  Is there a violation based on a PJM BES reliability criteria violation?

A-10	Reference the Application. Is an SPS a permitted solution to both the PPL FERC Form 715 TO and PJM BES reliability violations?

A-11	Reference the Application. If it has been determined that there is a reliability violation, has PJM independently verified and vetted the least cost solution that resolves the violation?  Or has PJM only approved the project as a supplemental project, under the basic criteria of doing no harm to the BES.

A-12	Reference the Application. If it has been determined that there is a reliability violation, when will that violation occur?   Provide in what year it would occur and if it would occur under FERC 715 TO analysis, and/or also occur under PJM analysis (if not the same)?

A-13	Reference the Application. How will cost allocation be affected if the project is approved as a (1) supplemental project, (2) baseline FERC Form 715 TO criteria, or (3) PJM BES criteria.  What will be the cost allocation if both the FERC Form 715 criteria and PJM BES reliability criteria violations drive a project?

A-14	Reference the Application. What are the specific reliability criteria differences, as applied to this case, between the PPL TO FERC Form 715 and PJM BES reliability criteria?

A-15	What is the process, if there is one, to reclassify a supplemental project put into the Local Plan before the M-3 process took effect into a baseline project [FERC Form 715 or PJM baseline]?  If there isn’t an established process, could this be done upon PPL’s initiative?

A-16	Reference A-15 above.  How long would the above-referenced process take?  Would the project need to be reintroduced at the TEAC/sub-regional TEAC and go through the stakeholder process?  If so, how long would that take until the project, which is already in the RTEP, be reclassified? Does the answer change based on whether the need is reliability or TO criteria?  If so, please explain.

A-17	Reference the Application. For each of the two segments of the 500 kV lines that will affect the N-1-1 scenario, please provide the number of hours per year [for the last 5 years if available] for both planned and unplanned outages on those segments relevant to this reliability analysis.  Please provide a spreadsheet with each of these outage events, listing the date of the event, and the duration in hours of each event.  Note – PPL has indicated that no unplanned outages occurred on these lines.   Please confirm.

A-18	Reference the Application. Please provide operational information regarding PPL’s SPS operations on PPL BES facilities.  How may SPS systems does PPL have?  Also, how many times in the last 5 years did PPL activate SPS de-energize events successfully?  How many times did PPL’s SPS facilities not de-energize when they should have?  How many times did the SPS facilities de-energize when they shouldn’t have, and when they did, how many times did they cause a loss of load – and for how long?

A-19	Reference the Application. PPL Electric has had an average of eight unplanned outages per year on its 500 kV system.  What period was this data gathered over?  Please provide a list over the last 5 years of each of these unplanned outages, and the duration of these outages.   How many miles is PPL’s total 500 kV system?  How many miles are the two 500 kV line segments relevant to the N-1-1 violation?  Specifically, please provide the length of the Susquehanna-Wescosville line.

A-20	Reference the Application. What percent of the year [number of violation hours/total hours] will the violations occur, noting that loads vary with time over the BES and affected distribution systems at Wescosville and Breinigsville substations?  In other words, if the

N-1-1 situation would occur, would there always be a voltage violation, or will it only occur on a peak design hour, and if the latter, quantify the number of hours per year.

A-21	Reference the Application. What is the estimated annual load, in MWHs, behind the Breinigsville Substation?