	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA  17105-3265
	

	
	
	

	
	                Public Meeting held July 11, 2019

	Commissioners Present:
	


	Gladys Brown Dutrieuille, Chairman, Statement, Dissenting

	David W. Sweet, Vice Chairman

Norman J. Kennard

	Andrew G. Place, Statement, Dissenting

	John F. Coleman, Jr.

	      

	Application of PPL Electric Utilities Corporation, for Approval to Rebuild Approximately Six Miles of the Breinigsville-Alburtis 500 kV Transmission Line in Lower Macungie and Upper Macungie Townships, Lehigh County, Pennsylvania 

Petition for Waiver of Certain Provisions of the Commission’s Regulations for Commission Review of Siting and Construction of Electric Transmission Lines set forth at 52 Pa. Code § 57.71 et seq.

	                  Docket Number:
A-2019-3007945





ORDER

BY THE COMMISSION:

On February 15, 2019, PPL Electric Utilities Corporation (PPL Electric), Utility Code: 110500, filed an Application (Application) to rebuild the existing Breinigsville-Alburtis 500 kV Transmission Line (Breinigsville-Alburtis), pursuant to the regulations of the Pennsylvania Public Utility Commission (Commission) at 52 Pa. Code Chapter 57, Subchapter G.  PPL Electric jointly filed a Petition seeking a waiver of certain provisions related to landowner notification, environmental impact studies, efforts to locate archaeologic, geologic, historic, scenic or wilderness areas, descriptions of reasonable alternative routes, etc. related to PPL Electric’s Application.  
History of the Proceeding

On November 27, 2017, PPL Electric filed a Letter of Notification (LON) requesting Commission approval to rebuild the existing single-circuit Breinigsville-Alburtis transmission line to a double-circuit configuration.

By Order entered August 3, 2018, the Commission denied PPL Electric’s LON on the grounds that it had not adequately proven the need for the project.  Specifically, PPL Electric did not establish a reasonable likelihood that the alleged events leading to an outage event are likely to occur, nor did it demonstrate that the proposed solution is an efficient and cost-effective choice relative to other alternatives.  The Commission further stated that it was open to reconsideration to the extent PPL Electric modified its LON or filed a siting application.  

On August 31, 2018, PPL Electric filed a Petition for Review of the Commission’s August 3, 2018 Order in the Commonwealth Court, Docket No. 1194CD2018.

On October 3, 2018, the Commission filed a Motion to Quash the Petition for Review and an Application to Stay the Briefing Schedule (Commission Motion).

On October 17, 2018, PPL Electric filed an Answer to the Commission’s Motion, along with a supporting brief.

The parties subsequently reached an agreement under which PPL Electric would file a full siting application (FSA) to rebuild the Breinigsville-Alburtis 500 kV Transmission Line and a concurrent petition for waiver of certain FSA requirements with the Commission at a new docket number.

Based on this agreement, the parties filed a Joint Application for Stay requesting that the Commonwealth Court stay the appeal pending the Commission’s disposition of PPL Electric’s Application and Petition for Waiver.

On December 14, 2018, the Commonwealth Court issued an Order staying the appeal pending further proceedings before the Commission and directing the parties to file a joint status report on or before February 12, 2019 and every 60 days thereafter as may be necessary.

Petition for Waiver
PPL Electric filed a Petition for waiver of certain provisions of the Commission’s regulations for Commission Review of Siting and Construction of Electric Transmission Lines set forth at 52 Pa. Code 57.71 et seq.  Specifically, PPL Electric seeks a waiver of 52 Pa. Code § 57.72(c) (4), (7), (8), (10), and (11) and 69.3102 through 69.3106 to reconstruct the Breinigsville-Alburtis transmission line.

The Petition concerns the approximately six-mile Breinigsville-Alburtis and PPL Electric’s plan to rebuild it (Proposed Project).  The subject transmission line is a single-circuit line spanning from the Breinigsville 500-138-69 kV Substation (Breinigsville Substation) in Upper Macungie Township to the Alburtis 500-230 kV Substation (Alburtis Substation) in Lower Macungie Township. 

In its Petition, PPL Electric explains that unlike many FSAs, the Proposed Project involves reconstructing an existing transmission line in place and does not require the acquisition of new right-of-way (ROW).  Given this, it is expected that some of the information required by the Commission’s comprehensive siting regulations pertaining to route selection, environmental analysis, and affected landowners, will be inapplicable to the Proposed Project.

PPL Electric states that the information required by Section 57.72(c)(4) is inapplicable to the Proposed Project because the project does not require the acquisition of new ROW, and PPL Electric has not previously acquired any new ROW for the project.  There are no additional persons, corporations, or other entities owning land within the ROW that will be affected by the Proposed Project.  PPL Electric further states that because there is no “proposed” ROW, the requirement is inapplicable.


Section 57.72(c)(4) requires that the applicant provide:

The names and addresses of known persons, corporations and other entities of record owning property within the proposed right-of-way, together with an indication of HV line rights-of-way acquired by the applicant.


We agree with PPL Electric that the Proposed Project will be constructed entirely on existing ROW and that PPL Electric has not previously acquired any new ROW for the project.  Therefore, we are granting PPL Electric’s request for a waiver of the requirements set forth at 52 Pa. Code § 57.72(c)(4). 

PPL Electric requests that the Commission waive the information required by 

52 Pa. Code 57.72(c)(7).  PPL Electric states that the Proposed Project is limited to rebuilding and is located entirely within the existing ROW, which is currently dedicated to utility.  No portion of the Proposed Project will be located outside of the ROW.  All replacement structures will be located in close proximity to and have heights similar to the existing structures.  PPL Electric further states that, where practical, it will use previously established access roads for construction to further reduce interference with existing land uses.  For these reasons, any environmental impact is expected to be minimal.


Section 57.72(c)(7) requires the applicant to provide:

A description of studies which had been made as to the projected environmental impact of the HV line as proposed and of the efforts which have been and which will be made to minimize the impact of the HV line upon the environment and upon scenic and historic areas, including but not limited to impacts, where applicable, upon land use, soil and sedimentation, plant and wildlife habitats, terrain, hydrology and landscape.


We agree with PPL Electric that the Proposed Project will be constructed entirely on existing ROW which is currently dedicated to utility.  Additionally, we agree with PPL Electric that all replacement structures will be located in close proximity to existing structures and have heights similar to the existing structures.  Therefore, we are granting PPL Electric’s request for a waiver of the requirements set forth at 
52 Pa. Code § 57.72(c)(7).


PPL Electric requests that the Commission waive the information required by 

52 Pa. Code § 57.72(c)(8) because there is no “proposed” ROW and because the Proposed Project will not expand upon the existing ROW for the Breinigsville-Alburtis.  PPL Electric further states that it has determined that the Proposed Project will not traverse or affect any unique geological, scenic, or natural areas, nor will the Proposed Project affect any recreational areas or natural landmarks.  

Section 57.72(c)(8) requires that the applicant provide:

A description of the efforts of the applicant to locate and identify archaeologic, geologic, historic, scenic or wilderness areas of significance within 2 miles of the proposed right-of-way and the location and identity of the areas discovered by the applicant.


We agree with PPL Electric that the Proposed Project will be constructed entirely on existing ROW.  Therefore, we are granting PPL Electric’s request for a waiver of the requirements set forth at 52 Pa. Code § 57.72(c)(8). 

PPL Electric states that the information required by Section 57.72(c)(10) is inapplicable to the Proposed Project because the project rebuilds an existing transmission line entirely within the existing ROW.  PPL Electric further states that because the route has already been determined in projects involving the rebuild of an existing line, consideration of alternative routes is unnecessary.  

Section 57.72(c)(10) requires that the applicant provide:

A general description of reasonable alternative routes to the proposed HV line, including a description of the corridor planning methodology, a comparison of the merits and detriments of each route, and a statement of the reasons for selecting the proposed HV line route.

We agree with PPL Electric that the Proposed Project will be constructed entirely on existing ROW and that because the line is being rebuilt, consideration of an alternative route is unnecessary.  Therefore, we are granting PPL Electric’s request for a waiver of the requirements set forth at 52 Pa. Code § 57.72(c)(10). 


PPL Electric states that the information required by Section 57.72(c)(11) is inapplicable to the Proposed Project because the project rebuilds an existing transmission line entirely within the existing ROW.  PPL Electric states that while this information may be useful for evaluating the construction of new lines involving numerous agency requirements, such a requirement is unnecessary when the project being proposed does not involve the acquisition of new ROW and will not substantially alter the existing ROW.  PPL Electric states that it has coordinated with local, state, and federal agencies when necessary for the Proposed Project and that it will comply with any conditions placed on necessary permits.

Section 57.72(c)(11) requires that the applicant provide:

A list of the local, state, and federal governmental agencies which have requirements which shall be met in connection with the construction or maintenance of the proposed HV line and a list of the documents which have been or are required to be filed with those agencies in connection with the siting and construction of the proposed HV line.
 We agree with PPL Electric that the Proposed Project will be constructed entirely on existing ROW and that because the line is being rebuilt and is not a new line, the Proposed Project will not substantially alter the existing ROW, as such, this requirement is unnecessary.  Therefore, we are granting PPL Electric’s request for a waiver of the requirements set forth at 52 Pa. Code § 57.72(c)(11). 


PPL Electric states that the information required by 52 Pa. Code §§ 69.3102 – 69.3106 does not pertain to the Proposed Project because the project does not require the acquisition of new ROW.  PPL Electric states that the above sections require information related to interactions with and notice to landowners (69.3102), applications for eminent domain authority (69.3103), applications for exemption from municipal zoning standards (69.3104), route evaluation and siting (69.105), and environmental filing requirements (69.3106).  PPL Electric has not filed any applications for eminent domain associated with this project, nor is it seeking exemption from municipal zoning standards.  As previously stated, no route selection or siting study was performed for the Proposed Project.  PPL Electric therefore requests that the Commission waive the information required by Sections 69.3102 through 69.3105 of the Commission’s regulations as inapplicable to the Proposed Project.


Section 69.3106 of the regulations requires that:

Applications for siting of electric transmission lines should include as part of the filing requirement under § 57.72(e)(7) the following information:  A matrix or list showing all expected Federal, state, and local government regulatory permitting or licensing approvals that may be required for the project at the time the application is filed, the issuing agency, approximate timeline for approval and current status.  The applicant should provide an update on the status of the regulatory permitting/licensing approvals as the case progresses.

PPL Electric states that the permit matrix is unnecessary for the Proposed Project due to the anticipated permits required being minimal as compared to the construction of a line involving new ROW. 

We agree with PPL Electric that the Proposed Project does not require acquisition of new ROW.   Additionally, we agree that PPL Electric has not filed any applications to exercise the power of eminent domain or exemptions from municipal zoning standards for the Proposed Project.  Lastly, we agree that the anticipated permits required will be minimal compared to the permits required for the construction of a new transmission line on new ROW.  Therefore, we are granting PPL Electric’s request for a waiver of the requirements set forth at 52 Pa. Code §§ 69.3102 – 69.3106.

Finally, PPL Electric requests waiver of the notice and publication requirements as set forth in 52 Pa. Code § 57.75(a) and § 5.14(a), (b).  PPL Electric states that it previously served the Application for a LON for the Proposed Project on all landowners within the existing ROW.  No protests or petitions to intervene were filed.  PPL Electric is not proposing to modify the ROW from the previously filed LON.  PPL Electric further states that the time and expense involved in hearings is not warranted in this situation and is not in the public interest because the Proposed Project is limited to rebuilding a line within the existing ROW.  As such, any environmental impacts are expected to be minimal and would be far less than if the line were to be constructed along a new route.  Additionally, no new landowners will be affected by the Proposed Project.  PPL Electric further states that waiving the hearing notice requirement in this instance is consistent with Commission precedent involving similar cases where the proposed line did not involve acquisition of new ROW.  Additionally, § 57.75(h) allows for waiver of the hearing requirement if no protests or petitions to intervene are filed.


We agree with PPL Electric that the previously filed LON was served on all landowners within the existing ROW and that PPL Electric is not proposing to modify the ROW.  Additionally, we agree that no protests or petitions to intervene were filed.  Therefore, we are granting PPL Electric’s request for a waiver of the requirements set forth at 52 Pa. Code § 57.75(a) and § 5.14(a), (b).
Application 

The Application seeks siting approval for PPL Electric to rebuild approximately six miles of the Breinigsville-Alburtis transmission line in Lower Macungie and Upper Macungie Townships, Lehigh County, Pennsylvania.  

PPL Electric states that the Proposed Project consists of rebuilding the line as a double-circuit transmission line and includes the replacement of all existing transmission line structures and the installation of two new structures.  The new structures will be located on land owned by PPL Electric.  The transmission line will be renamed the Breinigsville-Alburtis #1 & #2 500 kV Transmission Line (Breinigsville-Alburtis #1 & #2).  As stated above, the route for the Breinigsville-Alburtis #1 & #2 is entirely within the ROW of the existing transmission line.  

PPL Electric avers that the Proposed Project is part of a larger project which includes the reconfiguration of the Wescosville 500-138-69 kV Substation (Wescosville Substation) switchyard and involves re-termination of the existing Breinigsville-Alburtis.
  PPL Electric states that the second circuit and switch yard reconfiguration will enable it to resolve an existing North American Electric Reliability Corporation (NERC) standard violation regarding voltage drop on the 138 kV and 69 kV systems during a contingency event.  PPL Electric further states that the Proposed Project will also enable it to bring its Wescosville Substation up to current design standards.
Project Need 
PPL Electric states that the Proposed Project is necessary to comply with: (1) NERC reliability standards approved by the Federal Energy Regulatory Commission; (2) PPL Electric and PJM Interconnection, LLC (PJM) planning standards; (3) good utility practice and; (4) its responsibility to continuously serve customers while minimizing equipment damage and extended loss of power to customer homes and businesses.  PPL Electric states that the Proposed Project will resolve a NERC standard violation for the N-1-1 loss of the Breinigsville-Alburtis and Susquehanna-Wescosville 500 kV Transmission Line (Susquehanna-Wescosville).  PPL Electric further states that the Proposed Project will improve the reliability of the Breinigsville Substation by providing a third 500 kV source.  Currently the Breinigsville Substation only has two sources, the Wescosville-Breinigsville 500 kV Transmission Line and the Breinigsville-Alburtis line.  PPL Electric avers that during maintenance scenarios when one of the two 500 kV transmission lines is taken out-of-service and a fault occurs on the other transmission line in-service, the entire Breinigsville Substation loses power.  PPL Electric states that the addition of a third 500 kV source will avoid interruptions during maintenance of these 500 kV lines and for certain contingency events.
PPL Electric states that the above scenario creates an unacceptable voltage drop and low voltage on the 138 kV and 69 kV transmission lines supplied by the Wescosville and Breinigsville substations.  The Breinigsville Substation would experience a 13.8% voltage drop exceeding PPL Electric’s transmission criteria of 8% and a minimum voltage of 57.2 kV which is below its limit of 62.1 kV.  PPL Electric further states that during this event, the Commission’s requirements at 52 Pa. Code 57.14(b) for voltage range and deviation on PPL Electric’s distribution systems would be exceeded.  PPL Electric states that its analysis shows the voltage violation may occur as early as summer of 2021.  PJM staff conducted an N-1-1 analysis that independently verified the identified voltage violations that would occur if the Proposed Project is not completed.  The PJM analysis was conducted using a 2023 system model.  The addition of the second 500 kV circuit to the existing Breinigsville-Alburtis transmission line was presented at the PJM Mid-Atlantic Sub-Regional Transmission Expansion Plan committee and approved as supplemental project number S0864.
PPL Electric states that while the Proposed Project is needed to address the NERC standard violation, it will also resolve a violation of the National Electric Safety Code’s (NESC) 5 mA Rule.  PPL Electric states that 12 of the 28 spans on the Breinigsville-Alburtis transmission line do not meet the 5 mA Rule which limits the maximum induced current from a transmission line on a large metal object to be 5 mA or less.  PPL Electric states that to address this issue, the Breinigsville-Alburtis #1 & #2 will have increased vertical clearance to ground.

PPL Electric states that, in addition to rebuilding the Breinigsville-Alburtis, it considered five alternative solutions: installation of capacitor banks at the Wescosville and Breinigsville substations, installation of a special protection scheme (SPS), rebuilding the Susquehanna-Wescosville transmission line to a double circuit configuration, addition of a new 500 kV green field circuit, and addition of a new 138 kV green field circuit.    

PPL Electric states that the capacitor banks were not an acceptable solution because of equipment performance constraints that would limit them to being only partially effective in preventing the NERC violation.  Additionally, recent and projected load growth would require capacitors of a size that would exceed PPL Electric’s criteria for allowable voltage rise.  PPL Electric states that the NERC reliability standard does allow the use of load drop as a solution to an N-1-1 contingency.  However, the load drop must be automatic and would require the use of an SPS.  PJM Manual 7 states “SPS’s should not be installed as a substitute for good system design or operating practices.”  PPL Electric further states that historically, SPS’s have been prone to mis-operation and increased outage risk.  The cost for the remaining three alternative solutions ranges from $33 million to $382 million and some of the alternatives would create additional NERC contingencies to be resolved.  Accordingly, PPL Electric submits that the five alternatives were rejected for a solution which resolves the NERC violation and NESC safety issue in a cost-effective manner.

Route Selection for the Proposed Transmission Line


As stated above, we are granting PPL Electric’s request for a waiver of the requirements set forth at 52 Pa. Code § 57.72(c)(10) regarding the evaluation of reasonable alternative routes.
Construction and Engineering


The Proposed Project rebuilds the Breinigsville-Alburtis transmission line with new steel double-circuit structures and additional vertical clearance.  PPL Electric states that replacement of the existing transmission structures is necessary to facilitate the Proposed Project because the existing structures cannot support the proposed double-circuit configuration.
PPL Electric states that to facilitate the Proposed Project, it will replace 27 existing transmission structures and construct two new structures.  The new structures will range from approximately 115 to 195 feet in height and the existing structures to be replaced range from 115 to 185 feet in height.  The average span distance is approximately 1,175 feet between structures.  PPL Electric further states that the Proposed Project has been designed and will be built entirely within the existing ROW for the Breinigsville-Alburtis transmission line and on PPL Electric’s property for the Breinigsville Substation and Alburtis Substation.  The existing ROW is approximately 200 feet in width.  No additional ROW is needed.
PPL Electric maintains the Proposed Project will be designed, constructed, operated and maintained in a manner that meets or surpasses all applicable PPL Electric and NESC minimum standards and all applicable legal requirements.  


PPL Electric states that the cost of the Proposed Project will be approximately 
$33 million to be paid by PPL Electric.  PPL Electric avers that it will construct, own, operate, and maintain the project.  The proposed start of construction is May 2020, with an anticipated in-service date of April 2021.
Protection of Natural Resources

As stated above, we are granting PPL Electric’s request for a waiver of the requirements set forth at 52 Pa. Code § 57.72(c)(7) regarding evaluation of the projected environmental impact.

Disposition


The Commission will grant an application for approval of the siting 

and construction of a high voltage transmission line if it finds and determines, pursuant 

to 52 Pa. Code §57.76(a), the following:

(1) That there is a need for the high voltage transmission line.

(2) That the high voltage transmission line will not create an unreasonable risk of danger to the health and safety of the public.

(3) That the high voltage transmission line is in compliance with applicable statutes and regulations providing for the protection of the natural resources of the Commonwealth.

(4) That the high voltage transmission line will have minimum adverse environmental impact, considering the electric power needs of the public, the state of available technology and the available alternatives.


The criteria that requires the most consideration for the Proposed Project is whether it is needed.  The Commission’s regulations do not define need, but a review of our enabling legislation, the history of this regulation, and Pennsylvania court decisions interpreting the rule are instructive.

Section 1501 and 1504(1) of the Public Utility Code are a source for the Commission’s jurisdiction and authority over utility facilities, and among the statutes the Commission relied upon in the promulgation of its transmission line siting regulations.  Most relevantly, Section 1501 provides that:

Every public utility shall furnish and maintain adequate, efficient, safe and reasonable service and facilities, and shall make all such repairs, changes, alterations, substitutions, extensions, and improvements in or to such service and facilities as shall be necessary or proper for the accommodation, convenience and safety of its patrons, employees, and the public.  Such service shall also be reasonably continuous and without unreasonable interruptions or delay.
66 Pa. C.S. § 1501.

Separately, Section 1504(1), relating to “standards of service and facilities,” provides that the Commission may:

Prescribe as to service and facilities, including the crossing of facilities, just and reasonable standards, classifications, regulations and practices to be furnished, imposed, observed and followed by any or all public utilities.

66 Pa. C.S. § 1504(1)


From time to time the issue of whether a particular HV transmission line was needed has been subject to litigation before the Commission, and subsequent review by the Pennsylvania courts.  The Pennsylvania courts have made a number of findings relevant to the Commission’s review of HV transmission line need and siting, including but not limited to the following:

· An applicant does not need to demonstrate “need from an engineering perspective,” but rather that approval of a project is “necessary or proper for the accommodation, convenience, and safety of its patrons, employees and the public.”

· The Commission may consider “regional reliability needs” in implementing the provisions of the Electric Choice and Competition Act when determining whether to grant or deny an application to construct a new 500 kV line.

· The Commission may find need based on evidence that approval is required to satisfy a transmission owner’s own reliability guidelines.

· An electric utility is to be proactive in monitoring its system to identify reliability problems and should not wait until a problem is looming or absolutely necessary before correcting it.


The record in this proceeding demonstrates that both PPL Electric and PJM have identified potential NERC standard violations in summer peak conditions in 2023.  PPL Electric also states that its own analysis identifies reliability violations in the 2021 RTEP summer peak case, and that preliminary analysis shows reliability problems during light load conditions in 2023. 
  PPL Electric also avers that if construction were to commence upon approval, the project could be completed by April of 2021.


A relevant question to determining whether there is a need for the Proposed Project is whether PPL Electric has considered alternatives to its preferred approach.  PPL Electric provided information that it considered five other alternatives, and maintains that its proposal is the most effective, least cost, long-term solution for the reliability and safety issues.  One of the alternatives it studied is what is known as a “load drop”.  The use of this approach would allow PPL Electric to avoid building a second circuit.  Although PPL Electric identified that the NERC reliability standards allow for load drop as a solution to such an N-1-1 contingency scenario, PPL Electric states that load drop must be automatic, which would require the installation of new equipment, known as a SPS.  PPL Electric also states that load drop installation equipment is prone to mis-operation and “should not be installed as a substitute for good system design or operating practices.”
  PJM separately confirmed that a SPS was not an appropriate solution for the identified issue,
 nor does PPL Electric have any SPS currently in place on its bulk system.

Based on the information provided with the Application and in the response to our data requests, we find that there is substantial evidence to support the approval as necessary for the accommodation, safety and convenience of the public.  It is reasonable to conclude that, in the absence of completing the Proposed Project, Pennsylvania customers may be at risk for interruptions in service as early as the summer of 2021, and likely in the summer of 2023.  Such interruptions could be sustained outages, which may harm commercial and industrial business operations, damage or destroy personal property, and jeopardize public safety.


If PPL Electric were to begin construction at this time, the work should be finished by April of 2021, prior to PPL Electric’s forecast of potential problems during the summer peak of 2021.  PPL Electric’s customers are statutorily entitled to service that is reasonably continuous and uninterrupted, and it is appropriate that PPL Electric begin to remedy the forecasted reliability problem now.  Neither the Commission nor PPL Electric should wait until the point of system failure to address these issues.

We note that the Commission’s full siting regulations contain different standards and criteria for transmission line project review than those set forth in PJM’s tariff and operating agreements.  The relevant Commission regulations precede the opening of wholesale electric markets, and the FERC’s requirements for transmission planning, 
coordination, and cost allocation.
  Additionally, Commission and PJM review of these types of projects are independent of one another.

The Commission finds sufficient PJM’s assurances that its preliminary analysis shows likely voltage drop and voltage limit violations of PJM’s regional reliability criteria in the year 2023 in order to issue a determination on the need for the project, without having to return it to PJM for a complete RTEP analysis.


We therefore find that PPL Electric has demonstrated that the Proposed Project is necessary for the accommodation, safety and convenience of the public, meets the applicable regulatory requirements, and fulfills PPL Electric’s obligations to provide service in accord with the provisions of the NESC.

We also conclude that the Application clearly satisfies the remaining requirements of 57.76(a).  The Proposed Project will be built entirely within the existing PPL 200-foot-wide right-of-way. The new structures are almost the same height, with towers of 115 to 195 feet replacing towers that are currently 115 to 185 feet high.  PPL will also use existing access roads where possible, and the new facilities will be in close proximity to existing ones.  PPL states that construction will be done in compliance with the NESC and that it will obtain all necessary local and state permits for construction of the project. The Proposed Project does not traverse any national, state or local parks, recreational areas, or natural landmarks, and state and federal agencies have confirmed that they either have no concerns regarding impacts on endangered or threatened species, or that they will work with PPL to ensure that the construction does not negatively impact such species. 
Accordingly, the PPL Application, and the manner in which it was filed, conforms to the requirements of 52 Pa. Code § 57.72, has satisfied the requirements of 57.76(a), and is approved; THEREFORE,

IT IS ORDERED:

1. That the Petition of PPL Electric Utilities Corporation for the waiver of certain provisions of the Commission’s Regulations for Commission Review of Siting and Construction of Electric Transmission Lines set forth at 52 Pa. Code § 57.71 et seq. is hereby approved. 
2. That the Application filed by PPL Electric Utilities Corporation to rebuild approximately six miles of the Breinigsville-Alburtis 500 kV Transmission Line in Lower Macungie and Upper Macungie Townships, Lehigh County, Pennsylvania, is hereby approved. 
3. That upon completion of the subject project, PPL Electric Utilities Corporation shall submit the final project cost to the Commission. 
4. That upon completion of Ordering Paragraph 3, this proceeding at Docket No. A-2019-3007945 be closed.

[image: image1.png]









BY THE COMMISSION,








Rosemary Chiavetta








Secretary

(SEAL)

ORDER ADOPTED:  July 11, 2019
ORDER ENTERED:  August 14, 2019
� A-2017-2635709, Letter of Notification of PPL Electric Utilities Corporation, for Approval to Rebuild the Existing Breinigsville-Alburtis 500 kV Transmission Line in Lower Macungie and Upper Macungie Townships, Lehigh County, Pennsylvania, Order entered August 3, 2018.


� A-2017-2618099, Letter of Notification of PPL Electric Utilities Corporation, for Approval to Replace and Re-terminate Approximately 200 feet of the Existing Breinigsville-Alburtis 500 kV Transmission Line in Lower Macungie Township, Lehigh County, Pennsylvania, Order entered August 31, 2017.





� Pennsylvania Power & Light Company v. Pa. PUC, 696 A.2d. 248 (PA. Cmwlth. 1997).


� Energy Conservation Council of Pa. v. Pa. PUC, 995 A.2d 465 (Pa. Cmwlth. 2010).


� Hess v. Pa. PUC, 107 A.3d 346 (Pa. Cmwlth. 2014).


� Id.


� PPL answer to June 13, 2019 TUS data request Q-12.


� See PJM Manual 7.


� PJM answer to June 14, 2019 data request TUS-5.


� FERC Order Nos. 888, 890 and 1000.





PAGE  
14

