|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

September 6, 2019

Docket No. A-2019-3012631

Utility Code: 110550

CERTIFIED

WARD L SMITH

PECO ENERGY COMPANY

2301 MARKET STREET

PHILADELPHIA PA 19103

Re:  	Letter of Notification of PECO Energy Company to Construct a 230 kV Transmission Line Tap from the Existing 220-20 Transmission Line in the City of Philadelphia, Pennsylvania.

Dear Mr. Smith:

On August 29, 2019, PECO Energy Company (PECO) filed a Letter of Notification (LON) for approval to construct a 230 kV transmission line tap from the existing 220-20 transmission line in the City of Philadelphia, Pennsylvania.  In order for us to complete our analysis of the subject application, the Bureau of Technical Utility Services requires answers to the enclosed data requests.  This information is necessary for completion of our review of the filing.

Please be advised that you are directed to forward the requested information to the Commission within ten (10) days of receipt of this letter.  Failure to respond may result in the LON being denied.  As well, if MAIT has decided to withdraw its filing, please reply notifying the Commission of such a decision.

Please forward the information to the Secretary of the Commission at the address listed below.  When submitting documents, all documents requiring notary stamps must have original signatures.  Please note that some responses may be e-filed to your case, http://www.puc.pa.gov/efiling/default.aspx.  A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Rosemary Chiavetta, Secretary

Pennsylvania Public Utility Commission

400 North Street

Harrisburg, PA 17120

Your answers should be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa.C.S. § 4904 (relating to unsworn falsification to authorities).

The blank should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.

In addition, to expedite analysis of the LON, please also e-mail the information to

Jordan Van Order at jvanorder@pa.gov and Jeremy Haring at jharing@pa.gov.  Please direct any questions to Jordan Van Order, Bureau of Technical Utility Services, at jvanorder@pa.gov (preferred) or 717-787-8763 and Jeremy Haring, Bureau of Technical Utility Services, at jharing@pa.gov or 717-783-6175.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

Bureau of Technical Utility Services

Data Requests

Docket No. A-2019-3012631

Note:  If any responses contain Confidential Security Information (CSI),

please inform TUS staff via phone call or email.

A-1	Reference the Letter of Notification, Section 4.  Please provide the approximate year the Overbrook Substation was constructed.

A-2	Reference the Letter of Notification, Section 4.  Fifth bullet point.  Please provide the units for the rating, projected load, and available capacity.

A-3	 Reference the Letter of Notification, Section 8.  The description of project s1826 does not appear to be consistent with PJM’s website.  Please explain.

A-4	Reference the Letter of Notification, Section 21.  Please state the approximate age and anticipated service life of the substation equipment to be decommissioned.  Additionally, please provide a detailed description of the overall health of the equipment.

A-5	Reference the Letter of Notification, Section 22.  For the previous five years, please provide information regarding any unplanned outages resulting from equipment to be retired at the Overbrook Substation.

A-6	Reference the Letter of Notification, Section 24.  Please state the approximate number of customers served by the existing Overbrook Substation.

A-7	Reference the Letter of Notification, Section 24.  Please explain whether any of the loads to be served by the proposed Upland Substation are considered to be critical customers.

A-8	Reference the Letter of Notification, Section 25.  Please quantify the anticipated increase in reliability from retiring the existing Overbrook Substation.

A-9	Reference the Letter of Notification, Section 27.  Please provide a detailed description of the methodology used to determine that the Overbrook Substation has reached the end of its useful service life.

A-10	Reference the Letter of Notification, Section 28.  Please provide a cost benefit analysis for replacing the existing Overbrook Substation versus constructing the Upland Substation.

A-11	Reference the Letter of Notification.  Please provide a five-year history of maintenance expenses for the Overbrook Substation.