November 15, 2019

Docket No. A-2019-3013113

Utility Code 230087

MICHAEL W HASSELL ESQUIRE

DEVIN T RYAN ESQUIRE

POST & SHELL P C

17 NORTH SECOND STREET 12TH FLOOR

HARRISBURG PA 17101-1601

RE:	Application of The York Water Company - Wastewater for approval of the acquisition of the wastewater system assets owned by Felton Borough at Docket No. A-2019-3013113

Dear Attorney Hassell:

On September 13, 2019, The York Water Company – Wastewater filed the above-referenced document with the Pennsylvania Public Utility Commission.  For the Commission to complete its analysis of the filing, responses are required for the attached data requests.  Please forward the requested information to the Commission within 10 business days of the date of this letter.

Please send all responses to the Secretary of the Commission at the following address:

Secretary, Pennsylvania Public Utility Commission

400 North Street, 2nd Floor Harrisburg, Pennsylvania 17120

All documents requiring notary stamps must have original signatures.  Some responses may be e-filed at http://www.puc.pa.gov/efiling/default.aspx.  A list of allowable e-filing document types is available at http://www.puc.pa.gov/efiling/DocTypes.aspx.

I, [print name of appropriate company representative], hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa. C.S. § 4904 (relating to unsworn falsification to authorities).

Signature

Title

Date

Please note that your answers must be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

Please contact the below staff person if any problem should arise that prevents a full response within ten working days or if any clarification of these data requests is needed.  Please mark the materials “CONFIDENTIAL” in bold or highlighted manner if any of the requested information is deemed to be of a confidential nature.

In addition, to expedite completion of the application, please send a copy of the information to Matthew Lamb via e-mail at mlamb@pa.gov or by fax (717) 787-4750.  Please also direct any questions to Matthew Lamb, in the Bureau of Technical Utility Services, Water/Wastewater Division at telephone number (717) 783-1001.  Thank you in advance for your cooperation.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

cc: 	Tanya McCloskey, Office of Consumer Advocate (w/enclosure)

John Evans, Office of Small Business Advocate (w/enclosure)

Richard Kanaskie, PUC Bureau of Investigation and Enforcement (w/enclosure)

Note:  Please restate the data request prior to providing a response. In addition, provide the name and title of the person(s) providing the response and/or information for each data request.

- Data Request A-4 requested a copy of Felton’s Department of Environmental Protection (DEP)-approved Act 537 Official Sewage Facilities Plan (Act 537 Plan) including any amendments.  The information provided in response A-4, dated 1998, does not indicate DEP approval and does not appear to be the most recent version of Felton Borough’s (Felton’s) Act 537 plan.

  - Please provide a copy of DEP’s approval letter for Felton’s 1998 Act 537 Plan which was issued in August 1998 according to DEP.

  - Please provide a copy of the most recent DEP-approved Act 537 Plan for Felton which was approved in 2008 according to DEP.

  - Please provide a copy of DEP’s approval letter for Felton’s 2008 Act 537 Plan which was issued in March 2008 according to DEP.

- Please provide a written summary of Sections 3.5, 4.3 and 5.4 – Wastewater Flow Projections of the DEP-approved 1998 Act 537 Plan for Felton.

- Please describe the purpose of Felton’s DEP-approved 2008 Act 537 Plan.

- Data Request A-9 requested copies of the Discharge Monitoring Reports (DMRs) referenced in the Application’s page 7 as well as Felton’s DMRs for the months of January through August 2019.  York Water-WW did not file a response for Data Request A-9.  Please provide copies of the aforementioned DMRs.

- York Water-WW’s response to Data Request A-14 indicated the reserved capacity holders identified in Appendix A.1 (Exhibit I) will continue to hold reserve capacity after closing.  Please provide evidence of Equivalent Dwelling Unit (EDU) reservation agreements or other written actions (e.g., resolutions, etc.) taken by Felton to memorialize these reserved capacity obligations.

- York Water-WW’s response to Data Request A-23 indicated York Water-WW is not incorporating Section 3.03 of Felton’s Ordinance No. 2004-01 into the company’s wastewater tariff.  If York Water-WW does not incorporate Section 3.03 of Felton’s Ordinance No. 2004-01 into its wastewater tariff, please explain how York Water-WW will determine the appropriate number of EDUs to assign a new Bona Fide Service Applicant, as defined in York Water-WW’s official tariff, if that customer is estimated to exceed 350 gallons per day of wastewater flow following the close of this transaction.

- York Water-WW’s response to Data Request A-23 that provided a revised pro forma tariff supplement incorrectly designates (C) to the Jacobus Borough Area on revised Page No. 4 rather than the Felton Borough Area.  Please submit a revised pro forma tariff identifying the changes to the appropriate sections.

- Data Request A-24 requested York-WW identify the number of Felton customers that are currently billed multiple EDUs and identify if it is York Water-WW’s intent to maintain this bill practice or re-evaluate the number of EDUs assigned to these customers after closing.  York Water-WW did not file a response for Data Request A-24.  Please provide the above requested information.