November 26, 2019

Docket No. A-2019-3014022

Utility Code 230087

MICHAEL W HASSELL ESQUIRE

DEVIN T RYAN ESQUIRE

POST & SHELL PC

17 NORTH SECOND STREET 12TH FLOOR

HARRISBURG PA 17101-1601

RE:	Application of The York Water Company - Wastewater Division for approval of the right to offer, render, furnish or supply wastewater service to the public in a portion of Straban Township, Adams County at Docket No. A-2019-3014022

Dear Attorney Hassell:

On November 1, 2019, The York Water Company – Wastewater Division filed the above-referenced document with the Pennsylvania Public Utility Commission.  For the Commission to complete its analysis of the filing, responses are required for the attached data requests.  Please forward the requested information to the Commission within 10 business days of the date of this letter.

Please send all responses to the Secretary of the Commission at the following address:

Secretary, Pennsylvania Public Utility Commission

400 North Street, 2nd Floor Harrisburg, Pennsylvania 17120

All documents requiring notary stamps must have original signatures.  Some responses may be e-filed at http://www.puc.pa.gov/efiling/default.aspx.  A list of allowable e-filing document types is available at http://www.puc.pa.gov/efiling/DocTypes.aspx.

I, [print name of appropriate company representative], hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa. C.S. § 4904 (relating to unsworn falsification to authorities).

Signature

Title

Date

Please note that your answers must be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

Please contact the below staff person if any problem should arise that prevents a full response within ten working days or if any clarification of these data requests is needed.  Please mark the materials “CONFIDENTIAL” in bold or highlighted manner if any of the requested information is deemed to be of a confidential nature.

In addition, to expedite completion of the application, please send a copy of the information to Matthew Lamb via e-mail at mlamb@pa.gov or by fax (717) 787-4750.  Please also direct any questions to Matthew Lamb, in the Bureau of Technical Utility Services, Water/Wastewater Division at telephone number (717) 783-1001.  Thank you in advance for your cooperation.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

cc: 	Tanya McCloskey, Office of Consumer Advocate (w/enclosure)

John Evans, Office of Small Business Advocate (w/enclosure)

Richard Kanaskie, PUC Bureau of Investigation and Enforcement (w/enclosure)

Note:  Please restate the data request prior to providing a response. In addition, provide the name and title of the person(s) providing the response and/or information for each data request.

- Please provide evidence that Gettysburg Municipal Authority (GMA) has amended its statement in Exhibit G of the Application to include the areas outside of the Amblebrook Development (Amblebrook), delineated in The York Water Company – Wastewater Division (York Water-WW’s) proposed service territory in Exhibit E of the Application, as not creating a conflict with GMA’s service area.

- In page 2 of the letter from the Adams County Office of Planning and Development in Exhibit G of the Application indicates that it does not support including parcels on the east side of Hunterstown Road and immediately south of the Amblebrook site in York Water-WW’s requested territory.  Please explain why York Water-WW is proposing to include these parcels in its requested territory.

- Please provide copy of the municipal approval letter from Straban Township for the Amblebrook Preliminary Subdivision Plan including all conditions of approval.

- Please provide a complete and legible copy, in electronic format, of the most recent approved preliminary subdivision plan set for Amblebrook.

- Please provide copy of the municipal approval letter from Straban Township for the final subdivision plan of each phase of Amblebrook including all conditions of approval.

- Please provide a complete and legible copy, in electronic format, of the approved final plan set for each phase of Amblebrook.

- Please provide copy of the municipal approval letter from Straban Township for the final subdivision plan of each phase of Amblebrook including all conditions of approval.

- Please provide a copy of the most recent Department of Environmental Protection (DEP) approved Act 537 Official Sewage Facilities Plan (Act 537 Plan) for Straban Township including any updates.

- Please provide a copy of DEP’s approval letter for Straban Township’s most recent Act 537 Plan and for any DEP-approved Straban Township Act 537 Plan updates.

- Please provide a copy of the DEP-approved Sewage Facilities Planning Module for Amblebrook.  If DEP has not approved a Sewage Facilities Planning Module, please provide copies of any Sewage Facilities Planning Module application pending before DEP for Amblebrook.

- Please provide a copy of DEP’s approval letter for the Amblebrook Sewage Facilities Planning Module.

- The Application’s Exhibit 1, Page 1 indicates that NPDES Permit No. 0247715 and WQM Permit No. 0117401 were obtained by Greater Gettysburg Investment Group, L.P. and then assigned to CCD Rock Creek LLC (Rock Creek).  Please provide evidence of these permits’ assignment to Rock Creek.

- Please provide a copy of DEP’s approved National Pollutant Discharge Elimination System (NPDES) Permit No. 0247715 referenced in the Application’s Exhibit H, page 1, including any permit amendments or subsequent conditions of approval.

- Please provide a copy of the DEP approved Water Quality Management (WQM) Permit No. 0117401 referenced in the Application’s Exhibit H, page 1, including any amendments or subsequent conditions of approval.

- The Application’s Exhibit H, Section 4 indicates that Rock Creek and York Water intend to execute a Water and Sewer Agreement for each phase (Phase Agreement).  Please provide copies of all draft Phase Agreements, including any executed Phase Agreements.

- The Application’s Exhibit H, Section 8 indicates “If Applicant requires Water Work and Sewer Work to be initiated prior to Company receiving all necessary approvals, [..] Upon receipt of all necessary approvals, Company shall reimburse Applicant or pay Applicant’s contractor for the actual cost of work completed”.  Please clarify the following:

  - If the Applicant is requiring Water Work and Sewer Work to be initiated prior to York Water receiving all necessary approvals;

  - If the Applicant is requiring work to be initiated, identify the work being done before York Water-WW receives all necessary approvals;

  - Quantify any estimated costs under this Section; and

  - Indicate whether it is York Water-WW’s intent to use any of Applicant installed “Sewer Work” as part of plant in use for York Water’s build out of the water system assets in future phases of Amblebrook.

- In the Application’s Section 9, York Water-WW indicates that WWTP will have a ultimate design capacity of 270,000 gallons per day (GPD) and, based upon the complete build out of Amblebrook, a demand of 225,000 GPD.  Please indicate what capacity is required to serve Amblebrook by phase and what amount of capacity York Water-WW intends to book in Property Held for Future Use.

- Please explain how the Application’s Exhibit H, Section 12 complies with York Water-WW’s effective wastewater tariff, Supplement No. 9 to Wastewater – PA. P.U.C. No. 1, Section G, 2(d).

- The Application’s Exhibit H, Attachment A appears to indicate that Rock Creek is required to fund potential CIAC taxes.  Please explain whether requiring Rock Creek to fund potential CIAC taxes complies with 66 Pa. C.S. § 1301.1(b.1).

- If York Water-WW anticipates it will be responsible for income taxes on contributions in aid of construction or customer advances for construction, please provide an estimate of the projected costs to be incurred by York Water-WW for such income taxes.

- For each land parcel upon which York Water-WW’s wastewater facilities will be located, please provide: (1) the subdivision’s lot number or the parcel’s identification number, if available; (2) a description of the facilities which will be located on the parcel; (3) land interest type (e.g., fee, easement, lease or license, etc.); (4) an estimate of the parcel’s cost basis; and (5) an estimate of the parcel’s market value.

- Please provide complete and legible copies, in electronic format, of the approved sewer utility plan sheets for Amblebrook to include, at a minimum, the identification of the parcels for the wastewater treatment plant(s) (WWTP) and the pumping stations, and the layout of the wastewater conveyance system with manhole locations and pipe sizes.

- Please provide an overview of York Water-WW’s proposed wastewater system for Amblebrook to include, at a minimum, the following:

  - Details of York Water-WW’s Phase I Dutchland 100,000 GPD WWTP:  design hydraulic and organic capacities, permitted hydraulic and organic capacities, anticipated peak daily hydraulic and organic loadings, anticipated average daily hydraulic and organic loadings;

  - Details of York Water-WD’s Phase II Dutchland 170,000 GPD WWTP:  design hydraulic and organic capacities, permitted hydraulic and organic capacities, anticipated peak daily hydraulic and organic loadings, anticipated average daily hydraulic and organic loadings;

  - Indication whether the Phase I Dutchland and Phase II Dutchland WWTPs will be located within the same structure as additional treatment trains or as standalone structures at different locations in Amblebrook;

  - Design details of York Water-WW’s planned pumping stations; and

  - Summary of York Water-WW’s planned treatment method and major process components for each Dutchland WWTP by phase.

- Please provide a detailed breakdown of the projected total construction cost for Amblebrook that includes material type descriptions, material quantities, unit costs and extended costs for the WWTP(s), pumping stations, manholes and the wastewater conveyance system delineated by development phase.  This breakdown should include the material type and pipe size of the York Water-WW owned portion of service laterals and should include the cost of appurtenances (i.e., clean-outs, etc.).

- Please provide the tentative journal entries for booking the completed construction of each phase of Amblebrook to include all the wastewater facilities and mains as submitted in Exhibit H, Attachment A of the Application.

- Please identify the entity financially responsible for the cost of the York Water-owned portion of service laterals.

- Please quantify the projected types of residences (e.g., single-family, townhouse, duplex, or condominiums, etc.) by development phase.

- Please quantify the projected number of customers for Amblebrook by customer class and by phase.

- Please provide copies of all requests for service for the area termed “Nearby Lands” in the Application’s Exhibit H, Section 1 and included in York Water-WW’s requested additional service territory in Exhibit E.

- Please provide a copy of a pro forma tariff supplement incorporating any changes required to include the requested territory in York Water-WW’s effective wastewater tariff.

- Please quantify estimated wastewater usage in the first, fifth and tenth years after Amblebrook WWTP(s) is placed into service.

- Please provide a breakdown of the estimated annual revenues, expenses and income for Amblebrook in the first, fifth and tenth year after the first Amblebrook WWTP is placed into service.

- Please state the distance, in miles, between York Water-WW’s existing wastewater facilities and the requested additional territory.

- Please identify the certificated wastewater operator(s) who will run the Amblebrook wastewater system for York Water-WW when Phase I is complete and provide a copy of the individual’s DEP operator license.

- Please indicate the projected date when York Water-WW expects to commence providing wastewater service for each Amblebrook phase.

- Please describe all permits, easements and rights-of-way required to provide wastewater service within the requested territory, indicate the estimated cost of each permit and identify the entity financially responsible for each permit, easement and right-of-way.

- Please indicate whether Straban Township has a mandatory connection ordinance for wastewater service and, if so, please provide a copy of this ordinance.

- Please explain how approval of York Water-WW’s Application is in the interest of York Water-WW’s existing customers.