|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION COMMONWEALTH KEYSTONE BUILDING 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

December 23, 2019

Docket No. M-2016-2522508

KIMBERLY A. KLOCK

SENIOR COUNSEL

PPL CORPORATION

2 NORTH 9TH STREET

ALLENTOWN, PA 18101

Re:	PPL Corporation Request to Extend its Pole Inspection Interval Frequency From 10 Years to 12 Years

Dear Ms. Klock:

On November 1, 2019, PPL filed its 3rd quarter electrical reliability report (Reliability Report), pursuant to 52 Pa. Code § 57.195(d)-(e).

It its Reliability Report, pursuant to 52 Pa. Code § 57.198(l), PPL Electric is proposing to change the pole inspection interval in its approved 2020-2021 Biennial Inspection, Maintenance, Repair, and Replacement Plan (I&M Plan) from every 10 years (as provided for in its original I&M Plan) to every 12 years.  This change in inspection cvcle frequency is consistent with the inspection frequency requirement set forth in 52 Pa. Code § 57.198(n)(2).

Upon review of PPL’s 3rd quarter reliability report filed on November 1, it appears that the filing generally complies to the requirements of 52 Pa. Code § 57.198(n)(2).

This approval is contingent upon the possibility that subsequent audits, reviews and inquiries, in any Commission proceeding, may be conducted pursuant to 52 Pa. Code § 57.197(a).

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code § 5.44, file a petition with the Commission within twenty (20) days after the date of this letter.  Please direct any questions regarding this filing to David Washko, Electrical Reliability Engineer, Bureau of Technical Utility Services at (717) 425-7401, or dawashko@pa.gov.

Sincerely,

Rosemary Chiavetta

Secretary

cc:	Robert Young, Law Bureau

John Van Zant, TUS

Dan Searfoorce, TUS

David Washko, TUS