|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

February 20, 2020

Docket No.:  P-2014-2431005

Utility Code: 230073

SUSAN SIMMS MARSH

DEPUTY GENERAL COUNSEL

PENNSYLVANIA -AMERICAN WATER COMPANY

852 WESLEY DRIVE

MECHANICSBURG, PENNSYLVANIA 17055

RE: Petition of Pennsylvania-American Water Company Wastewater Division (PAWC-WD) for Approval of Modification of Long-Term Infrastructure Improvement Plan (LTIIP)

Dear Ms. Marsh:

PAWC-WD filed its amended LTIIP on January 30, 2020, pursuant to a requirement of the Commission Order entered January 7, 2020, at the above docket number.  To assist the Commission in conducting the review of PAWC-WD’s revised Modified LTIIP, please respond with the information requested in Attachment 1.  In addition to the hard-copy filing directions, below, please also email the information to kennshaffe@pa.gov.

Please forward the information to the Secretary of the Commission at the address listed below within ten (10) days from the date of this letter.  Make sure to reference the Docket Number listed above when filing your response.  Please note that some responses may be e-filed to your case, http://www.puc.pa.gov/efiling/default.aspx.   A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

|  | Rosemary Chiavetta, Secretary |
| --- | --- |
|  | Pennsylvania Public Utility Commission |
|  | 400 North Street |
|  | Harrisburg, PA 17120 |

Your answers should be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa. C.S. § 4904 (relating to unsworn falsification to authorities).

The blank should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.

Please direct any questions to Kenneth Shaffer, Bureau of Technical Utility Services, at kennshaffe@pa.gov, or (717) 787-2359.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure: Attachment 1

cc:  Daniel Searfoorce, Bureau of Technical Utility Services

Kenneth Shaffer, Bureau of Technical Utility Services

John Van Zant, Bureau of Technical Service

Patricia Wiedt, Law Bureau

Attachment 1

Data Request TUS - 1

Pennsylvania-American Water Company - Wastewater Division (PAWC-WD)

PAWC-WD Modified LTIIP

Docket No.  P-2014-2431005

Please provide the following information:

- Reference the PAWC-WD LTIIP, Section 1 - Types and Age of Eligible Property.

- Reference Page 5.  Under “Gravity,” provide clarification in regard to service laterals.  Specifically, is PAWC-WD including the customer-owned portion of the service lateral when it refers to the “service laterals from the customer premise connect?”  Is it PAWC-WD’s intent to replace customer-owned portions of the service lateral in its LTIIP work?

- Reference Page 7, Table 2.  The company notes that the entire customer service lateral on a gravity collection system is deemed to be DSIC-eligible property.  Please clarify if PAWC-WD is including the customer-owned portion of the service lateral?

- Reference Page 14, Figure 2.  Figure 2 notes that 53.8% of the Gravity Main Material breakdown by length is unknown.  Describe in detail how PAWC-WD plans to reduce the amount of unknown Gravity Main Material.

- Reference the PAWC-WD LTIIP, Section 2 - Schedule for Planned Rehabilitation and Replacement of Eligible Property.

- Reference Page 18.  Under “Service lateral replacement / rehabilitation” PAWC-WD describes the work related to service lateral replacements and/or rehabilitation.  Provide clarification on whether PAWC-WD plans to replace or line customer-owned portions of the service lateral.  If PAWC-WD plans to replace or line customer-owned portions of the service lateral, explain how what is outlined in the LTIIP complies with the requirements of 66 Pa. C.S. § 1311(b).

- Reference Page 23.  PAWC-WD references an Appendix A and Appendix B.  These appendices do not appear to have been included in the filing of the revised LTIIP.  Please provide Appendices A and B, or direct TUS staff to the location of these Appendices in any of the filings of PAWC-WD to this petition.

- Reference the PAWC-WD LTIIP, Section 4 – Estimate of the Quantity of Property to be Improved.

- Reference Page 38, Table 8.  Please indicate if the service laterals listed in the table include any customer-owned portions of the sewer lateral.  If yes, explain how that inclusion complies with the requirements of 66 Pa. C.S. § 1311(b). .

- Reference the PAWC-WD LTIIP, Section 6 - Acceleration of Infrastructure Replacement / Renewal

- Reference Page 40.  PAWC-WD references an Appendix C.  This appendix does not appear to have been included in the filing of the revised LTIIP.  Please provide Appendix C, or direct TUS staff to the location of Appendix C in any of the filings of PAWC-WD to this petition.