|  |  | Public Meeting held March 26, 2020 |  |  |
| --- | --- | --- | --- | --- |
| Commissioners Present: |  |  |  |  |
| Gladys Brown Dutrieuille, Chairman |  |  |  |  |
| David W. Sweet, Vice Chairman |  |  |  |  |
| Andrew G. Place John F. Coleman, Jr. Ralph V. Yanora |  |  |  |  |
| Application of The York Water Company – Wastewater (York-WW) for approval of the right of York-WW to: (1) acquire certain wastewater system assets from Felton Borough; and (2) begin to offer or furnish wastewater service to the public in Felton Borough, York County, Pennsylvania |  |  | A-2019-3013113 |  |

ORDER

BY THE COMMISSION:

By the application (Application) filed on September 13, 2019, The York Water Company – Wastewater (York-WW) , Utility Code 230087, seeks certificates of public convenience pursuant to Sections 1102(a)(1)(i) and 1102(a)(3) of the Public Utility Code, 66 Pa. C.S. §§ 1102(a)(1)(i) and 1102(a)(3), evidencing Commission approval to:  (1) acquire certain wastewater system assets from Felton Borough; and (2) begin to offer or furnish wastewater service to the public in Felton Borough, York County, Pennsylvania.

- AFFECTED ENTITIES AND BACKGROUND

York-WW is a regulated public utility company, duly organized and existing under the laws of the Commonwealth of Pennsylvania.  York-WW’s office is located at 130 East Market Street, York, Pennsylvania 17401.  As of September 30, 2018, York-WW furnished wastewater service to 2,291 customers located in portions of East Manchester and Lower Windsor Townships and the Boroughs of East Prospect and West York, York County.  York-WW is a wholly owned division of The York Water Company (York Water), Utility Code 213550.  As of September 30, 2018, York Water provided water service to 67,858 customers in 47 municipalities throughout portions of York and Adams Counties.

Felton Borough is a municipal corporation that furnishes wastewater service to approximately 127 residential customers within its municipal boundaries.  Felton Borough’s mailing address is 88 Main Street, Felton, Pennsylvania 17322.  According to the Application, there is no public water supply within Felton Borough and its residents rely on private on-lot water wells.  The Application does not contemplate a change to water service.

York-WW submitted proofs of publication and service to the appropriate entities.  Notice of the Application was published in the Pennsylvania Bulletin, 49 Pa.B. 5773, on Saturday, October 5, 2019.  The protest period ended October 21, 2019.  No protests were filed, and no hearings were held.

- LOCATION OF FACILITIES TO BE ACQUIRED

Felton Borough is in the southeast portion of York County and consists of approximately 408-acres of land bounded by Chanceford Township to the north, south, and east; Windsor Township to the northwest; and North Hopewell Township to the southwest.  The facilities to be acquired are all situated within the western portion of Felton Borough, and according to the Application, provide service to residents along portions of High Street, Main Street, Red Lion Avenue, Charles Street, Church Street, Water Street and Beaver Street.  The Application’s Exhibit F contained Felton Borough’s Ordinance No. 2002-2 that has a mandatory connection provision requiring the owner of any improved property within Felton Borough and within 150 feet of a sewer system pipe or conduit to connect to the wastewater collection system.  According to York-WW, Felton Borough indicated that all premises within Felton Borough are compliant with this provision of Ordinance 2002-2.

The general alignment of Felton Borough’s wastewater facilities was depicted on a map provided as the Application’s Exhibit D and the map indicated that wastewater service is only provided in approximately one half of Felton Borough’s corporate limits.  However, the Application requested a certificate of public convenience to provide wastewater service in Felton Borough’s existing service territory and to expand the service territory to include the entirety of Felton Borough even though service is only provided in the western portion of the municipality.  Felton Borough subsequently filed a letter with the Secretary’s Bureau dated December 17, 2019, supporting York-WW’s request to expand the wastewater service territory to include its entire municipality.

York-WW’s map of the requested territory and written description of the territory’s boundaries by bearing angles and distances, provided in the Application as Exhibit E, does not appear to follow the area defined by Felton Borough’s Act 537 Official Sewage Facilities Plan approved by the Department of Environmental Protection (DEP) in 1998 (DEP-approved 1998 Act 537 Plan).  Further, York-WW did not provide evidence of DEP’s approval of an expansion of Felton Borough’s current wastewater service area to include the entire municipality pursuant to 35 P.S. § 750.5, revisions must be submitted to DEP for approval.  While Felton Borough appears to support the possibility of York-WW providing wastewater service throughout the entirety of the borough, a simple letter of support cannot supersede Felton Borough’s DEP-approved Act 537 Plan see 35 P.S. § 750.5.  Additionally, the Application does not demonstrate the capability of Felton Borough’s existing facilities to provide adequate wastewater service to the entirety of the borough, nor does the Application quantify the cost, required capacity, or timeframe to complete any plant upgrades, improvements, or extensions that would be necessary to facilitate public wastewater service within the requested territory.  We note that, pursuant to 35 P.S. § 750.5(a), Felton Borough is responsible for any updates or revisions to its DEP-approved 1998 Act 537 Plan, including any changes to the area to be served by a public sewer system, no matter the entity providing wastewater service.

To maintain consistency with the wastewater service territory contemplated by Felton Borough’s DEP-approved 1998 Act 537 Plan, and in consideration of the capacity limitations of Felton Borough’s existing facilities discussed in Section III of this Order, the issuance of a certificate of public convenience for York-WW to acquire the wastewater facilities of Felton Borough will be conditioned upon York-WW filing a revised Exhibit E depicting the requested wastewater service territory with a written boundary description and quantified area that encompasses only the tax parcels, or portions thereof within Felton Borough’s municipal boundaries, which currently receive wastewater service from Felton Borough, and those tax parcels that have frontage along Felton Borough’s existing wastewater mains as discussed later in Section IX of this Order.  If it desires to provide wastewater service to all of Felton Borough, York-WW may file an application for an expansion of the Felton Borough wastewater service territory that provides evidence the expansion was approved by DEP.

- DESCRIPTION OF FACILITIES TO BE ACQUIRED

The major facilities to be acquired include Felton Borough’s collection system, its Beaver Street Pumping Station (Beaver Street PS), and its wastewater treatment plant (WWTP).  York-WW stated that it physically inventoried and recorded the location of all manholes within Felton Borough’s wastewater system and logged that data into York-WW’s GIS database.  The GIS data was compared to Felton Borough’s as-built drawings to quantify the following wastewater collection system assets:

| Asset | Quantity/Unit | Size/Material |
| --- | --- | --- |
| Manholes | 59 Each | 4’ Dia. Precast Concrete |
| Gravity Collection Mains | 9,892 ft | 8” Dia. SDR 35 PVC |
| Pressurized Force Mains | 552 ft | 4” Dia. SDR 35 PVC |
| Utility-Owned Laterals | 127 Each | 4” Dia. SDR 35 PVC |

The Beaver Street PS consists of two submersible pumps designed to alternately run, 24 hours per day, and convey wastewater to Felton Borough’s WWTP.  Both pumps are rated at 180 GPD at 44 feet of total dynamic head.  Felton Borough’s WWTP was constructed and began operation in 2005 and uses a standardized package plant design consisting of in-ground precast concrete tanks, pumps, and blowers to produce an extended aeration treatment process.  Major facilities and equipment include a comminutor; two flow equalization tanks; two parallel aeration trains consisting of three tanks each, providing a total capacity of 41,536 gallons; two final clarifiers with a capacity of 7,054 gallons each; and one ultraviolet (UV) disinfection tank with an effective capacity of 5,421 gallons and a disinfection system capable of treating flows up to 0.075 million gallons per day (MGD).  The UV disinfection tank also provides post-aeration and flow recording in a separate chamber.

Following disinfection, effluent is discharged to the North Branch Muddy Creek through an eight-inch diameter poly vinyl chloride (PVC) plastic pipe approximately 475 feet long.  Sludge is directed to three aerated sludge holding tanks, with a total capacity of 20,768 gallons.  Accumulated sludge is hauled offsite to the Springettsbury Township wastewater treatment facility.  Felton Borough also maintains an on-site emergency generator to serve its WWTP and Beaver Street PS.

The performance of Felton Borough’s WWTP, Beaver Street PS, and collection system is evaluated through the completion of a Chapter 94 Municipal Wasteload Management Annual Report (Chapter 94 Report) filed with DEP.  Felton Borough’s 2017 Chapter 94 Report was provided as the Application’s Exhibit H-2 and its 2018 Chapter 94 Report was included in supplemental information filed with the Commission.  Felton Borough’s 2018 Chapter 94 Report noted its sanitary sewer collection system and WWTP were designed for approximately 140 connections at 275 gallons per day per equivalent dwelling unit (GPD/EDU).  The 2018 Chapter 94 Report also indicated the Felton Borough WWTP’s calculated average daily flow for 2018 was 0.0348 MGD, which is below the permitted limit of 0.04 MGD.  However, the maximum three-month average daily flow was calculated to be 0.0572 MGD which exceeds the permitted limit.  Flows greater than the permitted limit were recorded in September, November, and December 2018.  Felton Borough’s 2018 Chapter 94 Report attributed these excess flows to increased rainfall and the resulting high-water table.

Felton Borough’s 2018 Chapter 94 Report also indicated average daily and the peak monthly organic loadings of 46 and 92 pounds of five-day biochemical oxygen demand (BOD5) per day, respectively.  The monthly average organic loadings exceeded the daily permit limit of 80 pounds BOD5 per day in June and December of 2018.  It was averred within Felton Borough’s 2018 Chapter 94 Report that these readings were unrepresentative of the true sample readings and suggested corrective actions including tank cleaning or changing the location of sampling.

Despite the permit exceedances explained above, Felton Borough’s 2018 Chapter 94 report indicated the WWTP is projected to have adequate hydraulic and organic capacity for the next five years.  This projection assumes ten additional connections over that time.  In the Application, York-WW indicated it does not anticipate conveyance or treatment capacity restrictions.  A table depicting the number of projected connections to Felton Borough’s collection system and flow data through the calendar year 2022 was provided as Exhibit H-1 of the Application.  The table projected ten additional connections by 2022 which would place the WWTP at 98% total capacity.  These projections only consider Felton Borough’s current wastewater service territory, meaning the western portion of Felton Borough, and do not account for increased flow resulting from rainfall as described in Felton Borough’s 2018 Chapter 94 Report.

While Felton Borough’s 2018 Chapter 94 Report avers that its WWTP is not projected to be hydraulically or organically overloaded within the next five years, it does not consider the expansion of the wastewater service to the entirety of Felton Borough.  Additionally, the Application did not quantify the potential additional wastewater flow that would be generated by providing wastewater service throughout the entirety of Felton Borough or provide evidence its WWTP would be capable of treating that potential additional wastewater flow.

- PURCHASE AGREEMENT

On December 28, 2018, York-WW entered an Agreement of Sale for Wastewater Collection System (Agreement of Sale) to acquire Felton Borough’s wastewater collection, pumping and treatment system assets for a purchase price of $880,000, less an amount equal to the total amount of prepaid tapping fees paid to Felton Borough.  A copy of the Agreement of Sale was included in the Application as Exhibit I and a copy of Felton Borough’s Resolution 2018-03, authorizing the Agreement of Sale was included in the Application as Exhibit M.  A list of the customers who have prepaid tapping fees but not yet connected to the system was provided as Appendix A.1 of the Agreement of Sale. These prepaid tapping fees total $27,000 and represent nine EDUs at 275 GPD.  In supplemental information filed with the Commission, York-WW verified that these customers would retain this reserved capacity following the close of this transaction.

The Agreement of Sale identified the terms of the sale and defined the wastewater system assets to be transferred as; all real property, physical plant, equipment and facilities comprising the existing wastewater collection system owned and operated by Felton Borough with attendant easements, rights-of-way, personal property, fixtures and equipment.  Appendix A of the Agreement of Sale further described the assets subject to the sale, including the two York County parcels containing Felton Borough’s WWTP and the Beaver Street PS.  Appendix A also contained a list of easements and rights-of-way that will be transferred to York-WW at closing.  Section 2.2 defined excluded assets as funds of Felton Borough such as checking and savings accounts, accounts receivable, insurance and other investments related to the wastewater collection system.

Section 9.1 of the Agreement of Sale required York-WW to adopt Felton Borough’s current monthly rate for residential wastewater service of $79.50/EDU and maintain that rate unless and until adjusted from time to time through approval from the Commission.  Within the Application, York-WW averred that there is no affiliation between York-WW and Felton Borough, that all negotiations were conducted at arm’s length, and that no competitive condition will be created by approval of this Application.

- ADDITIONAL CAPITAL REQUIREMENTS

In the Application, York-WW estimated additional capital requirements of approximately $90,000 consisting of $60,000 for the installation of supervisory control and data acquisition (SCADA) equipment and $30,000 for legal expenses associated with the acquisition.  In supplemental information filed with the Commission, York-WW indicated it plans to inspect all of Felton Borough’s eight-inch diameter gravity mains at an estimated cost of $13,000.  These capital improvements and the purchase price will be financed by internally generated funds, proceeds from the issuance of common stock under its dividend reinvestment and direct stock purchase and employee stock purchase plans, and, if necessary, borrowing against its lines of credit.

York-WW noted the following tentative journal entries to record this transaction in its accounts:

- Record Purchase of System

| Account No. | Account Description | Debit | Credit |
| --- | --- | --- | --- |
| 105 | Construction Work in Progress | $910,000 |  |
| 131 | Cash |  | $910,000 |

- Close Project to Utility Plant

| Account No. | Account Description | Debit | Credit |
| --- | --- | --- | --- |
| 101 | Utility Plant in Service | $2,336,000 |  |
| 108 | Accumulated Depreciation |  | $660,000 |
| 114 | Utility Plant Acquisition Adj. |  | $766,000 |
| 105 | Construction Work in Progress (Purchase Price + Other Acquisition Costs) |  | $910,000 |

- Record Other Project Costs

| Account No. | Account Description | Debit | Credit |
| --- | --- | --- | --- |
| 105 | Construction Work in Progress | $60,000 |  |
| 224 | SCADA Line of Credit Borrowings |  | $60,000 |

- Close Projects to Utility Plant

| Account No. | Account Description | Debit | Credit |
| --- | --- | --- | --- |
| 101 | Utility Plant in Service | $60,000 |  |
| 105 | Construction Work in Progress |  | $60,000 |

In the Application, York-WW asserted that Felton Borough issued general obligation bonds totaling $949,000 and received $1,024,300 in U.S. Department of Agriculture (USDA) grant(s) to finance the construction of its wastewater system.  In the Application, York-WW also indicated the Felton Borough’s wastewater system has no outstanding PENNVEST loans.  In supplemental information filed with the Commission, York-WW provided a copy of Felton Borough’s 2018 Municipal Annual Audit and Financial Report filed with the Department of Community and Economic Development which identified the outstanding balance of Felton Borough’s general obligation bonds to be $778,006.  Additionally, York-WW averred that the ratemaking treatment of the proposed transaction, including a determination of whether the USDA grant should be considered a contribution-in-aid of construction, should be addressed in a future base rate case.

York-WW stated it will perform an original cost study, after closing, to determine the original cost and accumulated depreciation of Felton Borough’s plant in service to be acquired.  By this Order, York-WW will be required to file a copy of the original cost study of the assets being acquired from Felton Borough with the Commission upon completion of said study.  Additionally, York-WW is directed to identify this transaction for individual review in the context of York-WW’s next general rate case that proposes to include the value of these assets in rate base, in order to evaluate the reasonableness of the original cost, absence of contributions, accumulated depreciation, and any utility plant acquisition adjustment claims.

- PROPOSED RATES

York-WW will adopt Felton Borough’s existing sewer system user charges of $79.50 per month per EDU within the requested territory.  The Application’s Exhibit P consisted of a copy of Felton Borough’s Ordinance No. 2004-01 by which it adopted rules and regulations to govern the use of the sewer system and impose user charges and tapping fees on the owner of each improved property in the area served.  Felton Borough’s user charges were increased to the current rate by Felton Borough Resolution No. 2015-05, dated December 14, 2015.  
A copy of Felton Borough’s Resolution No. 2015-05 was provided as the Application’s Exhibit Q.  In the Application, York-WW verified that wastewater charges will not change for any customer or class of customer with the transition to York-WW’s tariff.  Felton Borough’s Ordinance No. 2004-01 indicates an EDU assumes a wastewater flow rate of 250 GPD for an average single-family residence, which differs from that used in its 2018 Chapter 94 Report as well as York-WW’s tariff definition of an EDU of 350 GPD.  However, York-WW verified in supplemental information filed with the Commission that no existing Felton Borough customers are currently billed for multiple EDUs.

Based on 127 customers, York-WW estimated annual revenue for providing wastewater service within the requested territory to be approximately $121,164 and annual operating expenses, including operation and maintenance, depreciation, and tax expenses, to be $69,790.  The estimated revenue and expenses would result in a net annual operating income of approximately $51,374.  A calculation of the estimated annual revenue and expenses was provided in the Application as Exhibit N.

- PERMITS REQUIRED

York-WW indicated it will apply to DEP to transfer Felton Borough’s National Pollutant Discharge Elimination System (NPDES) Permit No. PA0088579 and Water Quality Management (WQM) Part II Permit No. 670041705-1 to York-WW.  A copy of Felton Borough’s NPDES permit was included in the Application as Exhibit L and a copy of its WQM permit was filed with the Commission in supplemental information.

- OPERATIONS UNDER THE YORK WATER COMPANY – WASTEWATER

In the Application, York-WW indicated the Felton Borough wastewater system will be operated, maintained, and managed by its Operations Department and averred that its long-range plans consider various collection, sanitary waste transportation, and system maintenance alternatives to ensure the collection system can meet future requirements.  Additionally, York-WW noted that future requests for public wastewater service in Felton Borough will be considered in accordance with York-WW’s tariff and line extension rules.  In supplemental information filed with the Commission, York-WW identified the certified operator it intends to assign as the primary operator of the Felton Borough WWTP.

- ACT 537 OFFICIAL SEWAGE FACILITIES PLANNING

In supplemental information filed with the Commission, York-WW provided a copy of a document titled Act 537 Sewage Facilities Plan for the Borough of Felton, prepared by Rettew Associates, Inc., dated 1998, previously referred to in this order as the Felton Borough’s DEP-approved 1998 Act 537 Plan.  York-WW also provided a copy of Felton Borough’s Resolution No. 98-1 which adopted the document as Felton Borough’s official sewage facilities plan, and a copy of the DEP letter approving the subject planning document.

Felton Borough’s DEP-approved 1998 Act 537 Plan selected Alternative 1, which was the construction of a small flow wastewater treatment plant and collection system to provide wastewater service to the area defined on Map 11 of the document.  Map 11 depicts the alignment of the then proposed gravity mains and a small segment of force main along Red Lion Avenue, Main Street, Charles Street, Water Street, and Beaver Street and a service area which encompasses only those proposed mains and the WWTP in the western portion of Felton Borough.  As Alternative 1 is the alternative that Felton Borough selected and later constructed, the service territory depicted for Alternative 1 on Map 11 is the effective wastewater service territory of the municipality.  In supplemental information filed with the Commission, York-WW averred that the requested wastewater service territory is consistent with Felton Borough’s DEP-approved 1998 Act 537 Plan because the entirety of the borough was included in the description of the planning area.  While Felton Borough’s DEP-approved 1998 Act 537 Plan does consider the entirety of borough in planning, only a portion of the borough was selected to receive wastewater disposal service from a central collection and WWTP system.

It is also important to note that following Felton Borough’s 1998 DEP-approved Act 537 Plan, Felton Borough conducted a special study in 2007 to consider an on-lot sewage management program to reduce the potential for contamination of residential groundwater wells by on-lot septage.  The Felton Borough’s 2007 special study amended its 1998 Act 537 Plan to incorporate an on-lot sewage management program in the remainder of the borough and did not include an expansion of the area originally designated for public sewerage.

- LAND-USE PLANNING COMPLIANCE

York-WW sent a letter to the York County Planning Commission (YCPC) dated December 5, 2018, notifying YCPC of its intent to acquire the Felton Borough wastewater system and requested verification that York-WW’s adoption of Felton Borough’s existing wastewater territory is consistent with the adopted county or multi-county comprehensive plan.  YCPC responded by a letter, dated December 13, 2018, and verified the proposal’s consistency.  Copies of these two letters were provided in the Application’s Exhibit J.

- OTHER CONSIDERATIONS

In the Application, York-WW indicated that Felton Borough determined it was in the best interest of its current customers to sell its wastewater system to a company that has sufficient wastewater operations and maintenance experience to meet the wastewater demands of the public and has more experience in dealing with utility service and the regulatory requirements associated with providing such service.  Additionally, it was noted in the Application that Felton Borough concluded its volunteer, part-time board has insufficient experience to continue meeting the regulatory requirements associated with its wastewater obligations.  As evidence of Felton Borough’s difficulties operating its wastewater system, York-WW cited a DEP Notice of Violation (NOV) issued July 17, 2018, and provided a copy of the NOV and Sewage Compliance Inspection Report leading to the NOV, as the Application’s Exhibit G.  That same exhibit provided evidence that Felton Borough later filed the required documentation and DEP closed the NOV in January of 2019.

Commission correspondence with DEP’s Southcentral Regional Office indicated that DEP does not have any current violations, consent orders or corrective action plans against York-WW or Felton Borough.  In addition, DEP reaffirmed that it only approved public sewage in a portion of Felton Borough.  Finally, York-WW is current with its financial reports, annual Security Planning and Readiness report filings and has no outstanding fines or assessments due to the Commission.

- CONCLUSION

Based upon the fact that York-WW will expand its service territory to customers in compliance with Commission regulations; that York-WW will be able to meet the needs of new customers without apparent detriment to its existing customers; and that York-WW has the technical, regulatory, financial and legal fitness to operate and maintain the system assets; the Commission finds that granting conditional approval of York-WW’s Application is necessary or proper for the service, accommodation, convenience, or safety of the public and in the public interest; THEREFORE,

IT IS ORDERED:

- That the Application of The York Water Company – Wastewater at Docket No. A-2019-3013113, is hereby conditionally approved, consistent with this Order.

- That upon compliance with the following conditions, a Certificate of Public Convenience shall be issued pursuant to Section 1102(a)(3) of the Public Utility Code, 66 Pa. C.S. § 1102(a)(3), evidencing Commission approval of the right of The York Water Company – Wastewater to acquire the wastewater system assets owned by the Felton Borough as described in the Application:

  - The York Water Company – Wastewater shall file with the Secretary’s Bureau a revised Exhibit E depicting a requested wastewater service territory map which encompasses only the tax parcels, or portions thereof within Felton Borough’s municipal boundaries, which currently receive wastewater service from Felton Borough and those tax parcels that have frontage along Felton Borough’s existing wastewater mains; and

  - The York Water Company – Wastewater shall file with the Secretary’s Bureau a revised Exhibit E that contains a written description with bearing angles and distances for the boundaries of the requested wastewater service territory to be provided in Item a. above and shall quantify the area of the revised wastewater service territory in acres.

- That The York Water Company – Wastewater shall provide written notification to the Secretary’s Bureau within ten days of the closing with the Felton Borough.

- That following Commission receipt of the notice of closing, a Certificate of Public Convenience shall be issued pursuant to Section 1102(a)(1)(i) of the Public Utility Code, 66 Pa. C.S. § 1102(a)(1)(i), evidencing Commission approval of the right of The York Water Company – Wastewater to begin to offer or furnish wastewater service to the public in a portion of Felton Borough, York County, Pennsylvania consistent with the revised Exhibit E wastewater service territory map, written description and quantified area to be provided in Ordering Paragraph 2.

- That The York Water Company – Wastewater shall file a tariff supplement with the Secretary’s Bureau incorporating a portion of Felton Borough in its wastewater service territory, consistent with the revised wastewater service territory to be provided in Ordering Paragraph 2 and the pro-forma tariff supplement provided in the Application’s supplemental information, within ten days following the date of closing, to become effective on one day’s notice.

- That The York Water Company – Wastewater shall file copies of its original cost study of the wastewater system assets acquired from the Felton Borough with the Secretary’s Bureau and the Bureau of Technical Utility Services, upon completion of said study.

- That, at the time of filing its next base rate case, which proposes to include the assets of this acquisition in rate base, The York Water Company – Wastewater shall specifically reference Docket No. A-2019-3013113 and justify any amount claimed in rate base, in order to evaluate the reasonableness of the original cost, absence of contributions, accumulated depreciation, and any utility plant acquisition adjustment claims pursuant to Section 1327 of the Public Utility Code, 66 Pa. C.S. § 1327.

- That a Certificate of Filing under Section 507 of the Pennsylvania Public Utility Code, 66 Pa. C.S. § 507, shall be issued to The York Water Company – Wastewater acknowledging that a copy of the Agreement of Sale for Wastewater Collection System between The York Water Company – Wastewater and Felton Borough, made December 28, 2018, has been on file with the Commission since September 13, 2019.

- That if The York Water Company – Wastewater determines that the transaction will not occur, they will promptly file notice of such determination with the Secretary’s Bureau and return the Certificate of Public Convenience issued in Ordering Paragraph 2.

- That nothing herein shall be construed as an approval or determination of costs or expenses for the purposes of just or reasonable rates or to exempt The York Water Company – Wastewater from obtaining all necessary permits, licenses, and approvals from other federal, state, and local government agencies having jurisdiction.

- That a copy of this Order be served upon The York Water Company – Wastewater, the Pennsylvania Public Utility Commission’s Bureau of Investigation and Enforcement, the Office of Consumer Advocate, the Office of Small Business Advocate, the Pennsylvania Department of Revenue, the Felton Borough Board of Supervisors, the Felton Borough Planning Commission, the York County Commissioners, the York County Planning Commission and the Department of Environmental Protection - Southcentral Regional Office and its Central Office Bureau of Regulatory Counsel.

- That the proceeding at Docket No. A-2019-3013113 be closed upon the issuance of the Certificate of Public Convenience pursuant to Ordering Paragraph No. 4.

BY THE COMMISSION,

Rosemary Chiavetta

Secretary

(SEAL)

ORDER ADOPTED:  March 26, 2020

ORDER ENTERED:  March 26, 2020

See Ordering Paragraph Nos. 1 and 2.

See Ordering Paragraph No. 6.

See Ordering Paragraph No. 7.