## 500 by District 2019
Pennsylvania-American Water Company |  |  |  |  | For the Year Ended December 31, 2019 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
(Company Name)
500. WATER DELIVERED INTO SYSTEM DURING YEAR
Every estimated value shall be supported by such detailed information as will permit a ready identification, analysis, & verification of all
relevant facts. The Company shall be prepared to furnish to the Commission this detailed information.
|  |  | District Number |  |  | 110/210/220 |  | 230 |  | 250 |  | 310 |  | 330 |  | 410 |  | 420 |  | 430 |  | 440 |  | 450 |  | 460 |  | 510 |  | 520 |  | 530 |  | 540 |  | 550 |  | 560 |  | 570 |  | 610 |  | 620 |  | 630 |  | 633 |  | 640 |  | 650 |  | 660 |  | 680/555/556 |  | 700/710 |  | 720 |  | 730 |  | 740 |  | 770/780 |  | 910 |  | 621
|  |  | District Location | Total Company |  | Pittsburgh McMurray Mon ValleyDistrict |  | Uniontown/Connellsville Dist. |  | Brownsville District |  | New Castle & Ellwood Dist |  | Butler District |  | Indiana District |  | Punxsutawney District |  | Clarion District |  | Kittanning District |  | Warren District |  | Kane District |  | Norristown District |  | Yardley District |  | Abington District |  | Susquehanna District |  | Bangor District |  | Blue Mountain District |  | Pocono District |  | Mechanicsburg District |  | Hershey/Palmyra Dist |  | Wyomissing/Penn Water Dist |  | Glen Alsace District |  | Royersford District |  | Coatesville District |  | Lake Heritage District |  | Lehman Pike District |  | Milton District (incl. McEwensville & Turbotville) |  | Philipsburg District |  | Berwick District |  | Frackville District |  | Centre Co. (Nittany& Boggs) Dist |  | Wilkes Barre District |  | Steelton District
|  |  | Planning Plant |  |  | D129,131,132 |  | D130 |  | D128 |  | D122 |  | D126 |  | D120 |  | D124 |  | D119 |  | D127 |  | D125 |  | D121 |  | D115 |  | D118 |  | D101 |  | D107 |  | D102 |  | D103 |  | D106 |  | D111 |  | D110 |  | D116 |  | D114 |  | D117 |  | D136 |  | D137 |  | D104 |  | D112 |  | D113 |  | D108 |  | D109 |  | D138,139 |  | D140 |  | D155
|  |  | Profit Center |  |  | 2411, 2421, 2422 |  | 2423 |  | 2425 |  | 2431 |  | 2433 & 2434 |  | 2441 |  | 2442 |  | 2443 |  | 2444 |  | 2445 |  | 2446 |  | 2451 |  | 2452 |  | 2453 |  | 2454 |  | 2455 |  | 2456 |  | 2457 |  | 2461 |  | 2462 |  | 2463 |  | 2459 |  | 2464 |  | 2465 |  | 2466 |  | 2468-PA0555&0556 |  | 2471 & 2484 |  | 2472/2478 |  | 2473 |  | 2474 |  | 2478/2477/2472 (Part) |  | 2491 |  | 2414
|  |  |  | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd)
Line |  | Description |  | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted)
No. |  | (a) |  | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c)
1 | Water Delivered for Distribution & Sale:
2 | Water Obtained from Company Sources |  |  | 69692122 | 190937.3205 | 22608327 | 61940.6219 | 560788 | 1536.4055 | 321711 | 881.4 | 2728636 | 7475.7151 | 2122971 | 5816.3589 | 813663 | 2229.2137 | 298623 | 818.1452 | 506571 | 1387.8658 | 125605 | 344.1233 | 540655 | 1481.2466 | 132431 | 362.8247 | 3452278 | 9458.2959 | 1085228 | 2973.2274 | 522735 | 1432.1507 | 252237 | 691.0603 | 260163 | 712.7753 | 673970 | 1846.4932 | 629287 | 1724.074 | 4011635 | 10990.7808 | 2292632 | 6281.1836 | 939893 | 2575.0493 | 484686 | 1327.9068 | 1423589 | 3900.2438 | 1270548 | 3480.9534 | 44149 | 120.9562 | 527929 | 1446.3808 | 1872147 | 5129.1699 | 858260 | 2351.3973 | 471339 | 1291.3397 | 113798 | 311.7753 | 0 | 0 | 17678758 | 48434.9534 | 66880 | 183.2329
3 | Water Obtained from Other Independent Utilities |  |  | 1012188 | 2773.1178 | 1011 | 2.7699 | 770425 | 2110.7534 | 156 | 0.4274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20677 | 56.6493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1723 | 4.7205 | 0 | 0 | 158982 | 435.5671 | 57031 | 156.2493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2183 | 5.9808 | 0 | 0 | 0 | 0 | 0 | 0
4 |  | Total Water Delivered |  | 70704310 | 193710.4384 | 22609338 | 61943.3918 | 1331213 | 3647.1589 | 321867 | 881.8274 | 2728636 | 7475.7151 | 2122971 | 5816.3589 | 813663 | 2229.2137 | 298623 | 818.1452 | 506571 | 1387.8658 | 125605 | 344.1233 | 540655 | 1481.2466 | 132431 | 362.8247 | 3472955 | 9514.9452 | 1085228 | 2973.2274 | 522735 | 1432.1507 | 252237 | 691.0603 | 260163 | 712.7753 | 673970 | 1846.4932 | 629287 | 1724.074 | 4011635 | 10990.7808 | 2294355 | 6285.9041 | 939893 | 2575.0493 | 643668 | 1763.474 | 1480620 | 4056.4932 | 1270548 | 3480.9534 | 44149 | 120.9562 | 527929 | 1446.3808 | 1872147 | 5129.1699 | 858260 | 2351.3973 | 471339 | 1291.3397 | 115981 | 317.7562 | 0 | 0 | 17678758 | 48434.9534 | 66880 | 183.2329
5 | Metered Sales: |  |  | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07
6 | Residential |  |  | 25287292.4 | 69280.2532 | 8095726.5 | 22180.0726 | 483508.7 | 1324.6814 | 154087.2 | 422.1567 | 911671.9 | 2497.7312 | 654907.7 | 1794.2677 | 250717.4 | 686.897 | 111248.6 | 304.7907 | 121875.2 | 333.9047 | 60389.2 | 165.4499 | 179705 | 492.3425 | 69800.7 | 191.2348 | 1364796.5 | 3739.1685 | 615127.4 | 1685.2805 | 273913.7 | 750.4485 | 82326.1 | 225.551 | 136758 | 374.6795 | 369719.5 | 1012.9301 | 303874.2 | 832.5321 | 1539352.3 | 4217.4036 | 740853.2 | 2029.7348 | 509197.8 | 1395.0625 | 422769.6 | 1158.2729 | 764583 | 2094.7479 | 487846.6 | 1336.566 | 34354 | 94.1205 | 245432.7 | 672.4184 | 433746.7 | 1188.3471 | 286516.4 | 784.9764 | 218246.9 | 597.9367 | 73833.6 | 202.2838 | 0 | 0 | 5278137.1 | 14460.6496 | 12269 | 33.6137
7 | Commercial |  |  | 12870849.5 | 35262.6014 | 3742420.8 | 10253.2077 | 267714.3 | 733.4638 | 45188.1 | 123.803 | 340328.2 | 932.406 | 391248.4 | 1071.9134 | 249812.6 | 684.4181 | 68242.5 | 186.9658 | 111179.1 | 304.6003 | 20681.9 | 56.6627 | 85252.3 | 233.5679 | 20824.7 | 57.054 | 805504 | 2206.8603 | 137236.2 | 375.9896 | 93594.6 | 256.4236 | 46677.3 | 127.883 | 39168.2 | 107.3101 | 150566.3 | 412.5104 | 43914.2 | 120.3129 | 982189.9 | 2690.9312 | 697997.5 | 1912.3219 | 206533.6 | 565.8455 | 112120.8 | 307.1803 | 383291.1 | 1050.1126 | 154499.4 | 423.286 | 1201.6 | 3.2921 | 31499.4 | 86.2997 | 359965.3 | 986.2063 | 149994.2 | 410.943 | 83537.3 | 228.8693 | 18952.2 | 51.9238 | 0 | 0 | 3028016.5 | 8295.9356 | 1497 | 4.1014
8 | Industrial |  |  | 3831427 | 10497.0603 | 656840.8 | 1799.5638 | 50388.9 | 138.0518 | 3979.1 | 10.9016 | 248128.6 | 679.8044 | 587857.1 | 1610.5674 | 17271.2 | 47.3184 | 29286.3 | 80.2364 | 0 | 0 | 0 | 0 | 93364.3 | 255.7926 | 7382.2 | 20.2252 | 12907.5 | 35.363 | 0 | 0 | 17510.1 | 47.9729 | 554.1 | 1.5181 | 0 | 0 | 81335.3 | 222.8364 | 6236.6 | 17.0866 | 137238.7 | 375.9964 | 212290.1 | 581.6167 | 18043.2 | 49.4334 | 25449.8 | 69.7255 | 130543.6 | 357.6537 | 164830.8 | 451.5912 | 0 | 0 | 0 | 0 | 462433.4 | 1266.9408 | 12365.1 | 33.877 | 24748.2 | 67.8033 | 4925.6 | 13.4948 | 0 | 0 | 791580.4 | 2168.7134 | 33936 | 92.9753
9 | Public |  |  | 1915657.3 | 5248.3762 | 409052.3 | 1120.6912 | 50961.1 | 139.6195 | 48627 | 133.2247 | 77183.9 | 211.4627 | 57181.7 | 156.6622 | 65264.7 | 178.8074 | 2352.3 | 6.4447 | 55866 | 153.0575 | 14701.3 | 40.2775 | 11459.1 | 31.3948 | 4997.7 | 13.6923 | 138268.3 | 378.8173 | 11862.1 | 32.4989 | 6293.6 | 17.2427 | 4476.6 | 12.2647 | 2871.3 | 7.8666 | 108.9 | 0.29836 | 28.3 | 0.077534 | 169418.2 | 464.1595 | 175821.2 | 481.7019 | 12021.6 | 32.9359 | 154 | 0.42192 | 1621.1 | 4.4414 | 6518.7 | 17.8595 | 0.1 | 0.00027397 | 0 | 0 | 288993.2 | 791.7622 | 6524.9 | 17.8764 | 3956 | 10.8384 | 925.6 | 2.5359 | 0 | 0 | 287880.5 | 788.7137 | 266 | 0.72877
10 | Other Water Utilities |  |  | 693840.3 | 1900.9323 | 487336.7 | 1335.169 | 0 | 0 | 0 | 0 | 62812.4 | 172.0888 | 0 | 0 | 1766 | 4.8384 | 0 | 0 | 20948 | 57.3918 | 0 | 0 | 0 | 0 | 0 | 0 | 1.6 | 0.0043836 | 72146 | 197.6603 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48829.6 | 133.7797 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Private Fire Protection |  |  | 3160.1 | 8.6578 | 73.2 | 0.20055 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 171.3 | 0.46932 | 43.7 | 0.11973 | 62.3 | 0.17068 | 0 | 0 | 1217.8 | 3.3364 | 120.6 | 0.33041 | 406.6 | 1.114 | 354.5 | 0.97123 | 0 | 0 | 0 | 0 | 0.3 | 0.00082192 | 0 | 0 | 0 | 0 | 78.2 | 0.21425 | 0 | 0 | 631.6 | 1.7304 | 0 | 0
12 | Public Fire Protection |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Other Metered Sales Identify _____________________________ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 |  | Total Metered Sales |  | 44602226.6 | 122197.8811 | 13391450.3 | 36688.9049 | 852573 | 2335.8164 | 251881.4 | 690.086 | 1640125 | 4493.4932 | 1691194.9 | 4633.4107 | 584831.9 | 1602.2792 | 211129.7 | 578.4375 | 309868.3 | 848.9542 | 95772.4 | 262.3901 | 369780.7 | 1013.0978 | 103005.3 | 282.2063 | 2321477.9 | 6360.2134 | 836371.7 | 2291.4293 | 391312 | 1072.0877 | 134034.1 | 367.2167 | 178797.5 | 489.8562 | 601901.3 | 1649.0447 | 354097 | 970.1288 | 2828261.4 | 7748.6614 | 1826962 | 5005.3753 | 747014 | 2046.6137 | 560614.8 | 1535.931 | 1280445.4 | 3508.0696 | 862879.6 | 2364.0537 | 35555.7 | 97.4129 | 276932.1 | 758.7181 | 1545138.9 | 4233.2573 | 455400.6 | 1247.6729 | 330488.4 | 905.4477 | 98715.2 | 270.4526 | 0 | 0 | 9386246.1 | 25715.7427 | 47968 | 131.4192
15 | Unmetered Sales:
16 | Residential |  |  | 5560 | 15.2329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5560 | 15.2329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Commercial |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
18 | Industrial |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Private Fire Protection |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Public Fire Protection |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
21 | Other Unmetered Sales Identify ___________________________ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 |  | Total Unmetered Sales |  | 5560 | 15.2329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5560 | 15.2329 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 |  | Total Sales |  | 44607786.6 | 122213.114 | 13391450.3 | 36688.9049 | 852573 | 2335.8164 | 251881.4 | 690.086 | 1640125 | 4493.4932 | 1691194.9 | 4633.4107 | 584831.9 | 1602.2792 | 211129.7 | 578.4375 | 309868.3 | 848.9542 | 95772.4 | 262.3901 | 369780.7 | 1013.0978 | 103005.3 | 282.2063 | 2321477.9 | 6360.2134 | 836371.7 | 2291.4293 | 391312 | 1072.0877 | 134034.1 | 367.2167 | 178797.5 | 489.8562 | 601901.3 | 1649.0447 | 354097 | 970.1288 | 2828261.4 | 7748.6614 | 1826962 | 5005.3753 | 747014 | 2046.6137 | 560614.8 | 1535.931 | 1280445.4 | 3508.0696 | 862879.6 | 2364.0537 | 35555.7 | 97.4129 | 282492.1 | 773.951 | 1545138.9 | 4233.2573 | 455400.6 | 1247.6729 | 330488.4 | 905.4477 | 98715.2 | 270.4526 | 0 | 0 | 9386246.1 | 25715.7427 | 47968 | 131.4192
23 | Non-Revenue Usage Allowances:
24 | Authorized Unmetered Usage:
25 | Main Flushing |  |  | 242869.73 | 665.3965 | 43582 | 119.4027 | 12553 | 34.3918 | 1994 | 5.463 | 596 | 1.6329 | 11102 | 30.4164 | 1207 | 3.3068 | 369 | 1.011 | 1850 | 5.0685 | 2467 | 6.7589 | 7157 | 19.6082 | 979 | 2.6822 | 2229.13 | 6.1072 | 49056 | 134.4 | 1033 | 2.8301 | 4006 | 10.9753 | 1896.1 | 5.1948 | 4847 | 13.2795 | 90 | 0.24658 | 2505 | 6.863 | 2947 | 8.074 | 1045 | 2.863 | 4921 | 13.4822 | 7374 | 20.2027 | 14904 | 40.8329 | 0 | 0 | 2603 | 7.1315 | 22003 | 60.2822 | 52 | 0.14247 | 1997.5 | 5.4726 | 525 | 1.4384 | 0 | 0 | 34980 | 95.8356 | 0 | 0
26 | Blow-off Use |  |  | 117370 | 321.5616 | 1600 | 4.3836 | 0 | 0 | 15 | 0.041096 | 0 | 0 | 10692 | 29.2932 | 215 | 0.58904 | 0 | 0 | 0 | 0 | 86 | 0.23562 | 0 | 0 | 5011 | 13.7288 | 0 | 0 | 8718 | 23.8849 | 0 | 0 | 555 | 1.5205 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51557 | 141.2521 | 144 | 0.39452 | 0 | 0 | 1695 | 4.6438 | 751 | 2.0575 | 0 | 0 | 0 | 0 | 0 | 0 | 36331 | 99.537 | 0 | 0
27 | Others: Identify See Attachment below__________________________ |  |  | 572845.219 | 1569.439 | 78634.4 | 215.4367 | 7643 | 20.9397 | 4890 | 13.3973 | 1525 | 4.1781 | 760 | 2.0822 | 833 | 2.2822 | 520 | 1.4247 | 5667 | 15.526 | 1441 | 3.9479 | 280 | 0.76712 | 4914 | 13.463 | 12839 | 35.1753 | 5878 | 16.1041 | 356 | 0.97534 | 6633 | 18.1726 | 1860.7 | 5.0978 | 5020 | 13.7534 | 3854 | 10.5589 | 22117 | 60.5945 | 2264 | 6.2027 | 4658.619 | 12.7633 | 908 | 2.4877 | 1434.5 | 3.9301 | 110453 | 302.611 | 0 | 0 | 2555 | 7 | 7573 | 20.7479 | 2050 | 5.6164 | 304 | 0.83288 | 88 | 0.2411 | 0 | 0 | 274892 | 753.1288 | 0 | 0
28 | Unauthorized Use |  |  | 18411.1 | 50.4414 | 1085 | 2.9726 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 480 | 1.3151 | 0 | 0 | 0 | 0 | 10 | 0.027397 | 0 | 0 | 20 | 0.054795 | 0 | 0 | 0 | 0 | 0 | 0 | 361.1 | 0.98932 | 5 | 0.013699 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16450 | 45.0685 | 0 | 0
29 | Unavoidable Leakage _1,837_______ gpd/mile of main |  |  | 5888121 | 16131.8384 | 2158875.7515 | 5914.7281 | 127986.4947 | 350.6479 | 47934.8191 | 131.3283 | 246141.5267 | 674.3603 | 146614.9764 | 401.6849 | 57155.1456 | 156.5894 | 37599.334 | 103.0119 | 45425.8451 | 124.4544 | 14513.6054 | 39.7633 | 44902.6936 | 123.0211 | 21540.9789 | 59.0164 | 231301.0068 | 633.7014 | 75904.5336 | 207.9576 | 65486.3596 | 179.4147 | 22523.1676 | 61.7073 | 29156.6121 | 79.8811 | 90186.0076 | 247.085 | 57229.5596 | 156.7933 | 341435.2076 | 935.4389 | 152914.9604 | 418.9451 | 97201.6295 | 266.3058 | 74037.9522 | 202.8437 | 120888.3996 | 331.2011 | 100229.9377 | 274.6026 | 6098.2834 | 16.7076 | 46012.0218 | 126.0603 | 99316.39 | 272.0997 | 114870.3777 | 314.7134 | 50770.6342 | 139.0976 | 10037.6907 | 27.5005 |  | 0 | 1154336.0604 | 3162.5645 | 16904.2206 | 46.3129
30 | Adjustments:
31 | Located & Repaired Breaks in Mains & Services |  |  | 5354875.956 | 14670.893 | 3511668.38 | 9621.0093 | 109877.3 | 301.0337 | 2769 | 7.5863 | 54353 | 148.9123 | 15931 | 43.6466 | 16284 | 44.6137 | 7604 | 20.8329 | 1175 | 3.2192 | 990 | 2.7123 | 7431 | 20.3589 | 2570 | 7.0411 | 335763.476 | 919.8999 | 26152 | 71.6493 | 31396 | 86.0164 | 2476 | 6.7836 | 10673.2 | 29.2416 | 7769 | 21.2849 | 314263 | 860.9945 | 268660 | 736.0548 | 2355 | 6.4521 | 8600 | 23.5616 | 3622 | 9.9233 | 643.6 | 1.7633 | 10005 | 27.411 | 4592 | 12.5808 | 25721 | 70.4685 | 24140 | 66.137 | 21888 | 59.9671 | 10058 | 27.5562 | 1744 | 4.7781 | 0 | 0 | 513702 | 1407.4027 | 0 | 0
32 | Others Identify ______________________________________________ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 |  | Total Allowances & Adjustments |  | 12194493.005 | 33409.5699 | 5795445.5315 | 15877.933 | 258059.7947 | 707.0131 | 57602.8191 | 157.8159 | 302615.5267 | 829.0836 | 185099.9764 | 507.1232 | 75694.1456 | 207.3812 | 46092.334 | 126.2804 | 54117.8451 | 148.2681 | 19497.6054 | 53.4181 | 59770.6936 | 163.7553 | 35014.9789 | 95.9314 | 582612.6128 | 1596.1989 | 165708.5336 | 453.996 | 98271.3596 | 269.2366 | 36203.1676 | 99.1868 | 43586.6121 | 119.4154 | 107842.0076 | 295.4576 | 375436.5596 | 1028.5933 | 634717.2076 | 1738.9513 | 160480.9604 | 439.6739 | 111866.3485 | 306.4831 | 83493.9522 | 228.7506 | 130340.4996 | 357.0973 | 287148.9377 | 786.7094 | 10834.2834 | 29.683 | 76891.0218 | 210.6603 | 154727.39 | 423.9107 | 139611.3777 | 382.4969 | 63130.1342 | 172.9593 | 12394.6907 | 33.9581 | 0 | 0 | 2030691.0604 | 5563.5372 | 16904.2206 | 46.3129
34 | Unaccounted-for-Water |  |  | 13902030.395 | 38087.7545 | 3422442.1685 | 9376.5539 | 220580.2053 | 604.3293 | 12382.7809 | 33.9254 | 785895.4733 | 2153.1383 | 246676.1236 | 675.825 | 153136.9544 | 419.5533 | 41400.966 | 113.4273 | 142584.8549 | 390.6434 | 10334.9946 | 28.3151 | 111103.6064 | 304.3934 | N/A |  | 568864.4872 | 1558.5328 | 83147.7664 | 227.8021 | 33151.6404 | 90.8264 | 81999.7324 | 224.6568 | 37778.8879 | 103.5038 | N/A |  | N/A |  | 548656.3924 | 1503.1682 | 306912.0396 | 840.8549 | 81012.6515 | 221.9525 | N/A |  | 69834.1004 | 191.3263 | 120519.4623 | 330.1903 | N/A |  | 168545.8782 | 461.7695 | 172280.71 | 472.0019 | 263248.0223 | 721.2275 | 77720.4658 | 212.9328 | 4871.1093 | 13.3455 | 0 | 0 | 6261820.8396 | 17155.6735 | 2007.7794 | 5.5008
35 | Percentage Unaccounted-for-Water |  |  | 19.66% |  | 15.14% |  | 16.57% |  | 3.847% |  | 28.8% |  | 11.62% |  | 18.82% |  | 13.86% |  | 28.15% |  | 8.228% |  | 20.55% |  |  |  | 16.38% |  | 7.662% |  | 6.342% |  | 32.51% |  | 14.52% | [5 empty] | 13.68% |  | 13.38% |  | 8.619% |  |  |  | 4.717% |  | 9.486% |  |  |  | 31.93% |  | 9.202% |  | 30.67% |  | 16.49% |  | 4.2% |  |  |  | 35.42% |  | 3.002%
Other Authorized Unmetered Usage
| Company Accounts |  |  | 358287 |  | 10080 |  | 1848 |  | 0 |  | 1185 |  | 128 |  | 163 |  | 93 |  | 5555 |  | 16 |  | 0 |  | 4676 |  | 174 |  | 0 |  | 22 |  | 28 |  | 108 |  | 4866 |  | 3322 |  | 3717 |  | 82 |  | 628 |  | 37 |  | 20 |  | 105791 |  | 0 |  | 2355 |  | 1126 |  | 0 |  | 21 |  | 83 |  | 0 |  | 212163 |  | 0
| Meter Shop Use |  |  | 1090.849 |  | 0 |  | 0 |  | 0 |  | 0 |  | 12 |  | 23 |  | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 30 |  | 0 |  | 4 |  | 0 |  | 0 |  | 0 |  | 22 |  | 0 |  | 40 |  | 440.849 |  | 0 |  | 0 |  | 383 |  | 0 |  | 0 |  | 107 |  | 0 |  | 17 |  | 0 |  | 0 |  | 0 |  | 0
| Draining Storage |  |  | 30468.4 |  | 13754.4 |  | 3100 |  | 1250 |  | 50 |  | 400 |  | 0 |  | 120 |  | 0 |  | 1175 |  | 0 |  | 0 |  | 2350 |  | 1 |  | 0 |  | 210 |  | 0 |  | 0 |  | 230 |  | 400 |  | 0 |  | 0 |  | 0 |  | 100 |  | 2884 |  | 0 |  | 0 |  | 760 |  | 0 |  | 24 |  | 0 |  | 0 |  | 3660 |  | 0
| Street Cleaning/Sewer Flushing/Fire Usage |  |  | 46646 |  | 22800 |  | 210 |  | 1920 |  | 0 |  | 60 |  | 150 |  | 0 |  | 0 |  | 180 |  | 0 |  | 36 |  | 1105 |  | 283 |  | 0 |  | 0 |  | 0 |  | 0 |  | 70 |  | 0 |  | 0 |  | 1275 |  | 84 |  | 0 |  | 601 |  | 0 |  | 0 |  | 230 |  | 0 |  | 42 |  | 0 |  | 0 |  | 17600 |  | 0
| Identified Fire Usage |  |  | 95008 |  | 32000 |  | 285 |  | 1720 |  | 280 |  | 160 |  | 187 |  | 295 |  | 112 |  | 70 |  | 103 |  | 202 |  | 8850 |  | 0 |  | 330 |  | 595 |  | 283.5 |  | 40 |  | 210 |  | 18000 |  | 2142 |  | 1600 |  | 85 |  | 3.5 |  | 650 |  | 0 |  | 200 |  | 5350 |  | 2050 |  | 200 |  | 5 |  | 0 |  | 19000 |  | 0
| Other |  |  | 41344.97 |  | 0 |  | 2200 |  | 0 |  | 10 |  | 0 |  | 310 |  | 0 |  | 0 |  | 0 |  | 177 |  | 0 |  | 330 |  | 5594 |  | 0 |  | 5800 |  | 1469.2 |  | 114 |  | 0 |  | 0 |  | 0 |  | 714.77 |  | 702 |  | 1311 |  | 144 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 22469 |  | 0
| Total Other Authorized Unmetered Usage |  |  | 572845.219 |  | 78634.4 |  | 7643 |  | 4890 |  | 1525 |  | 760 |  | 833 |  | 520 |  | 5667 |  | 1441 |  | 280 |  | 4914 |  | 12839 |  | 5878 |  | 356 |  | 6633 |  | 1860.7 |  | 5020 |  | 3854 |  | 22117 |  | 2264 |  | 4658.619 |  | 908 |  | 1434.5 |  | 110453 |  | 0 |  | 2555 |  | 7573 |  | 2050 |  | 304 |  | 88 |  | 0 |  | 274892 |  | 0

## 500 by District 2018
Pennsylvania-American Water Company |  |  |  |  | For the Year Ended December 31, 2018
(Company Name)
500. WATER DELIVERED INTO SYSTEM DURING YEAR
Every estimated value shall be supported by such detailed information as will permit a ready identification, analysis, & verification of all
relevant facts. The Company shall be prepared to furnish to the Commission this detailed information.
|  |  | District Number |  |  | 110/210/220 |  | 230 |  | 250 |  | 310 |  | 330 |  | 410 |  | 420 |  | 430 |  | 440 |  | 450 |  | 460 |  | 510 |  | 520 |  | 530 |  | 540 |  | 550 |  | 560 |  | 570 |  | 610 |  | 620 |  | 630 |  | 633 |  | 640 |  | 650 |  | 660 |  | 680/555/556 |  | 700/710 |  | 720 |  | 730 |  | 740 |  | 770/780 |  | 910
|  |  | District Location | Total Company |  | Pittsburgh McMurray Mon ValleyDistrict |  | Uniontown/Connellsville Dist. |  | Brownsville District |  | New Castle & Ellwood Dist |  | Butler District |  | Indiana District |  | Punxsutawney District |  | Clarion District |  | Kittanning District |  | Warren District |  | Kane District |  | Norristown District |  | Yardley District |  | Abington District |  | Susquehanna District |  | Bangor District |  | Blue Mountain District |  | Pocono District |  | Mechanicsburg District |  | Hershey/Palmyra Dist |  | Wyomissing/Penn Water Dist |  | Glen Alsace District |  | Royersford District |  | Coatesville District |  | Lake Heritage District |  | Lehman Pike District |  | Milton District |  | Philipsburg District |  | Berwick District |  | Frackville District |  | Centre Co. (Nittany& Boggs) Dist |  | Wilkes Barre District
|  |  | Planning Plant |  |  | D129,131,132 |  | D130 |  | D128 |  | D122 |  | D126 |  | D120 |  | D124 |  | D119 |  | D127 |  | D125 |  | D121 |  | D115 |  | D118 |  | D101 |  | D107 |  | D102 |  | D103 |  | D106 |  | D111 |  | D110 |  | D116 |  | D114 |  | D117 |  | D136 |  | D137 |  | D104 |  | D112 |  | D113 |  | D108 |  | D109 |  | D138,139 |  | D140
|  |  | Profit Center |  |  | 2411, 2421, 2422 |  | 2423 |  | 2425 |  | 2431 |  | 2433 & 2434 |  | 2441 |  | 2442 |  | 2443 |  | 2444 |  | 2445 |  | 2446 |  | 2451 |  | 2452 |  | 2453 |  | 2454 |  | 2455 |  | 2456 |  | 2457 |  | 2461 |  | 2462 |  | 2463 |  | 2459 |  | 2464 |  | 2465 |  | 2466 |  | 2468-PA0555&0556 |  | 2471 & 2484 |  | 2472/2478 |  | 2473 |  | 2474 |  | 2478/2477/2472 (Part) |  | 2491
|  |  |  | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd)
Line |  | Description |  | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted)
No. |  | (a) |  | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c)
1 | Water Delivered for Distribution & Sale:
2 | Water Obtained from Company Sources |  |  | 69085757 | 189276.0466 | 22825042 | 62534.3616 | 462347 | 1266.7041 | 355062 | 972.7726 | 2630043 | 7205.5973 | 2475015 | 6780.863 | 798995 | 2189.0274 | 325270 | 891.1507 | 463065 | 1268.6712 | 129288 | 354.2137 | 652579 | 1787.8877 | 139541 | 382.3041 | 3453934 | 9462.8329 | 1124685 | 3081.3288 | 516718 | 1415.6658 | 236072 | 646.7726 | 237221 | 649.9205 | 669516 | 1834.2904 | 629645 | 1725.0548 | 4257782 | 11665.1562 | 2131358 | 5839.337 | 922873 | 2528.4192 | 471209 | 1290.9836 | 1371183 | 3756.6658 | 1217881 | 3336.6603 | 42976 | 117.7425 | 571706 | 1566.3178 | 1896404 | 5195.6274 | 769854 | 2109.189 | 454050 | 1243.9726 | 115212 | 315.6493 | 64158 | 175.7753 | 16675073 | 45685.1315
3 | Water Obtained from Other Independent Utilities |  |  | 1059721 | 2903.3452 | 4166 | 11.4137 | 812442 | 2225.8685 | 156 | 0.4274 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13822 | 37.8685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 824 | 2.2575 | 0 | 0 | 172555 | 472.7534 | 53860 | 147.5616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1896 | 5.1945 | 0 | 0 | 0 | 0
4 |  | Total Water Delivered |  | 70145478 | 192179.3918 | 22829208 | 62545.7753 | 1274789 | 3492.5726 | 355218 | 973.2 | 2630043 | 7205.5973 | 2475015 | 6780.863 | 798995 | 2189.0274 | 325270 | 891.1507 | 463065 | 1268.6712 | 129288 | 354.2137 | 652579 | 1787.8877 | 139541 | 382.3041 | 3467756 | 9500.7014 | 1124685 | 3081.3288 | 516718 | 1415.6658 | 236072 | 646.7726 | 237221 | 649.9205 | 669516 | 1834.2904 | 629645 | 1725.0548 | 4257782 | 11665.1562 | 2132182 | 5841.5945 | 922873 | 2528.4192 | 643764 | 1763.737 | 1425043 | 3904.2274 | 1217881 | 3336.6603 | 42976 | 117.7425 | 571706 | 1566.3178 | 1896404 | 5195.6274 | 769854 | 2109.189 | 454050 | 1243.9726 | 117108 | 320.8438 | 64158 | 175.7753 | 16675073 | 45685.1315
5 | Metered Sales: |  |  | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07
6 | Residential |  |  | 25554529.8 | 70012.4104 | 8165751.8 | 22371.9227 | 494259.5 | 1354.1356 | 159689.7 | 437.506 | 940532.8 | 2576.8022 | 662681.3 | 1815.5652 | 251204.8 | 688.2323 | 113803.4 | 311.7901 | 123013 | 337.0219 | 61231.8 | 167.7584 | 187050.2 | 512.4663 | 71765.9 | 196.6189 | 1376143.7 | 3770.2567 | 607432.9 | 1664.1997 | 275033.7 | 753.517 | 84929.5 | 232.6836 | 137735 | 377.3562 | 372037.5 | 1019.2808 | 307132.3 | 841.4584 | 1524075.2 | 4175.5485 | 732038.5 | 2005.5849 | 508913.4 | 1394.2833 | 427305.9 | 1170.7011 | 739299.6 | 2025.4784 | 484284.2 | 1326.806 | 34542 | 94.6356 | 237728.3 | 651.3104 | 434268.1 | 1189.7756 | 269233.7 | 737.6266 | 225574.1 | 618.0112 | 75286.7 | 206.2649 | 25334.5 | 69.4096 | 5445216.8 | 14918.4022
7 | Commercial |  |  | 13433627.1 | 36804.4578 | 3878470.7 | 10625.9471 | 292340.9 | 800.934 | 46719.8 | 127.9995 | 402776.1 | 1103.4962 | 520878 | 1427.063 | 261518.3 | 716.4885 | 69345.1 | 189.9866 | 107449.5 | 294.3822 | 20967.1 | 57.4441 | 95238 | 260.926 | 20856.2 | 57.1403 | 800528.9 | 2193.2299 | 136999.5 | 375.3411 | 100625.2 | 275.6855 | 49984.9 | 136.9449 | 39893.6 | 109.2975 | 160070.1 | 438.5482 | 49092.2 | 134.4992 | 980177.6 | 2685.4181 | 674765.4 | 1848.6723 | 211181.7 | 578.58 | 112039.1 | 306.9564 | 375115.6 | 1027.714 | 178171.8 | 488.1419 | 1372.3 | 3.7597 | 29699.1 | 81.3674 | 356230 | 975.9726 | 143984 | 394.4767 | 84734.7 | 232.1499 | 19875.2 | 54.4526 | 13783.5 | 37.763 | 3198743 | 8763.6795
8 | Industrial |  |  | 4014581.4 | 10998.8532 | 649966.3 | 1780.7296 | 46839.9 | 128.3285 | 3031.3 | 8.3049 | 260542.7 | 713.8156 | 634751.5 | 1739.0452 | 16893.3 | 46.283 | 30969.9 | 84.849 | 0 | 0 | 0 | 0 | 201298.9 | 551.5038 | 7889.8 | 21.6159 | 44783.5 | 122.6945 | 0 | 0 | 20991.8 | 57.5118 | 743 | 2.0356 | 0 | 0 | 79665.9 | 218.2627 | 6962.7 | 19.0759 | 136648 | 374.3781 | 207782.6 | 569.2674 | 15101.2 | 41.3732 | 32203.7 | 88.2293 | 131416.1 | 360.0441 | 157480.4 | 431.4532 | 0 | 0 | 0 | 0 | 481462.5 | 1319.0753 | 11593.7 | 31.7636 | 28483.3 | 78.0364 | 5245 | 14.3699 | 0 | 0 | 801834.4 | 2196.8066
9 | Public |  |  | 1906920.2 | 5224.4389 | 394431 | 1080.6329 | 53675 | 147.0548 | 46867 | 128.4027 | 70522.4 | 193.2121 | 57019.8 | 156.2186 | 61073.8 | 167.3255 | 2333.9 | 6.3942 | 49169.2 | 134.7101 | 15065.2 | 41.2745 | 12035 | 32.9726 | 5030.4 | 13.7819 | 129010 | 353.4521 | 11776.5 | 32.2644 | 6921.2 | 18.9622 | 4580.8 | 12.5501 | 2197.3 | 6.02 | 126.8 | 0.3474 | 31 | 0.084932 | 155902.3 | 427.1296 | 165676.1 | 453.9071 | 11105 | 30.4247 | 156.4 | 0.42849 | 1496.6 | 4.1003 | 6441 | 17.6466 | 0 | 0 | 0 | 0 | 296369.7 | 811.9718 | 6253.6 | 17.1332 | 4582.9 | 12.5559 | 571.6 | 1.566 | 183.6 | 0.50301 | 336315.1 | 921.4112
10 | Other Water Utilities |  |  | 688822.1 | 1887.1838 | 488994.5 | 1339.711 | 0 | 0 | 0 | 0 | 59543.4 | 163.1326 | 0 | 0 | 4727 | 12.9507 | 0 | 0 | 20721.2 | 56.7704 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2 | 0.0087671 | 67295 | 184.3699 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47537.8 | 130.2405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Private Fire Protection |  |  | 58458.6 | 160.1605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 0.25479 | 112.9 | 0.30932 | 0 | 0 | 0 | 0 | 4933.2 | 13.5156 | 110.1 | 0.30164 | 16.8 | 0.046027 | 206 | 0.56438 | 0 | 0 | 0 | 0 | 0.5 | 0.0013699 | 0 | 0 | 0 | 0 | 4.6 | 0.012603 | 0 | 0 | 52981.5 | 145.1548
12 | Public Fire Protection |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Other Metered Sales Identify _____________________________ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 |  | Total Metered Sales |  | 45656939.2 | 125087.5047 | 13577614.3 | 37198.9433 | 887115.3 | 2430.4529 | 256307.8 | 702.2132 | 1733917.4 | 4750.4586 | 1875330.6 | 5137.8921 | 595417.2 | 1631.28 | 216452.3 | 593.02 | 300352.9 | 822.8847 | 97264.1 | 266.477 | 495622.1 | 1357.8688 | 105542.3 | 289.157 | 2350469.3 | 6439.6419 | 823503.9 | 2256.1751 | 403571.9 | 1105.6764 | 140238.2 | 384.2142 | 179825.9 | 492.6737 | 611993.3 | 1676.694 | 363331.1 | 995.4277 | 2796803.1 | 7662.4742 | 1780262.6 | 4877.4318 | 751234.5 | 2058.1767 | 571815.2 | 1566.617 | 1247344.7 | 3417.3827 | 874121.2 | 2394.8526 | 35914.3 | 98.3953 | 267427.4 | 732.6778 | 1568330.8 | 4296.7967 | 431065 | 1181 | 343375 | 940.7534 | 100983.1 | 276.666 | 39301.6 | 107.6756 | 9835090.8 | 26945.4542
15 | Unmetered Sales:
16 | Residential |  |  | 5837 | 15.9918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5837 | 15.9918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | Commercial |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
18 | Industrial |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | Private Fire Protection |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Public Fire Protection |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
21 | Other Unmetered Sales Identify ___________________________ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 |  | Total Unmetered Sales |  | 5837 | 15.9918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5837 | 15.9918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 |  | Total Sales |  | 45662776.2 | 125103.4964 | 13577614.3 | 37198.9433 | 887115.3 | 2430.4529 | 256307.8 | 702.2132 | 1733917.4 | 4750.4586 | 1875330.6 | 5137.8921 | 595417.2 | 1631.28 | 216452.3 | 593.02 | 300352.9 | 822.8847 | 97264.1 | 266.477 | 495622.1 | 1357.8688 | 105542.3 | 289.157 | 2350469.3 | 6439.6419 | 823503.9 | 2256.1751 | 403571.9 | 1105.6764 | 140238.2 | 384.2142 | 179825.9 | 492.6737 | 611993.3 | 1676.694 | 363331.1 | 995.4277 | 2796803.1 | 7662.4742 | 1780262.6 | 4877.4318 | 751234.5 | 2058.1767 | 571815.2 | 1566.617 | 1247344.7 | 3417.3827 | 874121.2 | 2394.8526 | 35914.3 | 98.3953 | 273264.4 | 748.6696 | 1568330.8 | 4296.7967 | 431065 | 1181 | 343375 | 940.7534 | 100983.1 | 276.666 | 39301.6 | 107.6756 | 9835090.8 | 26945.4542
23 | Non-Revenue Usage Allowances:
24 | Authorized Unmetered Usage:
25 | Main Flushing |  |  | 170128.285 | 466.1049 | 11935 | 32.6986 | 16348 | 44.789 | 984 | 2.6959 | 1710 | 4.6849 | 4045.6 | 11.0838 | 437 | 1.1973 | 257 | 0.70411 | 4318 | 11.8301 | 2248.8 | 6.1611 | 1434 | 3.9288 | 2096 | 5.7425 | 2987.115 | 8.1839 | 19376 | 53.0849 | 781 | 2.1397 | 265 | 0.72603 | 2287.17 | 6.2662 | 2402 | 6.5808 | 104 | 0.28493 | 16134 | 44.2027 | 9196 | 25.1945 | 820 | 2.2466 | 6422 | 17.5945 | 7843.6 | 21.4893 | 26165 | 71.6849 | 0 | 0 | 914 | 2.5041 | 21599 | 59.1753 | 0 | 0 | 901 | 2.4685 | 513 | 1.4055 | 0 | 0 | 5605 | 15.3562
26 | Blow-off Use |  |  | 241374 | 661.2986 | 33620 | 92.1096 | 0 | 0 | 0 | 0 | 0 | 0 | 13827 | 37.8822 | 320 | 0.87671 | 0 | 0 | 101 | 0.27671 | 0 | 0 | 0 | 0 | 5397 | 14.7863 | 0 | 0 | 16 | 0.043836 | 0 | 0 | 50 | 0.13699 | 0 | 0 | 2 | 0.0054795 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 129120 | 353.7534 | 144 | 0.39452 | 0 | 0 | 2068 | 5.6658 | 1161 | 3.1808 | 0 | 0 | 0 | 0 | 14 | 0.038356 | 55534 | 152.1479
27 | Others: Identify See Attachment below__________________________ |  |  | 798574.394 | 2187.8751 | 72392 | 198.3342 | 6205 | 17 | 3246 | 8.8932 | 2482 | 6.8 | 1769 | 4.8466 | 479 | 1.3123 | 332 | 0.90959 | 5787 | 15.8548 | 1250 | 3.4247 | 268 | 0.73425 | 4916 | 13.4685 | 11852 | 32.4712 | 160 | 0.43836 | 637 | 1.7452 | 2142 | 5.8685 | 301.3 | 0.82548 | 4736 | 12.9753 | 2664 | 7.2986 | 20512 | 56.1973 | 1637 | 4.4849 | 103618.394 | 283.886 | 387 | 1.0603 | 1792.7 | 4.9115 | 98109 | 268.7918 | 0 | 0 | 2554 | 6.9973 | 15070 | 41.2877 | 1945 | 5.3288 | 616 | 1.6877 | 36 | 0.09863 | 125 | 0.34247 | 430554 | 1179.6
28 | Unauthorized Use |  |  | 16171 | 44.3041 | 1290 | 3.5342 | 0 | 0 | 0 | 0 | 100 | 0.27397 | 0 | 0 | 17 | 0.046575 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 0.076712 | 65 | 0.17808 | 100 | 0.27397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 245 | 0.67123 | 0 | 0 | 0 | 0 | 28 | 0.076712 | 0 | 0 | 0 | 0 | 648 | 1.7753 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13650 | 37.3973
29 | Unavoidable Leakage _1,837_______ gpd/mile of main |  |  | 6787370.2907 | 18595.535 | 2541362.1617 | 6962.6361 | 127033.3244 | 348.0365 | 48251.5344 | 132.196 | 303420.3072 | 831.2885 | 188389.1019 | 516.1345 | 65161.022 | 178.5233 | 40950.6678 | 112.1936 | 48930.9785 | 134.0575 | 16669.2888 | 45.6693 | 50540.1874 | 138.4663 | 25264.0645 | 69.2166 | 247119.311 | 677.0392 | 81485.0326 | 223.2467 | 72763.4401 | 199.3519 | 29318.7945 | 80.3255 | 32873.5568 | 90.0645 | 99647.4255 | 273.0066 | 74716.2398 | 204.702 | 459216.4753 | 1258.1273 | 200498.9631 | 549.3122 | 102064.1915 | 279.6279 | 88663.1776 | 242.9128 | 146444.751 | 401.2185 | 109633.4812 | 300.3657 | 6020.7543 | 16.4952 | 58223.0977 | 159.5153 | 114622.6305 | 314.0346 | 135485.1587 | 371.1922 | 60824.3353 | 166.642 | 12048.3023 | 33.009 | 8723.949 | 23.9012 | 1191004.5845 | 3263.0263
30 | Adjustments:
31 | Located & Repaired Breaks in Mains & Services |  |  | 4597471.79 | 12595.8131 | 3420726.49 | 9371.8534 | 101147 | 277.1151 | 5284 | 14.4767 | 44826 | 122.811 | 26491 | 72.5781 | 26301 | 72.0575 | 7002 | 19.1836 | 3997 | 10.9507 | 1105 | 3.0274 | 6899 | 18.9014 | 2264 | 6.2027 | 84077.88 | 230.3504 | 6851 | 18.7699 | 14075 | 38.5616 | 6201 | 16.989 | 82497.72 | 226.0212 | 26453 | 72.474 | 732 | 2.0055 | 225482 | 617.7589 | 1396 | 3.8247 | 6485 | 17.7671 | 11498 | 31.5014 | 1037.7 | 2.843 | 2143 | 5.8712 | 989 | 2.7096 | 8219 | 22.5178 | 21351 | 58.4959 | 11924 | 32.6685 | 9066 | 24.8384 | 4856 | 13.3041 | 477 | 1.3068 | 425618 | 1166.0767
32 | Others Identify ______________________________________________ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 |  | Total Allowances & Adjustments |  | 12611089.7597 | 34550.9308 | 6081325.6517 | 16661.1662 | 250733.3244 | 686.9406 | 57765.5344 | 158.2617 | 352538.3072 | 965.8584 | 234521.7019 | 642.5252 | 92715.022 | 254.0138 | 48541.6678 | 132.9909 | 63133.9785 | 172.9698 | 21273.0888 | 58.2824 | 59141.1874 | 162.0307 | 39965.0645 | 109.4933 | 346101.306 | 948.2228 | 107988.0326 | 295.8576 | 88256.4401 | 241.7985 | 37976.7945 | 104.046 | 117959.7468 | 323.1774 | 133240.4255 | 365.0423 | 78216.2398 | 214.2911 | 721344.4753 | 1976.2862 | 212727.9631 | 582.8163 | 213232.5855 | 584.1989 | 106970.1776 | 293.069 | 157118.751 | 430.4623 | 365198.4812 | 1000.5438 | 7153.7543 | 19.5993 | 69910.0977 | 191.5345 | 175358.6305 | 480.4346 | 150515.1587 | 412.3703 | 71407.3353 | 195.6365 | 17453.3023 | 47.8173 | 9339.949 | 25.5889 | 2121965.5845 | 5813.6043
34 | Unaccounted-for-Water |  |  | 11871612.0403 | 32524.9645 | 3170268.0483 | 8685.6659 | 136940.3756 | 375.1791 | 41144.6656 | 112.7251 | 543587.2928 | 1489.2803 | 365162.6981 | 1000.4457 | 110862.778 | 303.7336 | 60276.0322 | 165.1398 | 99578.1215 | 272.8168 | 10750.8112 | 29.4543 | 97815.7126 | 267.9883 | N/A |  | 771185.394 | 2112.8367 | 193193.0674 | 529.2961 | 24889.6599 | 68.1908 | 57857.0055 | 158.5123 | N/A |  | N/A |  | 188097.6602 | 515.3361 | 739634.4247 | 2026.3957 | 139191.4369 | 381.3464 | N/A |  | N/A |  | 20579.549 | 56.3823 | N/A |  | N/A |  | 228531.5023 | 626.1137 | 152714.5695 | 418.3961 | 188273.8413 | 515.8187 | 39267.6647 | 107.5826 | N/A |  | 15516.451 | 42.5108 | 4718016.6155 | 12926.0729
35 | Percentage Unaccounted-for-Water |  |  | 16.92% |  | 13.89% |  | 10.74% |  | 11.58% |  | 20.67% |  | 14.75% |  | 13.88% |  | 18.53% |  | 21.5% |  | 8.315% |  | 14.99% |  |  |  | 22.24% |  | 17.18% |  | 4.817% |  | 24.51% | [5 empty] | 29.87% |  | 17.37% |  | 6.528% | [5 empty] | 1.444% | [5 empty] | 39.97% |  | 8.053% |  | 24.46% |  | 8.648% |  |  |  | 24.18% |  | 28.29%
Other Authorized Unmetered Usage
| Company Accounts |  |  | 621616 |  | 8347 |  | 1750 |  | 44 |  | 1572 |  | 181 |  | 130 |  | 47 |  | 5667 |  | 15 |  | 0 |  | 4852 |  | 152 |  | 0 |  | 23 |  | 35 |  | 115 |  | 3208 |  | 2489 |  | 2512 |  | 415 |  | 100780 |  | 17 |  | 21 |  | 96727 |  | 0 |  | 2484 |  | 1038 |  | 0 |  | 25 |  | 22 |  | 0 |  | 388948
| Meter Shop Use |  |  | 1913.394 |  | 0 |  | 0 |  | 0 |  | 0 |  | 31 |  | 0 |  | 8 |  | 0 |  | 0 |  | 0 |  | 0 |  | 20 |  | 10 |  | 10 |  | 5 |  | 0 |  | 1186 |  | 5 |  | 0 |  | 0 |  | 263.394 |  | 60 |  | 72 |  | 0 |  | 0 |  | 0 |  | 178 |  | 20 |  | 31 |  | 14 |  | 0 |  | 0
| Draining Storage |  |  | 13910 |  | 4850 |  | 0 |  | 422 |  | 0 |  | 1200 |  | 0 |  | 0 |  | 0 |  | 500 |  | 0 |  | 0 |  | 2000 |  | 0 |  | 0 |  | 35 |  | 0 |  | 207 |  | 5 |  | 0 |  | 0 |  | 375 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 1115 |  | 0 |  | 0 |  | 0 |  | 0 |  | 3201
| Street Cleaning/Sewer Flushing/Fire Usage |  |  | 41517.7 |  | 20700 |  | 1695 |  | 1140 |  | 0 |  | 101 |  | 101 |  | 13 |  | 0 |  | 410 |  | 0 |  | 39 |  | 730 |  | 50 |  | 0 |  | 0 |  | 0 |  | 0 |  | 60 |  | 0 |  | 0 |  | 1000 |  | 33 |  | 12.7 |  | 628 |  | 0 |  | 0 |  | 255 |  | 0 |  | 50 |  | 0 |  | 0 |  | 14500
| Identified Fire Usage |  |  | 101745 |  | 36050 |  | 2760 |  | 1640 |  | 910 |  | 256 |  | 248 |  | 264 |  | 120 |  | 325 |  | 268 |  | 25 |  | 8950 |  | 88 |  | 397 |  | 310 |  | 72 |  | 116 |  | 105 |  | 18000 |  | 1222 |  | 900 |  | 257 |  | 272 |  | 610 |  | 0 |  | 70 |  | 5250 |  | 1925 |  | 510 |  | 0 |  | 125 |  | 19700
| Other |  |  | 17872.3 |  | 2445 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 12 |  | 207 |  | 1757 |  | 114.3 |  | 19 |  | 0 |  | 0 |  | 0 |  | 300 |  | 20 |  | 1415 |  | 144 |  | 0 |  | 0 |  | 7234 |  | 0 |  | 0 |  | 0 |  | 0 |  | 4205
| Total Other Authorized Unmetered Usage |  |  | 798574.394 |  | 72392 |  | 6205 |  | 3246 |  | 2482 |  | 1769 |  | 479 |  | 332 |  | 5787 |  | 1250 |  | 268 |  | 4916 |  | 11852 |  | 160 |  | 637 |  | 2142 |  | 301.3 |  | 4736 |  | 2664 |  | 20512 |  | 1637 |  | 103618.394 |  | 387 |  | 1792.7 |  | 98109 |  | 0 |  | 2554 |  | 15070 |  | 1945 |  | 616 |  | 36 |  | 125 |  | 430554

## 500 by District 2017
Pennsylvania-American Water Company |  |  |  |  | For the Year Ended December 31, 2017
(Company Name)
500. WATER DELIVERED INTO SYSTEM DURING YEAR
Every estimated value shall be supported by such detailed information as will permit a ready identification, analysis, & verification of all
relevant facts. The Company shall be prepared to furnish to the Commission this detailed information.
|  |  | District Number |  |  | 110/210/220 |  | 230 |  | 250 |  | 310 |  | 330 |  | 410 |  | 420 |  | 430 |  | 440 |  | 450 |  | 460 |  | 510 |  | 520 |  | 530 |  | 540 |  | 550 |  | 560 |  | 570 |  | 610 |  | 620 |  | 630 |  | 633 |  | 640 |  | 650 |  | 660 |  | 680/555/556 |  | 700/710 |  | 720 |  | 730 |  | 740 |  | 770/780 |  | 910
|  |  | District Location | Total Company |  | Pittsburgh McMurray Mon ValleyDistrict |  | Uniontown/Connellsville Dist. |  | Brownsville District |  | New Castle & Ellwood Dist |  | Butler District |  | Indiana District |  | Punxsutawney District |  | Clarion District |  | Kittanning District |  | Warren District |  | Kane District |  | Norristown District |  | Yardley District |  | Abington District |  | Susquehanna District |  | Bangor District |  | Blue Mountain District |  | Pocono District |  | Mechanicsburg District |  | Hershey/Palmyra Dist |  | Wyomissing/Penn Water Dist |  | Glen Alsace District |  | Royersford District |  | Coatesville District |  | Lake Heritage District |  | Lehman Pike District |  | Milton District |  | Philipsburg District |  | Berwick District |  | Frackville District |  | Centre Co. (Nittany& Boggs) Dist |  | Wilkes Barre District
|  |  | Planning Plant |  |  | D129,131,132 |  | D230 |  | D128 |  | D122 |  | D126 |  | D120 |  | D124 |  | D119 |  | D127 |  | D125 |  | D121 |  | D115 |  | D118 |  | D101 |  | D107 |  | D102 |  | D103 |  | D106 |  | D111 |  | D110 |  | D116 |  | D114 |  | D117 |  | D136 |  | D137 |  | D104 |  | D112 |  | D113 |  | D108 |  | D109 |  | D138,139 |  | D140
|  |  | Profit Center |  |  | 2411, 2421, 2422 |  | 2423 |  | 2425 |  | 2431 |  | 2433 & 2434 |  | 2441 |  | 2442 |  | 2443 |  | 2444 |  | 2445 |  | 2446 |  | 2451 |  | 2452 |  | 2453 |  | 2454 |  | 2455 |  | 2456 |  | 2457 |  | 2461 |  | 2462 |  | 2463 |  | 2459 |  | 2464 |  | 2465 |  | 2466 |  | 2468-PA0555&0556 |  | 2471 & 2484 |  | 2472/2478 |  | 2473 |  | 2474 |  | 2478/2477/2472 (Part) |  | 2491
Line |  | Description |  | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd) | (Gallons) | (gpd)
|  |  |  | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted) | (000 omitted)
No. |  | (a) |  | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c) | (b) | (c)
1 | Water Delivered for Distribution & Sale:
2 | Water Obtained from Company Sources |  |  | 66554451 | 182340.9616 | 21615913 | 59221.6795 | 464389 | 1272.2986 | 316375 | 866.7808 | 2402024 | 6580.8877 | 2409535 | 6601.4658 | 818846 | 2243.4137 | 302216 | 827.989 | 420311 | 1151.537 | 119077 | 326.2384 | 594882 | 1629.8137 | 138591 | 379.7014 | 3407409 | 9335.3671 | 1077580 | 2952.274 | 544215 | 1491 | 231449 | 634.1068 | 230598 | 631.7753 | 670042 | 1835.7315 | 670489 | 1836.9562 | 4003857 | 10969.4712 | 2130451 | 5836.8521 | 889337 | 2436.5397 | 496649 | 1360.6822 | 1402233 | 3841.7342 | 1192427 | 3266.9233 | 40869 | 111.9699 | 560493 | 1535.5973 | 1867127 | 5115.4164 | 761025 | 2085 | 460956 | 1262.8932 | 118857 | 325.6356 | 63565 | 174.1507 | 16132664 | 44199.0795
3 | Water Obtained from Other Independent Utilities |  |  | 914616 | 2505.7973 | 730 | 2 | 674063 | 1846.7479 | 159 | 0.43562 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10453 | 28.6384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 759 | 2.0795 | 0 | 0 | 168396 | 461.3589 | 58248 | 159.5836 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1808 | 4.9534 | 0 | 0 | 0 | 0
4 |  | Total Water Delivered |  | 67469067 | 184846.7589 | 21616643 | 59223.6795 | 1138452 | 3119.0466 | 316534 | 867.2164 | 2402024 | 6580.8877 | 2409535 | 6601.4658 | 818846 | 2243.4137 | 302216 | 827.989 | 420311 | 1151.537 | 119077 | 326.2384 | 594882 | 1629.8137 | 138591 | 379.7014 | 3417862 | 9364.0055 | 1077580 | 2952.274 | 544215 | 1491 | 231449 | 634.1068 | 230598 | 631.7753 | 670042 | 1835.7315 | 670489 | 1836.9562 | 4003857 | 10969.4712 | 2131210 | 5838.9315 | 889337 | 2436.5397 | 665045 | 1822.0411 | 1460481 | 4001.3178 | 1192427 | 3266.9233 | 40869 | 111.9699 | 560493 | 1535.5973 | 1867127 | 5115.4164 | 761025 | 2085 | 460956 | 1262.8932 | 120665 | 330.589 | 63565 | 174.1507 | 16132664 | 44199.0795
5 | Metered Sales: |  |  | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07 | 0.0001 | 2.7397e-07
6 | Residential |  |  | 25837049.4 | 70786.4367 | 8275945.6 | 22673.8236 | 494832.4 | 1355.7052 | 159347.5 | 436.5685 | 941153.4 | 2578.5025 | 672642.5 | 1842.8562 | 255119.7 | 698.9581 | 116435.8 | 319.0022 | 126511.2 | 346.606 | 64041.6 | 175.4564 | 185695.4 | 508.7545 | 71463 | 195.789 | 1397836.2 | 3829.6882 | 617255.7 | 1691.1115 | 275879.8 | 755.8351 | 85965.5 | 235.5219 | 139143.8 | 381.2159 | 366267.9 | 1003.4737 | 299133.1 | 819.5427 | 1534166.9 | 4203.197 | 740511.8 | 2028.7995 | 511146.1 | 1400.4003 | 435890.6 | 1194.2208 | 751869.4 | 2059.9162 | 488245.2 | 1337.6581 | 35409 | 97.011 | 235552.5 | 645.3493 | 442286.8 | 1211.7447 | 271599.1 | 744.1071 | 224526 | 615.1397 | 76113.4 | 208.5299 | 27074.8 | 74.1775 | 5517987.7 | 15117.7745
7 | Commercial |  |  | 13375718.5 | 36645.8041 | 3939620.4 | 10793.4805 | 277231.3 | 759.5378 | 47870.9 | 131.1532 | 359024.7 | 983.6293 | 475872.2 | 1303.7595 | 266901.2 | 731.2362 | 68557.2 | 187.8279 | 105247.9 | 288.3504 | 20740.2 | 56.8225 | 87792.9 | 240.5285 | 20422.3 | 55.9515 | 804065.3 | 2202.9186 | 145145.2 | 397.6581 | 83981.6 | 230.0866 | 44624.1 | 122.2578 | 39974.4 | 109.5189 | 156108.4 | 427.6942 | 41139.7 | 112.7115 | 1029507.1 | 2820.5674 | 684273.4 | 1874.7216 | 217420.8 | 595.6734 | 112042.4 | 306.9655 | 370380.8 | 1014.7419 | 184816.7 | 506.3471 | 1393 | 3.8164 | 28844.5 | 79.026 | 354677.6 | 971.7195 | 137495 | 376.6986 | 83079 | 227.6137 | 19705.6 | 53.9879 | 19130.5 | 52.4123 | 3148632.2 | 8626.3896
8 | Industrial |  |  | 3904253.2 | 10696.5841 | 628282.3 | 1721.3214 | 45382.9 | 124.3367 | 1846.7 | 5.0595 | 221023.3 | 605.5433 | 588244.8 | 1611.6296 | 17537.2 | 48.0471 | 26478.3 | 72.5433 | 0 | 0 | 0 | 0 | 135139.4 | 370.2449 | 6358.2 | 17.4197 | 51256.3 | 140.4282 | 0 | 0 | 19621 | 53.7562 | 711.3 | 1.9488 | 0 | 0 | 76403.6 | 209.3249 | 7634.2 | 20.9156 | 142471.6 | 390.3332 | 212686.7 | 582.7033 | 14673.6 | 40.2016 | 30600 | 83.8356 | 133683.5 | 366.2562 | 173039.7 | 474.0814 | 0 | 0 | 0 | 0 | 499006.1 | 1367.14 | 12608.9 | 34.5449 | 31674.1 | 86.7784 | 2830.5 | 7.7548 | 0 | 0 | 825059 | 2260.4356
9 | Public |  |  | 1860489.6 | 5097.2318 | 371421 | 1017.5918 | 52442.6 | 143.6784 | 50385.5 | 138.0425 | 69637.9 | 190.7888 | 56591.2 | 155.0444 | 60444.4 | 165.6011 | 2610.4 | 7.1518 | 58523.7 | 160.3389 | 16399.4 | 44.9299 | 11421.4 | 31.2915 | 5246.9 | 14.3751 | 132022.8 | 361.7063 | 12768.7 | 34.9827 | 5961 | 16.3315 | 4570.4 | 12.5216 | 1769.9 | 4.849 | 106.7 | 0.29233 | 52.8 | 0.14466 | 108295.2 | 296.6992 | 152277.8 | 417.1995 | 12286 | 33.6603 | 95 | 0.26027 | 2765.1 | 7.5756 | 20939 | 57.3671 | 0.4 | 0.0010959 | 0 | 0 | 280319.5 | 767.9986 | 5520.7 | 15.1252 | 4421 | 12.1123 | 783.4 | 2.1463 | 182.8 | 0.50082 | 360227 | 986.9233
10 | Other Water Utilities |  |  | 701336.3 | 1921.4693 | 481332.5 | 1318.7192 | 0 | 0 | 0 | 0 | 70259.2 | 192.491 | 0 | 0 | 0 | 0 | 0 | 0 | 24217.7 | 66.3499 | 0 | 0 | 0 | 0 | 0 | 0 | 1.4 | 0.0038356 | 77671 | 212.7973 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47854.5 | 131.1082 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | Private Fire Protection |  |  | 1582.9 | 4.3367 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 180 | 0.49315 | 35.3 | 0.096712 | 0 | 0 | 0 | 0 | 350 | 0.9589 | 382.6 | 1.0482 | 254.4 | 0.69699 | 15.1 | 0.04137 | 0 | 0 | 0 | 0 | 0.5 | 0.0013699 | 0 | 0 | 0 | 0 | 7.8 | 0.02137 | 0 | 0 | 357.2 | 0.97863
12 | Public Fire Protection |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | Other Metered Sales Identify _____________________________ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 |  | Total Metered Sales |  | 45680429.9 | 125151.8627 | 13696601.8 | 37524.9364 | 869889.2 | 2383.2581 | 259450.6 | 710.8236 | 1661098.5 | 4550.9548 | 1793350.7 | 4913.2896 | 600002.5 | 1643.8425 | 214081.7 | 586.5252 | 314500.5 | 861.6452 | 101181.2 | 277.2088 | 420049.1 | 1150.8195 | 103490.4 | 283.5353 | 2385182 | 6534.7452 | 852840.6 | 2336.5496 | 385443.4 | 1056.0093 | 135871.3 | 372.2501 | 180888.1 | 495.5838 | 599066.6 | 1641.2784 | 347995.1 | 953.4112 | 2814440.8 | 7710.7967 | 1789749.7 | 4903.4238 | 755876.5 | 2070.8945 | 579010.6 | 1586.3304 | 1258953.2 | 3449.1868 | 914910.2 | 2506.6033 | 36802.4 | 100.8285 | 264397 | 724.3753 | 1576290.5 | 4318.6041 | 427223.7 | 1170.4759 | 343700.1 | 941.6441 | 99440.7 | 272.4403 | 46388.1 | 127.0907 | 9852263.1 | 26992.5016
15 | Unmetered Sales:
16 | Residential |  |  | 6272.64 | 17.1853 | [50 empty] | 6272.64
17 | Commercial |  |  |  | 0
18 | Industrial |  |  | 0 | 0
19 | Private Fire Protection |  |  | 0 | 0
20 | Public Fire Protection |  |  |  | 0
21 | Other Unmetered Sales Identify ___________________________ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 |  | Total Unmetered Sales |  | 6272.64 | 17.1853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6272.64 | 17.1853 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 |  | Total Sales |  | 45686702.54 | 125169.0481 | 13696601.8 | 37524.9364 | 869889.2 | 2383.2581 | 259450.6 | 710.8236 | 1661098.5 | 4550.9548 | 1793350.7 | 4913.2896 | 600002.5 | 1643.8425 | 214081.7 | 586.5252 | 314500.5 | 861.6452 | 101181.2 | 277.2088 | 420049.1 | 1150.8195 | 103490.4 | 283.5353 | 2385182 | 6534.7452 | 852840.6 | 2336.5496 | 385443.4 | 1056.0093 | 135871.3 | 372.2501 | 180888.1 | 495.5838 | 599066.6 | 1641.2784 | 347995.1 | 953.4112 | 2814440.8 | 7710.7967 | 1789749.7 | 4903.4238 | 755876.5 | 2070.8945 | 579010.6 | 1586.3304 | 1258953.2 | 3449.1868 | 914910.2 | 2506.6033 | 36802.4 | 100.8285 | 270669.64 | 741.5607 | 1576290.5 | 4318.6041 | 427223.7 | 1170.4759 | 343700.1 | 941.6441 | 99440.7 | 272.4403 | 46388.1 | 127.0907 | 9852263.1 | 26992.5016
23 | Non-Revenue Usage Allowances:
24 | Authorized Unmetered Usage:
25 | Main Flushing |  |  | 209050.703 | 572.7417 | 56991 | 156.1397 | 3675 | 10.0685 | 5100 | 13.9726 | 2379 | 6.5178 | 6194 | 16.9699 | 2614 | 7.1616 | 479 | 1.3123 | 7848 | 21.5014 | 1912 | 5.2384 | 12579 | 34.463 | 3193 | 8.7479 | 9539.82 | 26.1365 | 2508.77 | 6.8733 | 2588 | 7.0904 | 1207 | 3.3068 | 275 | 0.75342 | 1017 | 2.7863 | 479 | 1.3123 | 16780.783 | 45.9747 | 22146 | 60.674 | 4787.33 | 13.116 | 2259 | 6.189 | 6452 | 17.6767 | 14666 | 40.1808 | 0 | 0 | 948 | 2.5973 | 13338 | 36.5425 | 0 | 0 | 591 | 1.6192 | 243 | 0.66575 | 0 | 0 | 6261 | 17.1534
26 | Blow-off Use |  |  | 197986.1 | 542.4277 | 35443 | 97.1041 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 145 | 0.39726 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3824.1 | 10.477 | 0 | 0 | 5 | 0.013699 | 0 | 0 | 45 | 0.12329 | 0 | 0 | 282 | 0.7726 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 380 | 1.0411 | 0 | 0 | 108636 | 297.6329 | 144 | 0.39452 | 0 | 0 | 1776 | 4.8658 | 515 | 1.411 | 0 | 0 | 0 | 0 | 14 | 0.038356 | 46777 | 128.1562
27 | Others: Identify See Attachment below__________________________ |  |  | 945925.762 | 2591.5774 | 335664.3 | 919.6282 | 3774.2 | 10.3403 | 3130.7 | 8.5773 | 2274.4 | 6.2312 | 5179.4 | 14.1901 | 474.9 | 1.3011 | 486.7 | 1.3334 | 6382.8 | 17.4871 | 191.6 | 0.52493 | 4365 | 11.9589 | 4620.5 | 12.6589 | 131198 | 359.4466 | 523.5 | 1.4342 | 1675.9 | 4.5915 | 1147.7 | 3.1444 | 452.6 | 1.24 | 5384.5 | 14.7521 | 2985.4 | 8.1792 | 19630.2 | 53.7814 | 3809 | 10.4356 | 3064.962 | 8.3972 | 1043.4 | 2.8586 | -5767.2 | -15.8005 | 122105.5 | 334.5356 | 0 | 0 | 4396.8 | 12.046 | 15742.5 | 43.1301 | 1870 | 5.1233 | 137.5 | 0.37671 | 26.1 | 0.071507 | 0 | 0 | 269954.9 | 739.6025
28 | Unauthorized Use |  |  | 22707 | 62.211 | 920 | 2.5205 | 0 | 0 | 0 | 0 | 100 | 0.27397 | 0 | 0 | 2 | 0.0054795 | 0 | 0 | 0 | 0 | 5 | 0.013699 | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 0.28767 | 0 | 0 | 10 | 0.027397 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155 | 0.42466 | 2005 | 5.4932 | 0 | 0 | 55 | 0.15068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19350 | 53.0137
29 | Unavoidable Leakage _1,830_______ gpd/mile of main |  |  | 6696000 | 18345.2055 | 2518779.507 | 6900.7658 | 109664.846 | 300.4516 | 45844.5324 | 125.6015 | 294444.4346 | 806.6971 | 186401.729 | 510.6897 | 64616.5579 | 177.0317 | 40445.7394 | 110.8102 | 48517.4514 | 132.9245 | 16626.448 | 45.5519 | 50330.7563 | 137.8925 | 25230.4595 | 69.1245 | 243738.231 | 667.776 | 81484.5062 | 223.2452 | 74492.866 | 204.09 | 28248.2485 | 77.3925 | 32816.3785 | 89.9079 | 99132.8777 | 271.5969 | 69751.1053 | 191.0989 | 461556.2945 | 1264.5378 | 196695.4416 | 538.8916 | 101446.5631 | 277.9358 | 87097.7058 | 238.6239 | 144087.1748 | 394.7594 | 108794.6593 | 298.0676 | 7193.6138 | 19.7085 | 61201.101 | 167.6742 | 113530.3414 | 311.042 | 134136.4838 | 367.4972 | 60674.5224 | 166.2316 | 12060.226 | 33.0417 | 8877.0711 | 24.3207 | 1181269.67 | 3236.3553
30 | Adjustments:
31 | Located & Repaired Breaks in Mains & Services |  |  | 3552376.3622 | 9732.538 | 2492580.6422 | 6828.9881 | 60143 | 164.7753 | 3444 | 9.4356 | 80245 | 219.8493 | 12908 | 35.3644 | 22392 | 61.3479 | 11615 | 31.8219 | 2669 | 7.3123 | 1628 | 4.4603 | 24400 | 66.8493 | 2230 | 6.1096 | 136273.02 | 373.3507 | 4049 | 11.0932 | 23035 | 63.1096 | 5789 | 15.8603 | 13999.2 | 38.354 | 1887 | 5.1699 | 11615 | 31.8219 | 143073 | 391.9808 | 851 | 2.3315 | 4345 | 11.9041 | 8433 | 23.1041 | 787.5 | 2.1575 | 542 | 1.4849 | 484 | 1.326 | 8659 | 23.7233 | 21552 | 59.0466 | 11533 | 31.5973 | 11283 | 30.9123 | 2155 | 5.9041 | 654 | 1.7918 | 427123 | 1170.2
32 | Others Identify ______________________________________________ |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 |  | Total Allowances & Adjustments |  | 11624045.9272 | 31846.7012 | 5440378.4492 | 14905.1464 | 177257.046 | 485.6357 | 57519.2324 | 157.5869 | 379442.8346 | 1039.5694 | 210683.129 | 577.2141 | 90244.4579 | 247.2451 | 53026.4394 | 145.2779 | 65417.2514 | 179.2253 | 20363.048 | 55.7892 | 91674.7563 | 251.1637 | 39098.0595 | 107.118 | 520749.071 | 1426.7098 | 88675.7762 | 242.9473 | 101791.766 | 278.8816 | 36446.9485 | 99.8547 | 47543.1785 | 130.2553 | 107703.3777 | 295.0777 | 84830.5053 | 232.4123 | 641040.2775 | 1756.2747 | 223501.4416 | 612.3327 | 113798.8551 | 311.7777 | 101218.1058 | 277.3099 | 145559.4748 | 398.7931 | 354799.1593 | 972.0525 | 7821.6138 | 21.4291 | 75204.901 | 206.0408 | 165938.8414 | 454.627 | 148054.4838 | 405.6287 | 72686.0224 | 199.1398 | 14484.326 | 39.6831 | 9545.0711 | 26.1509 | 1950735.57 | 5344.481
34 | Unaccounted-for-Water |  |  | 10158318.5328 | 27831.0097 | 2479662.7508 | 6793.5966 | 91305.754 | 250.1528 | N/A |  | 361482.6654 | 990.3635 | 405501.171 | 1110.9621 | 128599.0421 | 352.3261 | 35107.8606 | 96.1859 | 40393.2486 | 110.6664 | N/A |  | 83158.1437 | 227.8305 | N/A |  | 511930.929 |  | 136063.6238 | 372.7771 | 56979.834 | 156.1091 | 59130.7515 | 162.0021 | 2166.7215 | 5.9362 | N/A |  | 237663.3947 | 651.1326 | 548375.9225 | 1502.3998 | 117958.8584 | 323.175 | 19661.6449 | 53.8675 | N/A |  | 55968.3252 | 153.3379 | N/A |  | N/A |  | 214618.459 | 587.9958 | 124897.6586 | 342.1854 | 185746.8162 | 508.8954 | 44569.8776 | 122.1093 | 6739.974 | 18.4657 | 7631.8289 | 20.9091 | 4329665.33 | 11862.0968
35 | Percentage Unaccounted-for-Water |  |  | 15.06% |  | 11.47% |  | 8.02% |  |  |  | 15.05% |  | 16.83% |  | 15.7% |  | 11.62% |  | 9.61% |  |  |  | 13.98% |  |  |  | 14.98% |  | 12.63% |  | 10.47% |  | 25.55% |  | 0.9396% |  |  |  | 35.45% |  | 13.7% |  | 5.535% |  | 2.211% |  |  |  | 3.832% | [5 empty] | 38.29% |  | 6.689% |  | 24.41% |  | 9.669% |  | 5.586% |  | 12.01% |  | 26.84%
Other Authorized Unmetered Usage
| Company Accounts |  |  | 407975 |  | 75041.3 |  | 1699.2 |  | 260.7 |  | 1294.4 |  | 288.4 |  | 153.9 |  | 41.7 |  | 5962.8 |  | 16.6 |  | 0 |  | 4549.5 |  | 93 |  | 0.5 |  | 24.9 |  | 56.7 |  | 158.6 |  | 2625.5 |  | 2540.4 |  | 723.2 |  | 396 |  | 1455.9 |  | 14.7 |  | -7457.2 |  | 115882.5 |  | 0 |  | 2273.8 |  | 898.5 |  | 0 |  | 26.5 |  | 13.1 |  | 0 |  | 198939.9
| Meter Shop Use |  |  | 551.762 |  | 10 |  | 0 |  | 0 |  | 0 |  | 5 |  | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 10 |  | 31 |  | 1 |  | 0 |  | 0 |  | 4 |  | 0 |  | 0 |  | 0 |  | 125.062 |  | 55.7 |  | 48 |  | 0 |  | 0 |  | 22 |  | 188 |  | 20 |  | 17 |  | 13 |  | 0 |  | 0
| Draining Storage |  |  | 25662 |  | 10476 |  | 800 |  | 0 |  | 0 |  | 522 |  | 0 |  | 85 |  | 0 |  | 140 |  | 0 |  | 0 |  | 0 |  | 211 |  | 230 |  | 330 |  | 0 |  | 1208 |  | 85 |  | 407 |  | 2150 |  | 400 |  | 682 |  | 688 |  | 0 |  | 0 |  | 200 |  | 1736 |  | 0 |  | 0 |  | 0 |  | 0 |  | 5312
| Street Cleaning/Sewer Flushing/Fire Usage |  |  | 43112 |  | 19407 |  | 265 |  | 1270 |  | 0 |  | 0 |  | 80 |  | 55 |  | 0 |  | 29 |  | 0 |  | 0 |  | 255 |  | 135 |  | 0 |  | 0 |  | 4 |  | 0 |  | 55 |  | 0 |  | 0 |  | 780 |  | 150 |  | 23 |  | 620 |  | 0 |  | 0 |  | 265 |  | 0 |  | 44 |  | 0 |  | 0 |  | 19675
| Identified Fire Usage |  |  | 224344 |  | 30230 |  | 1010 |  | 1600 |  | 880 |  | 1145 |  | 239 |  | 305 |  | 420 |  | 6 |  | 65 |  | 71 |  | 130840 |  | 56 |  | 545 |  | 0 |  | 132 |  | 93 |  | 305 |  | 18500 |  | 1263 |  | 0 |  | 113 |  | 681 |  | 2900 |  | 0 |  | 145 |  | 4775 |  | 1850 |  | 50 |  | 0 |  | 0 |  | 26125
| Other |  |  | 244281 |  | 200500 |  | 0 |  | 0 |  | 100 |  | 3219 |  | 0 |  | 0 |  | 0 |  | 0 |  | 4300 |  | 0 |  | 0 |  | 90 |  | 875 |  | 761 |  | 158 |  | 1454 |  | 0 |  | 0 |  | 0 |  | 304 |  | 28 |  | 250 |  | 2703 |  | 0 |  | 1756 |  | 7880 |  | 0 |  | 0 |  | 0 |  | 0 |  | 19903
| Total Other Authorized Unmetered Usage |  |  | 945925.762 |  | 335664.3 |  | 3774.2 |  | 3130.7 |  | 2274.4 |  | 5179.4 |  | 474.9 |  | 486.7 |  | 6382.8 |  | 191.6 |  | 4365 |  | 4620.5 |  | 131198 |  | 523.5 |  | 1675.9 |  | 1147.7 |  | 452.6 |  | 5384.5 |  | 2985.4 |  | 19630.2 |  | 3809 |  | 3064.962 |  | 1043.4 |  | -5767.2 |  | 122105.5 |  | 0 |  | 4396.8 |  | 15742.5 |  | 1870 |  | 137.5 |  | 26.1 |  | 0 |  | 269954.9