April 29, 2020

Docket No. A-2020-3019424

Utility Code 230087

MICHAEL W HASSELL ESQUIRE

DEVIN T RYAN ESQUIRE

POST & SHELL PC

17 NORTH SECOND STREET 12TH FLOOR

HARRISBURG PA 17101-1601

DRYAN@POSTSCHELL.COM

RE:	Application of the York Water Company - Wastewater to Acquire the Letterkenny Township Municipal Authority Wastewater System at Docket No. A-2020-3019424

Dear Attorneys Hassell and Ryan:

On April 3, 2020, the York Water Company – Wastewater filed the above-referenced document with the Pennsylvania Public Utility Commission.  For the Commission to complete its analysis of the filing, responses are required for the attached data requests.  Please forward the requested information to the Commission within 10 business days of the date of this letter.

Please send all responses to the Secretary of the Commission at the following address:

Secretary, Pennsylvania Public Utility Commission

400 North Street, 2nd Floor Harrisburg, Pennsylvania 17120

All documents requiring notary stamps must have original signatures.  Make sure to reference the Docket Number listed above when filing your response.  Some responses may be e-filed at http://www.puc.pa.gov/efiling/default.aspx.  A list of allowable e-filing document types is available at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Please note that your answers must be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa. C.S. § 4904 (relating to unsworn falsification to authorities).

The blank above is provided for the name of the appropriate company representative, followed with the company representative’s signature immediately after the statement.

Please contact the below staff person if any problem should arise that prevents a full response within ten working days or if any clarification of these data requests is needed.  Please mark the materials “CONFIDENTIAL” in bold or highlighted manner if any of the requested information is deemed to be of a confidential nature.

In addition, to expedite completion of the application, please send a copy of the information to Clinton McKinley via e-mail at cmckinley@pa.gov or by fax (717) 787-4750.  Please also direct any questions to Clint McKinley, in the Bureau of Technical Utility Services, Water/Wastewater Division at telephone number (717) 783-6161.  Thank you in advance for your cooperation.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

cc: 	Tanya McCloskey, Office of Consumer Advocate (w/enclosure) tmccloskey@paoca.org

John Evans, Office of Small Business Advocate (w/enclosure) jorevan@pa.gov

Richard Kanaskie, PUC Bureau of Investigation and Enforcement (w/enclosure)

Note:  Please restate the data request prior to providing a response. In addition, provide the name and title of the person(s) providing the response and/or information for each data request.

- The York Water Company – Wastewater’s (York-WW’s) tentative journal entries for booking the purchase of Letterkenny Township Municipal Authority’s (LTMA’s) wastewater system, provided in the Application’s Section 8, Page 12, use Account No. 105 – Construction Work in Progress.  Please explain why Account No. 105 is used instead of Account No. 104 – Utility Plant Purchased or Sold and whether using Account No. 105 to record the purchase of the LTMA system is in conformance with the National Association of Regulatory Utility Commissioners Uniform System of Accounts applicable to York-WW.

- The Application’s Exhibit T-2 indicates the LTMA wastewater system contains an integrated septic tank effluent gravity (STEG) system comprised of 25 effluent pumps and septic tanks in Part 3, Page 3 of the copy of the document titled “Act 537 Plan Update, Letterkenny Township, Franklin County, Pennsylvania” dated October 3, 2019 (2019 Special Study).  Please provide the following information:

- The capacity (in gallons), dimensions and year of installation for each tank;

- The horsepower, rate of discharge (in gallons per minute) and year of installation for the effluent pump in each tank;

- A description of who will be responsible for operation, maintenance and replacement responsibilities for the effluent pump in each tank, including whether customers will be financially responsible for electricity needed to operate the effluent pumps and how these responsibilities compare with York-WW wastewater tariff responsibilities for customers with grinder pumps;

- A five-year maintenance and inspection history for each tank (e.g., descriptions of sludge removal frequency, repairs and visual or other integrity testing);

- Confirmation that each tank is located within the public right-of-way.  If not, provide a complete list of recorded easements dedicated to LTMA for all tanks to be transferred to York-WW at closing; and

- York-WW’s plan to maintain the STEG system as an integral component of the wastewater system for the next five (5) years or to modify the wastewater system to eliminate the need for these tanks.

- Section 2, Paragraph B of LTMA’s 1981-1 Resolution, provided in the Application’s Exhibit F-3, established volumetric rates for non-residential wastewater customers.  Regarding these rates, please either:

  - Provide evidence LTMA has amended or eliminated these rates by a subsequent resolution;

  - Explain why York-WW is not proposing to adopt these rates; or

  - Revise York-WW’s pro forma tariff supplement, provided as the Application’s Exhibit P, to reflect the effective LTMA volumetric rates for non-residential wastewater customers.

- Section 2, Paragraph C of LTMA’s 1981-1 Resolution, provided in the Application’s Exhibit F-3, states that LTMA may require the owner of a commercial establishment, an industrial establishment, or an institutional establishment, to install, pay for and to maintain a meter for measuring monthly volumes discharged to the sewer system.  Please quantify the number of customer-owned meters currently used by LTMA for wastewater billing.

- If York-WW will rely on customer-owned meters for wastewater billing after closing, please describe how this condition would comply with York-WW’s effective tariff.

- Section 2, Paragraph D of LTMA Resolution 1981-1, provided in the Application’s Exhibit F-3, refers to a strength of waste surcharge for commercial, industrial and institutional establishments pursuant to an agreement between Hamilton Township and the Borough of Chambersburg, dated August 17, 1970, with respect to sewage transportation, treatment and disposal services to be provided by the Borough of Chambersburg to Hamilton Township and LTMA.  Please confirm whether any LTMA customer is subject to a strength of waste surcharge.

- If any LTMA customer is subject to a strength of waste surcharge, please address the following:

- Provide a copy of the resolution establishing LTMA’s current strength of waste surcharge;

- Explain how LTMA’s strength of waste surcharge will change after closing; and

- Revise York-WW’s pro forma tariff supplement, provided in the Application’s Exhibit P, to reflect the effective strength of waste surcharge rates for non-residential wastewater customers.

- The Application’s Exhibit I contains a copy of the Agreement of Wastewater Collection System Sale (Agreement) between LTMA and York-WW dated June 25, 2019.  The Agreement’s Section 3 references an Appendix A.1 and the Agreement’s Section 9.1 references an Appendix B.  However, the Agreement is missing both Appendices A.1 and B.  Please provide copies of the Agreement’s Appendices A.1 and B.

- Section 3 of the Agreement in the Application’s Exhibit I indicates LTMA may have entered into reservation of capacity agreements (Reserved Capacity Agreements).  Please quantify the amount of LTMA system capacity that has been reserved by entities that have not yet connected to LTMA’s system.

- Regarding the Application’s Exhibit I, Section 3, please clarify York-WW’s responsibilities regarding Reserved Capacity Agreements after closing, including whether York-WW is being assigned LTMA Reserved Capacity Agreements or whether York-WW will act as an agent of LTMA to fulfill LTMA’s Reserved Capacity Agreement responsibilities.

- According to Page 6, Section 3.b. of the LTMA Consent Order and Agreement dated September 10, 2018, provided in the Application’s Exhibit Q-2, LTMA is required to submit a Process Control Plan (PCP) to the Pennsylvania Department of Environmental Protection (DEP) for review and approval.  Please provide a copy of LTMA’s DEP-approved PCP along with the DEP approval letter.

- The Application’s Exhibit Q-4 provides a map entitled “LTMA Wastewater Treatment Plant Outfall” dated December 16, 2019.  The map depicts a 20-foot permanent utility easement for a proposed 8-inch diameter sanitary sewer outfall pipe and outlet to Conodogouinet Creek.  Please provide evidence of a recorded easement for these future improvements.

- Part 3, Page 2 of the 2019 Special Study indicates an engineering evaluation report was completed in 2019 for the LTMA wastewater treatment plant (WWTP).  Please provide a copy of the 2019 WWTP engineering evaluation report along with all appendices and exhibits.

- Page 3 of Part 3 of the 2019 Special Study, provided in the Application’s Exhibit T-2, indicates the STEG system is comprised of approximately 25 effluent pumps and septic tanks.  However, the Application’s Paragraph 8 indicates 24 septic tanks without effluent pumps in its list of wastewater system components.  Additionally, the map provided as the Application’s Exhibit D appears to depict only 23 STEG system tanks.  Please explain these apparent discrepancies and clarify the total number of components (i.e., tanks and effluent pumps) comprising the STEG system.

- Figure 1 of the Application’s Exhibit T-2 does not clearly define boundaries of LTMA’s existing wastewater service area.  Additionally, Page 2 of Part 3 of the 2019 Special Study states that the areas identified in the 2003 Act 537 as needing sewage collection and treatment have been addressed.  Please justify the inclusion of the following Franklin County Unified Parcel Identification numbers in York-WW’s requested service territory by providing:  evidence the property is included in LTMA’s existing service area; evidence the property is not currently receiving adequate wastewater service by other means; specific references in LTMA’s approved Act 537 plan that indicates Letterkenny Township intends to provide public wastewater service to the property; and copies of any requests for public wastewater service:

- 12-0F04.-025.-000000

- 12-0F04.-025B-000000

- 12-0F04.-026.-000000

- 12-0F04.-014.-000000

- 12-0F04.-013.-000000

- 12-0F04.-083.-000000

- 12-0F04.-074.-000000

- 12-0F04.-024A-000000

- 12-0F04.-024.-000000

- 12-0F05.-006.-000000

- 12-0F05.-144.-000000

- 12-0F05.-009.-000000

- 12-0F05.-009C-000000

- 12-0F05.-010.-000000

- 12-0F05.-009B-000000

- 12-0F05.-059A-000000

- 12-0F05.-059.-000000

- Please provide a copy of LTMA’s 2019 Chapter 94 Municipal Wasteload Management Report filed with DEP.

- The Water Quality Management Part II (WQM) permit provided in the Application’s Exhibit Q-1 appears to be an amendment to LTMA’s original WQM permit.  Please provide a copy of LTMA’s WQM Permit No. 2895401 dated August 4, 1995.

- Please identify the certificated wastewater operator(s) who will run the LTMA wastewater system for York Water-WW and provide a copy of each operator’s DEP operator license.

- Please confirm whether Letterkenny Township has adopted a municipal or multi-municipal comprehensive plan or zoning ordinance.  If so, please provide copies of letters sent to, and the responses received from, Letterkenny Township regarding the Application’s consistency with applicable comprehensive plans and zoning ordinances.

- The Secretarial Letter served April 7, 2020, at Docket No. A-2020-3019424 directed York-WW to serve copies of the Application upon each county, township and related planning office included in the proposed service area.  Please provide a certificate of service evidencing that a complete copy of the Application with exhibits has been served on the Franklin County Commissioners and the Letterkenny Township Planning Commission.

- Please explain how approval of York-WW’s Application is in the interest of York Water-WW’s existing customers.