	[image: image2.png]



	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

400 NORTH STREET, HARRISBURG, PA 17120
	IN REPLY PLEASE REFER TO OUR FILE


May 6, 2020
M-2020-3019635
JASON KELLER
GENERAL MANAGER, OPERATIONS CENTER 

DUQUESNE LIGHT COMPANY

2839 NEW BEAVER AVENUE

PITTSBURGH, PA 15233
jkeller@duqlight.com 
Re:  
Request to the Pennsylvania Public Utility Commission for Exclusion of Major Outage for Reliability Reporting Purposes 
Dear Mr. Keller:

On April 30, 2020, Duquesne Light Company (Duquesne) filed a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M‑00991220.

This request relates to service interruptions associated with a severe weather that included strong thunderstorms, heavy rain, high winds, and a tornado.  Duquesne avers the weather caused a substantial number of outages throughout its service territory.  This event caused sustained service interruptions to 60,383 customers out of a total of 603,313 customers served.  Duquesne states the event caused service interruptions from April 8, 2020, at 00:48 hours, until April 8, 2020, at 18:08 hours.  Total customer minutes interrupted cannot be measured directly using Duquesne’s existing management system, however Duquesne can measure KVA-minutes interrupted, which was 297,908,154. 

Upon review of the company’s filing, it appears that the service interruptions described by Duquesne qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.  However, the Commission’s approval is contingent upon the possibility that subsequent audits, reviews, and inquiry, in any Commission proceeding, may be conducted, pursuant to 52 Pa. Code §57.197 (relating to Reliability investigations and enforcement).


In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.

[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION











Sincerely,








Rosemary Chiavetta







Secretary
Cc
John Van Zant, TUS 


Kelly Monaghan, AUD

Kathleen Aunkst, SEC 


David Washko, TUS
