	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA  17120
	


	
	Public Meeting held May 21, 2020

	Commissioners Present:
	


	Gladys Brown Dutrieuille, Chairman
	

	David W. Sweet, Vice Chairman
	

	John F. Coleman, Jr.
	

	Ralph V. Yanora
	

	
	

	Letter of Notification of PPL Electric Utilities Corporation, for Approval to Relocate a Section of the Hummelstown-Steelton 230 kV Transmission Line in Lower Swatara Township, Dauphin County, Pennsylvania 


	Docket Number:

A-2020-3019399



ORDER

BY THE COMMISSION:

On March 12, 2020, PPL Electric Utilities Corporation (PPL Electric), Utility Code 110500, filed a Letter of Notification (LON) pursuant to 52 Pa. Code § 7.72(d)(1)(vi) of the Commission’s transmission line siting regulation.    

Copies of the LON were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code § 57.74(b)(c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Dauphin County Commissioners, and Lower Swatara Township, et al.  No protests were filed.  No hearings were held. 
PPL Electric requests approval to relocate a section of the Hummelstown-Steelton 230 kV Transmission Line (Hummelstown-Steelton) in Lower Swatara Township, Dauphin County, Pennsylvania.  PPL Electric states that it will shift the subject section of transmission line to the edge of a property owned by United Parcel Service (UPS).

PPL Electric states that UPS is planning to develop its property in PPL Electric’s service territory located in Lower Swatara Township and that relocation of the Hummelstown-Steelton line is needed to facilitate the site development.  PPL Electric further states that construction of the planned development cannot be completed until after the Hummelstown-Steelton transmission line has been relocated.

PPL Electric states that the proposed project (Proposed Project) consists of removing five existing wood pole transmission structures and approximately 0.57 miles of existing transmission line and installing approximately 0.64 miles of new line along the eastern boundary of the UPS property.  To support the new section of line PPL Electric will install five new steel structures averaging approximately 74 feet in height.  The existing structures on the property average approximately 62 feet in height.  The Proposed Project will be constructed on new ROW that varies from 150 to 185 feet in width and is owned by UPS.

PPL Electric maintains the Proposed Project will be designed, constructed, operated and maintained in a manner that meets or exceeds the requirements specified in the National Electric Safety Code, Occupational Safety and Health Administration safety standards, and all applicable legal requirements.  


PPL Electric states that the total estimated cost for the Proposed Project is approximately $5,073,000 and that all costs will be paid for by UPS.  Construction of the Proposed Project is anticipated to commence in October 2020 with an expected in-service date of December 2020.

Section 57.72 authorizes the abbreviated LON siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 

right-of-way.

(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing

transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v)
An HV line which is to be reconductored or reconstructed so long as the size, character, design or configuration of the proposed HV line does not substantially alter the right-of-way.
(vi) An HV line having a proposed route of 2 miles or less.

We agree with PPL Electric that the formal PPL Electric Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(1)(vi) because the proposed project relocates a section of the Hummelstown-Steelton 230 kV transmission line which is less than 2 miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  

We also note that our approval of the Letter of Notification does not address the issues of accounting treatment, and cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the PPL Electric Utilities Corporation, for approval to relocate a section of the Hummelstown-Steelton 230 kV Transmission Line, in Lower Swatara Township, Dauphin County, Pennsylvania, is hereby approved.  

2. That upon completion of the subject project, PPL Electric Utilities Corporation shall submit the final project cost to the Commission.
3. That upon completion of Ordering Paragraph 2, this proceeding at Docket 

No. A-2020-3019399 be closed. 
BY THE COMMISSION,

[image: image1.png]



Rosemary Chiavetta

Secretary

ORDER ADOPTED: May 21, 2020
ORDER ENTERED: May 21, 2020
6

