|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 |  |
| --- | --- | --- |

May 28, 2020

A-2020-3019545

# TO ALL PARTIES

Application of PECO Energy Company for the approval to alter the public crossing (DOT 140 680 H) so as to reinforce a below grade transmission line, where Oregon Avenue crosses the right of way of CSX Transportation, Inc., in the City of Philadelphia, Philadelphia County.

To Whom It May Concern:

By application filed with the Commission on April 22, 2020, PECO Energy Company requests Commission approval to alter the public crossing (DOT 140 680 H) so as to reinforce a below grade transmission line, where Oregon Avenue crosses the right of way of CSX Transportation, Inc., (CSXT) in the City of Philadelphia, Philadelphia County.

PECO Energy Company, at its sole cost and expense, will reinforce the below grade transmission line and install four (4) new underground 5-inch diameter ducts to carry a     69 kV line in the public right of way along East Oregon Avenue (DOT  140 680 H), between South Swanson Street and Weccacoe Avenue, in the City of Philadelphia. The four (4) ducts will be installed by open trenching.  The minimum cover over the ducts from the roadway will be three (3) feet.

The Commission hereby establishes its jurisdictional limits at the subject crossing as the area within the confines of the railroad right-of-way and the highway right-of-way.

In its application, PECO Energy Company states that the proposed project is required to enhance the quality of electric service provided to its customers in this area. PECO Energy Company will perform the necessary installation, provide for maintenance and protection of highway and pedestrian traffic during installation and accept future maintenance responsibility for the proposed gas line, at its sole cost and expense.

All work is to be performed in accordance with the plans entitled: “66 37 TRASMISSION LINE PHILADELPHIA, PENNSYLVANIA” consisting of one (1) sheet, submitted on April 22, 2020.

PECO Energy Company has served a copy of the application on Pennsylvania Department of Transportation, CSXT and the City of Philadelphia.  All parties in interest were queried by letter dated April 23, 2020, as to any objection to the subject application.  None of the parties have responded with an objection to the subject application.

On May 13, 2020, CSXT responded to all parties of record with a concern. CSXT has planned a reactivation of this crossing by installing new tracks and a new crossing surface. Therefore, CSXT requests PECO complete their proposed utility installation as quickly as possible and at the latest at the end of 2020.  CSXT will notify all parties to this proceeding if they decide to accelerate their work to reactivate the crossing.  Once new tracks are installed, CSXT requests PECO to modify their plans to consist of a trenchless installation plan at the crossing.

The Commission has exclusive jurisdiction in crossing alterations and is the final arbiter of any fees associated with a crossing application. Any conditions, including fees associated with a crossing application must be approved by the Commission.

Upon full consideration of the matters involved, we find that a hearing is not necessary and that a Secretarial Letter may be issued approving the application.

The Commission issues this Secretarial Letter in accordance with Section 2702 of the Public Utility Code and finds that the alteration of the crossing is necessary and proper for the service, accommodation, convenience or safety of the public.

The application of PECO Energy Company is approved as herein directed:

1.	The caption of the subject proceeding is hereby revised as shown herein.

2.	The alteration of the public crossing (DOT 140 680 H) so as to reinforce a below grade transmission line, where Oregon Avenue crosses the right of way of CSX Transportation, Inc., in the City of Philadelphia, Philadelphia County, be altered generally in accordance with the installation plan entitled: “66 37 TRASMISSION LINE PHILADELPHIA, PENNSYLVANIA” consisting of one (1) sheet, submitted on April 22, 2020, which plans are made part hereof and are hereby approved except insofar as they may relate to the division of work, deletion of work, or the allocation of costs and expenses incident to the installation of the project.

3.	PECO Energy Company, at its sole cost and expense, furnish all material and perform all work necessary to reinforce the below grade transmission line by open trenching methods (unless railroad tracks and a crossing surface have been reinstalled at the crossing after which PECO Energy Company shall modify its installation method) to install four (4) new underground 5-inch diameter ducts to carry a 69 kV line in the public right of way along East Oregon Avenue (DOT # 140680H), between South Swanson Street and Weccacoe Avenue, as shown on the approved plans and in accordance with this Secretarial Letter.

4.	PECO Energy Company, at its sole cost and expense, furnish all material and perform all work necessary to establish and maintain any detours or traffic controls that may be required to properly and safely accommodate highway and pedestrian traffic during the time the crossing is being altered.

5.	Any relocation of, changes in and/or removal of any adjacent structures, equipment or other facilities of any non-carrier public utility, other than PECO Energy Company, which may be required as incidental to the alteration of the crossing, be made by said public utility at its initial cost, and in such a manner as will not interfere with the alteration of the crossing; and such relocated or altered facilities thereafter be maintained by said public utility, at its sole cost and expense.

6.	CSX Transportation, Inc., at the sole cost and expense of PECO Energy Company, furnish all material and perform all work relating to its facilities which may be required as incidental to the performance of the proposed work and furnish any watchmen, flagmen, inspectors and/or engineering services that may be deemed necessary to protect the railroad’s operations or facilities during the time the facilities are being installed.

7.	PECO Energy Company, at its sole cost and expense, furnish all material and perform all work necessary to complete the remainder of the project, and any other ancillary features of the project, generally in accordance with the approved plans and this Secretarial Letter.

8.	The alteration of the crossing be completed on or before December 31, 2020, and that on or before said date, PECO Energy Company, report in writing the date of actual completion of the work to this Commission and certify to the parties of record and this Commission that the work has been satisfactorily completed in accordance with the approved plans and this Secretarial Letter.

9.	PECO Energy Company, at its sole cost and expense, pay all compensation for damages, if any, due to owners of property taken, injured or destroyed by reason of the alteration of the crossing in accordance with this Secretarial Letter.

10.	All parties involved herein cooperate fully with each other so that during the time the work is being performed, vehicular, pedestrian and railroad traffic will not be endangered or unnecessarily inconvenienced, and so that the requirements of each of the parties will be provided for and accommodated insofar as possible.

11.	PECO Energy Company, cooperate with the non-carrier public utilities involved, so that during the alteration of the involved crossing, the facilities of the non-carrier utilities will not be endangered or unnecessarily interrupted.

12.	PECO Energy Company, at least seven (7) days prior to the start of work, notify all parties in interest of the actual date on which work will begin.

13.	Upon completion of the alteration of the crossing, PECO Energy Company, at its sole cost and expense, furnish all material and perform all work necessary thereafter to maintain its facilities installed in accordance with the approved plan and this Secretarial Letter.

14.	Upon completion of the alteration of the crossing, CSX Transportation, Inc., at its sole cost and expense, furnish all material and perform all work necessary to maintain its railroad facilities at the subject crossing; all in accordance with this Secretarial Letter.

15.	Upon completion of the alteration of the crossing, City of Philadelphia, at its sole cost and expense, furnish all material and do all work necessary thereafter to maintain its highway approaches to the subject crossing; all in accordance with this Secretarial Letter.

16.	Upon completion of the work herein directed, and upon written request from any party of record, this proceeding be scheduled for a hearing at a time and place to be determined by the Commission, for the purpose of taking testimony upon the final allocation of any costs incurred by the non-carrier utility companies and other matters relevant to this proceeding.

All parties are being served via email due to the COVID-19 Emergency Closure.  Please note that during this period of Disaster Emergency, the Commission shall only accept E-filings in lieu of paper filings, for all documents.  Thus, all parties are to open and use E-filing accounts to file documents and accept service during the pandemic emergency in accordance with the Commission’s Emergency Order at M-2020-3019262.

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §§ 1.31 and 5.44, file a Petition for Reconsideration from Staff Action (Petition) with the Commission within twenty (20) days of the date of this letter.  The Petition shall be submitted by E-filing said petition within twenty (20) days, or if no timely request is made, the action will be deemed to be a final action of the Commission.

The Petition MUST include: (1) a written statement (divided into numbered paragraphs) outlining the reasons for the request; (2) the case docket number (it is provided for you at the top right hand corner of this letter); (3) the party on whose behalf the petition is made; (4) a Certificate of Service on the other parties of record; and (5) a Verification with original signature in accordance with 52 Pa. Code § 1.36.

Very truly yours,

# Rosemary Chiavetta

Secretary