|  |  | Public Meeting held August 27, 2020 |  |  |
| --- | --- | --- | --- | --- |
| Commissioners Present: |  |  |  |  |
| Gladys Brown Dutrieuille, Chairman |  |  |  |  |
| David W. Sweet, Vice Chairman |  |  |  |  |
| John F. Coleman, Jr. Ralph V. Yanora |  |  |  |  |
| Application of The York Water Company - Wastewater (York-WW) for approval to: (1) acquire certain wastewater system assets from Letterkenny Township Municipal Authority; and (2) begin to offer, render, furnish or supply wastewater service to the public in a portion of Letterkenny Township, Franklin County, Pennsylvania |  |  | A-2020-3019424 |  |

ORDER

BY THE COMMISSION:

By the application (Application) filed on April 3, 2020, The York Water Company – Wastewater (York-WW) , Utility Code 230087, seeks certificates of public convenience pursuant to Sections 1102(a)(1)(i) and 1102(a)(3) of the Public Utility Code, 66 Pa. C.S. §§ 1102(a)(1)(i) and 1102(a)(3), evidencing Commission approval to:  (1) acquire certain wastewater system assets from Letterkenny Township Municipal Authority; and (2) begin to offer or furnish wastewater service to the public in a portion of Letterkenny Township, Franklin County, Pennsylvania.

- AFFECTED ENTITIES AND BACKGROUND

York-WW is a regulated public utility company, duly organized and existing under the laws of the Commonwealth of Pennsylvania with its office located at 130 East Market Street, York, Pennsylvania 17401.  As of December 31, 2019, York-WW furnished wastewater service to 2,948 customers in portions of East Manchester and Lower Windsor Townships and the Boroughs of East Prospect, West York and Jacobus, York County.  York-WW is a wholly owned division of The York Water Company (York Water), Utility Code 213550.  As of December 31, 2019, York Water provided water service to 68,463 customers in 48 municipalities throughout portions of York and Adams Counties.

Letterkenny Township Municipal Authority (LTMA) is a municipal corporation that furnishes wastewater service to approximately 183 residential customers and two non-residential customers.  LTMA’s mailing address is 4924 Orrstown Road, Orrstown, Pennsylvania 17244.  According to the Application, there is no public water supply serving the portion of Letterkenny Township in which this Application proposes to serve.  All LTMA customers have private water wells and the Application does not contemplate a change in water service.

York-WW submitted proofs of publication and service to the appropriate entities.  Notice of the Application was published in the Pennsylvania Bulletin, 50 Pa.B. 2165, on Saturday, April 18, 2020.  The protest period ended May 4, 2020.  No protests were filed, and no hearings were held.

- LOCATION OF FACILITIES TO BE ACQUIRED

Letterkenny Township is situated in the north-central portion of Franklin County, bounded by Fannett and Lurgan Townships to the north, Hamilton and Saint Thomas Townships to the south, Southampton and Greene Townships to the east and Metal Township to the west.  The facilities to be acquired are in the northeastern portion of Letterkenny Township and provide service to the residential subdivision known as Hillview Estates and to homes along portions of Mountain Road (State Route 4004) and Skyline Drive.  According to York-WW, the LTMA wastewater system is approximately 49 miles from York-WW’s nearest wastewater system as indicated in the Application and as depicted in the Application’s Exhibit W.

- REQUESTED WASTEWATER SERVICE TERRITORY

The Application’s Exhibits E and E-1 contained a map and written description, respectively, of the requested service territory that consists of approximately 840 acres.  This requested territory encompasses LTMA’s existing wastewater facilities, but also includes numerous undeveloped tracts of land York Water-WW later described as “buffer properties” in supplemental information filed with the Commission.

Within the Application, York-WW requested approval to adopt LTMA’s existing wastewater service territory, as defined by Figure 1 in Letterkenny Township’s Act 537 Plan Update Special Study, dated October 3, 2019 (2019 Special Study).  The 2019 Special Study indicated the service area shown in Figure 1, matches the service area defined by Letterkenny Township’s Department of Environmental Protection (DEP) approved Act 537 Official Sewage Facilities Plan, revised March 2003 (2003 Act 537 Plan).  Review of the 2003 Act 537 Plan and the 2019 Special Study revealed that LTMA’s service area is defined by the location of the existing wastewater system and not by an actual area defined by geometry.  A copy of Letterkenny Township’s 2003 Act 537 Plan was provided as the Application’s Exhibit T-1 and a copy of Letterkenny Township’s 2019 Special Study was provided as the Application’s Exhibit T-2.  DEP approval of the 2019 Special Study is conditioned upon the transfer of all sewage permits held by LTMA to York-WW.

Comparing the map of York-WW’s requested service territory and the written description of the service territory’s boundaries, provided as the Application’s Exhibits E and E-1, respectively, to the general alignment of LTMA’s wastewater system facilities, depicted on a map provided as the Application’s Exhibit D, indicated that York-WW is requesting a service territory larger than the area currently served by LTMA and an area larger than the service territory defined by the 2003 Act 537 Plan.  York-WW subsequently revised Exhibits E and E-1 in supplemental information filed with the Commission.  However, the revised requested territory still includes two land parcels (12-0F05.-006.-000000 and 12-0F05.-009.-000000), which are not currently served by LTMA and do not have frontage along LTMA’s existing wastewater mains.  Additionally, York-WW did not provide a DEP-approved sewage facilities planning module amending the 2003 Act 537 Plan to include those two parcels or an approved subdivision plan.  We note that, pursuant to 35 P.S. § 750.5(a), Letterkenny Township is responsible for any updates or revisions to its Act 537 Plan, including any changes to the area to be served by a public sewer system, no matter the entity providing wastewater service.

Further, the Application does not demonstrate the capability of LTMA’s existing facilities to provide adequate wastewater service to the entirety of the area depicted in Exhibit E, and does not quantify the cost, required capacity, or timeframe to complete any plant upgrades, improvements, or extensions that would be necessary to facilitate the extension of public wastewater service to the entirety of the requested territory.  A description of LTMA’s existing facilities and permitted capacity is discussed in Section IV of this Order.

To maintain consistency with Letterkenny Township’s DEP-approved sewage facilities planning, a certificate of public convenience for York-WW to acquire the wastewater facilities of LTMA will be conditioned upon York-WW further revising the requested wastewater service territory to encompass only tax parcels currently receiving wastewater service from LTMA and tax parcels that have frontage along LTMA’s existing wastewater mains.  Further, York-WW shall file revised Exhibits E and E-1 to depict boundaries of a wastewater service territory and a written description of those boundaries by bearing angles and distances.  If York-WW desires to provide wastewater service to additional portions of Letterkenny Township, it may seek approval to do so in a subsequent application.

- DESCRIPTION OF FACILITIES TO BE ACQUIRED

LTMA’s major facilities include the wastewater collection system and the Hillview Estates wastewater treatment plant (Hillview WWTP).  In the Application, York-WW stated it was able to use its GIS system to create a graphic representation of LTMA’s wastewater facilities based on information provided in the 2019 Special Study and as-built drawings provided by LTMA.  This graphic representation of the wastewater facilities was provided as the Application’s Exhibit D.  York-WW estimated the wastewater collection system, including the components of the septic tank effluent gravity (STEG) system, consists of the following:

| Asset | Size/Material | Quantity/Unit |
| --- | --- | --- |
| Manholes | 4’ Dia. Precast Concrete | 63 Each |
| Gravity Collection Mains | 8” Dia. SDR 35 PVC Pipe | 10,834 ft |
| Gravity Collection Mains | 6” Dia. SDR 35 PVC Pipe | 8,247 ft |
| Gravity Collection - STEG | 4” Dia. SDR 35 PVC Pipe | 1,730 ft |
| Gravity Collection - STEG | 3” Dia. SDR 35 PVC Pipe | 116 ft |
| Gravity Collection - STEG | 2.5” Dia. SDR 35 PVC Pipe | 679 ft |
| Gravity Collection - STEG | 2” Dia. SDR 35 PVC Pipe | 585 ft |
| STEG Tanks - 500 Gallon | Concrete Septic Tank | 22 Each |
| STEG Tanks - 1,500 Gallon | Concrete Septic Tank | 1 Each |
| STEG Tanks – 1,000 Gallon | Concrete Septic Tank | 1 Each |
| Company Laterals | 4” Dia. SDR 35 PVC Pipe | 185 Each |

Supplemental information filed with the Commission identified major facilities and equipment at the Hillview WWTP include: a comminutor; a 10,000-gallon flow equalization tank containing two-30 gallon per minute submersible pumps; two 20,000 -gallon extended aeration-activated sludge tanks; clarifiers; a 10,000-gallon aerated sludge holding tank; an 800-gallon chlorine contact tank; and an ultraviolet (UV) disinfection system installed in 2018 to replace the chlorine contact tank.  Air-supply blowers include three five-horsepower (HP) units and one 2-HP unit.  Effluent from the Hillview WWTP is discharged into the Conodoguinet Creek.

Both the 2019 Special Study and the Treatment and Collection System Narrative, provided as the Application’s Exhibit D-1, indicated the gravity collection system within the Hillview Estates residential subdivision and a 0.17 million gallon per day (MGD) extended aeration wastewater treatment plant were constructed in 1980 by the developer of Hillview Estates.  Supplemental information filed with the Commission indicated the STEG collection system that serves 23 customers on Mountain Road was constructed and connected to the Hillview WWTP in 1992.

The 2019 Special Study noted that the collection system and Hillview WWTP were dedicated to LTMA in 1994 and facilities were recently extended to serve residential customers on Skyline Drive and a retail customer.  The Treatment and Collection System Narrative also indicated that an additional treatment train was added to the Hillview WWTP in 1996 to increase permitted treatment capacity to 0.42 MGD and 82 pounds per day, five-day biochemical oxygen demand (BOD5).  This exhibit also identified that LTMA is currently under a DEP Consent Order and Agreement (COA), dated September 11, 2018, to address recurring effluent non-compliance issues.  A current copy of the COA was provided as the Application’s Exhibit Q-2 and specific compliance requirements are discussed in Section VI of this Order.

The condition of LTMA’s facilities is reported to the DEP in an annual Chapter 94 Municipal Wasteload Management Annual Report (Chapter 94 Report).  LTMA’s 2018 Chapter 94 Report was provided as the Application’s Exhibit H and indicated an annual average flow of 0.041 million gallons per day (MGD) and a three-month maximum flow of 0.047 MGD, which exceeds the permitted limit of 0.042 MGD.  LTMA’s 2018 Chapter 94 Report estimated base flow from customer connections to be 0.018 MGD and attributed excess flow to inflow and infiltration resulting from the 67 inches of precipitation the area experienced during that year.  LTMA’s 2018 Chapter 94 Report also identified the average annual and the maximum monthly organic loadings to be 26 and 35 pounds per day BOD5, respectively, well below the permitted limit of 82 pounds per day BOD5.  Despite the hydraulic exceedances explained above, LTMA’s 2018 Chapter 94 Report indicated the Hillview WWTP was projected to have adequate hydraulic and organic capacity for the following five years.

A copy of LTMA’s 2019 Chapter 94 Report was provided in supplemental information filed with the Commission.  The 2019 Chapter 94 Report identified an annual average flow of 0.041 MGD and a three-month maximum flow of 0.047 MGD, the same as values reported in 2018.  Conditions contributing to these readings were noted as: 1) a significant leak near the plant headworks; 2) record spring rainfall; and 3) an uncalibrated flow meter.  Organic loadings were reported to be within the permit limitations.  The 2019 Chapter 94 Report projected the Hillview WWTP would enter a hydraulically overloaded condition in calendar year 2022.

- PURCHASE AGREEMENT

On June 25, 2019, York-WW entered an Agreement of Wastewater Collection System Sale (Agreement of Sale) to acquire LTMA’s wastewater collection and treatment system assets for a purchase price of $225,000, less an amount equal to the total amount of prepaid tapping fees that have been paid to LTMA.  A copy of the Agreement of Sale was included in the Application as Exhibit I and a copy of LTMA’s June 25, 2019, public meeting minutes approving the sale was included as the Application’s Exhibit M.

In supplemental information filed with the Commission, York-WW provided the Agreement of Sale’s Appendix A.1, a list of reserved capacity agreements and Appendix B, a description of LTMA’s current quarterly rate and York-WW’s prorated monthly rate.  The reserved capacity agreements indicate a total of $14,300 in prepaid tapping fees have been paid to LTMA, representing four equivalent dwelling units (EDUs) or 1,050 GPD of reserved capacity.  In supplemental information filed with the Commission, York-WW verified the reserved capacity agreements would be assigned to York-WW following the close of this transaction.

The Agreement of Sale identified the terms of the sale and defined the wastewater system assets to be transferred as all real property physical plant, equipment and facilities comprising the existing wastewater collection system owned and operated by LTMA with attendant easements, rights-of-way, personal property, fixtures and equipment.  The Agreement of Sale’s Section 2.2 defined excluded assets as funds of LTMA such as checking and savings accounts, accounts receivable, insurance and other investments related to the wastewater collection system.

Section 9.1 of the Agreement of Sale requires York-WW to adopt LTMA’s current quarterly rate for residential wastewater service.  However, York-WW indicated it will prorate the quarterly rate and bill customers on a monthly basis.  Elsewhere in the Application, York-WW averred that there is no affiliation between York-WW and LTMA, that all negotiations were conducted at arm’s length, and a competitive condition will not be created by approval of this Application.

- ADDITIONAL CAPITAL REQUIREMENTS

In a letter to DEP dated March 5, 2020, York-WW indicated it understood several capital improvement projects are required to achieve compliance with LTMA’s COA, including the relocation of the existing effluent outfall and installation of flow metering downstream of the Hillview WWTP.  A copy of York-WW’s letter to DEP was provided as the Application’s Exhibit Q-3.

In the Application, York-WW estimated additional capital requirements totaling approximately $161,000 including: $60,000 for the installation of supervisory control and data acquisition (SCADA) equipment; $51,000 to relocate the effluent outfall; $20,000 to construct a flow metering manhole and install metering equipment; and $30,000 for legal expenses associated with the acquisition.  A copy of a construction quotation to relocate the effluent outfall was provided as the Application’s Exhibit Q-2a and a design drawing for the project was provided as the Application’s Exhibit Q-2b.

In supplemental information filed with the Commission, York-WW provided a copy of the recorded easement LTMA obtained to complete the relocation of the effluent outfall.  York-WW indicated these capital improvements will be completed and in service within 12 months of closing.  These capital improvements and the purchase price will be financed by internally generated funds, proceeds from the issuance of common stock under its dividend reinvestment and direct stock purchase and employee stock purchase plans, and, if necessary, borrowing against its lines of credit.

York-WW noted the following tentative journal entries to record this transaction in its accounts:

- Record Purchase of System

| Account No. | Account Description | Debit | Credit |
| --- | --- | --- | --- |
| 105 | Construction Work in Progress | $285,000 |  |
| 131 | Cash |  | $285,000 |

- Close Project to Utility Plant

| Account No. | Account Description | Debit | Credit |
| --- | --- | --- | --- |
| 101 | Utility Plant in Service | $514,000 |  |
| 108 | Accumulated Depreciation |  | $334,000 |
| 114 | Utility Plant Acquisition Adj. | $105,000 |  |
| 105 | Construction Work in Progress (Purchase Price + Other Acquisition Costs) |  | $285,000 |

- Record Other Project Costs

| Account No. | Account Description | Debit | Credit |
| --- | --- | --- | --- |
| 105 | Construction Work in Progress | $131,000 |  |
| 224 | Line of Credit Borrowings (SCADA) |  | $131,000 |

- Close Projects to Utility Plant

| Account No. | Account Description | Debit | Credit |
| --- | --- | --- | --- |
| 101 | Utility Plant in Service | $131,000 |  |
| 105 | Construction Work in Progress |  | $131,000 |

York-WW stated it will perform an original cost study for the purchase price of the LTMA wastewater system and provide a more detailed listing and description of assets when the study is completed and submitted to the Commission.  By this Order, York-WW will be required to file a copy of the original cost study of the assets being acquired from LTMA with the Commission upon completion of said study.  Additionally, York-WW is directed to identify this transaction for individual review in the context of York-WW’s next general rate case that proposes to include the value of these assets in rate base, in order to evaluate the reasonableness of the original cost, absence of contributions, accumulated depreciation, and any utility plant acquisition adjustment claims.

York-WW indicated future system improvement plans will be based on its assessment of the condition of the wastewater collection and treatment systems; an effort to reduce inflow and infiltration; and an effort to resolve outstanding compliance requirements of the LTMA Consent Order and Agreement (COA) with DEP, provided as the Application’s Exhibit Q-2.

- PROPOSED RATES

York-WW will adopt LTMA’s existing rate of $135 per quarter per EDU within the requested territory.  However, York-WW will prorate the quarterly charge and bill $45 per month.  This $45 per month rate is reflected in York-WW’s pro forma tariff supplement provided as the Application’s Exhibit P.

Based on 185 customers, York-WW estimated annual revenue for providing wastewater service within the requested territory to be approximately $99,900 and annual operating expenses, including operation and maintenance, depreciation, and tax expenses, to be $57,543.  The estimated revenue and expenses would result in a net annual operating income of approximately $42,357.  A calculation of the estimated annual revenue and expenses was provided as the Application’s Exhibit N.

- PERMITS REQUIRED

The Application’s Exhibit Q-1 included a copy of LTMA’s National Pollutant Discharge Elimination System (NPDES) Permit No. PA0082201 as well as a copy of its Water Quality Management (WQM) Permit No. 2895401 A-1, which amended LTMA’s original WQM permit to approve the installation of an UV disinfection system and removal of the existing chlorine contact tank.  In supplemental information filed with the Commission, a copy of LTMA’s WQM Permit No. 2895401 was provided, which approved the expansion of the Hillview WWTP from 0.017 MGD to 0.042 MGD in 1995.  A copy of York-WW’s application dated January 8, 2020, to DEP for the transfer of LTMA’s NPDES Permit No. PA0082201, WQM Permit No. 2895401, and WQM Permit No. 2895401-A1 to York-WW was included as the Application’s Exhibit Q-4.

- OPERATIONS UNDER THE YORK WATER COMPANY – WASTEWATER

In the Application, York-WW indicated the LTMA wastewater system will be operated, maintained, and managed by its Operations Department and further indicated it will begin providing wastewater service within five days of the date of closing.  Additionally, York-WW noted that future requests for public wastewater service in LTMA will be considered in accordance with York-WW’s tariff and line extension rules.  In supplemental information filed with the Commission, York-WW identified the certified operator it intends to assign as the primary operator of the Hillview WWTP.

- ACT 537 OFFICIAL SEWAGE FACILITIES PLANNING

Copies of Letterkenny Township’s DEP approved 2003 Act 537 Plan and its conditionally approved 2019 Special Study were provided in the Application, as identified in Section III of this Order.  The 2019 Special Study updated the 2003 Act 537 Plan to identify the planned acquisition of LTMA’s wastewater system by York-WW and described York-WW’s ability to operate the acquired system and implement the objectives of Letterkenny Township’s Act 537 planning.  It was also stated in the 2019 Special Study, that the areas identified in the 2003 Act 537 Plan as needing sewage collection and treatment, have been addressed, and that the projected growth area for LTMA is significantly limited.  The Application’s Exhibit T-2 also included a copy of Letterkenny Township’s Resolution No. 2019-1 which approved the adoption of the 2019 Special Study by Letterkenny Township and its submission to DEP for approval.

Additionally, the 2019 Special Study indicated Lurgan Township is currently updating its Act 537 Plan and is proposing connection to the LTMA system for the Village of Roxbury and 90-100 associated EDUs.  As identified in the 2019 Special Study, this would require a significant investment and expansion of the existing Hillview WWTP, if approved.

- LAND-USE PLANNING COMPLIANCE

York-WW sent a letter to the Franklin County Planning Commission (FCPC), dated July 2, 2019, that identified its intent to acquire the LTMA wastewater system and provide wastewater service to LTMA’s existing service territory.  The letter requested FCPC review York-WW’s proposal and verify, by answering yes or no to certain questions provided, if the proposal complies with Franklin County’s land use planning.  The Franklin County Planning Department (FCPD) returned a completed and signed copy of York-WW’s letter verifying the proposal’s compliance.  A copy of the completed response letter was provided as the Application’s Exhibit J.  However, the York-WW letter indicated service will be provided to the existing service territory, not the expanded service territory as requested in the Application.  This distinction indicates that FCPD was not likely aware of York Water-WW’s proposed service territory expansion.

Further, the Application’s Exhibit T-2 included a copy of a letter from FCPD dated October 4, 2019, in which FCPD recommended approval of the Letterkenny Township 2019 Special Study, and indicated its understanding that “The intention of the plan is to cover the existing public sewer service area where Act 537 plan approvals have already been granted, with no proposed expansion.”  FCPD’s letter recommending approval with its qualification further bolsters the Commission’s requirement that York-WW amend its requested service territory as outlined in Section III of this order.

The Application’s Exhibit T-2 also included a copy of a letter from the Letterkenny Township Planning Commission (LTPC) that indicated its approval of the 2019 Special Study and recommended the plan’s approval to the Letterkenny Township Board of Supervisors.  Despite the discrepancy regarding the wastewater service territory area, this letter can reasonably be viewed as evidence of LTPC’s verification that the Application is compliant with township planning.

- OTHER CONSIDERATIONS

In the Application, York-WW indicated that LTMA determined it was in the best interest of its current customers to sell its wastewater system to a company that has sufficient wastewater operations and maintenance experience to meet the wastewater demands of the public and has more experience in dealing with utility service and the regulatory requirements associated with providing such service.  LTMA also has concluded that its investment in maintaining the wastewater system in future years will be insufficient to provide reliable wastewater collection and treatment services.  York-WW is current with its financial reports, annual Security Planning and Readiness report filings and has no outstanding fines or assessments due to the Commission.

- CONCLUSION

Based upon the fact that York-WW will expand its service territory in compliance with Commission regulations; that York-WW will be able to meet the needs of new customers without apparent detriment to its existing customers; and that York-WW has the technical, regulatory, financial and legal fitness to operate and maintain the system assets; the Commission finds that granting conditional approval of York-WW’s Application is necessary or proper for the service, accommodation, convenience, or safety of the public and in the public interest; THEREFORE,

IT IS ORDERED:

- That the Application of The York Water Company – Wastewater at Docket No. A-2020-3019424, is hereby conditionally approved, consistent with this Order.

- That upon compliance with the following conditions, a Certificate of Public Convenience shall be issued pursuant to Section 1102(a)(3) of the Public Utility Code, 66 Pa. C.S. § 1102(a)(3), evidencing Commission approval of the right of The York Water Company – Wastewater to acquire the wastewater system assets owned by the Letterkenny Township Municipal Authority as described in the Application:

  - The York Water Company – Wastewater shall file with the Secretary’s Bureau a revised Exhibit E depicting a requested wastewater service territory map which encompasses only the tax parcels, or portions thereof within Letterkenny Township’s municipal boundaries, that currently receive wastewater service from Letterkenny Township Municipal Authority and those tax parcels that have road frontage along Letterkenny Township Municipal Authority’s existing wastewater mains; and

  - The York Water Company – Wastewater shall file with the Secretary’s Bureau a revised Exhibit E-1 that contains a written description with bearing angles and distances for the boundaries of the requested wastewater service territory to be provided in Item a. above and shall quantify the area of the revised wastewater service territory in acres.

- That The York Water Company – Wastewater shall provide written notification to the Secretary’s Bureau within ten (10) days of the closing with the Letterkenny Township Municipal Authority.

- That following Commission receipt of the notice of closing, a Certificate of Public Convenience shall be issued pursuant to Section 1102(a)(1)(i) of the Public Utility Code, 66 Pa. C.S. § 1102(a)(1)(i), evidencing Commission approval of the right of The York Water Company – Wastewater to begin to offer or furnish wastewater service to the public in a portion of Letterkenny Township, Franklin County, Pennsylvania consistent with the revised Exhibit E wastewater service territory map, written description and quantified area to be provided in Ordering Paragraph 2.

- That within ten (10) days following the date of closing, The York Water Company – Wastewater shall file a tariff supplement with the Secretary’s Bureau incorporating a portion of Letterkenny Township in its wastewater service territory, consistent with the pro-forma tariff supplement provided in the Application’s supplemental information, to become effective on one day’s notice.

- That The York Water Company – Wastewater shall file copies of its original cost study of the wastewater system assets acquired from the Letterkenny Township Municipal Authority with the Secretary’s Bureau and the Bureau of Technical Utility Services, upon completion of said study.

- That, at the time of filing its next base rate case, which proposes to include the assets of this acquisition in rate base, The York Water Company – Wastewater shall specifically reference Docket No. A-2020-3019424 and justify any amount claimed in rate base, in order to evaluate the reasonableness of the original cost, absence of contributions, accumulated depreciation, and any utility plant acquisition adjustment claims pursuant to Section 1327 of the Public Utility Code, 66 Pa. C.S. § 1327.

- That a Certificate of Filing under Section 507 of the Pennsylvania Public Utility Code, 66 Pa. C.S. § 507, shall be issued to The York Water Company – Wastewater acknowledging that a copy of the Agreement of Wastewater Collection System Sale between The York Water Company – Wastewater and Letterkenny Township Municipal Authority, made June 25, 2019, has been on file with the Commission since April 3, 2020.

- That if The York Water Company – Wastewater determines that the transaction will not occur, they will promptly file notice of such determination with the Secretary’s Bureau and return the Certificate of Public Convenience issued in Ordering Paragraph 2.

- That nothing herein shall be construed as an approval or determination of costs or expenses for the purposes of just or reasonable rates or to exempt The York Water Company – Wastewater from obtaining all necessary permits, licenses, and approvals from other federal, state, and local government agencies having jurisdiction.

- That a copy of this Order be served upon The York Water Company – Wastewater, the Pennsylvania Public Utility Commission’s Bureau of Investigation and Enforcement, the Office of Consumer Advocate, the Office of Small Business Advocate, the Pennsylvania Department of Revenue, the Letterkenny Township Board of Supervisors, the Letterkenny Township Planning Commission, the Letterkenny Township Municipal Authority, the York County Commissioners, the Franklin County Planning Commission and the Department of Environmental Protection - Southcentral Regional Office and its Central Office Bureau of Regulatory Counsel.

- That the proceeding at Docket No. A-2020-3019424 be closed upon the issuance of the Certificate of Public Convenience pursuant to Ordering Paragraph No. 4.

BY THE COMMISSION,

Rosemary Chiavetta

Secretary

(SEAL)

ORDER ADOPTED:  August 27, 2020

ORDER ENTERED:  August 27, 2020

See Ordering Paragraphs No. 1 and 2.

The revised exhibits shall conform to the mapping requirements described in Section 3.501 of Title 52 of the Pennsylvania Code.  52 Pa. Code § 3.501(a)(2).

See Ordering Paragraph No. 6.

See Ordering Paragraph No. 7.