	[image: image2.png]



	COMMONWEALTH OF PENNSYLVANIA

PENNSYLVANIA PUBLIC UTILITY COMMISSION

400 NORTH STREET, HARRISBURG, PA 17120
	IN REPLY PLEASE REFER TO OUR FILE


September 15, 2020
M-2020-3021764
RICHARD CORNFORTH
DIRECTOR OF ENGINEERING
PECO ENERGY COMPANY
2301 MARKET STREET

PHILADELPHIA, PA 19103
richard.cornforth@peco-energy.com

Re:
Request to the Pennsylvania Public Utility Commission for Exclusion of Major                  
Outage for Reliability Reporting Purposes.
Dear Mr. Cornforth:


On September 3, 2020, PECO Energy Company (PECO) filed a request for exclusion of major outage for reliability reporting purposes in accordance with the requirements of the Commission’s Order entered May 11, 2004, at M‑00991220.  

PECO avers its service territory experienced high winds from tropical storm Isaias with storm gusts ranging from 50-75 mph.  PECO avers the event caused a significant number of downed trees and falling tree limbs to contact power lines, which interrupted electric service to PECO customers.
PECO stated that the event caused service interruptions from August 4, 2020, at 05:23 hours until August 11, 2020, at 11:33 hours.  This caused sustained service interruptions to 404,363 customers out of a total of 1,672,521.  The sustained interruptions occurred in all of PECO’s service territory, which includes Bucks, Delaware, Chester, Montgomery, Philadelphia, and York Counties.  

Upon review of the company’s filing, it appears that the service interruptions described by PECO qualify as a major event, as defined in 52 Pa. Code §57.192.  Therefore, the request for exclusion of service interruptions for reporting purposes is hereby approved.  However, the Commission’s approval is contingent upon the possibility that subsequent audits, reviews, and inquiry, in any Commission proceeding, may be conducted, pursuant to 52 Pa. Code §57.197 (relating to Reliability investigations and enforcement).

In addition, this approval will apply only to the matter and parties specifically and clearly defined under this instant filing.

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code §5.44, file a petition with the Commission within 10 days of the date of this letter.

[image: image1.png]P
POOO®

PENNSYLVANIA

PUC

PUBLIC UTILITY COMMISSION















Sincerely,








Rosemary Chiavetta







Secretary

Cc
Daniel Searfoorce, TUS


John Van Zant, TUS


David Washko, TUS


Kelly Monaghan, AUD

Kathleen Aunkst, SEC
