## Summary Page
DELCORA WASTEWATER SYSTEM
SUMMARY OF ANALYSIS OF ORIGINAL COST OF WASTEWATER SYSTEM
AS OF DECEMBER 13, 2019
ACCOUNT | DESCRIPTION | ORIGINAL COST ($)
353.3 | LAND AND LAND RIGHTS - PUMPING | 131500
354.3 | STRUCTURES AND IMPROVEMENTS - PUMPING | 28944363.7876
354.4 | STRUCTURES AND IMPROVEMENTS - TREATMENT | 12681792.7998
354.7 | STRUCTURES AND IMPROVEMENTS - GENERAL PLANT | 2434828
360.21 | COLLECTION SEWERS - FORCE - MAINS | 40269449.52
361.21 | COLLECTION SEWERS - GRAVITY - MAINS | 8324260.5394
361.23 | COLLECTION SEWERS - GRAVITY - MANHOLES | 3473591.3005
362.2 | SPECIAL COLLECTING STRUCTURES | 8739493.8074
363.2 | SERVICES TO CUSTOMERS | 307904.8563
364.2 | FLOW MEASURING DEVICES | 634716.6516
365.2 | FLOW MEASURING INSTALLATIONS | 12625
371.3 | PUMPING EQUIPMENT | 11042301
380.3 | TREATMENT AND DISPOSAL EQUIPMENT - PUMP STATIONS | 37071005.378
380.4 | TREATMENT AND DISPOSAL EQUIPMENT | 105317582.5593
390.7 | COMPUTER AND SOFTWARE | 311997.68
391.7 | TRANSPORTATION EQUIPMENT | 3788348.39
396.7 | COMMUNICATION EQUIPMENT | 196855
| SYSTEM TOTAL | 263682616.2699

## LIST
ACCOUNT | LOCATION | ASSET | YEAR | SOURCE | COMMENTS | QUANTITY | ORIGINAL COST
353.3 | LAND AND LAND RIGHTS - PUMPING
| (PS-28 FM) Briddle Way (EPS-1) | PS-28 FM | 2014 | 2014 Agreement | Says both ROW and sanitary sewer easement |  | 40000
| (PS-1 ) Chester | PS-1 | 1976 | Deed No. 772A | Indenture deed b/t City of Chester and DELCORA |  | 12000
| (PS-11) Marcus Hook | PS-11 & PS-11 FM | 1977 | Deed No. 652 | 0 |  | 79500
| (PS-A) - BROOKHAVEN ROAD PS | (PS-A) - BROOKHAVEN ROAD PS, Folio Number 39-00-00009-01, AREA 270 X 200 | 1966 | 0 | See Note 1 | 0 | 0
| (PS-B) - OLD MILL PS | (PS-B) - OLD MILL PS, Folio Number 39-00-00006-00, AREA | 1937 | 0 | See Note 1 | 0 | 0
| (PS-10) - EDDYSTONE PS | (PS-10) - EDDYSTONE PS, Folio Number 18-00-00161-01, AREA 111 X 340 IRR LOT 1 | 2006 | 0 | See Note 1 | 0 | 0
| (PS-3) - PS-6 WRTP | (PS-3) - PS-6 WRTP | 2017 | 0 | See Note 1 | 0 | 0
| (PS-4) - FELTONVILLE PS (CONCORD) | (PS-4) - FELTONVILLE PS (CONCORD) | 1970 | 0 | See Note 1 | 0 | 0
| (PS-7) - CENTRAL DELAWARE COUNTY PS | (PS-7) - CENTRAL DELAWARE COUNTY PS | 1978 | 0 | See Note 1 | 0 | 0
| (PS-8) - MUCKINIPATES PS | (PS-8) - MUCKINIPATES PS, Folio Number 31-00-00609-05, AREA 125 X 258 INTERIOR LOT | 1978 | 0 | See Note 1 | 0 | 0
| (PS-9) - DARBY CREEK PS | (PS-9) - DARBY CREEK PS | 1974 | 0 | See Note 1 | 0 | 0
| (PS-12) - PRICE STREET PS | (PS-12) - PRICE STREET PS | 2009 | 0 | See Note 1 | 0 | 0
| (PS-13) - SMITH STREET PS | (PS-13) - SMITH STREET PS | 1997 | 0 | See Note 1 | 0 | 0
| (PS-16) - BROOMALL STREET PS | (PS-16) - BROOMALL STREET PS | 1964 | 0 | See Note 1 | 0 | 0
| (PS-22) - DELAWARE AVENUE INJECTOR STA. | (PS-22) - DELAWARE AVENUE INJECTOR STA. | 1979 | 0 | See Note 1 | 0 | 0
| (PS-23) - VISCOSE VILLAGE PS | (PS-23) - VISCOSE VILLAGE PS | 1965 | 0 | See Note 1 | 0 | 0
| (PS-24) - STADIUM (RIVERFRONT) PS | (PS-24) - STADIUM (RIVERFRONT) PS | 2009 | 0 | See Note 1 | 0 | 0
| (PS-26) - LONGPOINT LANE INJECTOR STA. | (PS-26) - LONGPOINT LANE INJECTOR STA., Folio Number 39-00-00066-50, AREA 2.15 ACRES | 1956 | 0 | See Note 1 | 0 | 0
| (PS-27) - CHESTER-RIDLEY CREEK PS | (PS-27) - CHESTER-RIDLEY CREEK PS | 2013 | 0 | See Note 1 | 0 | 0
| (PS-29) - RUNNYMEADE PS (EPS-2) | (PS-29) - RUNNYMEADE PS (EPS-2) | 2014 | 0 | See Note 1 | 0 | 0
| (PS-30) - DREAM VALLEY PS (PS-3) | (PS-30) - DREAM VALLEY PS (PS-3) | 2014 | 0 | See Note 1 | 0 | 0
| (PS-31) - ROSE VALLEY PS | (PS-31) - ROSE VALLEY PS , Folio Number 39-00-00040-00, AREA 90 X 344 X IRR LOT 18 | 2016 | 0 | See Note 1 | 0 | 0
| (PS-2) - 8TH STREET PS | (PS-2) - 8TH STREET PS | 1951 | 0 | See Note 1 | 0 | 0
| TOTAL LAND AND LAND RIGHTS - PUMPING | [5 empty] | 131500
Note 1: Property value included in original facilities purchase price (reference: Section 8 - List of Assets & Costs, Account Code 354.30)
354.3 | STRUCTURES AND IMPROVEMENTS - PUMPING
| PS-A Brookhaven Road | (PS-A) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1966 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 13222.9574
| PS-B Old Mill | (PS-B) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1937 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 8161.0559
| PS-1 Chester | (PS-1) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1976 | Contract Nos. 10, 11 | 0 | 0 | 3981717.75
| PS-2 8th Street | (PS-2) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1951 | CP-9607-C | 0 | 0 | 66554.0009
| PS-3 PS-6 | (PS-3) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 2017 | Contract TC-1707-C | (PS-3) is the Influent Pump Station (PS-6) at the WRTP. Cost is included in Account Code 380.3. | 0 | 0
| PS-4 Feltonville | (PS-4) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1970 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 17920.4163
| PS-7 Central Delaware County | (PS-7) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1978 | Contract Nos. 18A, B, C, D | Original Cost for (PS-7) & (PS-8) included in Contract Nos. 18A, B, C, D | 0 | 5121775.71
| PS-8 Muckinipates | (PS-8) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1978 | Contract Nos. 18A, B, C, D | Original Cost for (PS-7) & (PS-8) included in Contract Nos. 18A, B, C, D | 0 | 0
| PS-9 Darby Creek | (PS-9) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1974 | Contract Nos. 7, 9, 8. | 0 | 0 | 2828683
| PS-10 Eddystone | (PS-10) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 2006 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 950018.528
| PS-11 Marcus Hook | (PS-11) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1955 | Weston | 0 | 0 | 389440.99
| PS-12 Price Street | (PS-12) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 2009 | Contract PW-0809-C | 0 | 0 | 586225
| PS-13 Smith Street | (PS-13) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1997 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 522606.2094
| PS-16 Broomall Street | (PS-16) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1964 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 42481.7248
| PS-22 Delaware Avenue Ejector Sta. | (PS-22) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1979 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 38968.1464
| PS-23 Viscose Village | (PS-23) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1965 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 105297.5854
| PS-24 Stadium (aka Riverfront) | (PS-24) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 2009 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 1538096.0432
| PS-26 Longpoint Lane Ejector Sta. | (PS-26) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1956 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 8979.67
| PS-27 Chester-Ridley Creek | (PS-27) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 2013 | Contract PW-1305-C | 0 | 0 | 8647630
| PS-28 Bridle Way (EPS-1) | (PS-28) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 2014 | Contract SW-1318-C | Original Cost for (PS-28), (PS-29), & (PS-30) included in Contract Nos. SW-1318-C | 0 | 2314900
| PS-29 Runnymeade (EPS-2) | (PS-29) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 2014 | Contract SW-1318-C | Original Cost for (PS-28), (PS-29), & (PS-30) included in Contract Nos. SW-1318-C | 0 | 0
| PS-30 Dream Valley (EPS-3) | (PS-30) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 2014 | Contract SW-1318-C | Original Cost for (PS-28), (PS-29), & (PS-30) included in Contract Nos. SW-1318-C | 0 | 0
| PS-31 Rose Valley | (PS-31) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 2016 | Contract PFR-1705-C | 0 | 0 | 1748785
| PS-33 Delaware River Interceptor Bypass | (PS-33) - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 2014 | Estimate | 0 | 0 | 12900
| TOTAL STRUCTURES AND IMPROVEMENTS - PUMPING |  |  |  |  | 0 | 28944363.7876
354.4 | STRUCTURES AND IMPROVEMENTS - TREATMENT
| B-1 (Grit) | B-1 (Grit) - Electrical Updates | 2018 | TC-1717-C | 0 | 0 | 146052
| B-1 (Grit) | B-1 (Grit) - Grit Removal System Rehabilation | 2001 | TC-0006-C, TC-0106-C** | 0 | 0 | 878370
| B-1 (Grit) | B-1 (Grit) - Original Installation | 1974 | Original plant construction | 0 | 0 | 509210
| B-2 (Control) | B-2 (Control) - Control Room Upgrade in B-2 | 2003 | TC-0306-C | 0 | 0 | 130900
| B-2 (Control) | B-2 (Control) - Original Installation | 1974 | Original plant construction | 0 | 0 | 3407361
| B-2 (Control) | B-2 (Control) - SCADA/Instrumentation Upgrade | 2018 | TC-1717-C | 0 | 0 | 383719
| B-2 (Control) | B-2 (Control) - Security Upgrade Project | 2005 | P2005-09 | 0 | 0 | 447933
| B-2 (Control) | B-2 (Control) - Telemetry (SCADA) | 1988 | TC-8805-C | 0 | 0 | 142621
| B-5 (Engineering) | B-5 (Engineering) - Architectural Upgrade B2, B3 & B5 | 2003 | TC-0311-C: Not split | 0 | 0 | 2266464
| B-5 (Maintenance) | B-5 (Maintenance) - Domestic Hot Water Heater System At Maintenance & Stores at WRTP | 2000 | TC-0004-C (Re-Bid) | 0 | 0 | 18816
| B-5 (Maintenance) | B-5 (Maintenance) - Original Installation | 1992 | TC-9208-C | 0 | 0 | 1496152
| B-7 (Garage) | B-7 (Garage) - DELCORA Vehicle Garage Construction | 1989 | TC-8906-C | 0 | 0 | 96600
| B-7 (Garage) | B-7 (Garage) - Garage Roof & Insulation | 2018 | TC-1717-C | 0 | 0 | 74838
| B-7 (Garage) | B-7 (Garage) - Original Installation | 1989 | 0 | Includes garage between Primary Clarifiers and Aeration Tanks. | 0 | 375138
| EPS-1 (Building only) | EPS-1 (Building only) - Original Installation | 1972 | 0 | Pumps and related equipment removed from service in 2018. | 0 | 121787
| Maintenance Office (trailer) | Maintenance Office (trailer) - Original Installation | 1994 | DELCORA | 0 | 0 | 4000
| Pre-Fabricated Metal Building | Pre-Fabricated Metal Building - Pre-Fabricated Metal Building with Partial Installation | 2007 | TC-0709-C | 0 | 0 | 94800
| Roof Repairs | Roof Repairs - Roof Repairs at WRTP and 10 Remote Stations | 2003 | TPEW-0308-C | 0 | 0 | 792476
| Roof Replacement | Roof Replacement - Roof Replacement - B-2; B-3; P-4 | 1993 | TC-9304-C | 0 | 0 | 142477
| Storage Sheds | Storage Sheds - Original Installation | 2015 | DELCORA | 0 | 0 | 50800
| WRTP & Remote Pump Station | WRTP & Remote Pump Station - Coping & Masonry Repairs | 2006 | TC-0609-C | 0 | 0 | 294000
| Corrine Village aka Pocopson Preserve | Corrine Village aka Pocopson Preserve WWTP - TREATMENT SYSTEM | 2010 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 423715.4531
| Sheeder Tract aka Riverside | Sheeder Tract aka Riverside WWTP - TREATMENT SYSTEM | 2007 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 383563.3467
| TOTAL STRUCTURES AND IMPROVEMENTS - TREATMENT |  |  |  |  | 0 | 12681792.7998
354.7 | STRUCTURES AND IMPROVEMENTS - GENERAL PLANT
| 0 | Administration Building - Generator | 2013 | Weston | 0 | 0 | 104328
|  | Administration Building - New administration building | 1997 | AC-9606-C | 0 | 0 | 1749072
|  | Administration Building - New Roof | 2019 | AC-1906-C | 0 | 0 | 174000
|  | Remote Operations Building - Former SWDCMA STP control building | 2016 | Acquistion | 0 | 0 | 407428
| TOTAL STRUCTURES AND IMPROVEMENTS - GENERAL PLANT |  |  |  |  | 0 | 2434828
360.21 | COLLECTION SEWERS - FORCE - MAINS
| 0 | Retired 48" PCCP FM - CPS -> Booth Street | 1978 | Contract 12 | 0 | 11300 | 2435466
| PS-1 | (PS-1) Chester FM - 48" DI | 2009 | FC-0916-C | Original Cost included in Contract No. FC-0916-C | 620 | 11706121
| PS-1 | (PS-1) Chester FM - 54" DI | 2009 | FC-0916-C | Original Cost included in Contract No. FC-0916-C | 12030 | 0
| PS-10 | (PS-10) Eddystone FM - 8" CIP | 1931 | Cost based on Price & Smith Street FM. | 0 | 1921 | 9078
| PS-11 | (PS-11) Sun - Marcus Hook FM - 30" PCCP | 1977 | Contract No. 15 | Original Cost included in Contract No. 15 | 2250 | 2031340.57
| PS-11 | (PS-11) Sun - Marcus Hook FM - 36" PCCP | 1977 | Contract No. 15 | Original Cost included in Contract No. 15 | 5695 | 0
| PS-11 | (PS-11) Central Delaware Diversion FM - 36" DI | 2000 | CD-9911-C | 0 | 17693 | 2542300
| PS-11 | (PS-11) Marcus Hook FM FM - 16" CIP | 1977 | Aquired | 0 | 94 | 7958
| PS-12 | (PS-12) Price Street FM - 10" DI | 2007 | FW-0707-C | Original Cost included in Contract No. FW-0707-C | 1345 | 949741
| PS-13 | (PS-13) Smith Street FM - 8" DI | 2007 | FW-0707-C | Original Cost included in Contract No. FW-0707-C | 3230 | 0
| PS-16 | (PS-16) Broomall Street FM - 8" CIP | 1964 | Aquired | 0 | 760 | 18572
| PS-2 | (PS-2) 8th Street FM - 8" CIP | 1951 | Aquired | 0 | 465 | 6592
| PS-22 | (PS-22) Delaware Avenue Ejector FM - 4" CIP | 1970 | Aquired | 0 | 345 | 12439
| PS-23 | (PS-23) Viscose Village FM - 12" CIP | 1965 | Aquired | 0 | 855 | 21675
| PS-24 | (PS-24) Stadium FM - 10" DI | 2010 | Dedicated | Part II received 11/2009 | 4650 | 1068448
| PS-26 | (PS-26) Longpoint Lane Ejector FM - 6" CIP | 1956 | Cost based on Price & Smith Street FM. | 0 | 848 | 14731
| PS-27 | (PS-27) Chester Ridley Creek FM - 30" DI | 2013 | FW-1304-C | Original Cost included in Contract No. FW-1304-C | 10410 | 5792392
| PS-27 | (PS-27) Chester Ridley Creek FM - 30" HDPE | 2013 | FW-1304-C | Original Cost included in Contract No. FW-1304-C | 4770 | 0
| PS-28 | (PS-28) Bridle EPS-1 FM - 8" fPVC | 2014 | SW-1318-C | Original Cost included in Contract No. SW-1318-C | 2022 | 0
| PS-29 | (PS-29) Runnymeade EPS-2 FM - 10" fPVC | 2014 | SW-1318-C | Gradyville Road Original Cost included in Contract No. SW-1318-C | 1860 | 4933283.45
| PS-30 | (PS-30) Dream Valley EPS-3 FM - 2" fPVC | 2014 | SW-1318-C | Original Cost included in Contract No. SW-1318-C | 698 | 0
| PS-31 | (PS-31) Rose Valley FM - 6" HDPE | 2017 | PFR-1705-C | 0 | 2950 | 998650
| PS-33 | (PS-33) Delaware River Interceptor Bypass FM - 8" HDPE | 2016 | Estimated - Weston | 0 | 685 | 121500
| PS-4 | (PS-4) Feltonville FM - 8" CIP | 1970 | Aquired | 0 | 925 | 33351
| PS-7 | (PS-7) Central Delaware FM - 36" PCCP | 1977 | Contract No. 20 | Original Cost included in Contract No. 20 | 9820 | 2774989
| PS-8 | (PS-8) Muckinipates FM - 48" PCCP | 1977 | Contract No. 20 | Original Cost included in Contract No. 20 | 8800 | 0
| PS-9 | (PS-9) Darby Creek FM - 66" PCCP | 1972 | Contract No. 06 | FM Sections 2 and 3 | 10040 | 2099084.5
|  |  | 1974 | Contract No. 06A | FM Sections 1 and 4 | 2985 | 2579569
| PS-A | (PS-A) Brookhaven Road FM - 8" Steel | 1966 | Cost based on Price & Smith Street FM. | 0 | 1050 | 27934
| PS-B | (PS-B) Old Mill FM - 6" CIP | 1937 | Cost based on Price & Smith Street FM. | 0 | 2550 | 15043
|  | Edgmont Low Pressure Mains FM - 2" HDPE | 2014 | SW-1318-C | 6 lines Original Cost included in Contract No. SW-1318-C | 4484 | 0
|  | Edgmont Low Pressure Mains FM - 3" HDPE | 2014 | SW-1318-C | Original Cost included in Contract No. SW-1318-C | 1130 | 0
|  | Springhill Farms FM - 12" PVC | 1990 | Cost based on Bridle FM. | 0 | 717 | 69192
| TOTAL COLLECTION SEWERS - FORCE - MAINS |  |  |  |  | 129997 | 40269449.52
361.21 | COLLECTION SEWERS - GRAVITY - MAINS
|  | 10" PVC | 2016 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 273 | 15054
|  | 10" VCP | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 708.02 | 366
|  | 10" VCP | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 31762 | 34389
|  | 10" VCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 864 | 3797
|  | 12" PVC | 1970 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 1128.87 | 12684
|  | 12" PVC | 1971 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 1549 | 19925
|  | 12" PVC | 2008 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 700 | 47327
|  | 12" VCP | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 2391.29 | 1887
|  | 12" VCP | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 29590.41 | 48872
|  | 12" VCP | 1937 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 12650 | 24186
|  | 12" VCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 3762 | 25221
|  | 12" VCP | 1966 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 5062 | 41967
|  | 15" PVC | 1970 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 1712 | 20164
|  | 15" PVC | 2010 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 1742 | 130748
|  | 15" VCP | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 351 | 290
|  | 15" VCP | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 13877.91 | 24027
|  | 15" VCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 3954 | 27787
|  | 16" VCP | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 195 | 358
|  | 18" PVC | 1970 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 510.2 | 7261
|  | 18" RCP | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 2257 | 2256
|  | 18" RCP | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 25310.97 | 52951
|  | 18" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 13554.28 | 115100
|  | 18" RCP | 1969 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 130 | 10449.9495
|  | 21" RCP | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 2228 | 2521
|  | 21" RCP | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 3442 | 8151
|  | 21" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 3916 | 37643
|  | 24" Brick | 1961 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 50 | 2682.6414
|  | 24" PVC | 1970 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 817 | 13973
|  | 24" RCP | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 23803.63 | 28596
|  | 24" RCP | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 11216.37 | 28199
|  | 24" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 11244.73 | 114753
|  | 27" RCP | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 315 | 947
|  | 30" Brick | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 3071.74 | 4929
|  | 30" Brick | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 3065 | 10293
|  | 30" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 11474.6 | 156417
|  | 30" RCP | 1970 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 280.17 | 6401
|  | 36" Brick | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 77555.02 | 146894
|  | 36" Brick | 1930 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 8110 | 104286.0235
|  | 36" Brick | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 4557.15 | 18064
|  | 36" Brick | 1931 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 885 | 10146.8458
|  | 36" Brick | 1961 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 1625 | 87185.8471
|  | 36" Brick | 1986 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 570 | 155076.9459
|  | 36" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 7549.95 | 121477
|  | 36" RCP | 1969 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 155 | 12459.5551
|  | 36" RCP | 1970 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 1421.73 | 38338
|  | 4" VCP | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 183 | 185
|  | 40" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 421 | 7494
|  | 42" Brick | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 1477 | 3225
|  | 42" RCP | 1931 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 450 | 5159.4131
|  | 42" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 467 | 8662
|  | 44" Brick | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 366 | 841
|  | 48" Brick | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 7282.05 | 18007
|  | 48" Brick | 1930 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 4220 | 54264.7373
|  | 48" Brick | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 1382 | 7152
|  | 48" Brick & Concrete | 1930 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 1835 | 23596.1594
|  | 48" CIP | 1961 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 1190 | 63846.8665
|  | 48" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 6151 | 129208
|  | 48" RCP | 1961 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 865 | 46409.697
|  | 48" RCP | 1969 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 200 | 16076.8453
|  | 48" RCP | 1970 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 543 | 19117
|  | 52" Brick | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 615 | 1663
|  | 52" RCP | 1926 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 870 | 11462.8287
|  | 52" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 3587 | 82393
|  | 54" RCP | 1930 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 1660 | 21345.8445
|  | 54" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 1719 | 40335
|  | 6" VCP | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 777 | 784
|  | 60" RCP | 1961 | DELCORA GIS | Outfall costs use the LF price from the insurance evaluation, backdated to the correct year. | 50 | 2682.6414
|  | 64" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 686 | 20031
|  | 72" Brick | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 2466.84 | 9301
|  | 72" RCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 800 | 25624
|  | 72" RCP | 1970 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 223 | 11971
|  | 8" PVC | 1970 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 5123.3 | 35178
|  | 8" PVC | 1971 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 669 | 5259
|  | 8" PVC | 1976 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 540 | 6446
|  | 8" PVC | 1985 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 2042 | 42591
|  | 8" PVC | 1990 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 55963 | 1316669
|  | 8" PVC | 2004 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 2242 | 79312
|  | 8" PVC | 2005 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 43522 | 1611245
|  | 8" PVC | 2006 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 5206 | 200635
|  | 8" PVC | 2007 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 771.45 | 30558
|  | 8" PVC | 2008 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 1491 | 61604
|  | 8" PVC | 2009 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 12201.92 | 519931.923
|  | 8" PVC | 2012 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 4524 | 209338.7747
|  | 8" PVC | 2015 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 6360 | 317346
|  | 8" PVC | 2016 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 13957 | 717452
|  | 8" VCP | 1900 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 755.31 | 364
|  | 8" VCP | 1930 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 267906.9245 | 270403
|  | 8" VCP | 1937 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 206 | 241
|  | 8" VCP | 1960 | DELCORA GIS | The installed cost is calculated using the GM Pricing Structure for cost per pipe size, and using the Cost Construction Index to estimate what the cost would have been when the gravity main was laid. | 2176 | 8915
|  | Unknown | 1900 | DELCORA GIS | For pipes that are unknown in size, or unknown in date, or both, weighted averages are used. | 62 | 30
|  | Unknown | 1930 | DELCORA GIS | For pipes that are unknown in size, or unknown in date, or both, weighted averages are used. | 5738 | 5791
|  | Unknown | 1937 | DELCORA GIS | For pipes that are unknown in size, or unknown in date, or both, weighted averages are used. | 10877 | 97681
|  | Unknown | 1956 | DELCORA GIS | For pipes that are unknown in size, or unknown in date, or both, weighted averages are used. | 912 | 8190
|  | Unknown | 1960 | DELCORA GIS | For pipes that are unknown in size, or unknown in date, or both, weighted averages are used. | 487 | 1995
|  | Unknown | 1970 | DELCORA GIS | For pipes that are unknown in size, or unknown in date, or both, weighted averages are used. | 43479 | 298541
|  | Unknown | 1971 | DELCORA GIS | For pipes that are unknown in size, or unknown in date, or both, weighted averages are used. | 1418 | 12734
|  | Unknown | 1990 | DELCORA GIS | For pipes that are unknown in size, or unknown in date, or both, weighted averages are used. | 466 | 10964
|  | Unknown | 1992 | DELCORA GIS | For pipes that are unknown in size, or unknown in date, or both, weighted averages are used. | 477 | 11823
|  | Unknown | Unknown | DELCORA GIS | For pipes that are unknown in size, or unknown in date, or both, weighted averages are used. | 6187.75 | 35684
| TOTAL COLLECTION SEWERS - GRAVITY - MAINS |  |  |  |  | 867634.5845 | 8324260.5394
361.23 | COLLECTION SEWERS - GRAVITY - MANHOLES
| 0 | Manholes | 1900 | DELCORA GIS | 0 | 438 | 12422.202
|  | Manholes | 1930 | DELCORA GIS | 0 | 1865 | 103718.8395
|  | Manholes | 1937 | DELCORA GIS | 0 | 137 | 9366.845
|  | Manholes | 1956 | DELCORA GIS | 0 | 34 | 6953.7787
|  | Manholes | 1960 | DELCORA GIS | 0 | 270 | 75117.3705
|  | Manholes | 1966 | DELCORA GIS | 0 | 22 | 6437.1319
|  | Manholes | 1970 | DELCORA GIS | 0 | 282 | 120089.0561
|  | Manholes | 1971 | DELCORA GIS | 0 | 3 | 853.7061
|  | Manholes | 1985 | DELCORA GIS | 0 | 10 | 11945.1569
|  | Manholes | 1990 | DELCORA GIS | 0 | 87 | 118409.0457
|  | Manholes | 1992 | DELCORA GIS | 0 | 3 | 3994.9102
|  | Manholes | 2000 | DELCORA GIS | 0 | 67 | 132377.3687
|  | Manholes | 2004 | DELCORA GIS | 0 | 16 | 50435.9647
|  | Manholes | 2005 | DELCORA GIS | 0 | 256 | 1583347.7414
|  | Manholes | 2006 | DELCORA GIS | 0 | 159 | 367981.4625
|  | Manholes | 2007 | DELCORA GIS | 0 | 6 | 12936.205
|  | Manholes | 2008 | DELCORA GIS | 0 | 20 | 47837.0281
|  | Manholes | 2009 | DELCORA GIS | 0 | 67 | 156815.4962
|  | Manholes | 2010 | DELCORA GIS | 0 | 7 | 14093.4108
|  | Manholes | 2011 | DELCORA GIS | 0 | 7 | 23998.6867
|  | Manholes | 2012 | DELCORA GIS | 0 | 25 | 63542.3034
|  | Manholes | 2015 | DELCORA GIS | 0 | 42 | 111429.2588
|  | Manholes | 2016 | DELCORA GIS | 0 | 94 | 246780.364
|  | Manholes | 2019 | DELCORA GIS | 0 | 1 | 2924.4022
|  | Manholes | Unknown | DELCORA GIS | 0 | 330 | 189783.5654
| TOTAL COLLECTION SEWERS - GRAVITY - MANHOLES |  |  |  |  | 4248 | 3473591.3005
362.2 | SPECIAL COLLECTING STRUCTURES
| Regulator No. 002 | Regulator No. 002 - (1) Vault(s) | 1930 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 1989.8666
| Regulator No. 002 | Regulator No. 002 - 5" x 7 1/2" Brown & Brown | 2009 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 191466.66
| Regulator No. 002 | Regulator No. 002 - None Backflow Device | NA | Weston | 0 | 0 | 0
| Regulator No. 003 | Regulator No. 003 - (1) Vault(s) | 1930 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 1989.8666
| Regulator No. 003 | Regulator No. 003 - 7 1/2" x 7 3/4" Brown & Brown | 2009 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 191466.66
| Regulator No. 003 | Regulator No. 003 - None Backflow Device |  | Weston | 0 | 0 | 0
| Regulator No. 004 | Regulator No. 004 - (1) Vault(s) | 1930 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 1989.8666
| Regulator No. 004 | Regulator No. 004 - 7 1/2" x 15 3/8" Brown & Brown | 2018 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 228411.5
| Regulator No. 004 | Regulator No. 004 - Duckbill Backflow Device | 1984 | Weston | 0 | 0 | 3564.2165
| Regulator No. 005 | Regulator No. 005 - (2) Vault(s) | 1930 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 3979.7332
| Regulator No. 005 | Regulator No. 005 - 12" x 12" Brown & Brown | 2009 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 191466.66
| Regulator No. 005 | Regulator No. 005 - 48"x48" Rubber Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 6540
| Regulator No. 007 | CSO Screening Facility - Outfall 007 CSO Screening Facility | 2009 | Dedicated | 0 | 0 | 881460
| Regulator No. 007 | Regulator No. 007 - (2) Vault(s) | 1930 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 3979.7332
| Regulator No. 007 | Regulator No. 007 - 5" x 6" Brown & Brown | 2009 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 007 | Regulator No. 007 - Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 6540
| Regulator No. 008 | Regulator No. 008 - (2) Vault(s) | 1930 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 3979.7332
| Regulator No. 008 | Regulator No. 008 - 7 1/2" x 12 3/8" Brown & Brown | 2005 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 612878.833
| Regulator No. 008 | Regulator No. 008 - Double Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 13080
| Regulator No. 009 | Regulator No. 009 - (2) Vault(s) | 1930 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 3979.7332
| Regulator No. 009 | Regulator No. 009 - 5" x 7 1/2" Brown & Brown | 2005 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 612878.833
| Regulator No. 009 | Regulator No. 009 - Double Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 13080
| Regulator No. 010 | Regulator No. 010 - (1) Vault(s) | 1930 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 1989.8666
| Regulator No. 010 | Regulator No. 010 - 7 1/2" x 15 3/8" Brown & Brown | 2012 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 010 | Regulator No. 010 - None Backflow Device | NA | Weston | 0 | 0 | 0
| Regulator No. 011 | Regulator No. 011 - (1) Vault(s) | 1930 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 1989.8666
| Regulator No. 011 | Regulator No. 011 - 5" x 9 1/4" Brown & Brown | 2005 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 612878.833
| Regulator No. 011 | Regulator No. 011 - None Backflow Device | NA | Weston | 0 | 0 | 0
| Regulator No. 012 | Regulator No. 012 - (2) Vault(s) | 1961 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 16605.0937
| Regulator No. 012 | Regulator No. 012 - Brown & Brown | 2005 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 173795
| Regulator No. 012 | Regulator No. 012 - Double 24"x24" Rubber Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 13080
| Regulator No. 013 | Regulator No. 013 - (2) Vault(s) | 1961 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 16605.0937
| Regulator No. 013 | Regulator No. 013 - 7 1/2" x 7 3/4" Brown & Brown | 2012 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 013 | Regulator No. 013 - Double 48"x48" Rubber Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 13080
| Regulator No. 014 | Regulator No. 014 - (2) Vault(s) | 1961 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 16605.0937
| Regulator No. 014 | Regulator No. 014 - 12" x 15" Brown & Brown | 2012 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 014 | Regulator No. 014 - Double 48"x48" Rubber Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 13080
| Regulator No. 015 | Regulator No. 015 - (2) Vault(s) | 1986 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 84201.7444
| Regulator No. 015 | Regulator No. 015 - 7 1/2" x 15 3/8" Brown & Brown | 2018 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 228411.5
| Regulator No. 015 | Regulator No. 015 - Single Neenah #R-50-50-SF36 Tide Gate Backflow Device | 1986 | Weston | 0 | 0 | 1196.3274
| Regulator No. 016 | Regulator No. 016 - (2) Vault(s) | 1926 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 4077.7562
| Regulator No. 016 | Regulator No. 016 - 7 1/2" x 12 3/8" Brown & Brown | 1999 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 016 | Regulator No. 016 - Double 60"x60" Rubber Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 13080
| Regulator No. 017 | Regulator No. 017 - (2) Vault(s) | 1961 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 16605.0937
| Regulator No. 017 | Regulator No. 017 - 5" x 6" Brown & Brown | 1987 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 017 | Regulator No. 017 - Single Neenah Cast Iron Tide Gate Backflow Device | 1961 | Weston | 0 | 0 | 220.4968
| Regulator No. 018 | Regulator No. 018 - (1) Vault(s) | 1961 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 8302.5469
| Regulator No. 018 | Regulator No. 018 - 5" x 6" Brown & Brown | 1961 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 018 | Regulator No. 018 - None Backflow Device | NA | Weston | 0 | 0 | 0
| Regulator No. 019 | Regulator No. 019 - (1) Vault(s) | 1931 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 1774.216
| Regulator No. 019 | Regulator No. 019 - 7 1/2" x 15 3/8" Brown & Brown | 1974 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 019 | Regulator No. 019 - None Backflow Device | NA | Weston | 0 | 0 | 0
| Regulator No. 020 | Regulator No. 020 - (1) Vault(s) | 1931 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 1774.216
| Regulator No. 020 | Regulator No. 020 - 7 1/2" x 7 3/4" Brown & Brown | 2002 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 020 | Regulator No. 020 - None Backflow Device | NA | Weston | 0 | 0 | 0
| Regulator No. 021 | Regulator No. 021 - (2) Vault(s) | 1969 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 24878.2337
| Regulator No. 021 | Regulator No. 021 - 7 1/2" x 7 3/4" Brown & Brown | 2003 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 021 | Regulator No. 021 - Double 18"x18" Rubber Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 13080
| Regulator No. 022 | Regulator No. 022 - (1) Vault(s) | 1969 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 12439.1168
| Regulator No. 022 | Regulator No. 022 - 5" x 6" Brown & Brown | 2002 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 022 | Regulator No. 022 - None Backflow Device | NA | Weston | 0 | 0 | 0
| Regulator No. 023 | Regulator No. 023 - (2) Vault(s) | 1969 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 24878.2337
| Regulator No. 023 | Regulator No. 023 - 7 1/2" x 7 3/4" Brown & Brown | 2005 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 173795
| Regulator No. 023 | Regulator No. 023 - Double 36"x36" Rubber Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 13080
| Regulator No. 024 | Regulator No. 024 - (2) Vault(s) | 1931 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 3548.4321
| Regulator No. 024 | Regulator No. 024 - 5" x 9 1/4" Brown & Brown | 2005 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 173795
| Regulator No. 024 | Regulator No. 024 - Double 48"x48" Rubber Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 13080
| Regulator No. 025 | Regulator No. 025 - (2) Vault(s) | 1931 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 3548.4321
| Regulator No. 025 | Regulator No. 025 - 5" x 6" Brown & Brown | 2003 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 025 | Regulator No. 025 - Double 36"x36" Rubber Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 13080
| Regulator No. 026 | Regulator No. 026 - (1) Vault(s) | 1931 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 1774.216
| Regulator No. 026 | Regulator No. 026 - 7 1/2" x 12 3/8" Brown & Brown | 1999 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 308294.9526
| Regulator No. 026 | Regulator No. 026 - None Backflow Device | NA | Weston | 0 | 0 | 0
| Regulator No. 031 | Regulator No. 031 - (2) Vault(s) | 1961 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 16605.0937
| Regulator No. 031 | Regulator No. 031 - Double 36"x36" Rubber Tide Gate Backflow Device | 2002 | Weston | 0 | 0 | 13080
| Regulator No. 031 | Regulator No. 031 - No Regulator | 1961 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 0
| Regulator No. 033 | Regulator No. 033 - (2) Vault(s) | 1961 | Vault Costs are from the 2005 bid for the Rehabilitation of Regulators 02, 04, and 05. The average vaule replacement cost was $71,645 in March 2005. | The ENR CCI value for March 2005 = 7309 | 0 | 16605.0937
| Regulator No. 033 | Regulator No. 033 - 2 - Single Gates Backflow Device | 1961 | Weston | 0 | 0 | 317.9313
| Regulator No. 033 | Regulator No. 033 - No Regulator | 1961 | Regulator costs are from bond reports, contracts, and estimation. | 0 | 0 | 0
| TOTAL SPECIAL COLLECTING STRUCTURES |  |  |  |  | 0 | 8739493.8074
363.2 | SERVICES TO CUSTOMERS
| 0 | 4" PVC | 1957 | DELCORA GIS | The age of the laterals are assumed to be the same age as the average Chester gravity main. The length of an average lateral is assumed to be the same as the average length of a lateral in Crozier Hills and Upland Terrace & Pusey Estate, where lateral data was available. The number of laterals that DELCORA owns is assumed to be the same as the number of bills they sent out for the 4th quarter of 2019. | 85536 | 307904.8563
| TOTAL SERVICES TO CUSTOMERS |  |  |  |  | 85536 | 307904.8563
364.2 | FLOW MEASURING DEVICES
| 0 | Flowav - AV Sensor | 2012 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 3 | 4543.2833
|  | Flowav - AV Sensor | 2013 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 5 | 7767.4019
|  | Flowav - AV Sensor | 2014 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 12 | 19149.4486
|  | Flowav - AV Sensor | 2015 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 2 | 3266.1002
|  | Flowav - AV Sensor | 2016 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 20 | 33647.0801
|  | Flowav - AV Sensor | 2017 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 6 | 10482.6975
|  | Flowav - AV Sensor | 2018 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 2 | 3600
|  | Flowav - AV Sensor | 2019 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 5 | 9117.1578
|  | Flowav - Ultrasonic | 2019 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 4 | 4052.0702
|  | Hach - AV Sensor | 2016 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 10 | 13084.9756
|  | Hach - Downlooker | 2016 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 1 | 1308.4976
|  | Hach - FL900 | 2014 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 7 | 37235.0389
|  | Hach - FL901 | 2016 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 19 | 106549.087
|  | Hach - Flodar | 2013 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 1 | 6904.3573
|  | Hach - Flodar | 2016 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 1 | 7477.1289
|  | Hach - Module | 2016 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 1 | 841.177
|  | Hach - Ultrasonic | 2017 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 1 | 1067.6822
|  | Hach - Wafer Sensor | 2014 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 3 | 1329.8228
|  | Hach - Wafer Sensor | 2018 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 1 | 500
|  | Isco - 2150 | 2014 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 2 | 7092.3884
|  | Isco - 2151 | 2016 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 1 | 3738.5645
|  | Isco - 2152 | 2019 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 6 | 24312.4209
|  | Isco - 4120 | 2016 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 1 | 3738.5645
|  | Isco - AV Sensor | 2011 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 5 | 5329.5064
|  | Isco - AV Sensor | 2016 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 2 | 2430.0669
|  | Isco - AV Sensor | 2019 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 8 | 10535.3824
|  | Telog - Ru-33 | 2012 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 1 | 2103.3719
|  | Telog - Ru-34 | 2016 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 2 | 4673.2056
|  | Telog - RU-33/4G | 2019 | DELCORA | Meters with no year and older than 2011 are assumed to no longer be in service. Original Cost data was estimated in 2019 numbers and backdated to the respective year. | 118 | 298840.1736
| TOTAL FLOW MEASURING DEVICES |  |  |  |  | 250 | 634716.6516
365.2 | FLOW MEASURING INSTALLATIONS
| 0 | Lower Chichester Metering Pit - Metering pit @ Marcus Hook & Lower Chi border for gravity flow. | 1977 | 0 | Assume vault is 1/2 size of regulator vault and was constructed at the same time as the Sun-Marcus Hook FM to the WRTP. | 0 | 12625
| TOTAL FLOW MEASURING INSTALLATIONS |  |  |  |  | 0 | 12625
371.3 | PUMPING EQUIPMENT
| PS-1 | (PS-1) - 1/2" Bar Screen | 2017 | Weston | 0 | 0 | 740881
| PS-1 | (PS-1) - Bar Screen Repl #1 | 2002 | Weston | 0 | 0 | 260000
| PS-1 | (PS-1) - Bar Screen Repl #2 | 1995 | Weston | 0 | 0 | 239000
| PS-1 | (PS-1) - CFM Valve Repl | 2009 | Weston | 0 | 0 | 1532000
| PS-2 | (PS-2) - Upgraded to twin submersible pumps | 1997 | Weston | 0 | 0 | 76900
| PS-7 | (PS-7) - 1/2" Bar Screen | 2017 | Weston | 0 | 0 | 816146
| PS-7 | (PS-7) - Bar Screen Repl #1 | 1995 | Weston | 0 | 0 | 239000
| PS-7 | (PS-7) - Bar Screen Repl #2 | 1997 | Weston | 0 | 0 | 207900
| PS-7 | (PS-7) - Control System Upgrade | 2013 | Weston | 0 | 0 | 256784
| PS-8 | (PS-8) - 1/2" Bar Screen | 2017 | Weston | 0 | 0 | 675635
| PS-8 | (PS-8) - Bar Screen Repl #1 | 1999 | Weston | 0 | 0 | 157932
| PS-8 | (PS-8) - Bar Screen Repl #2 | 1996 | Weston | 0 | 0 | 149500
| PS-9 | (PS-9) - 1/2" Bar Screen | 2017 | Weston | 0 | 0 | 827058
| PS-9 | (PS-9) - Bar Screen Repl #1 | 1994 | Weston | 0 | 0 | 163400
| PS-9 | (PS-9) - Bar Screen Repl #2 | 1998 | Weston | 0 | 0 | 210480
| PS-9 | (PS-9) - DCPS Upgrade: (Part A) Struct/Mech, (Part B) Elect, (Part C) HVAC | 2006 | Weston | 0 | 0 | 3784877
| PS-11 | (PS-11) - Gen & Elect Imp. | 1977 | Contract Nos 13, 13A, 14 (1977 upgrade) | 0 | 0 | 168026
| PS-16 | (PS-16) - 3rd pump added | 1975 | Contract 25 | 0 | 0 | 17787
| PS-16 | (PS-16) - pump control upgrades | 2017 | Capital Plan | 0 | 0 | 200000
| PS-27 | (PS-27) - Gen & Elect Imp. | 2013 | Weston | 0 | 0 | 318995
| TOTAL PUMPING EQUIPMENT |  |  |  |  | 0 | 11042301
380.3 | TREATMENT AND DISPOSAL EQUIPMENT - PUMP STATIONS
| PS-1 & PS-2 (Primary Sludge) | PS-1 & PS-2 (Primary Sludge) - Original Installation | 1974 | Original plant construction | 0 | 0 | 206632
| PS-1 & PS-2 (Primary Sludge) | PS-1 & PS-2 (Primary Sludge) - PS Improvements | 2018 | TC-1717-C | 0 | 0 | 308780
| PS-3 (Activated Sludge) | PS-3 (Activated Sludge) - Original Installation | 1974 | Original plant construction | 0 | 0 | 2090502
| PS-3 (Activated Sludge) | PS-3 (Activated Sludge) - Process Control System Phase 2 | 2005 | TC-0403-C | 0 | 0 | 5414119
| PS-3 (Activated Sludge) | PS-3 (Activated Sludge) - Process Control System, Phase 1 | 2002 | TC-0211-C | 0 | 0 | 791877
| PS-3 (Activated Sludge) | PS-3 (Activated Sludge) - PS-3 Improvements | 2018 | TC-1717-C | 0 | 0 | 3894326
| PS-3 (Activated Sludge) | PS-3 (Activated Sludge) - RAS Line Replacement | 2003 | TC-0312-C | 0 | 0 | 1102245
| PS-4 (Chlorine Bldg & Utility Water) | PS-4 (Chlorine Bldg & Utility Water) - Modifications To Chlorine Facility | 1998 | TC-9806-C | 0 | 0 | 343000
| PS-4 (Chlorine Bldg & Utility Water) | PS-4 (Chlorine Bldg & Utility Water) - Original Installation | 1974 | Original plant construction | 0 | 0 | 487831
| PS-4 (Chlorine Bldg & Utility Water) | PS-4 (Chlorine Bldg & Utility Water) - PS-4 Improvements | 2018 | TC-1717-C | 0 | 0 | 945740
| PS-5 (Activated Sludge) | PS-5 (Activated Sludge) - Original Installation | 1994 | TC-9309-C | 0 | 0 | 5563800
| PS-6 (Raw Influent) | PS-6 (Raw Influent) - Improvements | 2018 | TC-1717-C | 0 | 0 | 496184
| PS-6 (Raw Influent) | PS-6 (Raw Influent) - Phase 1 | 2017 | Original plant construction | 0 | 0 | 13923660
| PS-6 (Raw Influent) | PS-6 (Raw Influent) - Phase 2 | 2018 | TC-1717-C | 0 | 0 | 1398201
| Corrine Village aka Pocopson Preserve | Corrine Village aka Pocopson Preserve WWTP - INFLUENT PUMP STATION | 2010 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 54643.2392
| Sheeder Tract aka Riverside | Sheeder Tract aka Riverside WWTP - INFLUENT PUMP STATION | 2007 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 49465.1388
| TOTAL TREATMENT AND DISPOSAL EQUIPMENT - PUMP STATIONS |  |  |  |  | 0 | 37071005.378
380.4 | TREATMENT AND DISPOSAL EQUIPMENT
| 0 | 0 - Mixing Manifold Installation | 2006 | TC-0615-C | 0 | 0 | 73690
| B-3 (Incinerator) | B-3 (Incinerator) - Ash Scrubber Line Replacement | 2005 | TC-0406-C | 0 | 0 | 257400
| B-3 (Incinerator) | B-3 (Incinerator) - Ash Scrubber Pumping System Upgrade | 2007 | TC-0616-C | 0 | 0 | 411422
| B-3 (Incinerator) | B-3 (Incinerator) - Ash System Clinker Grinder | 2008 | P2008-09 | 0 | 0 | 27780
| B-3 (Incinerator) | B-3 (Incinerator) - Automation of Solids Handling Equipment | 2007 | TC-0708-C | 0 | 0 | 253109
| B-3 (Incinerator) | B-3 (Incinerator) - Belt Filter Press Controls Optimization | 2010 | TC-1002-C | 0 | 0 | 62750
| B-3 (Incinerator) | B-3 (Incinerator) - Belt Filter Press Reconditioning | 2014 | TC-1401-C | 0 | 0 | 537300
| B-3 (Incinerator) | B-3 (Incinerator) - BFP Odor Control in B-3 | 2003 | TC-0310-C | 0 | 0 | 474845
| B-3 (Incinerator) | B-3 (Incinerator) - Building Improvements | 2018 | TC-1717-C | 0 | 0 | 129832
| B-3 (Incinerator) | B-3 (Incinerator) - CEMS Installation | 1999 | TC-9906-C | 0 | 0 | 248950
| B-3 (Incinerator) | B-3 (Incinerator) - Chlorine Scrubbing System Modifications | 2008 | TC-0805-C | 0 | 0 | 67200
| B-3 (Incinerator) | B-3 (Incinerator) - Dry Ash Handling System (Psc) | 1991 | TC-9105-C | 0 | 0 | 1150730
| B-3 (Incinerator) | B-3 (Incinerator) - Fabrication - 42" Stack/Breaching ID Fan | 1988 | TC-8810-C | Contract changed from PW to Purchasing - #P88-14 | 0 | 16390
| B-3 (Incinerator) | B-3 (Incinerator) - Fourth Belt Filter Press | 2014 | TC-1402-C | 0 | 0 | 548000
| B-3 (Incinerator) | B-3 (Incinerator) - Furnish & Install Additional Burners For Incinerator #1 | 1996 | TC-9602-C | 0 | 0 | 123865
| B-3 (Incinerator) | B-3 (Incinerator) - HVAC For The Belt Filter Press Room | 2007 | TC-0710-C | 0 | 0 | 19817
| B-3 (Incinerator) | B-3 (Incinerator) - ID Fan & Stack Installation | 1982 | TC-8203-P | 0 | 0 | 19790
| B-3 (Incinerator) | B-3 (Incinerator) - Inc. #2 Burner Upgraded & Repair | 2006 | TC-0603-C | 0 | 0 | 249127
| B-3 (Incinerator) | B-3 (Incinerator) - Incinerator Ash System and Center Drive Repair | 2014 | TC-1313-C | 0 | 0 | 902770
| B-3 (Incinerator) | B-3 (Incinerator) - Incinerator Natural Gas Conversion & PLC Instrumentation Conversion | 2011 | TC-1105-C | 0 | 0 | 2315000
| B-3 (Incinerator) | B-3 (Incinerator) - Incinerator Oxygen Monitor | 1991 | TC-9107-C | 0 | 0 | 27970
| B-3 (Incinerator) | B-3 (Incinerator) - Incinerator Platform Improvement | 2005 | TC-0507-C | 0 | 0 | 94000
| B-3 (Incinerator) | B-3 (Incinerator) - Incinerator Secondary Combustion Chamber & Wet Scrubber | 2015 | TC-1314-C | 0 | 0 | 10745000
| B-3 (Incinerator) | B-3 (Incinerator) - Install ID Fan & Breaching | 1988 | TC-8809-C | 0 | 0 | 56375
| B-3 (Incinerator) | B-3 (Incinerator) - Install Sludge/BFP Dewatering Syst. | 1991 | TC-9103-C | 0 | 0 | 1118000
| B-3 (Incinerator) | B-3 (Incinerator) - Installation of ID Fan #2 and Scrubber #2 | 2005 | TC-0509-C | 0 | 0 | 155500
| B-3 (Incinerator) | B-3 (Incinerator) - Modifications To Building B-3 | 1985 | TC-8504-C | 0 | 0 | 78800
| B-3 (Incinerator) | B-3 (Incinerator) - Odor Control System Installation | 1982 | TC-8205-C | 0 | 0 | 59975
| B-3 (Incinerator) | B-3 (Incinerator) - Original Installation | 1974 | Original plant construction | 0 | 0 | 7022148
| B-3 (Incinerator) | B-3 (Incinerator) - Overhaul #2 Incin/Install Add'L Burners | 1997 | TC-9705-C | 0 | 0 | 273885
| B-3 (Incinerator) | B-3 (Incinerator) - Procurement & Installation of Odor Control Equipment | 1992 | TC-9114-C | 0 | 0 | 85800
| B-3 (Incinerator) | B-3 (Incinerator) - Redundant Continuous Emissions Monitor and Data Acquisition System | 2005 | TC-0512-C | 0 | 0 | 389800
| B-3 (Incinerator) | B-3 (Incinerator) - Scrubber Drain Piping Revisions-Incin. #2 | 1990 | TC-9004-C | 0 | 0 | 9987
| B-3 (Incinerator) | B-3 (Incinerator) - Sludge Conveyor System Modifications | 2014 | TC-1315-C | 0 | 0 | 309900
| B-4 (Thickening) | B-4 (Thickening) - B-4 HVAC | 1988 | TC-8811-C | 0 | 0 | 114800
| B-4 (Thickening) | B-4 (Thickening) - Building B-4 Structural Rehabilitation | 2011 | TC-1104-C | 0 | 0 | 1242745
| B-4 (Thickening) | B-4 (Thickening) - GBT Elec/Instr/Controls | 2012 | TC-1109-C | 0 | 0 | 1879083.45
| B-4 (Thickening) | B-4 (Thickening) - Grease & Odor Control System | 2013 | TC-1306-C | 0 | 0 | 3390558.8
| B-4 (Thickening) | B-4 (Thickening) - Installation of a Shaftless Screw Conveyor and Screen for Grease Offloading | 2008 | TC-0807-C | 0 | 0 | 157200
| B-4 (Thickening) | B-4 (Thickening) - Original Installation | 1974 | Original plant construction | 0 | 0 | 1048450
| B-4 (Thickening) | B-4 (Thickening) - Primary Scum & Grease Transfer Piping | 2009 | TC-0908-C | 0 | 0 | 126700
| B-4 (Thickening) | B-4 (Thickening) - Sludge and Grease Handling Systems Piping Modifications | 2008 | TC-0808-C | 0 | 0 | 257820
| B-4 (Thickening) | B-4 (Thickening) - Sludge Screening Unit | 2008 | P2008-10 | 0 | 0 | 154300
| B-4 (Thickening) | B-4 (Thickening) - Solids Handling Upgrade FOG Building | 2017 | TC-1608-C | 0 | 0 | 5062323
| B-6 (Blower) | B-6 (Blower) - 4Th Blower Addition | 2015 | TC-1503-C | 0 | 0 | 1191400
| B-6 (Blower) | B-6 (Blower) - Building Improvements | 2018 | TC-1717-C | 0 | 0 | 124730
| B-6 (Blower) | B-6 (Blower) - Induction Motor For Aeration Blower | 2009 | P2009-04 | 0 | 0 | 51740
| B-6 (Blower) | B-6 (Blower) - Original Installation | 2003 | TC-0307-C | 0 | 0 | 984590
| Bulkhead | Bulkhead - Original Installation | 1974 | Original plant construction | 0 | 0 | 938263
| Construction of an Alternate Road for WRTP | Construction of an Alternate Road for WRTP - Original Installation | 2000 | TC-9908-C | 0 | 0 | 206636.25
| EB-2 & ET-1 to ET-4 (Sludge Storage) | EB-2 & ET-1 to ET-4 (Sludge Storage) - Blowers For Sludge Holding Tank | 2007 | P2006-23 | 0 | 0 | 38714
| EB-2 & ET-1 to ET-4 (Sludge Storage) | EB-2 & ET-1 to ET-4 (Sludge Storage) - Hauled Sludge Screening Unit | 2008 | P2008-10 | 0 | 0 | 154300
| EB-2 & ET-1 to ET-4 (Sludge Storage) | EB-2 & ET-1 to ET-4 (Sludge Storage) - Installation of Primary Sludge Monitoring Level Detectors | 2008 | TC-0804-C | 0 | 0 | 102063
| EB-2 & ET-1 to ET-4 (Sludge Storage) | EB-2 & ET-1 to ET-4 (Sludge Storage) - MCC For Sludge Blowers | 2007 | P2007-03 | 0 | 0 | 14200
| EB-2 & ET-1 to ET-4 (Sludge Storage) | EB-2 & ET-1 to ET-4 (Sludge Storage) - Original Installation acquired from City of Chester | 1939 | 0 | Converted to sludge storage as part of WRTP construction. Conversion included above. Oct 2006 cost opinion = $2,211,275 | 0 | 66200.7992
| EB-2 & ET-1 to ET-4 (Sludge Storage) | EB-2 & ET-1 to ET-4 (Sludge Storage) - Sludge Mixing And Pumping | 2008 | DELCORA | 0 | 0 | 369853
| Emergency Paging System | Emergency Paging System - Original Installation | 2003 | DELCORA | 0 | 0 | 143700
| Energy Conservation | Energy Conservation - Lighting Improvements | 2010 | TP-1003-C | 0 | 0 | 235000
| Generator | Generator - Original Installation | 2015 | DELCORA | 0 | 0 | 265000
| Hauled Waste Acceptance Facility | Hauled Waste Acceptance Facility - Original Installation | 2013 | TC-1311-C | 0 | 0 | 1083800
| Key Card System at WRTP | Key Card System at WRTP - Original Installation | 2000 | DELCORA | 0 | 0 | 18785
| Pit 1 (Valve) | Pit 1 (Valve) - Original Installation | 1974 | Original plant construction | 0 | 0 | 76840
| Pit 2 (Mag Meter) | Pit 2 (Mag Meter) - Original Installation | 1974 | Original plant construction | 0 | 0 | 77049
| Pit 3 (Mag Meter) | Pit 3 (Mag Meter) - Original Installation | 1974 | Original plant construction | 0 | 0 | 38214
| Pit 4 (Sludge Receiving Station) | Pit 4 (Sludge Receiving Station) - Original Installation | 1974 | Original plant construction | 0 | 0 | 33586
| Pit 5 (Potable Water) | Pit 5 (Potable Water) - Original Installation | 1974 | Original plant construction | 0 | 0 | 22283
| Plant Electrical Distribution | Plant Electrical Distribution - Improvements | 2018 | TC-1717-C | Includes poles & 15kV duct bank | 0 | 856766
| Plant Electrical Distribution | Plant Electrical Distribution - Original Installation | 1974 | Original plant construction | 0 | 0 | 573678
| Primary Switchgear | Primary Switchgear - Electrical Improvements | 2005 | DELCORA | 0 | 0 | 62849
| Primary Switchgear | Primary Switchgear - Original Installation | 1974 | Original plant construction | 0 | 0 | 131535
| RAS Line | RAS Line - RAS Line Replacement | 2003 | TC-0312-C | 0 | 0 | 1102245
| Replace Fencing at WRTP | Replace Fencing at WRTP - N/A | 2001 | TC&CD-0102-C | 0 | 0 | 163319
| S-2 (Plant Outfall) | S-2 (Plant Outfall) - Installation of Effluent Flow Totalizers | 2009 | PEW-0909-C | 0 | 0 | 20597
| S-2 (Plant Outfall) | S-2 (Plant Outfall) - Original Installation | 1974 | 0 | Included in Bulkhead above | 0 | 0
| Substation #1 | Substation #1 - 480V Distribution/Improvements | 2018 | TC-1717-C | 0 | 0 | 1369482
| Substation #2 | Substation #1 - Original Installation | 1974 | Original plant construction | 0 | 0 | 409494
| Substation #3 | Substation #1 - Replacement of 480V Underground Cable from Substation #1 to EPS-1 | 2011 | TC-1108-C | 0 | 0 | 126890
| Substation #2 (old sub-2 & sub 3) | Substation #2 (old sub-2 & sub 3) - Improvements | 2019 | TC-1717-C | 0 | 0 | 130764
| Substation #2 (old sub-2 & sub 3) | Substation #2 (old sub-2 & sub 3) - Original Installation | 1974 | Original plant construction | 0 | 0 | 331747
| Substation #2 (old sub-2 & sub 3) | Substation #2 (old sub-2 & sub 3) - WRTP Substation No. 2 Replacement | 2019 | TC-1904-C | 0 | 0 | 1442777
| Substation #3 (old sub-4) | Substation #3 (old sub-4) - 480V Distribution/Improvements | 2018 | TC-1717-C | 0 | 0 | 1039262
| Substation #3 (old sub-4) | Substation #3 (old sub-4) - Original Installation | 1974 | Original plant construction | 0 | 0 | 316329
| T-1 & T-2 (Grit) | T-1 & T-2 (Grit) - Gate/Valve Improvements | 2018 | TC-1717-C | 0 | 0 | 299664
| T-1 & T-2 (Grit) | T-1 & T-2 (Grit) - Grit Tank Screens | 2017 | TC-1608-C | 0 | 0 | 3266432
| T-1 & T-2 (Grit) | T-1 & T-2 (Grit) - Original Installation | 1974 | Original plant construction | 0 | 0 | 1350598
| T-11 to T-14 (Aeration) | T-11 to T-14 (Aeration) - Aeration Panel Replacement | 2012 | TC-1204-C | 0 | 0 | 1143000
| T-11 to T-14 (Aeration) | T-11 to T-14 (Aeration) - Aeration Panels | 2016 | TC-1601-C | 0 | 0 | 3980000
| T-11 to T-14 (Aeration) | T-11 to T-14 (Aeration) - Aeration System Upgrades | 2004 | TC-0307-C | 0 | 0 | 4285650
| T-11 to T-14 (Aeration) | T-11 to T-14 (Aeration) - Install Submersible Aerators | 1991 | TC-9104-C | 0 | 0 | 92861
| T-11 to T-14 (Aeration) | T-11 to T-14 (Aeration) - Original Installation | 1974 | Original plant construction | 0 | 0 | 6247180
| T-11 to T-14 (Aeration) | T-11 to T-14 (Aeration) - Tank Improvements | 2018 | TC-1717-C | 0 | 0 | 3047789
| T-15 to T-18 (Secondary Clarifiers) | T-15 to T-18 (Secondary Clarifiers) - Clarifier Pipe Lining | 2011 | TC-1107-C | 0 | 0 | 986000
| T-15 to T-18 (Secondary Clarifiers) | T-15 to T-18 (Secondary Clarifiers) - Clarifier T-18 Equipment Replacement | 2016 | TC-1704-C | 0 | 0 | 1024500
| T-15 to T-18 (Secondary Clarifiers) | T-15 to T-18 (Secondary Clarifiers) - Original Installation | 1974 | Original plant construction | 0 | 0 | 3420075
| T-15 to T-18 (Secondary Clarifiers) | T-15 to T-18 (Secondary Clarifiers) - Overhaul Clarifier Tank T-17 | 1999 | TC-9902-C | 0 | 0 | 172805
| T-15 to T-18 (Secondary Clarifiers) | T-15 to T-18 (Secondary Clarifiers) - Overhaul Clarifier Tank T-18 | 1997 | TC-9703-C | 0 | 0 | 173000
| T-15 to T-18 (Secondary Clarifiers) | T-15 to T-18 (Secondary Clarifiers) - Repairs To Clarifier T-15 | 2000 | TC-9910-C | 0 | 0 | 179071
| T-15 to T-18 (Secondary Clarifiers) | T-15 to T-18 (Secondary Clarifiers) - Repairs To Clarifier T-16 | 2002 | TC-0105-C | 0 | 0 | 210439
| T-15 to T-18 (Secondary Clarifiers) | T-15 to T-18 (Secondary Clarifiers) - T-15 Thru T-17 Equipment | 2018 | TC-1717-C | 0 | 0 | 2453732
| T-19 to T-20 (Post Aeration) | T-19 to T-20 (Post Aeration) - FRP Baffle Walls | 2018 | TC-1717-C | 0 | 0 | 60000
| T-19 to T-20 (Post Aeration) | T-19 to T-20 (Post Aeration) - Original Installation | 1974 | Original plant construction | 0 | 0 | 260705
| T-21 to T-22 (Chlorine Contact) | T-21 to T-22 (Chlorine Contact) - Chlorine Equipment: Procure & Install | 1992 | TC-9204-C | 0 | 0 | 89980
| T-21 to T-22 (Chlorine Contact) | T-21 to T-22 (Chlorine Contact) - Furnish/Install Chlorination Equip. | 1991 | TC-9112-C | 0 | 0 | 83940
| T-21 to T-22 (Chlorine Contact) | T-21 to T-22 (Chlorine Contact) - Original Installation | 1974 | Original plant construction | 0 | 0 | 733940
| T-21 to T-22 (Chlorine Contact) | T-21 to T-22 (Chlorine Contact) - Tank Improvements | 2018 | TC-1717-C | 0 | 0 | 599197
| T-23 to T-26 (Inside B-4) | T-23 to T-26 (Inside B-4) - Original Installation | 1974 | Original plant construction | 0 | 0 | 2616573
| T-27 (Secondary Clarifier) | T-27 (Secondary Clarifier) - Original Installation | 1994 | TC-9309-C | Included in PS-5 above | 0 | 0
| T-27 (Secondary Clarifier) | T-27 (Secondary Clarifier) - T-27 Weir Adjustment | 2007 | TC-0711-C | 0 | 0 | 19950
| T-3 to T-10 (Primary Clarifiers) | T-3 to T-10 (Primary Clarifiers) - Installation of Primary Sludge Monitoring Level Detectors | 2008 | TC-0804-C | 0 | 0 | 102063
| T-3 to T-10 (Primary Clarifiers) | T-3 to T-10 (Primary Clarifiers) - Original Installation | 1974 | Original plant construction | 0 | 0 | 3445796
| T-3 to T-10 (Primary Clarifiers) | T-3 to T-10 (Primary Clarifiers) - Primary Influent Aeration Channel Upgrade | 2014 | TC-1404-C | 0 | 0 | 144500
| T-3 to T-10 (Primary Clarifiers) | T-3 to T-10 (Primary Clarifiers) - Tank Improvements | 2018 | TC-1717-C | 0 | 0 | 2043938
| Trench Duct Installation | Trench Duct Installation - Trench Duct Installation (Communication Raceway) | 2002 | TC-0110-C | 0 | 0 | 540000
| Utility Water Distribution System | Utility Water Distribution System - Plant Utility Water System Upgrade | 2016 | TC-1506-C | 0 | 0 | 5055023
| Utility Water Distribution System | Utility Water Distribution System - Utility Water Line Replacement | 1988 | TC-8804-C | 0 | 0 | 129550
| Valve Pit | Valve Pit - Construction Of Concrete Valve Pit & Valve Installation | 1984 | TC-8403-C | 0 | 0 | 55834
| Yard Piping | Yard Piping - Original Installation | 1974 | Original plant construction | 0 | 0 | 75982
| SPRINGHILL FARMS WWTP | SPRINGHILL FARMS WWTP WWTP - Initial facility cost including pump station, building, generator, fencing, paving, etc. | 1988 | Estimate | 0 | 0 | 725000
| Corrine Village aka Pocopson Preserve | Corrine Village aka Pocopson Preserve WWTP - GENERATOR W/ FUEL TANK | 2010 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 34546.909
| Corrine Village aka Pocopson Preserve | Corrine Village aka Pocopson Preserve WWTP - MISC ELECTRICAL AND INSTRUMENTATION EQUIPMENT | 2010 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 30360.0364
| Corrine Village aka Pocopson Preserve | Corrine Village aka Pocopson Preserve WWTP - SPRAY SYSTEM | 2010 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 7129.859
| Sheeder Tract aka Riverside | Sheeder Tract aka Riverside WWTP - GENERATOR W/ FUEL TANK | 2007 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 31273.1762
| Sheeder Tract aka Riverside | Sheeder Tract aka Riverside WWTP - MISC ELECTRICAL AND INSTRUMENTATION EQUIPMENT | 2007 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 27483.0599
| Sheeder Tract aka Riverside | Sheeder Tract aka Riverside WWTP - SPRAY SYSTEM | 2007 | 2018 appraisel number, backdated to the correct year. | 0 | 0 | 6454.2196
| TOTAL TREATMENT AND DISPOSAL EQUIPMENT |  |  |  |  | 0 | 105317582.5593
390.7 | COMPUTER AND SOFTWARE
| 0 | Backup - Barracuda_Admin | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 8000
|  | Backup - Barracuda_Plant | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 8000
|  | CISCO Switch - ASA5516X | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 2350
|  | CISCO Switch - ASA 5516x | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 2350
|  | Email Archiver - Jatheon | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 6000
|  | Firewall - AdminASA5512 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 4800
|  | Firewall - PlantASA5512 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 11000
|  | Meraki Switch - Incin Switch | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1500
|  | Proliant DL 360G7 - Plant_ESX2 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 4000
|  | Proliant DL380-G7 - Plant_ESX1 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 4000
|  | Router - Plant_Router | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1820
|  | Router Cisco - Admin2610XM.delcora.org | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1820
|  | Router Cisco - Plant1760 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1000
|  | SAN - Admin-emc | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 8000
|  | SAN - Plant SAN | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 16000
|  | SAN - Plant_San | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 15000
|  | SAN - Drobo | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 10000
|  | SAN - B2 SAN | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 20000
|  | Server - VISION | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 6000
|  | Server - LTCP-SERVER | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 3000
|  | Server - VIBRATIONSRV-02 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 2500
|  | Server - MONITOR | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 2500
|  | Server - ESXi-01-1 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 5000
|  | Server - ESXi-02-2 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 5000
|  | Server - ESXi-03-3 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 5000
|  | Server - ESX2-Plant | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 5000
|  | Server - ESX-Plant | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 5000
|  | Server + VMware - TRITONMNGR | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - ADMINPRINTSRV | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - WEBSENSEDB | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - ADMINSRV | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - APPSERVER2 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - APPSERVER3 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - FILESERVER | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - GISAPP | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 2200
|  | Server + VMware - INFORAPP | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - INFORREPORT | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - GISDATA | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - INFORDATA | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 2200
|  | Server + VMware - MAILSRV | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - PLANTSRV | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - ADMINPRINT2 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - INFORTEST | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 2200
|  | Server + VMware - PLANTR2SRV | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - VCENTER2 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - IMAGEAPP | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - IMAGEDATA | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - CEMS01P20110758 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - CEMS02P20110758 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - Eopsdata18_VM | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - Eopsweb18_VM | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - Historian_VM | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - NewPC1_VM | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server + VMware - VEEAM Server | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Server - NewPCS2 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1000
|  | ESX Server - HPE PROLIANT SERVER | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 39519.68
|  | STORAGE - HP SAN | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 46138
|  | Switch - Admin_MDF_SW2 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 2300
|  | Switch - VMware_Switch.delcora2000.org | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1100
|  | Switch - SAN_SWITCH | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 2300
|  | Switch - Plant_B2 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 3000
|  | Switch - Plant B2 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 3000
|  | Switch - Blower Build | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1500
|  | Switch - Plant_B5 | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 3000
|  | Switch - PlantTrailer | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 1500
|  | UCSC-C220-M3SBE - UCS_Server | 2016 | DELCORA | All servers assumed to be 3 years old. | 0 | 10000
| TOTAL COMPUTER AND SOFTWARE |  |  |  |  | 0 | 311997.68
391.7 | TRANSPORTATION EQUIPMENT
| 0 | 2004 FORD F550 TEREX TELELECT TL36P (#4001) | 2004 | DELCORA | 0 | 1 | 83805
|  | 2006 FORD TRUCK F-350 (#0502) | 2005 | DELCORA | 0 | 1 | 23242
|  | 2006 FORD TRUCK F-150 (#0601) | 2006 | DELCORA | 0 | 1 | 18250
|  | 2007 FORD TRUCK (#0604) | 2006 | DELCORA | 0 | 1 | 19300
|  | 2008 ESCAPE 4WD (#0702) | 2007 | DELCORA | 0 | 1 | 15337
|  | 2008 ESCAPE 4WD (#0703) | 2007 | DELCORA | 0 | 1 | 15337
|  | 2008 ESCAPE 4WD (#0704) | 2007 | DELCORA | 0 | 1 | 15337
|  | 2008 FORD TRUCK S-DTY F-350 (#0706) | 2007 | DELCORA | 0 | 1 | 15127
|  | 2008 FORD TRUCK S-DTY F-250 (#0707) | 2007 | DELCORA | 0 | 1 | 28298
|  | 2008 FORD TRUCK - F-250 (#0709) | 2007 | DELCORA | 0 | 1 | 18470
|  | 2008 FORD ESCAPE (#0801) | 2008 | DELCORA | 0 | 1 | 24615
|  | 2008 FORD ESCAPE (#0802) | 2008 | DELCORA | 0 | 1 | 16144
|  | 2008 FORD ESCAPE (#0803) | 2008 | DELCORA | 0 | 1 | 16144
|  | 2008 FORD TRUCK - F250 (#0804) | 2008 | DELCORA | 0 | 1 | 18595
|  | 2008 FORD TRUCK - F250 (#0805) | 2008 | DELCORA | 0 | 1 | 18595
|  | 2009 FORD TRUCK (#0902) | 2009 | DELCORA | 0 | 1 | 43699
|  | 2010 INTERNATIONAL TRUCK (#0903) | 2009 | DELCORA | 0 | 1 | 180492.8
|  | 2008 FREIGHTLINER (#0904) | 2008 | DELCORA | 0 | 1 | 149689
|  | 2010 FORD TRUCK RANGER (#0905) | 2009 | DELCORA | 0 | 1 | 17511.87
|  | 2010 FORD TRUCK RANGER (#0906) | 2009 | DELCORA | 0 | 1 | 17511.87
|  | 2010 FORD TRUCK RANGER (#0908) | 2009 | DELCORA | 0 | 1 | 17511.87
|  | 2010 FORD TRUCK RANGER (#0909) | 2009 | DELCORA | 0 | 1 | 25182.84
|  | 2011 FORD F350 TRUCK (#1101) | 2011 | DELCORA | 0 | 1 | 21532.34
|  | 2011 FORD F350 TRUCK (#1102) | 2011 | DELCORA | 0 | 1 | 21532.34
|  | 2011 FORD F350 TRUCK (#1103) | 2011 | DELCORA | 0 | 1 | 21532.34
|  | 2011 FORD F350 TRUCK (#1104) | 2011 | DELCORA | 0 | 1 | 25117.7
|  | 2012 FORD F-250 PICKUP TRUCK (#1201) | 2012 | DELCORA | 0 | 1 | 23663
|  | 2012 FORD F-250 PICKUP TRUCK (#1202) | 2012 | DELCORA | 0 | 1 | 23663
|  | 2012 FORD F-250 PICKUP TRUCK (#1203) | 2012 | DELCORA | 0 | 1 | 23663
|  | 2012 FORD VAN (#1204) | 2012 | DELCORA | 0 | 1 | 21542.95
|  | 2012 FORD F-450 TRUCK (#1205) | 2012 | DELCORA | 0 | 1 | 53393.01
|  | 2013 FORD ESCAPE (#1301) | 2012 | DELCORA | 0 | 1 | 23220
|  | 2014 FORD F-250 TRUCK (#1302) | 2013 | DELCORA | 0 | 1 | 24760.22
|  | 2014 FORD F-350 TRUCK (#1303) | 2013 | DELCORA | 0 | 1 | 28115
|  | 2014 FORD F450 TRUCK (DUMP) (#1401) | 2014 | DELCORA | 0 | 1 | 45982
|  | 2014 FORD ESCAPE (#1402) | 2014 | DELCORA | 0 | 1 | 24732
|  | 2008 CASE BACKHOE (#BH) | 2008 | DELCORA | 0 | 1 | 108053
|  | 2016 INTERNATIONAL (VAC) (#1601) | 2016 | DELCORA | 0 | 1 | 93050.59
|  | 2016 FORD TRANSIT VAN (#1602) | 2016 | DELCORA | 0 | 1 | 22271
|  | 2016 FORD F-150 CREW CAB (#1603) | 2016 | DELCORA | 0 | 1 | 29199
|  | 2017 FORD ESCAPE (#1604) | 2016 | DELCORA | 0 | 1 | 22754
|  | 2017 FORD ESCAPE (#1605) | 2016 | DELCORA | 0 | 1 | 22754
|  | 2017 FORD ESCAPE (#1606) | 2016 | DELCORA | 0 | 1 | 22754
|  | 2017 FORD ESCAPE (#1607) | 2016 | DELCORA | 0 | 1 | 22954
|  | 2017 FORD ESCAPE (#1608) | 2016 | DELCORA | 0 | 1 | 22754
|  | 2017 FORD ESCAPE (#1609) | 2016 | DELCORA | 0 | 1 | 22754
|  | 2017 FORD EXPLORER (#1610) | 2016 | DELCORA | 0 | 1 | 34845
|  | 2017 FORD F-350 (#1611) | 2016 | DELCORA | 0 | 1 | 25571
|  | 2000 STERLING VAC TRUCK (#9905) | 1999 | DELCORA | 0 | 1 | 263103
|  | TT MOUNTED GENERATOR (#MOBILGEN2) | 2015 | DELCORA | 0 | 1 | 107500
|  | 2018 FORD F-250 (#1801) | 2018 | DELCORA | 0 | 1 | 26899.55
|  | FORD F-350 CREW CAB (#1802) | 2018 | DELCORA | 0 | 1 | 32236.55
|  | 2018 FORD F-250 (#1803) | 2018 | DELCORA | 0 | 1 | 26899.55
|  | 2018 FORD F-250 (#1804) | 2018 | DELCORA | 0 | 1 | 26899.55
|  | 2017 FORD ESCAPE (#1701) | 2017 | DELCORA | 0 | 1 | 23786
|  | 2017 peterbilt PB348 (#1702) | 2017 | DELCORA | 0 | 1 | 245651
|  | 2018 FORD TRANSIT (#1805) | 2018 | DELCORA | 0 | 1 | 214100
|  | 2019 FORD F-250 (#1901) | 2019 | DELCORA | 0 | 1 | 27179
|  | 2019 FORD F-250 (#1902) | 2019 | DELCORA | 0 | 1 | 27179
|  | 2019 FORD F-250 (#1903) | 2019 | DELCORA | 0 | 1 | 27179
|  | 2019 FORD TRANSIT VAN (#1904) | 2019 | DELCORA | 0 | 1 | 28170
|  | 2019 FORD F-550 UTILITY (#1905) | 2019 | DELCORA | 0 | 1 | 48467
|  | 2019 FORD F-150 4x4 SUPERCREW (#1906) | 2019 | DELCORA | 0 | 1 | 42530
|  | VACTOR (#9905) | 0 | DELCORA | 0 | 1 | 21532.34
|  | Crane/Boom Truck (#2001) | 0 | DELCORA | 0 | 1 | 92500
|  | 1998 BACKHOE (#0076) | 1998 | DELCORA | 0 | 1 | 54322
|  | 2006 TRUCK (#0605) | 2006 | DELCORA | 0 | 1 | 297207
|  | CARAVAN (#0701) | 2007 | DELCORA | 0 | 1 | 14905
|  | 2006 TRAILER (#NONE ISSUED) | 2009 | DELCORA | 0 | 1 | 3985
|  | 2012 DUMP TRUCK (#1105) | 2011 | DELCORA | 0 | 1 | 35146
|  | 2012 VACTOR & CHASSIS TRUCK (#1106) | 2011 | DELCORA | 0 | 1 | 85144.11
|  | 2011 GENERATOR TRAILER (#NONE ISSUED) | 2011 | DELCORA | 0 | 1 | 11098
|  | 2012 TOWMASTER TRAILER (#NONE ISSUED) | 2011 | DELCORA | 0 | 1 | 14439
|  | 2015 F350 4X4 CREW CAB (#1403) | 2014 | DELCORA | 0 | 1 | 32527
|  | 2015 F250 4X4 STD CAB (#1404) | 2014 | DELCORA | 0 | 1 | 25925
|  | 2014 F150 4X4 STD CAB (#1405) | 2014 | DELCORA | 0 | 1 | 23163
|  | 2015 F250 4X4 STD CAB (#1406) | 2014 | DELCORA | 0 | 1 | 33525
|  | 2014 F150 4X4 STD CAB (#1407) | 2014 | DELCORA | 0 | 1 | 29888
|  | 2014 5D CUES DIESEL SPRINTER VAN (#1408) | 2014 | DELCORA | 0 | 1 | 214905
| TOTAL TRANSPORTATION EQUIPMENT |  |  |  |  | 79 | 3788348.39
396.7 | COMMUNICATION EQUIPMENT
| 0 | Antenna's | 2016 | DELCORA | 0 | 53 | 8350
|  | Cellular RADIO | 2016 | DELCORA | 0 | 10 | 10000
|  | Ethernet Radio | 2016 | DELCORA | 0 | 32 | 44655
|  | Licensed Radio's | 2016 | DELCORA | 0 | 21 | 104050
|  | Spread Spectrum Radio's | 2016 | DELCORA | 0 | 9 | 29800
| TOTAL COMMUNICATION EQUIPMENT |  |  |  |  | 125 | 196855
| SYSTEM TOTAL | [5 empty] | 263682616.2699