|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

January 14, 2021

Docket Nos. A-2020-3021939

& A-2020-3018087

Utility Codes 230073

& 230069

SUSAN SIMMS MARSH ESQUIRE

DEPUTY GENERAL COUNSEL

PENNSYLVANIA AMERICAN WATER COMPANY

852 WESLEY DRIVE

MECHANICSBURG PA 17055
SUSAN.MARSH@AMWATER.COM

STACEY K MCNEAL ESQUIRE
KATHERMAN AND PERRY
345 EAST MARKET STREET
YORK PA 17402
STACEY@KHLAW.US

RE:	Joint Application of Pennsylvania-American Water Company-Wastewater Division (PAWC-WD) and Regent Sewer Company (Regent Sewer) for approval of 1) the right of  PAWC-WD to offer, render, furnish, and supply wastewater treatment service to the public in a portion of Newberry Township, York County, Pennsylvania, nunc pro tunc, and 2) the right of Regent Sewer to abandon wastewater service to the public in Fairview and Newberry Townships, York County, Pennsylvania, nunc pro tunc, at Docket Nos. 
A-2020-3021939 and A-2020-3018087

Dear Attorneys Marsh and McNeal:

On September 10, 2020, Pennsylvania-American Water Company-Wastewater Division and Regent Sewer Company filed the above-captioned document with the Public Utility Commission.  For the Commission to complete its analysis of the filing, responses are required for the attached data requests.  Please forward the requested information to the Commission within 10 business days of the date of this letter.

During the pendency of the current Proclamation of Disaster Emergency, the Commission shall only accept e-filings in lieu of paper filings for all documents.  Please e-file your responses at http://www.puc.pa.gov/efiling/default.aspx.  A list of allowable e-filing document types is available at http://www.puc.pa.gov/efiling/DocTypes.aspx.  All filings containing confidential or proprietary information shall be filed with the Commission by e-mailing the Secretary at rchiavetta@pa.gov.  Use of encryption with the prior consent of the Secretary is permitted.  All documents requiring notary stamps must have original signatures.

Please note that your answers must be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, [print name of appropriate company representative], hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa. C.S. § 4904 (relating to unsworn falsification to authorities).

Signature ________

Title ____________

Date ____________

Please contact the below staff person if any problems should arise that prevent a full response within ten business days or if any clarification of these data requests is needed.  Please mark the materials “CONFIDENTIAL” in bold or highlighted manner if any of the requested information is deemed to be of a confidential nature.

In addition, to expedite completion of the filing, please send a copy of the information to Janelle Eckman via e-mail at jaeckman@pa.gov.  Questions may be directed to Janelle Eckman in the Bureau of Technical Utility Services, Water/Wastewater Division at telephone number (717) 772-0613.  Thank you in advance for your cooperation.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure – Data Request Set 1

cc: 	Tanya McCloskey, Office of Consumer Advocate (w/enclosure), tmccloskey@paoca.org

John Evans, Office of Small Business Advocate (w/enclosure), jorevan@pa.gov

Richard Kanaskie, PUC Bureau of Investigation and Enforcement (w/enclosure), rkanaskie@pa.gov

Note:  Please restate the data request prior to providing a response.  In addition, provide the name and title of the person(s) providing the response and/or information for each data request.

- The Application’s Paragraph 1 indicates PAWC-WD is requesting to provide wastewater treatment service in a portion of Newberry Township.  However, Exhibit D-1 also includes a portion of Fairview Township in PAWC-WD’s requested territory.  Please confirm that PAWC-WD is requesting approval of the right of PAWC-WD to offer, render, furnish and supply wastewater treatment service to the public in an additional portion of Fairview Township, York County.

- The Application’s Paragraph 1 indicates PAWC-WD is requesting to provide wastewater treatment service in a portion of Newberry Township.  Please explain why PAWC-WD is not requesting approval to offer, render, furnish or supply wastewater collection or conveyance services in both Newberry Township and in an additional portion of Fairview Township.

- The Application’s Paragraph 1 indicates Regent Sewer is requesting to “abandon all wastewater treatment service to the public in Fairview Township and Newberry Township”.  However, Regent Sewer’s Certificate of Public Convenience at Docket No. A-00105935 indicates Regent Sewer is certificated to collect and dispose of sanitary sewage in Fairview Township and Newberry Township.  Please clarify whether Regent Sewer is also requesting to abandon the collection and conveyance of sanitary sewage in PAWC-WD’s requested territory.

- The Application’s Paragraph 5 indicates Regent Sewer’s certificated territory is 42.8 acres.  However, the Application’s Exhibit D-1 indicates PAWC-WD’s proposed territory is 32.6 acres.  Please confirm whether the remaining 10.2 acres of Regent’s certificated territory is already in PAWC-WD’s certificated territory and if not, explain why PAWC-WD is requesting a smaller area than what Regent Sewer is certificated to serve.

- The Application’s Paragraph 18 indicates Regent Sewer built a pump station at the old wastewater plant location.  Please provide a breakdown of the facilities placed into service to connect Regent Sewer to PAWC-WD with the associated construction costs and indicate the entity financially responsible for each facility placed into service.

- The Application’s Paragraph 18 indicates wastewater is conveyed from a pump station with a master meter through a force main to PAWC-WD’s manhole.  Please indicate the entity responsible for maintaining each of the following assets: (1) the pump station and any associated generators; (2) the meter at the pump station; and (3) the force main between the pump station and PAWC-WD’s manhole.

- The Application’s Paragraph 21 indicates the requested territory will be operated and managed in conjunction with PAWC-WD’s Fairview South Wastewater Treatment Plant (Fairview South WWTP).  Please provide the actual, permitted, and design treatment flow capacities of the Fairview South WWTP, including each of the following values: (1) actual average monthly flow for a recent calendar year; (2) actual maximum daily flow for a recent calendar year; (3) permitted average monthly flow; (4) permitted maximum daily flow; (5) designed average monthly flow; and (6) design maximum daily flow.

- The Application’s Paragraph 21 indicates PAWC-WD anticipated no hydraulic or organic overload will occur to the Fairview South WWTP with the increased flow and load from the Regent Sewer customer.  Please verify that PAWC-WD has adequate collection, conveyance, treatment and disposal capacities to meet present and future customer demands in the requested territory.

- In the Application’s Exhibit B and Regent Sewer’s initial application at Docket No. A-00105935, “Tract No. 1” appears to include a portion of a parcel in the southernmost portion of Regent Sewer’s current service territory.  This parcel appears to include a commercial shopping center to the east of Regent Sewer’s certificated territory.  Please indicate if this commercial shopping center receives wastewater service from an entity other than Regent Sewer.  If so, please identify the name of the entity that provides wastewater service to the subject parcel.

- The Application’s Exhibit D-1 indicates PAWC-WD’s proposed service territory includes a portion of Newberry Township, York County.  However, Page No. 8 of PAWC-WD’s effective wastewater tariff does not identify Newberry Township as being included in PAWC-WD’s list of territories served.  Please provide a copy of a pro forma tariff supplement that revises Page No. 8 of PAWC-WD’s wastewater tariff to incorporate the portion of the requested territory located in Newberry Township into PAWC-WD’s list of territories served.

- The Application’s Exhibit F contains an illegible copy of a document titled, “Closure Plan for Regent Acres Mobile Home Park”.  Please provide a legible copy of the Closure Plan for the Regent Acres Mobile Home Park.