|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

March 1, 2021

Docket No. A-2021-3024033

Utility Code: 110500

CERTIFIED

GARRET P LENT

POST & SCHELL P C

17 NORTH SECOND STREET 12TH FLOOR

HARRISBURG PA 17101-1601

Re:  	Letter of Notification of PPL Electric Utilities Corporation for Approval to Reconstruct the Montour-Milton 230 kV Transmission Line in Montour and Northumberland Counties, and the Reconstruct Milton-Sunbury 230 kV Transmission Line in Snyder County, Pennsylvania.

Dear Mr. Lent:

On February 5, 2021, PPL Electric Utilities Corporation (PPL Electric) filed a Letter of Notification (LON) for approval to reconstruct the Montour – Milton 230 kV Transmission Line in Montour and Northumberland Counties and the Milton – Sunbury 230 kV Transmission Line located in Snyder County, Pennsylvania.  In order for us to complete our analysis of the subject application, the Bureau of Technical Utility Services requires answers to the enclosed data requests.  This information is necessary for completion of our review of the filing.

Please be advised that you are directed to forward the requested information to the Commission within ten (10) days of receipt of this letter.  Failure to respond may result in the LON being denied.  As well, if PPL Electric has decided to withdraw its filing, please reply notifying the Commission of such a decision.

Please forward the information to the Secretary of the Commission at the address listed below.  When submitting documents, all documents requiring notary stamps must have original signatures.  Please note that some responses may be e-filed to your case, http://www.puc.pa.gov/efiling/default.aspx.  A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Rosemary Chiavetta, Secretary

Pennsylvania Public Utility Commission

400 North Street

Harrisburg, PA 17120

Your answers should be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa.C.S. § 4904 (relating to unsworn falsification to authorities).

The blank should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.

In addition, to expedite analysis of the LON, please also e-mail the information to

Jordan Van Order at jvanorder@pa.gov.  Please direct any questions to Jordan Van Order, Bureau of Technical Utility Services, at jvanorder@pa.gov (preferred) or 717-787-8763.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

Bureau of Technical Utility Services

Data Requests

Docket No. A-2021-3024033

Note:  If any responses contain Confidential Security Information (CSI),

please inform TUS staff via phone call or email.

A-1	Reference the Letter of Notification, Paragraph 11.  Please explain whether the Milton-Millville 69 kV Transmission Line or Montour-Columbia 230 kV Transmission Line will also be rebuilt.

A-2	Reference the Letter of Notification, Paragraph 16.  Please provide a copy of each engineering assessment.

A-3	 Reference the Letter of Notification, Paragraphs 22 & 23.  Please provide information regarding any unplanned outages on the subject transmission facilities over the previous five years, including the duration, cause, whether service to customers was interrupted by outages on the subject transmission lines, and if so, the number and type of customers which were impacted.  Additionally, please explain whether the proposed project would mitigate the effects of these outages.

A-4	Reference the Letter of Notification, Paragraph 27.  Please explain whether the addition of generation in the area has contributed to the need to address the thermal violation.  If so, please explain whether any of these generators are required to pay a portion of the proposed project.

A-5	Reference the Letter of Notification, Paragraph 30.  Please explain why the proposed project is not a PJM baseline project.

A-6	Reference the Letter of Notification, Paragraph 36.  Please quantify the potential impacts on PPL Electric’s SAIFI, SAIDI, and CAIDI levels.

A-7	Reference the Letter of Notification, Attachment, Section 1.0.  Please explain whether a specific NERC or other regulatory standard is also driving the proposed project.

A-8	Reference the Letter of Notification, Attachment 1, Section 4.2.1.  Please provide a five-year history of maintenance expenses for the transmission facilities to be replaced as part of the proposed project.