|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

March 10, 2021

Docket No. A-2021-3024295

Utility Code: 110500

GARRETT P LENT

POST & SCHELL P C

17 NORTH SECOND STREET 12TH FLOOR

HARRISBURG PA 17101-1601

Re:  	Letter of Notification of PPL Electric Utilities Corporation for Approval to Reconstruct and Relocate portions of the Milton-Sunbury 230 kV Transmission Line and Sunbury-Elimsport 230 kV Transmission Line in Snyder County, Pennsylvania.

Dear Mr. Lent:

On February 26, 2021, PPL Electric Utilities Corporation (PPL Electric) filed a Letter of Notification (LON) for approval to reconstruct and relocate portions of the Montour-Sunbury 230 kV Transmission Line and Sunbury-Elimsport 230 kV Transmission Line in Monroe Township, Snyder County, Pennsylvania.  In order for us to complete our analysis of the subject application, the Bureau of Technical Utility Services requires answers to the enclosed data requests.  This information is necessary for completion of our review of the filing.

Please be advised that you are directed to forward the requested information to the Commission within ten (10) days of receipt of this letter.  Failure to respond may result in the LON being denied.  As well, if MAIT has decided to withdraw its filing, please reply notifying the Commission of such a decision.

Please forward the information to the Secretary of the Commission at the address listed below.  When submitting documents, all documents requiring notary stamps must have original signatures.  Please note that some responses may be e-filed to your case, http://www.puc.pa.gov/efiling/default.aspx.  A list of document types allowed to be e-filed can be found at http://www.puc.pa.gov/efiling/DocTypes.aspx.

Rosemary Chiavetta, Secretary

Pennsylvania Public Utility Commission

400 North Street

Harrisburg, PA 17120

Your answers should be verified per 52 Pa Code § 1.36.  Accordingly, you must provide the following statement with your responses:

I, ________________, hereby state that the facts above set forth are true and correct to the best of my knowledge, information and belief, and that I expect to be able to prove the same at a hearing held in this matter.  I understand that the statements herein are made subject to the penalties of 18 Pa.C.S. § 4904 (relating to unsworn falsification to authorities).

The blank should be filled in with the name of the appropriate company representative, and the signature of that representative should follow the statement.

In addition, to expedite analysis of the LON, please also e-mail the information to

Jordan Van Order at jvanorder@pa.gov.  Please direct any questions to Jordan Van Order, Bureau of Technical Utility Services, at jvanorder@pa.gov (preferred) or 717-787-8763.

Sincerely,

Rosemary Chiavetta

Secretary

Enclosure

Bureau of Technical Utility Services

Data Requests

Docket No. A-2021-3024295

Note:  If any responses contain Confidential Security Information (CSI),

please inform TUS staff via phone call or email.

A-1	Reference the Letter of Notification, Cover Letter.  Please explain why the applicant is requesting the Commission’s approval to rebuild the Sunbury-Milton 69 kV Transmission Line.

A-2	Reference the Letter of Notification, Page 1.  Please explain under which specific section of 52 Pa Code 57.72(d) the applicant is filing the subject Letter of Notification.

A-3	Reference the Letter of Notification, Pages 1 & 2.  The location of the project appears to be inconsistent.  Please state the name of each township and county in which the subject project will be located.

A-4	Reference the Letter of Notification, Page 2.  Please the length of each transmission line to be relocated.   Additionally, please explain whether the length of each line remains the same after the relocation.  If not, please provide the change in length.

A-5	Reference the Letter of Notification, Sections II.A.1 & 2.  The description of facilities to be relocated does not appear to be consistent with the cover letter.  Please reconcile.

A-6	Reference the Letter of Notification, Section VII.  Please revise the statement to read as required by 52 Pa. Code 57.72

A-7	Reference the Letter of Notification.  Please provide the PJM project ID number.  If the proposed project does not have a PJM project ID number, please explain why.