	
	PENNSYLVANIA

PUBLIC UTILITY COMMISSION

Harrisburg, PA  17120
	


	
	Public Meeting held April 15, 2021

	Commissioners Present:
	


	Gladys Brown Dutrieuille, Chairman
	

	David W. Sweet, Vice Chairman
	

	John F. Coleman, Jr.
	

	Ralph V. Yanora
	

	
	

	Letter of Notification of PECO Energy Company, for Approval to Shift the Location of an Existing Transmission Structure on the 220-64 230 kV Transmission Line in the Borough of Norristown, Montgomery County, Pennsylvania 


	Docket Numbers:

A-2021-3024714



ORDER

BY THE COMMISSION:

On March 15, 2021, PECO Energy Company (PECO), Utility Code 110550, filed a Letter of Notification (LON) pursuant to 52 Pa. Code § 57.72(d)(1)(vi) of the Pennsylvania Public Utility Commission’s (Commission) transmission line siting regulation.  For the reasons expressed in this Order, the LON is approved.

Copies of the LON were served in accordance with Section 57.72(d)(3), and as set forth in 52 Pa. Code § 57.74(b) & (c), on the PA Department of Transportation, PA Department of Environmental Protection, PA Historical and Museum Commission, Montgomery County Commissioners, and the Borough of Norristown, et al.  No protests were filed.  No hearings were held. 
PECO requests approval to shift the location of an existing transmission structure on the 220-64 230 kV Transmission Line (220-64 Transmission Line) in the Borough of Norristown, Montgomery County, Pennsylvania.  PECO states that one existing transmission structure on the line will be removed, and one new structure will be installed.  
PECO states that the structure shift on the 220-64 Transmission Line is needed to accommodate construction of the Pennsylvania Department of Transportation (PennDOT) Barbados Street connector.  The subject transmission structure is located in Norristown near the intersection of Lafayette Street and Barbados Street and interferes with PennDOT’s Markley Street project.  Application ¶8.
PECO states that the proposed project (Proposed Project) consists of removing one existing transmission structure and installing one new structure.  The new structure will be located approximately 25 feet west of the existing structure and will be approximately 85 feet in height.  The existing structure to be removed is approximately 87 feet in height.  The Proposed Project will be constructed on existing ROW that is 100 feet in width and located within PECO’s existing easement for the 220-64 Transmission Line.  Application ¶9 & PECO Data Request Response No. 2.
PECO maintains the Proposed Project will be designed, constructed, operated, and maintained in a manner that meets or exceeds the requirements specified in the NESC, Occupational Safety and Health Administration safety standards, and all applicable legal requirements.  Application ¶14.
PECO states that the total estimated cost for the Proposed Project is approximately $1.1 million and that all costs will be reimbursed by PennDOT.  Construction of the Proposed Project is anticipated to commence on April 19, 2021 with an expected in-service date of April 23, 2021.  Application ¶¶11, 12 and PECO Data Request Response No. 1.
Section 57.72(d)(1) of the Commission’s regulations, 52 Pa. Code § 57.72(d)(1), authorizes the abbreviated LON siting application process in lieu of an application for the following:

(i) An HV line which is proposed to be located entirely on an existing 

Transmission line right-of-way, so long as the size, character, design, or

configuration of the proposed HV line does not substantially alter the 

right-of-way.

(ii)
An HV line which is proposed to be located entirely within a public road.

(iii) An HV line which is proposed to be located entirely within applicant’s existing

transmission line right-of-way and the property of the sole customer to be served by the line, so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way.

(iv) A line for which the voltage is proposed to be increased above its present 

levels so long as the size, character, design, or configuration of the proposed 

HV line does not substantially alter the right-of-way. 

(v)
An HV line which is to be reconductored or reconstructed so long as the size, character, design, or configuration of the proposed HV line does not substantially alter the right-of-way

(vi) An HV line having a proposed route of 2 miles or less.

We agree with PECO that the formal PECO Letter of Notification and manner in which it was filed conforms to the requirements of 52 Pa. Code § 57.72(d)(1)(vi) because the proposed project shifts the location of a transmission line structure on a section of the 220-64 Transmission Line which is less than 2 miles in length.  Moreover, the Commission has reviewed the filing and does not find it to be inconsistent with the applicable law or Commission policy regarding transmission line siting and, therefore, to be in the public interest.  We also note that our approval of the Letter of Notification does not address the issues of accounting treatment or cost recovery; THEREFORE,

IT IS ORDERED:

1. That the Letter of Notification filed by the PECO Energy Company, for approval to shift an existing transmission line structure on the 220-64 230 kV Transmission Line, in the Borough of Norristown, Montgomery County, Pennsylvania, is hereby approved.  

2. That upon completion of the subject project, PECO Energy Company shall submit the final project cost to the Commission.
3. That upon completion of Ordering Paragraph 2, this proceeding at Docket 

No. A-2021-3024714 be closed. 

[image: image1.png]


BY THE COMMISSION,

Rosemary Chiavetta

Secretary

ORDER ADOPTED: April 15, 2021
ORDER ENTERED: April 15, 2021
6

