|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY PLEASE REFER TO OUR FILE |
| --- | --- | --- |

April 27, 2021

Docket No. M-2021-3024345

Utility Code: 110500

KIMBERLY A. KLOCK

ASSISTANT GENERAL COUNSEL

PPL ELECTRIC UTILITIES CORPORATION

TWO NORTH NINTH STREET

ALLENTOWN, PA 18101-1179

KKLOCK@PPLWEB.COM

Re:	Annual Asset Optimization Plan for PPL Electric Utilities Corporation– Docket No. M-2021-3024345

Dear Ms. Klock:

On March 1, 2021, PPL Electric Utilities Corporation (PPL) filed its Annual Asset Optimization Plan (AAOP), pursuant to 52 Pa. Code § 121.6.

The Commission’s regulations require utilities with an approved Distribution System Improvement Charge (DSIC) to file annually an AAOP with the Commission. The AAOP shall be filed 60 days after the prior 12 months of the company’s Long Term Infrastructure Improvement Plan (LTIIP) has expired, and pursuant to this timeframe for each successive AAOP.  52 Pa. Code § 121.6(a).

The AAOP must include:

- A description that specifies all of the eligible property repaired, improved, and replaced in the prior 12-month period under its LTIIP and prior year’s AAOP.

- A description of the eligible property to be repaired, improved, and replaced in the upcoming 12-month period.

The Commission is charged with reviewing each AAOP only to determine whether the utility is in substantial compliance with the repairs, improvements, or replacements of the specific eligible property in its approved LTIIP, for the corresponding 12 month timeframes.  52 Pa. Code § 121.6(d).  The Commission has delegated the review of AAOPs to the Bureau of Technical Utility Services (TUS).

Timely Filing

52 Pa. Code § 121.6(a)

A utility with an approved DSIC shall file with the Commission, for informational purposes, an AAO plan. The AAO plan shall be filed annually with the Commission 60 days after the 12 months of its LTIIP has expired and under this time frame for each successive year of the term of the LTIIP.

PPL’s AAOP complies with this requirement.

Content

52 Pa. Code § 121.6(b)

An AAO plan must include:

- A description that specifies all the eligible property repaired, improved and replaced in the prior 12-month period under its LTIIP and prior year’s AAO plan.

- A description of the eligible property to be repaired, improved and replaced in the upcoming 12-month period.

PPL’s AAOP substantially complies with this requirement.

Substantial Adherence to LTIIP

52 Pa. Code § 121.6(d)

An AAO plan will be reviewed by the Commission only to determine whether the utility is in substantial compliance with the repairs, improvements or replacements of the specific eligible property in its approved LTIIP for the corresponding 12-month time frames.

52 Pa. Code § 121.6(e)

Absent any major modifications to the LTIIP or Commission action to reject an AAO plan within 60 days of its submission to the Commission, the AAO plan will be deemed approved. The Commission may extend its consideration period if necessary.

52 Pa. Code § 121.6(f)

If an AAO plan is rejected by the Commission, the utility will be notified of the plan’s deficiencies and actions needed to repair, improve or replace eligible property to bring the utility into compliance with the work schedule in its approved LTIIP. If the utility concludes that it needs to revise its LTIIP to comply with the Commission’s determinations, it shall file a petition for modification under § 121.5.

PPL’s AAOP states it has included all the 30 asset groups originally included in its Second LTIIP in the AAOP.  PPL provided projected and actual eligible property replacement numbers for 2020, and original and revised projections for 2021.  PPL has modified its eligible property and spending projections due to changing circumstances but does not propose to eliminate any of its programs at this time.

PPL states it will underspend on the original amount it projected to spend on DSIC-eligible projects due to some adjusted project costs from efficiency gains and refocused efforts.  In 2020 PPL spent approximately $138 million as compared to the $195 million projected in its Second LTIIP.  PPL anticipates this projected underspend of approximately 36% will continue in 2021 as compared to the Second LTIIP spending projections.

Compliance with the LTIIP is evaluated on a multiyear basis over the life of the LTIIP.  Construction and budget variations in individual years can be expected and it is reasonable to expect that over a multi-year timeframe, much of this variation will be mitigated.

The AAOP does not propose a Major Modification to the company’s LTIIP.  Accordingly, PPL’s AAOP appears to substantially conform to the schedule set forth in the company’s LTIIP.

Conclusion

Upon review of PPL’s AAOP filed on March 1, 2021, it appears that the filing substantially complies with the requirements of 52 Pa. Code § 121.6 and it is approved.  This approval is contingent upon the possibility that subsequent audits, reviews and inquiries, in any Commission proceeding, may be conducted pursuant to 52 Pa. Code § 121.

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code § 5.44, file a petition with the Commission within twenty (20) days after the date of this letter.  Please direct any questions regarding this filing to John Van Zant, Reliability and Emergency Preparedness Supervisor, TUS, at jvanvant@pa.gov.

Sincerely,

Rosemary Chiavetta

Secretary

cc:	Kriss Brown, LAW

Darren Gill, TUS

Dan Searfoorce, TUS