|  | COMMONWEALTH OF PENNSYLVANIA PENNSYLVANIA PUBLIC UTILITY COMMISSION 400 NORTH STREET, HARRISBURG, PA 17120 | IN REPLY, PLEASE REFER TO OUR FILE |
| --- | --- | --- |

April 27, 2021

Docket No. M- 2021-3024340

Utility Code: 230073

SUSAN SIMMS MARSH

DEPUTY GENERAL COUNSEL

PENNSYLVANIA AMERICAN WATER COMPANY

852 WESLEY DRIVE
MECHANICSBURG, PENNSYLVANIA  17055

SUSAN.MARSH@AMWATER.COM

Re:	Annual Asset Optimization Plan for Pennsylvania-American Water Company – Wastewater Division - Docket No. M-2021- 3024340

Dear Ms. Simms Marsh:

On March 1, 2021, Pennsylvania-American Water Company – Wastewater Division (PAWC- WD) filed its Annual Asset Optimization Plan (AAOP), pursuant to 52 Pa. Code § 121.6.  On March 29, 2021, the Commission issued a date request to PAWC-WD via Secretarial Letter.  In that Secretarial Letter, the Commission also extended the AAOP consideration period to June 1, 2021.  PAWC-WD filed its response on April 13, 2021.

The Commission’s regulations require utilities with an approved Distribution System Improvement Charge (DSIC) to file annually an AAOP with the Commission.  The AAOP shall be filed 60 days after the prior 12 months of the company’s Long Term Infrastructure Improvement Plan (LTIIP) has expired, and pursuant to this timeframe for each successive AAOP.  52 Pa. Code § 121.6(a).

The AAOP must include:

- A description that specifies all of the eligible property repaired, improved, and replaced in the prior 12-month period under its LTIIP and prior year’s AAOP.

- A description of the eligible property to be repaired, improved, and replaced in the upcoming 12-month period.

The Commission is charged with reviewing each AAOP only to determine whether the utility is in substantial compliance with the repairs, improvements, or replacements of the specific eligible property in its approved LTIIP, for the corresponding 12-month timeframes.  52 Pa. Code § 121.6(d).  The Commission has delegated the review of AAOPs to the Bureau of Technical Utility Services (TUS).

Timely Filing

52 Pa. Code § 121.6(a)

A utility with an approved DSIC shall file with the Commission, for informational purposes, an AAO plan. The AAO plan shall be filed annually with the Commission 60 days after the 12 months of its LTIIP has expired and under this time frame for each successive year of the term of the LTIIP.

PAWC-WD’s AAOP complies with this requirement.

Content

52 Pa. Code § 121.6(b)

An AAO plan must include:

- A description that specifies all the eligible property repaired, improved, and replaced in the prior 12-month period under its LTIIP and prior year’s AAO plan.

- A description of the eligible property to be repaired, improved, and replaced in the upcoming 12-month period.

PAWC -WD’s AAOP substantially complies with this requirement.

Substantial Adherence to LTIIP

52 Pa. Code § 121.6(d)

An AAO plan will be reviewed by the Commission only to determine whether the utility is in substantial compliance with the repairs, improvements, or replacements of the specific eligible property in its approved LTIIP for the corresponding 12-month time frames.

52 Pa. Code § 121.6(e)

Absent any major modifications to the LTIIP or Commission action to reject an AAO plan within 60 days of its submission to the Commission, the AAO plan will be deemed approved. The Commission may extend its consideration period if necessary.

52 Pa. Code § 121.6(f)

If an AAO plan is rejected by the Commission, the utility will be notified of the plan’s deficiencies and actions needed to repair, improve, or replace eligible property to bring the utility into compliance with the work schedule in its approved LTIIP. If the utility concludes that it needs to revise its LTIIP to comply with the Commission’s determinations, it shall file a petition for modification under § 121.5.

PAWC-WD reported that its DSIC-eligible expenditures in 2020 were $22.16 million, which is a 10.4 % increase from the original LTIIP target level of $20.07 million.  PAWC -WD reports that the elevated investment is largely a result of additional work required of the company due to poor infrastructure conditions that have been uncovered in its newer acquisitions.  PAWC-WD reported that in 2020, it replaced 43,032 Linear Feet (LF) of the 62,531 LF of main scheduled to be replaced in its LTIIP.  PAWC-WD reported slight variations of eligible property to be improved or replaced in 2020 but its spending is consistent with the LTIIP.

The Commission Order entered April 16, 2020, directed that with its AAOPs PAWC-WD shall file the following: updated information on its pipeline materials and diameters for all of its wastewater systems; detailed information on the amount of sewer pipe that is replaced or rehabilitated each year; and a baseline and update on the progress of the inflow and infiltration (I&I) reduction for each of its wastewater systems.  PAWC-WD’s AAOP did not contain this information, but PAWC-WD did provide the information in its data request response filed on April 13, 2021.

The projected 2021 wastewater replacement and rehabilitation program appears to be consistent with the approved LTIIP.  Projected spending is $20.35 million and is on pace with the LTIIP projected amount of $20.98 million.  PAWC-WD’s AAOP reports that it projects to replace 74,110 LF of main out of the 83,786 LF projected in its LTIIP.

Compliance with the LTIIP is evaluated on a multiyear basis over the life of the LTIIP.  Construction and budget variations in individual years can be expected and it is reasonable to expect that over a multi-year timeframe, much of this variation will be mitigated.

The AAOP does not propose a Major Modification to the company’s LTIIP.  Accordingly, PAWC’s AAOP appears to substantially conform to the schedule set forth in the company’s LTIIP.

Conclusion

Upon review of PAWC-WD’s AAOP filed on March 1, 2021, and all supplemental information filed, it appears that the filing substantially complies with the requirements of 52 Pa. Code § 121.6 and it is approved.  This approval is contingent upon the possibility that subsequent audits, reviews, and inquiries, in any Commission proceeding, may be conducted pursuant to 52 Pa. Code § 121.

If you are dissatisfied with the resolution of this matter, you may, as set forth in 52 Pa. Code § 5.44, file a petition with the Commission within twenty (20) days after the date of this letter.  Please direct any questions regarding this filing to Ken Shaffer, TUS at kennshaffe@pa.gov.

Sincerely,

Rosemary Chiavetta

Secretary

cc:	Patricia Wiedt, LAW

Dan Searfoorce, TUS

John Van Zant, TUS

See Petition of Pennsylvania-American Water Company – Wastewater Division for Approval of its Modified Long-Term Infrastructure Improvement Plan, at Docket No. P-2014-2431005.